	[image: image1.png]



	BHARATH HEAVY ELECTRICAL LIMITED
RAMACHANDRAPURAM 
HYDRABAD-502032
TELANGANA, INDIA 
	Phones: 040-23182306                   



	ENQUIRY

	
	
	
	PURCHASE DEPARTMENT


	
OFFICE COPY

	Enquiry No.

P8A1P20652
	 Enq. Date

15.04.2016
	No. of. Items
001
	DUE DATE OF QUOTATION

06.05.2016


	Enq. Sl.No
	Indent (MPR) No.
	Material  Code
	Drawing No. Description& Specification
	Unit
	Quantity

	01
	1200020652/10
	CG2900941059
	DIGITAL TEMP INDICATOR WITH PROBE:
* Digital temperature indicator and Sensor shall cover temperature measurement range of -20 °C to 600 °C.

* Digital temperature indicator shall be supplied with PRT or SPRT probe

* Supplier shall provide suitable protective carrying case for Digital temperature indicator and PRT/SPRT sensor

*Supplier shall provide 4 point calibration certificate along with the equipment, traceable to  national/international standards each for Digital temperature indicator and PRT/SPRT sensor

*The equipment shall be in Compliance  with the relavent safety standard such as EN6101-1:2001 or CE conformity/EN 61326 or equalent standard

*i) Accuracy of Digital temperature indicator shall be 0.04 °C. or better.

ii)  Accuracy/calibration uncertainty of PRT/SPRT sensor  shall be :  0.025°C

*The Digital temperature indicator along with PRT/SPRT shall be guaranteed for satisfactorily and trouble free service for at least 12 months from the date of commissioning and final acceptance.


	EA
	1 no



	REMARKS: 

1) THIS ENQUIRY IS IN TWO PART BID SYSTEM.
2)  GCC & ITB ARE ENCLOSED.
3) Specification is attached 
4. Offers should be submitted to the below address:-
To,
DGM/CMM, 
Supplier Development cell
Vendor Complex,
BHEL- R.C.Puram
 Hyderabad ,Telangana.
5)Offers must be sent in a sealed cover on which tender enquiry
number and the due date shall be super scribed and sent by appropriate mode to above address or dropped in tender box located at vendor complex on or before the specified time of submission of offers, preferably in the bidder's envelope.

6) Bidder can also submit offer through email at his own risk. The offer to be submitted in two parts. Technical offer to be submitted to
technicalbid@bhelhyd.co.in, and price bid to be submitted to
pricebid@bhelhyd.co.in. Interchanging the information in the mails may lead to rejection of the offer. Supplier shall have no claim on e-mail offers sent on any other e-mail ID. BHEL is no way responsible for non-receipt of offers sent thru email due to server break down / Internet failure / transmission error etc. In case of e-mail offers, the mail subject should contain Enquiry No., Due date and Supplier name. Supplier address including contact details shall be mentioned in the content of
the mail. Without these details offer may be liable for rejection
	TEST CERTIFICATE REQ:yes
GUARANTEE RAQ:yes
SAMPLE REQ: no
	FOR AND ON-BEHALF OF  
BHARAT  HEAVY ELECTRICALS LIMITED
K. SREENU
PUR. OFFICER /PUR/CMM



� EMBED MSPhotoEd.3  ���








[image: image2.png]


_1060341892.bin

