	[image: image1.png]



	AMENDMENT ON TECHNICAL SPECIFICATION FOR CW/ RW/ PW CHLORINATION  PLANT
4X270 MW, BHADRADRI TPP

	SPECIFICATION NO.: PE-TS-411-174A-A001

	
	
	AMENDMENT NO # 2 

	
	
	REV. NO.  00
	DATE: 31/07/2015

	
	
	Page 3 of 3



The following modifications with respect to Technical Specification for CW/ RW/ PW CHLORINATION PLANT BHEL’s Technical specification no PE-TS-411-174A-A001 shall apply. Bidder to note that existing clauses/details as appearing in the specification stands deleted and clauses/details as mentioned in “Modified to or Read as” column shall be applicable and complied by the bidder as listed below in SCHEDULE A . 
In addition, new clauses are also added as listed below in SCHEDULE B and shall be a part of tender specification (PE-TS-411-174A-A001). Bidder to comply the same.

SCHEDULE A
MODIFIED CLAUSES/PAGE NUMBERS:
	Sl no. 
	Vol. No.
	Section/

Description
	Clause no
	Page no
	Existing clause/details
	Modified to or Read as

	1. 
	IIB
	SECTION– C1-A
	-
	10 to 26 of 447
	Scope of supply & services ,exclusion and terminal point etc.
	Revised Scope of supply & services, exclusion and terminal point etc.for CW, RW & PW chlorination plant is attached herewith this amendment for bidder’s adherence.

	2. 
	IIB
	SECTION– C1-C
	-
	102 of 447
	FUNCTIONAL / PERFROMANCE /  DEMOSTARTION GUARANTEE
	Revised Functional / Performance / Demonstration Guarantee for CW, RW & PW chlorination plant is attached herewith this amendment for bidder’s adherence.

	3. 
	IIB
	SECTION– C1-F
	-
	149 to 160 of 447
	Datasheet A for CW, RW & PW chlorination plant
	Revised datasheet A for CW, RW & PW chlorination plant is attached herewith this amendment for bidder’s adherence. 

	4. 
	IIB
	SECTION– C3
	Nil
	175 of 447
	Specific technical requirement of C&I for CW, RW & PW chlorination plant.
	Additional specific technical requirements of C& I for CW, RW & PW chlorination plant is attached with this amendment. Bidder to adhere the same.

	5. 
	IIB
	SECTION– C3
	Nil
	176 of 447
	PLC configuration diagram for CW, RW chlorination plant.
	Revised PLC configuration diagram for CW, RW chlorination plant is attached herewith this amendment for bidder’s adherence.

	6. 
	IIB
	SECTION– D3
	Nil
	363 of 447
	UPS Single Line diagram for CW, RW chlorination plant.
	Revised UPS Single Line diagram for CW, RW chlorination plant is attached herewith this amendment for bidder’s adherence.

	7. 
	IIB
	SECTION– C (ANNEXURES) – ANNEXURE II
	NIL
	191  to 195 of 447
	List of Mandatory spares for CW, RW & PW chlorination plant.
	Revised mandatory spares list for CW, RW & PW chlorination plant is attached herewith this amendment for bidder’s adherence.

	8. 
	IIB
	SECTION– C (ANNEXURES) – ANNEXURE III
	NIL
	197 of 447
	Raw Water Analysis and Clarified Water Analysis
	Revised Raw Water Analysis and Clarified Water Analysis for CW, RW & PW chlorination plant is attached herewith this amendment for bidder’s adherence.

	9. 
	IIB
	SECTION– C (ANNEXURES) –ANNEXURE X
INPUT DRAWING
	NIL
	226 to  233 of 447
	INPUT DRAWINGS:

1)P& I DIAGRAM FOR CW CHLORINATION PLANT AND ABSORPTION SYSTEM
2) P& I DIAGRAM FOR RW CHLORINATION PLANT AND ABSORPTION SYSTEM
3) P& I DIAGRAM FOR PW CHLORINATION  

4)  PLANT P&ID-CW AND ACW SYSTEM
5) MECHANICAL GA OF CW& ACW PUMP HOUSE / FOREBAY

6) PLOT PLAN 
	Revised input drawings for CW, RW & PW chlorination plant are attached with this amendment for bidder’s adherence as mentioned below: 
P& I DIAGRAM FOR CW CHLORINATION PLANT AND ABSORPTION SYSTEM:  PE-DG-411-174-A001, SHEET 1 OF 3 R1

P& I DIAGRAM FOR RW CHLORINATION PLANT AND ABSORPTION SYSTEM:  PE-DG-411-174-A001, SHEET 2 OF 3 R1

P& I DIAGRAM FOR PW CHLORINATION PLANT : PE-DG-411-174-A001, SHEET 3 OF 3 R1

P&ID-CW AND ACW SYSTEM:PE-DG-411-165-N001 R3

MECHANICAL GA OF CW& ACW PUMP HOUSE / FOREBAY: PE-DG-411-165-N004 R0

PLOT PLAN : PE-DG-411-100-M001 R1


	10. 
	IIB
	SECTION– D1
	NIL
	237 to 243 of 447
	STANDARD TECHNICAL SPECIFICATION FOR MECHANICAL:

Design philosophy for CW, RW & PW chlorination 

plant along with leak absorption system and safety and supervisory equipments.
	STANDARD TECHNICAL SPECIFICATION FOR MECHANICAL:

Revised Design philosophy for CW, RW & PW chlorination plant along with leak absorption system and safety and supervisory equipments are attached herewith this amendment for bidder’s adherence.

	11. 
	III
	-
	NIL
	447 of 447
	Suggestive Price Format
	Revised Suggestive Price Format for CW, RW & PW chlorination plant is attached herewith this amendment for bidder’s adherence.


SCHEDULE B
NEW CLAUSES / SCOPE ADDED:

	SL no. 
	Vol. No.
	Section/

Description
	New Clause no
	Page no
	Description

	12. 
	IIB
	SECTION– C1-E
	8.00.00
	147 of 447
	Bidder shall provide one final coat additionally of same DFT as specified in SECTION C1 – E (painting specification) of tender specification at site after completion of erection of each equipment / item. Bidder to adhere the same.


*********************

PAGE  

[image: image1.png]