	[image: image1.png]



	AMENDMENT ON TECHNICAL SPECIFICATION FOR PRE-TREATMENT PLANT
4X270 MW, BHADRADRI TPP

	SPECIFICATION NO.: PE-TS-411-158A-A001

	
	
	AMENDMENT NO # 3 

	
	
	REV. NO.  00
	DATE: 02/09/2015

	
	
	Page 1 of 1



The following modifications with respect to Technical Specification for Pre Treatment Plant BHEL’s Technical specification no PE-TS-411-158A-A001 shall apply.

Bidder to note that existing clauses/details as appearing in the specification stands deleted and clauses/details as mentioned in “Modified to or Read as” column shall be applicable and complied by the bidder as listed below in SCHEDULE A . 

In addition, new clauses are also added as listed below in SCHEDULE B and shall be a part of tender specification. Bidder to comply the same.

SCHEDULE A 


MODIFIED CLAUSES/PAGE NUMBERS
	Sl no. 
	Vol. No.
	Section/

Description
	Clause no
	Page no
	Existing clause/details
	Modified to or Read as

	1. 
	IIB
	SECTION– C1-A
Amendment-2 SCHEDULE B
	1.10-6.0

	14 of 806

	Motor operated sluice gate shall be controlled w.r.t. the water level in Clarified Water Storage Tank i.e, in case one compartment of clarified water storage tank is full then the inlet valve of this compartment will be closed and the inlet valve of other compartment will be open.
Flow Diagram of Pre-Treatment Plant.
	Please note that the inlet sluice gate of clarified water storage tank shall be motor operated.

	2. 
	IIB
	SECTION– C1-B General Requirement


	2.01.00
	95 of 806
	Recommended Spares
	Recommended spares are not included in scope of supply as mentioned in SECTION C1 – A, however any recommended spare required by bidder as per their system requirement shall be provided by bidder during detailed engineering without any price and delivery implication to BHEL.


SCHEDULE B

NEW CLAUSES / SCOPE ADDED:

	Sl no. 
	Vol. No.
	Section/

Description
	New Clause no
	Page no
	Description

	1.
	IIB
	SECTION C1-F DATASHEET –A
	16.16.6
	149 of 806
	Under Drain System of Pressure sand filter:-

Type:- Strainer on plate type, designed to avoid any non-uniform flow.

Material of Construction: - For strainer on plate, plate MSEP and strainer PP/PVC.


PAGE  

[image: image1.png]