	[image: image1.png]



	AMENDMENT ON TECHNICAL SPECIFICATION FOR PRE-TREATMENT PLANT
4X270 MW, BHADRADRI TPP

	SPECIFICATION NO.: PE-TS-411-158A-A001

	
	
	AMENDMENT NO # 4 

	
	
	REV. NO.  00
	DATE: 23/09/2015

	
	
	Page 1 of 1



The following modifications with respect to Technical Specification for Pre Treatment Plant BHEL’s Technical specification no PE-TS-411-158A-A001 shall apply.

Bidder to note that existing clauses/details as appearing in the specification stands deleted and clauses/details as mentioned in “Modified to or Read as” column shall be applicable and complied by the bidder as listed below. 


MODIFIED CLAUSES/PAGE NUMBERS
	Sl no. 
	Vol. No.
	Section/

Description
	Clause no
	Page no
	Existing clause/details
	Modified to or Read as

	1. 
	IIB
	SECTION– D3

	3.4.1

	319 of 806

	Input/output card assignments shall be modular i.e. no single card shall be assigned with more than one drive of a particular sub-system. The maximum number of channels per I/O module shall be as follows.
· Analog Input Module: 16

· Analog Output Module: 16

· Binary Input Module: 32

· Binary Output Module: 32
 
	The referred clause shall be read as
Input/output card assignments shall be modular i.e. no single card shall be assigned with more than one drive of a particular sub-system. The maximum number of channels per I/O module shall be as follows.
· Analog Input Module: 8
· Analog Output Module: 8
· Binary Input Module: 16
· Binary Output Module: 16
 

	2. 
	IIB

	SECTION– D3


	2.03.00

	399 of 806
	BACK UP PANEL
	The referred clause shall be read as deleted.

	3. 
	I
IB


	SECTION– D3


	2.00.00
	366 of 806
	HAND HELD CALIBARATOR
	The referred clause shall be read as deleted.

	4. 
	IIB


	SECTION– D3


	-
	418 of 806
	CABLE BOQ-Qty (in Km)
	The referred clause shall be read as deleted. However Cable type shall be applicable as indicated in tender specification.


PAGE  

[image: image1.png]