[image: image4.png]


[image: image5.wmf]i.exe


	TD-106-3 Rev No. 5
	Form No.
	[image: image4.png]
	PRODUCT STANDARD

PUMPS

HYDERABAD
	FP

	
	
	
	
	Rev No. 

	
	
	
	
	PAGE          OF  

	COPYRIGHT AND CONFIDENTIAL

The information on this document id the property of  BHARAT HEAVY ELECTRICALS LIMITED .

It must not be used directly or indirectly in any way detrimental to the interest of the company.
	

	Ref. Doc
	
	Revisions :
	Prepared :
	Approved :
	Date :

	
	
	Refer to record of revisions :
	D. RAMBABU
	P. SRINIVAS
	27-05096


[image: image6.png]


[image: image7.png]




AMMENDMENT TO TECHNICAL PURCHASE 

SPECIFICATION FOR PIPES (MS)  (PY 51166, Rev – 03) 

[image: image8.wmf]i.exe


	PROJECT

CUSTOMER
	: 2 x 660 MW SUPER CRITICAL TPS (SURATGARH, STAGE-V, UNIT # 7 & 8)

: RAJASTHAN RAJYA VIDYUT UTPADAN NIGAM LTD.



	CONSULTANT
	: M/S TATA CONSULTING ENGINEERS LTD.




The specification for the PIPES vide our enquiry number NIT No: 21958, Dated 30-03-2015 shall be read in conjunction with this document. The requirements specified here shall supersede/in addition to the clauses of BHEL specification PY 51166, R3.
1) Cl. No. 5.0, Page 2 of 4 of Specification PY 51166 R3 shall be read as “All the pipes shall be protected with a rust preventive coating of Varnish, externally throughout the length”.

	TD-106-3

 Rev No. 5
	Form No.
	[image: image1.png]



	PRODUCT STANDARD

BHEL, HYDERABAD –32.

PROJECT ENGINEERING – MECHANICAL
	PEMC 05935

	
	
	
	
	Rev No.  00

	
	
	
	
	PAGE   3   of   3

	COPYRIGHT AND CONFIDENTIAL

The information on this document is the property of  BHARAT HEAVY ELECTRICALS LIMITED,

It must not be used directly or indirectly in any way detrimental to the interest of the company.
	RECORD OF REVISIONS

	
	Rev. No.
	Date
	Revision Details
	Revised by
	Checked by
	Approved by

	
	00
	15.05.15
	 Painting Specification of Fire Water Pipes 
	--
	[image: image2.png]



	
[image: image3.png]




	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	Ref. Doc.
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	


� EMBED Package  ���





HYDERABAD










_1492426793

_999754084/i.exe

