Technical Specifications- Binocular Microscope
1- BODY – Aluminum die –cast body with all critical movements based on  

                     ball bearing and Wire guides.

            2- MECHANICAL STAGE – Co-axial low drive Mechanical stage  (125 mm 

                                                                x 159 mm) (+/-5 mm)With transverses area of 

                                                                50 mmx 70 mm (+ /-5 mm).

            3- FOCUSSING SYSTEM – Rack & pinion mountedCondenser holder with 

                                                             height displacement upto 30 mm.

            4- ILLUMINATION BASE – Built illumination With pre –centered 6V 20 W 

                                                               halogen bulb coupled with an efficient collector

                                                               lens system.

5- NOSE PIECE – Quadruple nose piece based on precision  ball bearing 

                                 mechanism.

            6- SUB STAGE CONDENSER – Abbe condenser With aperture 

                                                                    diaphragm,N.A 1.25 with filter Holder and 

                                                                     blue filter.

7- OBJECTIVES – High quality objectives: Achromatic 4 xs, 10 x, 40x (spring) 
                                & 100x (oil  immersion spring).

8- INCLINED OBSERVATION HEAD – 45degreeInclined, rotable through 

                                                                     360 degrees fitted with Fungus 

                                                                     resistant, antireflection coated prism 

                                                                     with very good visual equity.
            9- EYE PIECES –  Paired wide field eye pieces with very good visual equity -  

                                           10x(Complete set in  Thermocol packing)
10- Vendor has to support the specifications with manufacturer’s brochure failing 

      which offer will be rejected without any further enquiry. Vendor has to 

     demonstrate the equipment at BHEL General Hospital, Hyderabad within 

     specified time limit, if asked for; failing which offer will be rejected.
