[image: image1.wmf] 

BHARAT HEAVY ELECTRICALS LIMITED,JHANSI

TOWNSHIP CIVIL DEPARTMENT

Name of work:- Misc.civil work in township for year 2012-13
Tender No. ---------------------------                                                                        Date:-------------

[image: image2.wmf] 


OPEN TENDER 
FOR
Misc.civil work in township for year 2012-13 .
[image: image3.wmf] 


TOWNSHIP CIVIL DEPARTMENT 
BHARAT HEAVY ELECTRICALS LIMITED 
(A Government of India Undertaking)

JHANSI – 284129 (U.P.)

NOTICE INVITING TENDERS

( Applicable to all types of contracts )

Phone no 0510-2412582    Fax no 0510-2770011                                                                                      Email  paawan@bheljhs.co.in                                      
 website www.bhel.com/bhel/tender/login.php.
1-  Tenders are invited on behalf of the BHARAT HEAVY ELECTRICAL LIMITED JHANSI for Work – Misc.civil work in township for year 2012-13.The work is estimated to cost Rs 38.94 Lakhs. This estimate , however is given merely as a rough guide 

2- The tender shall be in the prescribed format.

3- The works are required to be completed within One year from the fifteen days after the date on which the Engineer-in-charge issues written orders to commence the work or from the date of handing over of the site, whichever is later, in accordance with the phasing, if any, indicated by the Company/Corporation in the tender documents .the site is expected to be handed over on or about immediately.

4- No two or more concerns in which an individual is interested as a Proprietor and /or a partner shall tender for the execution of the same works, if they dose all such tenders shall be liable to be rejected.

5- The DGM - Civil / Estate shall be the Accepting Officer hereinafter refers to as such for the purpose of this contract.
6- Tender documents consisting of plans, specifications, Schedule (s) of quantity of the various classes of work to be done, the conditions of contract and other necessary documents will be open for inspection at factory civil office from --/--/2012 to --/--/2012 between 9 am to 4 pm.
7- Tenderers are advised to inspect and examine the site and its surroundings and subsoil (so far as it is practicable), the form and nature of the site, the means of access to the site the accommodation they may be require and in general shall themselves obtain all necessary information as to risks, contingencies and other circumstances which may influence or effect their tender. A tenderer shall be deemed to have full knowledge of the site, whether he in specs it or not and no extra charges consequent on any misunderstanding or otherwise shall be allowed.
8- Submission of a tender by a tenderer implies that he has read this notice and all other contract documents and has made himself aware of the scope and specifications of the work to be done and of conditions and rates at which stores, tools and plants etc will be issued to him by the company corporation and local conditions & other factors bearing on the execution of the works.
9- A tenderer should quote in figures as well as in word rate (s) tendered. The amounts for each item should be worked out and the requisite totals given. Special care in figures only in such a way that inter pole ration is not possible. The total amount shall be written both in figures and in words. In case of figures the words Rs should be written before the figure of rupees and the words. 'paisa" after the decimal figures e.g. Rs 2.15 and in case of words, the words 'Rupees' should precede and the words 'paisa' should be written at the end . Unless the rate is in whole rupees and followed by the word 'only " it should invariably be upto two places of decimal.  
10- The work shall be awarded to the overall lowest bidder. The quantities mentioned in the tender shall be used for comparative statement calculation and award of work. The actual quantities can vary during the course of the contract.
11- In case more than one contractor quote the L1 (lowest & technically accepted) rates, the work may be awarded through draw of lottery.
12- Tenders shall be received at ADM security gate upto 13:15 hours on the --/--/2012 (day) and shall be opened at --/--/2012 (14:00) hours on the same day in the presence of tendereres who may be present.
13- The tender shall be accompanied be earnest money ( unless exempted from depositing it ) of Rs 1,00,000.00 ( One Lakhs rupees only) in BHEL cash receipt ( as permissible under  Income Tax Act ) pay order or Demand draft only in favour of BHEL Jhansi.
14- On acceptance of tender earnest money will be treated as part of the security if applicable.
15- Bharat Heavy Electricals Ltd. Jhansi will return the earnest money, where applicable, to every unsuccessful tendered on the request of the tendered and after award of work to now successful bidder.
16- A tenderer shall submit the tender which satisfies each and every essential condition laid down in this notice, failing which the tender will be liable to be rejected.  
17- The Bharat Heavy Electricals Ltd. Jhansi reserve to themselves the right of accepting the whole or any part of the tender and tenderer shall be bound to perform the same at his quoted rates.  
18- Sales Tax or any other tax on materials in respect of this contract if applicable shall be payable by the contractor and the company /corporate on will not entertain any claim what so ever in this respect.
19- This notice of tender shall form part of the contract documents.
20- The contract may be awarded on overall lowest basis only.
21- Income Tax shall be recovered as per the applicable laws. Presently income tax @ Rs 2% of gross value of bill will be recovered from the contractor's bills.
22- Failure to comply with any of the above conditions can result in termination of the contract, forfeiture of the security deposit, Penalty as may be decided and future blacklisting.
23- Offer must be submitted in a sealed cover. The cover should bear our Tender Notice number, due date of opening and name of the bidder.
24- Offer should be free from overwriting or erasures. Corrections or additions, if any should be attested.
25- Payment of stamp duty on security deposit as per stamp duty act 1998 shall be payable.
26- Tender document consisting of plans, specification, schedule (s) of quantity of the various classes of work to be done, the condition of contract and other necessary documents will be open for inspection and sold on payment of Rs. 400/- + 13.5% (VAT) i.e. Rs. 454/- 

OPEN TENDER

To be submitted by 13:15 Hours on --/--/2012 (day) to ADM - Security Gate.
Tenders shall be opened in the presence of tenderers who may be present, at 14.00 Hours on --/--/2012 (day) in the office of Tender opening Committee and price bid shall be opened later.
[image: image4.wmf] 


Issue to contractor

(Herein after referred to as the Company/Corporation)
I/We have read and examined the following documents related to the construction of  

Name of Work:- Misc.civil work in township for year 2012-13
The tender (two bid tender) pages (Total twenty four pages) with following documents.


Notice inviting tender.




     Page no. 2-3

               Checklist / Qualification Criteria                                     Page  no. 5-7
SCHEDULE  A - List of material issue to the contractor  
     Page no. 8
SCHEDULE  B - List of Tools and Plant issue to the contractor   Page no. 8
SCHEDULE  C  Special conditions                                               Page no. 8 To 14
SCHEDULE  D    Lead statement  
                                      Page no. 15
SCHEDULE  E   Security Deposit
                                                 Page no. 15
SCHEDULE  F   Reference to general condition of contract
      Page no. 16
                           Blank price bid                                                    Page no. 17-19
                           Price Bid                                                             Page no. 20- 22
General Conditions of contract including Contractor's labour Regulation, Model Rules for labour Welfare and Safety Code appended to these conditions.
DSR 2007 Schedule of rates (referred is in the General Condition of Contract as Schedule of rates)

I/We hereby tender for the execution of the works referred to in the aforesaid documents upon the terms and conditions contained or referred to therein and in accordance in all respects with the specifications, designs, drawings and other relevant details at the rates contained in schedule G.

The rates offered in price bid may be fixed under the terms and conditions of the contract and within the period ( s) of completion as stipulated in Schedule "F" .

In  consideration of I / We being  invited to tender , I / We agree to keep the tender open for acceptance for One hundred twenty  ( 120 ) days from the due date of submission there of and not to make any modifications in its terms and conditions which are not acceptable to the Company/Corporation .

A cash of Rs. 1,00,000.00 (One Lakh  rupees only) is hereby forwarded in BHEL Cash receipt Pay order or demand draft only as earnest money . If /we fail to keep the tender open as aforesaid or make any modifications in the terms and conditions of the tender which are not acceptable to Company/Corporation. I/we agree that the Company /Corporation shall, without prejudice to any other right or remedy, be at liberty to forfeit 100 % of the said earnest money absolutely. Should this tender be accepted, I/we hereby agree to abide by and fulfill all the terms, conditions and provision aforesaid documents.
If, after the tender is accepted, I/we fall to commence the execution of the works as provided in the Conditions, I / We agree that the Company / Corporation shall, without prejudice to any other right or remedy: be at liberty to forfeit the said earnest money absolutely.
QUALIFYING CRITERIA

(I) FINANCIAL SOUNDNESS AND EXPERIENCE

The work is specialized in nature which requires skilful workmanship & timely completion. All the following criteria will have to be met:

(1) The Bidder should have an Average Annual financial turn over during the last 3 years, ending 31st March 2012 not less than Rs. 11.68 Lakhs. (Audited copy of Balance sheets of last 3 years to be enclosed)
(2)  The bidder should have the experience of successfully completing similar works during the last seven years ending 30.04.2012 amounting to values mentioned as under in a completed contract. ( running contract in a BHEL unit will be acceptable along with  certificate of satisfactory work performance from Engineer – in- Charge)

(a) Three similar completed works each costing not less than the amount equal to Rs 15.57 lakhs.  Or

(b) Two similar completed works each costing not less than the amount equal to Rs 19.47 lakhs   Or

(c) One similar completed work costing not less than the amount equal to Rs 31.15                  lakhs 
NOTE : Similar work means all types of Civil  Construction and maintenance work(excluding bitumen road work).
(II) MANDATORY DOCUMENTS

The following documents must be enclosed along with the Techno Commercial Bid, failing which the tender shall be summarily rejected.
1. ESI registration certificate

2. PAN no. and copy of PAN card

3. Service Tax Registration Certificate. Service Tax no. should be PAN based

4. Trade Tax registration (TIN no.)

5. Details of ownership of firm (whether proprietary, partnership or Limited Company). In case of partnership firm and Limited Company, power of attorney authorizing the Partner / Director to submit tender in BHEL Jhansi must be enclosed
6. Details of skilled manpower employed with the firm
7. Details of tools, plants and machinery available with the firm
8. Self Certificate declaring the firm and its proprietor/partners/Directors has never been found guilty by a court for crimes of fraud , dishonesty or moral turpitude
9. Self Certificate declaring the contractor has never been blacklisted by any BHEL unit, Govt department or any PSU.

10. Self Certificate declaring that the contractor shall abide by all statutory and legal requirements of appropriate government

(3) Note :- PF registration is mandatory for execution of contract agreement However if the contractor dose not have PF registration at the time of submission of tender documents he must submit an undertaking to obtain PF registration within 15 days of issue of Letter of Intent.

(II) LABOUR LICENSE REQUIREMENTS
In case 20 or more labours are employed for the work, the contractor shall be required to submit valid Central Labour License within 15 days of issue of Letter of Intent by the Engineer -in-Charge, failing which the permission to work shall be suspended and the contractor shall be liable to pay Liquidated damages to BHEL in case of delay in completion of work.

(IV) OTHER DOCUMENTS
BHEL reserves the right to ask for any other document / certificate / clarification from the contractor relevant to above qualifying criteria and the same must be submitted within 7 (seven) days of receipt of any such communication from BHEL, failing which the deemed fit action shall be taken by BHEL.
A checklist of all the essential and desirable documents is placed on page 7 of this tender document. The tenderer shall carefully fill the checklist and submit along with tender document.
	TECHNICAL BID ( TOTAL   PAGES - page no 1 to 20  )  

	

	PART A    :    Checklist  /    Minimum    qualification   criteria  

	The following are the essential requirements to be fulfilled in order to qualify for price bidding. 

	Sl No . 
	DESCRIPTION 
	Essential/ Desirable
	Enclosed (Y/N)

	I labour laws 

 

 
	(1) Employee's PF & miscellaneous provision act, 1952 (Valid PF code required
	Desirable
	
	

	
	(2)  ESI  Number & date (Valid ESI code required) 
	Essential
	 

 
	 

	II. 
	Taxation requirements 

	
	(1) Income tax act : PAN Number Required
	Essential
	
	

	
	( 2) Trade Tax  / VAT / TIN No.
	
	
	

	 
	(3) Service tax PAN Based Service Tax Number Required
	
	
	

	III 
	BHEL works policy requirements 

	 
	1. EMD Rs 1,00,000/-  in the form of Cash / Pay order / Demand draft or 2 lakhs as one time EMD. Please furnish all details for one time EMD.
	Essential
	
	

	 
	2. Acceptance of Terms & conditions - Signature on all pages without conditions of contractor 
	
	
	

	 
	3. Blank price bid duly signed by the contractor.
	
	
	

	IV. 
	Financial soundness     
	

	 
	1. Income tax returns for last three 3 years. 
	Desirable
	
	

	V
	Qualifying Criteria

	 
	1. Average annual financial turnover during last 3 years ending 31st March 2012 not less than Rs.  11.68 lakhs
	 Essential
	
	

	 
	2. Similar completed work during last 7 years ending 30th April 2012 should be either of the following.
	
	
	

	 
	(a) Three similar completed works, each costing not less than the amount equal to Rs. 15.57 lakhs.
	
	
	

	 
	 ( b )Two similar completed works, each costing not less than the amount equal to Rs. 19.47  lakhs.
	
	
	

	 
	( c ) One similar completed work costing not less than the amount equal to Rs. 31.15  lakhs.
	
	
	

	VI
	Detail of technical and skilled manpower
	
	
	

	VII
	Self Declaration that contractor has not been found guilty by a court of law in India for fraud, dishonesty or moral turpitude
	 Essential


	
	

	VIII
	Self certificate for not been blacklisted by any BHEL unit or any other organization where he has worked
	
	
	

	IX
	Self certificate that contractor will abide by all statutory and regulatory requirements while carrying out the work
	
	
	

	Note 1: Non Fulfillment of any/all of the above requirements can entail disqualification of the bidder.  
	

	Note 2: For similar work refer page 10 clause no 26

	All the above conditions accepted 
	


SCHEDULE "A"

MATERIALS FOR ISSUE TO THE CONTRACTOR

	S.No.
	Particulars 
	 

Rs 
	Issue from

	1
	Cement in 50 kg bags 
	     200/-
	BHEL Store 


SCHEDULE "B"

TOOLS, PLANT AND BUILDING TO BE HIRED TO THE CONTRACTOR
	Sl.No.
	T & P
	Rates

	1.
	Any tools/Jack Hammer (only if working & available in civil deptt.)
	Rs.20/- per hour


SCHEDULE “C”
SPECIAL CONDITIONS OF CONTRACT

1. The BHEL General Conditions of contract shall an integral part of this contract. (The BHEL General condition of contract may be seen in civil Office )

2. The Special Conditions of Contract (SCC) shall have overriding priority over General Conditions of Contract (GCC). Whenever there is any contradiction between the GCC and SCC, the SCC shall be treated as final.

3. The following General Conditions of Contract shall not be applicable; they shall be treated as deleted: 9(d), 34.A.2, 34.A.3, 34.A.4, 34.A.5, 34.A.6, 34.A.7, 34.A.8, 34.A.9, 34.A.10, 34.A.11, 34.A.12, 51.1 (b), 51.2, 51.3, 52.1, 53(b).2, 53(c), 53(d), 53(e), 53(e).1.

4. The contractor shall take necessary precautions for the safety of his workmen.
5. The contractor shall take proper care to avoid any damage to BHEL property. If any damage does take place, the contractor will be fully responsible for the same .The decision of Engineer in charge is such case shall be final and binding on contractor.
6. The contractor will follow all safety rules required in connection with execution of such type of works.

7. The contractor will have to get his workman insured at his cost. Work order will be issued on productions of this document to the deptt.

8. The contractor shall make his own arrangement for his residing the supervisor near by the township for execution/interest of work. If available the BHEL can provide the accommodation at commercial rent (electric charger and water charge extra) as per rule.

9. The Workman Compensation Act, its implications, licensing and liabilities of Minimum Wages Act will be entirely the responsibility of the contractor.
10. The workers should be trained enough for the work and should be engaged on approval of the engineer -in charge.
11. No minor worker will be allowed to work.
12. The contractor is advised to take insurance policy to cover accident risk under Workmen's Compensation Act in respect of workmen engaged by him .

13. The contractor shall be wholly responsible for the behavior of his workmen with the office staff and with the residents of the township.
14. Contractor will have to ensure that the work places are entirely cleaned  

15. In case any time contractor fail to arrange the work BHEL will deduct the expenses to make alternate arrangement for the same.
16. Water charges will be deducted @ 1% of gross value of the bill. Water will be supplied at one point.

17. Any electric power required for contractors’ lighting/machinery for the purpose of civil work except fabrication work shall be supplied    FREE OF COST by the company at the written request of the contractor at one point subject to the observance of rules an regulations of Electric board / company. 
18. EXECUTION OF CONTRACT:
18.1. The successful Tenderer’s responsibility under this contract commences from the date of issue of the Letter of Intent by Bharat Heavy Electrical Limited. The successful tenderer shall be required to execute a contract in the “prescribed form’ as per GCC with BHEL within 15 days after the acceptance of his tender and in any case before the commencement of work.  The expenses for completion and stamping and registration of the agreement with prescribed authority, if necessary shall be borne by the Contractor.
18.2. The contractor shall commence the work within the time indicated in the Letter of intent and shall proceed with the same with due expedition without delay.
18.3. If the successful tenderer fails to commence the work within the stipulated time, BHEL, at its sole discretion, will have the right to cancel the contract.  His Earnest money and/or Security Deposit will stand forfeited without any further reference to him without prejudice to any and all of BHEL’s other rights and remedies in this regard.
18.4. All the works shall be carried out under the direction and to the satisfaction of BHEL.
19. Work shall be carried through out work period (contract period)   without interruptions due to any Sunday /holiday round the clock and contractor has to make suitable   arrangement for the same without any extra compensation.
20. The contractor has to obtain registration numbers service tax code & account code etc from commissioner ate of central excise and service tax , Kanpur  without which tender shall not be issued . He shall have to comply with the requirement of the commissioner ate .
21. The payment shall be made on the basis of measurement only as per unit given in schedule The contractor or his supervisor /authorized person maintained a register and entry the work /measurement immediately and verified daily/after the work by BHEL supervisor.
22.  MEASUREMENT OF WORK AND MODE OF PAYMENT
22.1. All payments will be made as per “Price Schedule” only after completion of that work. The same will be entered in measurement Book as running account (RA bill) & both the parties will sign in that.
22.2. All recoveries due from the contractor for the month/period shall be effected in full from Corresponding running bills unless specific approval from competent authority is obtained to the contrary. The recoveries could be I.Tax, Stamp duty on S.D etc.
22.3. Measurement shall be restricted to that quantity for which it is required to ascertain the Financial liability of BHEL under this contract.
22.4. The contractor shall bear the expenditure involved if any, in meeting requirements.  The contractor shall, provide all the assistance with appliances and other thing necessary for Measurement or re-measurement.
22.5. Passing of bills covered by such measurement does not amount to acceptance by BHEL of the completion of the work measured.  Any left out work has to be completed by the Contractor, as directed.
22.6. Final measurement bill shall be prepared in the Performa prescribed for the purpose, based on the certificate issued by the Engineer that the entire work as stipulated in the tender Specifications has been completed in all respect to the entire satisfaction of BHEL.  The Contractor shall give unqualified `No claim’ and `no demand’ certificate.  The abstract of final quantities and financial values shall also be entered in the measurement book and signed by both the parties. The final bill shall be paid within a reasonable time after completion of the work.  After the payment of final bill, only the guarantee obligation percentage value shall remain unpaid, which will be released as per GCC.

NOTE :- Normally it takes approximately 60 days for the payments to be released by  BHEL after
                 recording the measurements.
23. In all cases of disputes emanating from and in reference to this agreement contract and all 
 questions, dispute for difference of any kind what so ever arising out of or relating to this 
 agreement contract the matter/dispute shall be referred to the arbitration of the sole arbitration  of  Executive director/Group general manager/General Manager of BHEL, Jhansi or any other person (including an employee of BHEL) even thought he had to deal with the matter relating to this agreement contract nominated by the said Executive Director/GGM/GM to act as sole arbitrator. The arbitrator shall be under the arbitrator and conciliation act of 1996 and the rules there under. The arbitrator may from time to time with the consent of the parties enlarge the time for making and publishing the award. No person other than the above or his nominee can act as arbitrator. The venue of arbitrator shall be at Jhansi or the place decided by the arbitrator. The award of the arbitrator shall be final and binding on the parties of this agreement. The court at Jhansi only should have jurisdiction in the case/matter.
24. The quantity of each item has been mentioned in the tender on tentative. The actual quantity will be as per work given. The quantity may be variate as per requirement. The contract may be awarded on overall lowest basis only.
25. Contractor will submit Central Labour license within 15 days of issued of LOI. 
26. Similar work means all type of Civil Construction and maintenance work.       
SPECIAL CONDITIONS OF CONTRACT FOR CIVIL WORK
27. Test certificate for all materials to be made available by the contractor as per direction of Engineer-in –charge including strength of concrete cubes , bricks, aggregates. And any other materials provided by contractor.
28. Cement wastage @ 2% of total issued quantity shall be permissible. beyond this recovery shall be made at double the issue rate for cement.
29. The works have to be carried out as per CPWD specifications 1977, Wherever CPWD specifications are silent, the work shall carry out as per BIS specifications. In case of  defective  BHEL will have full right to reject the work or part  there of .Such defective work if any , will have to be rectified at contractor's cost . The opinion of Engineer in charge shall be final in this matter. If the defective work is allowed to stand BHEL shall have the absolute right to reduce the rates for such items and the contractor shall have no claims over such defective work allowed on reduced rates. 
30. The contractor shall have to make his own storage sheds for materials to be issued by BHEL. If Deemed necessary by engineer in charge, the contractor shall make separate store for cement with double lock system .The empty cement bags shall be stocked at one place and at least 90 % of them shall be returned to BHEL at BHEL stores in good condition without any payment Therefore. If the total quantity of 90% empty cement bags is not returned by the contractor,   the same will be recovered at the rate of Rs 3/- per bag from the bills.
Compensation for Delay: (L D Clause)

31. If the contractor fails to maintain the required progress as per contract or to complete the
         work and clear the site on or before the contract.

Or extended date – period of completion, he shall, without prejudice to any other sight or remedy of the company/ corporation on account of such breach, pay as agreed compensation amount calculated as stipulated below or such smaller amount as may be fixed by the authority on the contract value of the work for every week that the progress remains below that specified in condition 14 or that the work remains incomplete.


This will also apply to items and groups of items for which separate period of completion has been specified.
Completion period (as originally stipulated)

                 
· Not exceeding 6 months.                                      @ 1 percent per week

· Exceeding 6 months and not exceeding 2 years  @ 1/2 percent per week
· Exceeding 2 years                                                @ 1/4 percent per week

31.1
Provided always that the total amount of compensation for delay to be paid under the condition shall not exceed the under-noted percentage of the 

contract value or of the contract value of the item or group of item of work for which a separate period of completion is given.
Completion period (as originally stipulated)

                 
· Not exceeding 6 months.                                     @ 10 percent
· Exceeding 6 months and not exceeding 2 years  @ 7 ½ percent
· Exceeding 2 years                                                @ 5 percent 
31.2 
The amount of compensation may be adjusted or setoff against any sum payable to the contractor under this or any other contract with the company/ corporation.

TERMS & CONDITIONS OF THE TENDER

32-
The contractor shall comply with the following general terms, conditions and special instructions.
         The contractor shall fully comply with the following enactments:

a. Contract Labour (R&A) Act, 1971..
b. Minimum wages as mentioned from time to time .

c. Payment of Wages Act, Bonus act.
d. ESI Act, 1948.

e. EPF Act, 1952.

f. Workmen’s Compensation Act, 1923.

g. Stamp duty Act, 1898 

h. The company’s instructions as issued from time to time in regard to working hours, 
      wages, leave, holidays etc.

33. if the contract is awarded the contract then he should apply for form -V from BHEL to obtain Labour license from Appropriate Government and submit the same and  PF registration ( PF Code no ) within one month from the date of award of contract . Till then award will be treated as  as PROVISIONAL . 

34. The contractor shall produce the following Registers and forms before commencement of work, verification by the Executing Officer of the company.

a.
Form XIII
-
Register of workmen employed by contractor (Rule 75).

b.
Form XIV 
-
Employment card issued by contractor (Rule 76).

c.
Form XVI
-
Muster Roll (Rule 78 (1) (a) (i)).

d.
Form XVII
-
Register of Wages (Rule 78 (1) (a) (i)).

e.
Form XVII
-
Register of wages-cum Muster Roll (in case of weekly payment).

f.
Form XIX
-
Wage slip (Rule 78 (b)).

g.
Form XX
-
Register of deduction for damages or loss (Rule 78(1)(a) (ii)). 

h.
Form XXI
-
Register for fines (Rule 78 (1) (a) (ii)). 

i.
Form XXII
-
Register of advances (Rule 78 (1) (a) (ii)). 

j.
Form XXIII
-
Register of overtime (Rule 78 (1) (a) (iii)). 

k.
Form XXIV
-
Register to be sent by the contractor to licensing




                       officer (Rule 82 ) (1). 

The contractor shall maintain the above neatly, completely and legibly for inspection by various statutory authorities and the company officials even at short notice.

Indemnity clause

35. That BHEL-Jhansi will not, in any manner be responsible for any act, omission or commission of the workers engaged by contractor and no claim in this respect will lie against BHEL-Jhansi. If any such claim is made against BHEL-Jhansi by any worker or his heirs engaged/employed by the contractor, which BHEL-Jhansi is obliged to discharge by virtue of any statue or any provision of law and rules due to mere fact of the workers of the contractor working at BHEL- Jhansi premises or otherwise, the contractor will be liable to indemnify/reimburse BHEL-Jhansi all the money paid in addition to the expenses incurred by him. The contractor must indemnify and keep indemnified BHEL- Jhansi against all losses and claims for injuries or damage to any person or property whatsoever which may arise of or in course of the operation of the contract and against all claims, demands, proceedings, damages, cost, charges and expenses whatsoever in respect of contingencies depicted herein shall be deemed as expected risk.

The Contractor has to make an agreement with BHEL in the format prescribed only on Rs. 100/-  Non-Judicial Stamp Paper. 

Legal compliance clause 

36.  The contractor will comply with all the provisions regarding licensing, welfare and health, procedures, maintenance of various records and registers etc., as provided under the contract Labour (Regulation & abolition) Act 1970, rules amendments, orders, notifications there under issued by the Appropriate Government from time to time. For non-compliance of any provisions, statutory compliance under law, the contractor shall be responsible for penalties levied by the appropriate authority under the Act. The contractor shall also be liable to comply with all other Labour and Industrial Laws and such other acts and Statutes  (including Factories Act, Payment of Bonus Act, minimum wages Act, etc.,). Depositing of ESI, PF contribution as may be applicable is the responsibility of the contractor. For any default in compliance, the contractor shall be held responsible. 
37. 
The work shall be supervised by the contractor or through the 


 
Authorized representatives on day to day basis.

38. 
The Contractor shall compensate BHEL for any loss or damage to the 

 plant/property, material of BHEL due to his workmen/representatives’ 

            negligence or otherwise during execution of work.

39.  In the event of contractor abandoning the work or BHEL revoking the   contract BHEL shall have a right to get incomplete work completed at contractor’s risk and cost. BHEL shall have a right to terminate the contract at any time without assigning any reason thereof.

40. Security deposit will be released on submission of following 
certificates from departments mentioned as under:-

41. A.  No-dues certificate regarding service tax payment, and any other dues  liable to be remitted by contractor under  financial laws,  to Finance department

B.
In case of non satisfactory performance of the contract, BHEL shall have a right of forfeiting the security deposit. In case of any dispute decision of concerned Head of the Department will be final
Arbitration clause & governing law 

All disputes arising in connection with the contract shall be settled by mutual consultation. If no agreement is reached the dispute shall be settled in accordance with Arbitration and conciliation Act, 1996 and the rules made there under. The dispute shall be referred for arbitration to any arbitrator to be appointed by the Head of the unit. 
The award of the arbitrator shall be final and binding on both the parties. The 
venue of the Arbitration shall be at Jhansi in India. The Award to be given by the 
Arbitration shall be a speaking award. All questions, disputes, differences arising 
under, out of or in connection with this contract shall be to the exclusive 
jurisdiction of Jhansi court. 
SCHEDULE " D "

LEAD STATE MENT

	S NO
	Name of Material
	Name of source
	Lead particulars

	1
	Cement 
	BHEL Store
	2 KM


SCHEDULE “E”
Security Deposit

Security Deposit – As per Work policy

[image: image5.jpg]


Security Deposit should be collected from the successful tender. The rate of Security Deposit will be as below:
Upto Rs.10 lakhs      10%               Rs.                --------
7.5% of Balance upto 50 lakhs
     --------


Total Security

  Rs.                ---------


Final amount will be as per agreement amount.

SCHEDULE " F "

Reference to general condition of contract
	Condition No .

	3(b)
	Accepting Authority
	             DGM – Civil / Estate

	3 ( i)
	Market Rate percentage addition to cover overheads and profit.  
	'              

               -

	9
	Earnest money : security deposit
	

	
	( a)  Estimated cost of the works  
	              Rs – 38.94/- lakhs

	
	(b)  Earnest money -
	                    Rs- 1,00,000.00

	
	(c)  Security deposit  The rate of security deposit as below .
	

	
	Upto Rs. 10  lakhs
	10%
	       Rs.
	---------

	
	7.5% of Balance upto 50 lakhs
	
	       Rs.
	---------

	
	
	Total Security
	       Rs.
	---------

	10 (iv)A (A)
	Permissible deviation limit for any contract item , substituted item or contract -cum substituted item in excess of the original value of the item ( Applicable percentage Rate Contracts)
	50 % or Rs 50,000  whichever is higher

	10 (vi)A (b)
	Permissible deviation limit for an individual trade  item ( Applicable to Lump sum Contracts only )
	

	10 (vii)A      (c)
	Permissible deviation limit for items of work not already included in the contract.
	                       NA

	11 (vii)B (a)
	Permissible deviation limit for an individual trade item.
	

	12
	Suspension of work
	

	12 (b)  (ii)
	Percentage payable to cover Contractors indirect expenses for suspension exceeding thirty days and not exceeding 3 months.
	                     NA

	( C)
	Percentage payable to cover Contractor's indirect expenses for suspension exceeding 3 months.
	                     NA   

	13
	Time allowed for execution of work
	One Year

	13  (h)
	Authority competent to decide if “any other cause ' of delay is beyond Contractor’s Control.
	            DGM – Civil / Estate

	32
	Authority competent to reduce compensation amount
	             DGM – Civil / Estate

	33
	Defects liability period.
	                One Year

	57
	Authority for appointing arbitrator
	                 Unit Head


BLANK PRICE BID
Section - I DSR Item
	S.No.
	DSR 2007 Ref:-
	Short Description of Items

(For detailed specifications refer DSR 2007)
	Unit
	Qty
	Rate
	Amount
	

	1
	2.31/68
	cleaning jungle 
	m2
	2500
	2.64
	6600.00


	.................................................(Above /Below) over DSR 2007 rates for Item no 1 to item no 58


	2
	1.1.2/54
	carriage of earth upto 1 km
	m3
	600 
	49.42
	29652.00
	

	3
	2.6.1/64
	Earth work in excavation by mechanical means/
	m3
	500
	101.85
	50925.00
	

	4
	2.7.1/64
	Earth work in excavation in ordinary rock
	m3
	200
	152.60
	30520.00
	

	5
	2.7.3/64
	Earth work in excavation in hard rock ( blasting prohibited)
	m3
	100
	325.25
	32525.00
	

	6
	2.8.1/65
	Earth work in excavation in trenches in all type of soil
	m3
	150
	103.40
	15510.00
	

	7
	2.9.1/65
	Earth work in excavation in trenches in ordinary rock
	m3
	50
	162.62
	8131.00
	

	8
	2.9.3/65
	Eart work in excavation in hard rock (blasting prohibited) 
	m3
	25
	332.45
	8311.25
	

	9
	2.25/67
	Filling available excavated earth 
	m3
	425 
	45.70
	19422.50
	

	10
	4.2.7/80
	Cement concrete – 1:3:6 with 40mm
	m3
	30
	2881.85
	86455.50
	

	11
	4.10/81
	P/Laying damp proof course 40mm th.
	sqm
	15
	144.15
	2162.25
	

	12
	5.1.2/88
	P/ laying in position RCC -1:1:5:3 ( upto plinth)
	m3
	50
	3732.00
	186600.00
	

	13
	5.2.2/88
	P/ laying in position RCC -1:1:5:3 in column
	m3
	8
	4092.35
	32738.80
	

	14
	5.3/88
	Rcc in beams, suspended floors, roofs 1:2:4
	m3
	80
	3673.85
	293908.00
	

	15
	5.9.1/89
	Centring and Shuttering for foundations 
	m2
	100
	119.25
	11925.00
	

	16
	5.9.3/89
	C / Shuttering Suspended floors , roofs
	m2
	400
	187.35
	74940.00
	

	17
	5.9.5/89
	C/Shuttering for lintel & beam
	m2
	50
	162.65
	8132.50
	

	18
	5.9.6/89
	C/Shuttering for Column
	m2
	200
	238.40
	47680.00
	

	19
	5.9.7/89
	C/Shuttering in stairs
	m2
	50
	204.00
	10200.00
	

	20
	5.9.16.1/86
	C/Shuttering for slab sides
	m2
	250
	61.10
	15275.00
	

	
	
	Page total ‘A1’( item no 1 to  20)
	
	
	Rs.
	971613.80
	

	S.No.
	DSR 2007 Ref:-
	Short Description of Items

(For detailed specifications refer DSR 2007)
	Unit
	Qty
	Rate
	Amount
	

	21
	6.1.2/99
	Brick masinary 1:6  up to plinth 
	M3
	    9
	2121.75
	19095.75
	.................................................(Above /Below) over DSR 2007 rates for Item no 1 to item no 58


	22
	6.4.2/99
	Brick  work in Super  structure 1:6
	m3
	100
	2430.25
	243025.00
	

	23
	6.44/103
	Brick work 7cm wide 11.4cm. deep to plinth protection 
	Mtr
	  66
	16.25
	1072.50
	

	24
	6.13.2/100
	Half brick masonry n super structure  1:4
	sq m
	100
	302.80
	30280.00
	

	25
	7.1.1/109
	R.R. 1:6 in fd.
	m3
	10
	1838.90
	18389.00
	

	26
	9.21.1/140
	P / fixing ISI marked flush door shutters
	sq m
	8
	929.95
	7439.60
	

	27
	11.1.2/172
	Brick on edge flooring with bricks
	sq m
	125
	296.20
	37025.00
	

	28
	11.3.1/172
	CC Flooring 40mm
	sq m
	300
	192.95
	57885.00
	

	29
	11.36/177
	Ceramic walls tiles
	sq m
	100
	556.60
	55660.00
	

	30
	11.37/177
	Ceramic floor tiles 300mm
	sq m
	30
	598.65
	17959.50
	

	31
	11.41.2/178
	P/L vitrified floor tiles adhesive
	sq m
	300
	1031.85
	309555.00
	

	32
	11.42/178
	Deduct for not using 20mm th cement mortar 1;4
	sq m
	300
	-233.95
	-70185.00
	

	33
	11.43/179
	Fixing tiles with cement based the adhesive
	sq m
	300
	224.70
	67410.00
	

	34
	13.1.2/201
	 Plaster -12 mm thick in 1:6 
	m2
	450
	67.65
	30442.50
	

	35
	13.2.2/201
	 Plaster -15 mm thick in 1:6 
	m2
	450
	78.55
	   35347.50
	

	36


	13.26/203
	P/applying plaster of paris putty
	m2
	800
	47.20
	37760.00
	

	37
	13.37.1/204
	White washing with lime : New work
	m2
	300
	6.75
	2025.00
	

	38
	13.41.1/204
	Oil bound washable distemper   New  work
	m2
	500
	41.55
	20775.00
	

	39
	13.47.1/205
	Premium acrylic smooth exterior paint with silicone additives
	m2
	275
	60.10
	16527.50
	

	40
	17.6.1/264
	P/ fixing WC  (Indian  type W.C. pan )
	Nos
	4
	2392.55
	9570.20
	

	41
	17.7.2/264
	P/ fixing wash basin with C.I. brackets,15  mm C.P.  
	Nos
	4
	1201.70
	4806.80
	

	42
	17.5.2/264
	P/ fixing URINAL two.  
	set
	2
	5960.75
	11921.50
	

	
	
	Page total ‘A2’(item no 21 t 42  )
	
	
	
	963787.35
	

	
	
	
	
	
	
	
	

	S.No.
	DSR 2007 Ref:-
	Short Description of Items

(For detailed specifications refer DSR 2007)
	Unit
	Qty
	Rate
	Amount
	

	43
	17.31/267
	P/and fixing 600x450 mm beveled edge mirror .
	Nos
	4
	493.65
	
	

	
	
	
	
	
	
	1974.60
	.................(Above /Below) over DSR 2007 rates for Item no 1 to item no 58


	44
	18.10.1/292
	P/fixing G.I. pipes complete with G.I. fittings/clamps,  
	M
	60
	105.85
	6351.00
	

	45
	18.12.2/292
	Providing  and  fixing  G.I.  pipes 15mm  complete  
	M
	60
	116.60
	6996.00
	

	46
	18.15.1/293
	P/ fixing brass bib cock   15 mm nominal bore    
	each
	10
	191.70
	1917.00
	

	47
	19.6.2/316
	P/ laying non-pressure NP2 class 150 mm dia. R.
	M
	40
	202.85
	8114.00
	

	48
	19.7.1/317
	Constructing brick masonry manhole in  1:4
	each
	6
	5383.70
	32302.20
	

	49
	21.1.1.1/337
	P/ fixing  aluminum  work  for  doors, windows,  
	Kg
	1000
	290.45
	290450.00
	

	50
	21.1.2.1/337
	P/fixing  aluminum  work  for  doors, windows,   
	Kg
	500
	310.45
	155225.00
	

	51
	21.2.2/337
	P/fixing  12mm  thick  prelaminated  particle  board
	Sqm
	100
	812.60
	81260.00
	

	52
	21.3.1/338
	P/ fixing  glazing  in  aluminum  door,  window,  
	Sqm
	50
	554.95
	27747.50
	

	53
	21.4.1/338
	P/ fixing double  action  hydraulic  floor  spring
	Nos
	12
	1733.50
	20802.00
	

	54
	21.8.1/339
	Filling gap in between aluminum frame & RCC/Brick .
	Mtr
	175
	58.85
	10298.75
	

	55
	1649/280
	Polyethylene water storage tank with cover
	Per litre
	2000
	4.00
	8000.00
	

	56
	22.7.1/347
	P &  laying cement based water proofing treatment
	Sq m
	155
	541.50
	83932.50
	

	57
	7060/131
	Hydraulic door closer tubular type Aluminum  body
	Nos
	8
	765.00
	6120.00
	

	58
	------------
	Any or all items not covered above
	Basic Value
	100000
	1.00
	100000.00
	

	
	
	Page total ‘A3’ (item no.43 to 58) 
	
	
	Rs.
	841490.55
	

	
	
	TOTAL A ( A1+A2+A3 )
	
	
	
	2776891.70
	

	
	
	B) Above/ below......... % 
	Sub total B ( A  x.....%  ) Rs 


	
	

	
	
	Sub total C (A ± B )
	
	
	
	
	


Section - II Non DSR item
	s no 
	
	DESCRIPTION OF ITEMS
	Unit 
	Qty 
	Rate 
	Amount

	59
	Ex-1
	Providing and fixing 12mm th  gypboard wall panelling in level after  fixing G.I."w" channel in level with screw and rawal plug after drilling screwed in wall  with termite treatment .The plaster of paris moulding /cornice is also include in the job .The work  complete with   birla/JK wall  putty wall primer and distempering with oil bound washable distemper of approved brand . The work including jointing and fixing to a flush finish of tapered an square edges of the board with recommended filler , jointing tapes , finisher . Tthe cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeters channels suitablely fixed all complete as per draning and specification and direction of engineer in charge  .
	sqm
	225
	
	

	60
	 Ex-2
	Providing and fixing vertical blinds /curtain (make Vista or Equivalent approved item) as per direction of engineer in charge
	 Sqm
	55
	
	

	61
	Ex-3
	Providing and fixing false ceiling with grade-I 12.5 mm thick one or two layer of tapered edge Gypboard including  providing and fixing of frame work made from M.S. sheet and galvanized consisting following components- (i) Intermediate channel of size 80 x 26 mm @ 1220  mm c/c (max) (ii) ceiling section of size 20 x 27 mm @ 457 mm c/c (max) (iii) ceiling angle size of 25 x 10x 0.55 mm @ 1220 mm c/c (max) (iv) perimeter channel size of 15 x 45 mm(along the wall all around perimeter) (v) connecting clip 2.64 mm dia (vi) soffit cleat size of 22 x37 mm (vii) expansion rawlplug size of 1/2 inch & jointing and fixing to a flush finish of tapered and square edges of the board with recommended filler, jointing tapes, finisher and two coats of primer suitable for board as per manufactures specification and also including the cost of making openings for light fittings ,diffusers, cutouts made with frame of perimeter channels suitably fixed all complete as per drawing and specification and direction of the Engineer-in-charge .
	Sqm
	288
	
	

	62
	Ex-4
	Providing and fixing pre manufactured gypsum cornice with design in required pattern  shape & size and as per direction of Engineer-in- charge
	Mtr
	62
	
	

	63
	Ex-5
	Providing and fixing pre manufactured gypsum molding  in required pattern and shape & size and as per direction of Engineer-in- charge
	Mtr
	62
	
	

	64
	Ex-6
	Providing and fixing pre manufactured gypsum molding / cornice corner  in required pattern and shape & size and as per direction of Engineer-in- charge
	Each
	12
	
	

	65
	Ex-7
	Providing and fixing pre manufactured gypsum center panels with min. 630 mm dia. in required pattern and as per direction of Engineer-in- charge
	Each
	4
	
	

	66
	Ex-8
	Reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete. REINFORCEMENT TO BE PROVIDED BY BHEL, FREE OF COST FROM BHEL STORE. Thermo - Mechanically treated bars / mild steel. Binding wire of approved quality / guage to be provided by contractor.
	Kg
	14000
	
	

	
	
	Total “D”           
	
	
	Rs
	

	
	
	Grand Total “E” (C + D )
	
	
	Rs
	

	
	
	( In words)
	

	
	
	Service tax extra as applicable
	
	
	
	


1. Contractor should not offer rates in blank price bid

 PRICE BID
Section - I DSR Item

	S.No.
	DSR 2007 Ref:-
	Short Description of Items

(For detailed specifications refer DSR 2007)
	Unit
	Qty
	Rate
	Amount
	

	1
	2.31/68
	cleaning jungle 
	m2
	2500
	2.64
	6600.00


	.................................................(Above /Below) over DSR 2007 rates for Item no 1 to item no 58


	2
	1.1.2/54
	carriage of earth upto 1 km
	m3
	600 
	49.42
	29652.00
	

	3
	2.6.1/64
	Earth work in excavation by mechanical means/
	m3
	500
	101.85
	50925.00
	

	4
	2.7.1/64
	Earth work in excavation in ordinary rock
	m3
	200
	152.60
	30520.00
	

	5
	2.7.3/64
	Earth work in excavation in hard rock ( blasting prohibited)
	m3
	100
	325.25
	32525.00
	

	6
	2.8.1/65
	Earth work in excavation in trenches in all type of soil
	m3
	150
	103.40
	15510.00
	

	7
	2.9.1/65
	Earth work in excavation in trenches in ordinary rock
	m3
	50
	162.62
	8131.00
	

	8
	2.9.3/65
	Eart work in excavation in hard rock (blasting prohibited) 
	m3
	25
	332.45
	8311.25
	

	9
	2.25/67
	Filling available excavated earth 
	m3
	425 
	45.70
	19422.50
	

	10
	4.2.7/80
	Cement concrete – 1:3:6 with 40mm
	m3
	30
	2881.85
	86455.50
	

	11
	4.10/81
	P/Laying damp proof course 40mm th.
	sqm
	15
	144.15
	2162.25
	

	12
	5.1.2/88
	P/ laying in position RCC -1:1:5:3 ( upto plinth)
	m3
	50
	3732.00
	186600.00
	

	13
	5.2.2/88
	P/ laying in position RCC -1:1:5:3 in column
	m3
	8
	4092.35
	32738.80
	

	14
	5.3/88
	Rcc in beams, suspended floors, roofs 1:2:4
	m3
	80
	3673.85
	293908.00
	

	15
	5.9.1/89
	Centring and Shuttering for foundations 
	m2
	100
	119.25
	11925.00
	

	16
	5.9.3/89
	C / Shuttering Suspended floors , roofs
	m2
	400
	187.35
	74940.00
	

	17
	5.9.5/89
	C/Shuttering for lintel & beam
	m2
	50
	162.65
	8132.50
	

	18
	5.9.6/89
	C/Shuttering for Column
	m2
	200
	238.40
	47680.00
	

	19
	5.9.7/89
	C/Shuttering in stairs
	m2
	50
	204.00
	10200.00
	

	20
	5.9.16.1/86
	C/Shuttering for slab sides
	m2
	250
	61.10
	15275.00
	

	
	
	Page total ‘A1’( item no 1 to  20)
	
	
	Rs.
	971613.80
	


	S.No.
	DSR 2007 Ref:-
	Short Description of Items

(For detailed specifications refer DSR 2007)
	Unit
	Qty
	Rate
	Amount
	

	21
	6.1.2/99
	Brick masinary 1:6  up to plinth 
	M3
	    9
	2121.75
	19095.75
	.................................................(Above /Below) over DSR 2007 rates for Item no 1 to item no 58


	22
	6.4.2/99
	Brick  work in Super  structure 1:6
	m3
	100
	2430.25
	243025.00
	

	23
	6.44/103
	Brick work 7cm wide 11.4cm. deep to plinth protection 
	Mtr
	  66
	16.25
	1072.50
	

	24
	6.13.2/100
	Half brick masonry n super structure  1:4
	sq m
	100
	302.80
	30280.00
	

	25
	7.1.1/109
	R.R. 1:6 in fd.
	m3
	10
	1838.90
	18389.00
	

	26
	9.21.1/140
	P / fixing ISI marked flush door shutters
	sq m
	8
	929.95
	7439.60
	

	27
	11.1.2/172
	Brick on edge flooring with bricks
	sq m
	125
	296.20
	37025.00
	

	28
	11.3.1/172
	CC Flooring 40mm
	sq m
	300
	192.95
	57885.00
	

	29
	11.36/177
	Ceramic walls tiles
	sq m
	100
	556.60
	55660.00
	

	30
	11.37/177
	Ceramic floor tiles 300mm
	sq m
	30
	598.65
	17959.50
	

	31
	11.41.2/178
	P/L vitrified floor tiles adhesive
	sq m
	300
	1031.85
	309555.00
	

	32
	11.42/178
	Deduct for not using 20mm th cement mortar 1;4
	sq m
	300
	-233.95
	-70185.00
	

	33
	11.43/179
	Fixing tiles with cement based the adhesive
	sq m
	300
	224.70
	67410.00
	

	34
	13.1.2/201
	 Plaster -12 mm thick in 1:6 
	m2
	450
	67.65
	30442.50
	

	35
	13.2.2/201
	 Plaster -15 mm thick in 1:6 
	m2
	450
	78.55
	   35347.50
	

	36


	13.26/203
	P/applying plaster of paris putty
	m2
	800
	47.20
	37760.00
	

	37
	13.37.1/204
	White washing with lime : New work
	m2
	300
	6.75
	2025.00
	

	38
	13.41.1/204
	Oil bound washable distemper   New  work
	m2
	500
	41.55
	20775.00
	

	39
	13.47.1/205
	Premium acrylic smooth exterior paint with silicone additives
	m2
	275
	60.10
	16527.50
	

	40
	17.6.1/264
	P/ fixing WC  (Indian  type W.C. pan )
	Nos
	4
	2392.55
	9570.20
	

	41
	17.7.2/264
	P/ fixing wash basin with C.I. brackets,15  mm C.P.  
	Nos
	4
	1201.70
	4806.80
	

	42
	17.5.2/264
	P/ fixing URINAL two.  
	set
	2
	5960.75
	11921.50
	

	
	
	Page total ‘A2’(item no 21 t 42  )
	
	
	
	963787.35
	

	
	
	
	
	
	
	
	

	S.No.
	DSR 2007 Ref:-
	Short Description of Items

(For detailed specifications refer DSR 2007)
	Unit
	Qty
	Rate
	Amount
	

	43
	17.31/267
	P/and fixing 600x450 mm beveled edge mirror .
	Nos
	4
	493.65
	
	

	
	
	
	
	
	
	1974.60
	.................(Above /Below) over DSR 2007 rates for Item no 1 to item no 58


	44
	18.10.1/292
	P/fixing G.I. pipes complete with G.I. fittings/clamps,  
	M
	60
	105.85
	6351.00
	

	45
	18.12.2/292
	Providing  and  fixing  G.I.  pipes 15mm  complete  
	M
	60
	116.60
	6996.00
	

	46
	18.15.1/293
	P/ fixing brass bib cock   15 mm nominal bore    
	each
	10
	191.70
	1917.00
	

	47
	19.6.2/316
	P/ laying non-pressure NP2 class 150 mm dia. R.
	M
	40
	202.85
	8114.00
	

	48
	19.7.1/317
	Constructing brick masonry manhole in  1:4
	each
	6
	5383.70
	32302.20
	

	49
	21.1.1.1/337
	P/ fixing  aluminum  work  for  doors, windows,  
	Kg
	1000
	290.45
	290450.00
	

	50
	21.1.2.1/337
	P/fixing  aluminum  work  for  doors, windows,   
	Kg
	500
	310.45
	155225.00
	

	51
	21.2.2/337
	P/fixing  12mm  thick  prelaminated  particle  board
	Sqm
	100
	812.60
	81260.00
	

	52
	21.3.1/338
	P/ fixing  glazing  in  aluminium  door,  window,  
	Sqm
	50
	554.95
	27747.50
	

	53
	21.4.1/338
	P/ fixing double  action  hydraulic  floor  spring
	Nos
	12
	1733.50
	20802.00
	

	54
	21.8.1/339
	Filling gap in between aluminium frame & RCC/Brick .
	Mtr
	175
	58.85
	10298.75
	

	55
	1649/280
	Polyethylene water storage tank with cover
	Per litre
	2000
	4.00
	8000.00
	

	56
	22.7.1/347
	P &  laying cement based water proofing treatment
	Sq m
	155
	541.50
	83932.50
	

	57
	7060/131
	Hydraulic door closer tubular type Aluminium  body
	Nos
	8
	765.00
	6120.00
	

	58
	------------
	Any or all items not covered above
	Basic Value
	100000
	1.00
	100000.00
	

	
	
	Page total ‘A3’ (item no.43 to 58) 
	
	
	Rs.
	841490.55
	

	
	
	TOTAL A ( A1+A2+A3 )
	
	
	
	2776891.70
	

	
	
	B) Above/ below......... % 
	Sub total B ( A  x.....%  ) Rs 


	
	

	
	
	Sub total C (A ± B )
	
	
	
	
	


	s.no.
	
	DESCRIPTION OF ITEMS
	Unit 
	Qty 
	Rate 
	Amount

	59
	Ex-1
	Providing and fixing 12mm th  gypboard wall panelling in level after  fixing G.I."w" channel in level with screw and rawal plug after drilling screwed in wall  with termite treatment .The plaster of paris moulding /cornice is also include in the job .The work  complete with   birla/JK wall  putty wall primer and distempering with oil bound washable distemper of approved brand . The work including jointing and fixing to a flush finish of tapered an square edges of the board with recommended filler , jointing tapes , finisher . Tthe cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeters channels suitablely fixed all complete as per draning and specification and direction of engineer in charge  .
	sqm
	225
	
	

	60
	Ex-2
	Providing and fixing vertical blinds /curtain (make Vista or Equivalent approved item) as per direction of engineer in charge
	 Sqm
	55
	
	

	61
	Ex-3
	Providing and fixing false ceiling with grade-I 12.5 mm thick one or two layer of tapered edge Gypboard including  providing and fixing of frame work made from M.S. sheet and galvanized consisting following components- (i) Intermediate channel of size 80 x 26 mm @ 1220  mm c/c (max) (ii) ceiling section of size 20 x 27 mm @ 457 mm c/c (max) (iii) ceiling angle size of 25 x 10x 0.55 mm @ 1220 mm c/c (max) (iv) perimeter channel size of 15 x 45 mm(along the wall all around perimeter) (v) connecting clip 2.64 mm dia (vi) soffit cleat size of 22 x37 mm (vii) expansion rawlplug size of 1/2 inch & jointing and fixing to a flush finish of tapered and square edges of the board with recommended filler, jointing tapes, finisher and two coats of primer suitable for board as per manufactures specification and also including the cost of making openings for light fittings ,diffusers, cutouts made with frame of perimeter channels suitably fixed all complete as per drawing and specification and direction of the Engineer-in-charge .
	Sqm
	288
	
	

	62
	Ex-4
	Providing and fixing pre manufactured gypsum cornice with design in required pattern  shape & size and as per direction of Engineer-in- charge
	Mtr
	62
	
	

	63
	Ex-5
	Providing and fixing pre manufactured gypsum molding  in required pattern and shape & size and as per direction of Engineer-in- charge
	Mtr
	62
	
	

	64
	Ex-6
	Providing and fixing pre manufactured gypsum molding / cornice corner  in required pattern and shape & size and as per direction of Engineer-in- charge
	Each
	12
	
	

	65
	Ex-7
	Providing and fixing pre manufactured gypsum center panels with min. 630 mm dia. in required pattern and as per direction of Engineer-in- charge
	Each
	4
	
	

	66
	Ex-8
	Reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete. REINFORCEMENT TO BE PROVIDED BY BHEL, FREE OF COST FROM BHEL STORE. Thermo - Mechanically treated bars / mild steel. Binding wire of approved quality / guage to be provided by contractor.
	Kg
	14000
	
	

	
	
	Total “D”           
	
	
	Rs
	

	
	
	Grand Total “E” (C + D )
	
	
	Rs
	

	
	
	( In words)
	

	
	
	Service tax extra as applicable
	
	
	
	














� EMBED Word.Picture.8  ���








(Signature, seal & date of issuing authority)                                   (Signature, Seal & date of Contractor)                                   
- 1 -


_1308046552.doc
[image: image1.png]






_1332671300.doc
[image: image1.png]






