	
	Upgradation & Modernisation of existing cooling Tower by Fan-less Induced draft Cooling tower in Compressor House  
	Page 1 of 23


[image: image1.png]




 B H A R A T  H E A V Y  E L E C T R I C A L S  L I M I T E D

Ramachandrapuram, Hyderabad – 502032

TENDER DOCUMENTS

I N D E X

1. Tender Notice

2.
Tendering process

3.
Techno – Commercial Bid

: Annexure - II

4.
Technical specifications

: Annexure-A

5.         SPECIAL CONDITIONS

: Annexure-B

6.         BUSINESS RULES FOR REVERSE AUCTION

: Annexure-C

7.  
BHEL TERMS AND CONDITIONS


: Annexure-D

9. 
Price bid format to be filled and submitted.

BHARAT HEAVY ELECTRICALS LIMITED

Ramachandrapuram, Hyderabad – 502032

Grams: ‘BHARATELEC’ Phones: 23182321. Fax: 23020185

M&S / Gas Services Plants 

TENDER NOTICE No:  HY/M&S/GS/M/13-14/03/C2, 





date: 17.10.2013


Sealed tenders in separate cover, are invited by the Manager/Gas Services, from the reputed contractors, experienced in the following works so as to reach the office of the Manager/GS of BHEL R.C.Puram, Hyderabad-502032, up to  the dates specified and tenders will be opened on the same day (13.11.2013) at 13.30 hrs at vendor complex, Administrative Building.

Tenders will be issued on all working days between 09.00hrs to 14.00 hrs at the office of Manager/Gas Services.  

	Sl. No
	Name of the work
	Approx. Estimate Amount (Rs. In Lakhs)
	Earnest Money Deposit Rs.
	Period of Contract
	Cost of Tender Document Rs.
	Sale of Tenders
	Last date & time  for submission of  
tenders
	Date & time for opening of 
tenders

	
	
	
	
	
	
	From
	To
	
	

	1
	2
	3
	4
	5
	6
	7
	8
	9
	

	1
	Up gradation & Modernization of Existing Cooling Towers by Fan-less Induced Draft Cooling Tower in Compressor House
	8.00
	20,000
	 3 months
	NIL
	17.10.13
	05.11.13 up to 14.00 hrs
	13.11.13

11.00 hrs
	13.11.13

13.30 hrs


For full details and tender documents please visit our website www.bhel.com. Extension & Corrigendum if any will be hosted in BHEL Website; and will not be published in newspapers.

MANAGER/GAS SERVICES







     
      M&S- DEPARTMENT
BHARAT HEAVY ELECTRICALS LIMITED
RAMACHANDRAPURAM :: HYDERABAD – 502032

M & S, GAS SERVICES

Phone No.: 040--23182532 Fax No.: 040–23020185

 email: manohar@bhelhyd.co.in
TENDER NOTICE NO.  HY/M&S/GS/M/13-14/03/C2      

              

 Date: 17.10.2013
Tender in two parts (Techno-commercial & Price Bid) will be received by the undersigned in sealed cover from the contractors satisfying the prequalification requirements. The following should be legibly written on the cover -- tender notice number, tender date, name of the work, due date of opening, techno commercial bid or price bid on top of cover. Tenders will be opened at 13.30 hrs. on the due date in the presence of bidders or their authorized representatives in BHEL, Ramachandrapuram, Hyderabad.

1. Name of work                                
: Up gradation & Modernization of Existing Cooling Towers by Fan-less Induced Draft Cooling Tower in Compressor House as per scope of Work, terms & Conditions enclosed.
2. Earnest Money Deposit

: Rs. 20,000/-
3. Estimated Cost to BHEL

: Rs.  8.00 Lakhs (Excluding taxes)
4. Cost of tender documents   

: NIL
(non-refundable)
5. Tender sale starts from

:  17.10.2013
6. Tender sale closes on


:  12.11.2013
7. Last date of receipt of tenders
:  13.11.2013 up to 11.00 Hrs.

8. Date and time of opening of tenders  :  13.11.2013 at 13.30 Hrs.

      (Techno-commercial bid only) 
Name & Address of the firm:
……………………………………
……………………………………
……………………………………
……………………………………   
TENDERERS ARE REQUESTED TO SIGN AND PUT SEAL ON ALL PAGES OF TENDER DOCUMENT AND SUBMIT.
For BHARAT HEAVY ELECTRICAS LIMITED
(K.R.MANOHARA RAO)
 

                                                     

  
   














MANAGER (M&S-GAS SERVICES)
TENDERING PROCEDURE: 
 Tender box is available at Vendor Complex,
 Administrative Building for dropping filled tenders 

 from 17.10.2013 to 13.11.2013 up to 11.00 Hrs.

The bids shall be submitted in two parts.

1. Techno-commercial bid.      

2. Price   Bid
1. Techno-commercial Bid :  The envelop shall contain the Techno-commercial Bid as per the enclosed technical bid pro-forma with relevant documents like copies of ESI, PF code, PAN No., Service Tax Regn. No., TIN No., CST No., Experience, turnover, (IT Returns along with Profit & Loss  account copies duly certified by chartered accountant for the 3 previous years to meet turnover point) . The envelope shall be super scribed “Techno-commercial bid ------ (name of work)”.
2. The second envelope shall contain only the price bid to be quoted. Any other information in the price bid shall not be considered and the quotation is likely to be rejected.  Price bid document shall be signed by the bidder at the bottom of the page. The envelope shall be sealed and super scribed “Price Bid ----------- (name of work)”.

Both the above two envelopes shall be kept in another sealed cover. The cover shall be super-scribed with “Quotation for ----------------------------- (name of work)” and shall be addressed to Manager (M&S) / Gas Services, Bharat Heavy Electricals Limited, Ramachandrapuram, Hyderabad – 502032 to reach at or before 11.00 hrs on the due date and it should also contain Bidder address, Tender No. & due date.
 BHEL is not responsible for any postal delay. The bids will be opened in BHEL R.C.Puram Hyderabad- 32 on tender due date at 14.30 hrs in presence of those bidders who choose to be present.


Date of Reverse Auction for price finalization will be intimated after techno-commercial suitability.


The technical bid consists of technical schedule requiring documentary proof.  In case the party has not satisfied all the conditions along with documentary proof, the bid will be rejected.


Bids received mixed with both technical & Price bid documents without individual envelop will be rejected.
EMD Payment: 

An amount of Rs. 20,000/- (Rupees Twenty Thousand  only) towards EMD shall be Deposited  in cash at BHEL Cash office or by way of Demand Draft / Bankers cheque drawn in the name of M/S Bharat Heavy Electricals Limited payable at Hyderabad and shall be enclosed to the tender bid. No other means of payment will be accepted, no interest on EMD will be payable.

         Cash office timings:   09.30 AM to 11.30 AM &   1.30 PM to 3.30 PM

ANNEXURE - II

BHARAT HEAVY ELECTRICAS LIMITED

RAMACHANDRAPURAM:: HYDERABAD-502 032
M & S, GAS SERVICES
TECHNO- COMMERCIAL BID
Tender Notice No      : HY/M&S/GS/M/13-14/03
   


  
Date: 17.10.2013
NAME OF THE WORK:  Up gradation & Modernization of Existing Cooling Towers by Fan-less Induced Draft Cooling Tower in Compressor House as per scope of Work, terms & Conditions enclosed.
               THIS IS AN INDIVISIBLE WORKS CONTRACT AND THE CONTRACTOR SHALL FILL REMARKS COLUMN AGAINST ALL ITEMS.
This tender schedule must be submitted along with the General Conditions, Special conditions etc. enclosed herewith duly signed and stamped on each page with bidder’s covering letter.  Quotations should be TYPED on tender schedules only.  Any deviations / deletions should be brought out separately on bidder’s letter pad and enclosed to the bid documents.
The following are to be filled up by the Bidder:
Name of the Contractor
:

Full Address

:

Name of contact person
:

Phone No. 
:

Fax No.
:

E-mail Id.


: 

Mobile no.


: 




	Sn.
	Description
	Contractor’s Remarks

	1
	Experience

As mentioned in prequalification –

Name of the work under taken

Value of work

Worked in which company / Organization:

Year of work completion

Work experience certificate obtained from whom:

(enclose a separate sheet if necessary)

.. please refer prequalification

3works / 2 works / 1 work

3 works each Rs.

2 works each Rs.

1 work each Rs.
	

	2
	PF CODE NO 


	

	3
	ESI CODE NO


	

	4
	PAN No.


	

	5
	Service tax regn. no.


	

	6
	TIN No.


	

	7
	CST No.


	

	8
	Validity: 90 days from techno-commercial bid opening date.


	

	9
	EMD : Rs.20,000/-, Cash receipt / bankers cheque  details 
	

	10
	Security Deposit clause : acceptance (See terms and conditions for details)
	

	11
	Taxes and duties : mention whether included and firm during contract period OR extra as applicable
	

	12
	Acceptance of prices should be firm during the contract period.
	

	13
	Payment terms & Conditions

Payment after completion work and payment may take about 30 days from obtaining bill all clearances and record in M-Book
	

	14
	Penalty: 0.5% of the contract value per week or part there of upto a maximum of 10% of the contract value shall be levied If delayed
	

	15
	General Terms & Conditions acceptance – technical questionnaire 
	

	16
	All terms will be carried out as per Price bid Annexure – I / Scope of work
	

	17
	30% Annual Turnover during last 3 years

(Rs.2.4 lacs per year)

2011-12

2010-11

2009-10
	


ANNEXURE-A
A. Technical specifications for Up gradation & Modernization of Existing Cooling Towers by Fan-less Induced Draft Cooling Tower in Compressor House:
	                                                                           PART -A
                SECTION – I :                         QUALIFYING CRITERIA

	 
	The BIDDER has to compulsorily meet the following requirements to get qualified for considering the technical offer:

	S. No.
	REQUIREMENTS
	VENDOR’s
RESPONSE
	Remarks
	 

	1.0
	Only those vendors (OEMs), who have supplied and commissioned at least  2 nos. of Fan less type cooling tower of 300 m3 or higher  in the past ten years (from the date of opening of Tender) and such equipment is presently working satisfactorily for more than one year after commissioning (from the date of opening of Tender) should quote. However, if such equipment had already been supplied to BHEL, then that equipment should be presently working satisfactorily for more than six months after it’s commissioning and acceptance (from the date of opening of Tender).
	 
	 
	 

	1.1
	The vendor should submit following information where similar type of cooling tower has been supplied for qualification of their offer.
	 
	 
	 

	1.2
	Name and postal address of the customer or company where similar equipment is installed.
	 
	 
	 

	1.3
	Name and designation of the contact person of the customer.
	 
	 
	 

	1.4
	Phone, FAX no and email address of the contact person of the customer.
	 
	 
	 

	1.5
	Month and Year of commissioning of the equipment.
	 
	 
	 

	1.6
	Application for which the equipment is supplied
	 
	 
	 

	1.7
	Along with the Technical offer, the Vendor should submit one Performance certificate from the customer for the satisfactory performance of the equipment supplied to them. For obtaining the Performance certificate, a suggestive format is provided in SECTION– IV.
	 
	 
	 

	1.8
	BHEL reserves the right to verify the information provided by vendor. In case the information provided by vendor is found to be false/ incorrect, the offer shall be rejected.
	 
	 
	 

	2.0
	DELIVERY - The bidder shall quote the best possible delivery. However the delivery shall not exceed 3 months . The delivery period shall be reckoned from date of purchase order to dispatch from the vendor works.
	 
	 
	 

	 
	SECTION – I I
	 
	 
	 

	 
	The BIDDER / VENDOR is requested to provide the following information:
	 
	 

	S.No.
	REQUIREMENTS
	VENDOR’s
RESPONSE
	Remarks
	 

	
	
	
	
	

	3.0
	Details of Fan less type cooling tower
supplied to other BHEL units, if any.
(Year of commissioning and efficiency)
	 
	 
	 

	4.0
	Details on SERVICE-AFTER-SALES Set-Up in India including the Address of Agents / Service Centers in South India
	 
	 
	 

	5.0
	Any Additional Data to supplement the
manufacturing capability of the BIDDER
for the subject equipment
	 
	 
	 

	 
	SECTION – III
	 
	 

	 
	The BIDDER to note:
	 
	 

	S.No.
	PARTICULARS
	VENDOR’s
RESPONSE
	Remarks
	 

	6.0
	The BIDDER / VENDOR shall submit the
offer in TWO PARTS.
1. Technical Offer [with PART A & PART B]
& commercial offer
2. Price Bid.
	 
	 
	 

	7.0
	The Technical Offer shall contain a comparative statement of Technical Specifications demanded by BHEL and Offer Details submitted by the Bidder, against each clause. A just ‘CONFIRMED’ or ‘COMPLIED’ or ‘YES’ or ‘NO-DEVIATION’ or similar words in the technical comparative statement where specific details are required may lead to disqualification of the Technical Offer.
	 
	 
	 

	8.0
	The Technical Offer shall be supported by
product Catalogues & Data Sheets and also
technical details of Bought-Out-Items with
copies of Product Catalogue to the extent
possible.
	 
	 
	 

	9.0
	The Commercial Offer (given with the
Technical Offer) shall contain the Scope of
Supply and the Un-Priced Part of the Price-
Bid, for confirmation.
	 
	 
	 

	
	SECTION – IV
	
	
	

	
	The performance certificate should be produced on Customer’s Letter Head

	
	PERFORMANCE CERTIFICATE
	
	

	
	1. Supplier of the Equipment
	 

	
	2. Make & Model of the Equipment
	 

	
	3. Month & Year of Commissioning
	 

	
	4. Application for which purpose is used
	 

	
	5        a) Rated Capacity
         b) Rated diff. temperature
	 

	
	6. Performance of the Equipment (Strike off whichever is not applicable)
	Satisfactory / Good / Average / Not
Satisfactory

	
	7. After sales service (Strike off whichever is not applicable)
	Satisfactory / Good / Average / Not
Satisfactory

	
	8. Any Other remarks
	 

	
	Date:
	Signature & Seal of the Authority
Issuing the Performance Certificate



	
	
	


SCOPE OF WORK & SPECIFICATIONS  OF FAN-LESS INDUCED DRAFT COOLING TOWER.

	PART- B
Upgradation & Modernisation of Existing Cooling Tower by Fan-less induced Draft Cooling Tower

	Sl. No.
	Description of Item
	Specified & To be confirmed
	Offered
	Remarks

	 
	PURPOSE
	Supply and erection of Fan-less
	BIDDER’S OFFER (with complete Technical Details)
	 

	 
	Scope of supply
	 
	 
	 

	1.0
	The scope of supply includes Design, Manufacture, Supply, Erection and Commissioning of Upgradation & Modernisation of existing cooling tower by Fan-less induced draft with complete accessories. All equipment furnished is to be heavy-duty Industrial design for long operating life and suitable at outdoor. The cooling system should replace the existing  cooling towers and connected to our compressors cooling system   -     1 Nos.
	Vendor to confirm
	 
	 

	 
	Principle of operation :Fan less cooling system
	 
	 
	 

	1.1
	ISI Standards followed for design aspects.
	Vendor to confirm
	 
	 

	2.0
	Fan-less induced Draft cooling Tower
	 Vendor to confirm
	 
	 

	2.1
	Type: Fan - less induced draft cooling tower capacity 1000 TR
	 Vendor to confirm
	 
	 

	2.2
	Water Flow         300 M3/hr 
	 Vendor to confirm
	 
	 

	2.3
	Cooling Range     10 Degree Centi.
	 Vendor to confirm
	 
	 

	2.4
	Max. Temp. of cold water  33 degree Centi
	 Vendor to confirm
	 
	 

	2.5
	Design wet Bulb Temp.    28 Degree Centi.
	 Vendor to confirm
	 
	 

	2.6
	Cell Dimensions (M)
	Vendor to specify
	 
	 

	2.7
	Header pipes
	Vendor to specify
	 
	 

	2.8
	Evaporation loss as % of flow  less than 2.5
	 Vendor to confirm
	 
	 

	2.9
	Civil Basin Size
	Vendor to specify
	 
	 

	
	
	
	
	

	3.0
	CONSTRUCTION
	 
	 

	3.1
	Structure - The complete structure is hot-dip galvanized after mechanical operations. Corrosion proof paint is to be applied 
	Vendor to specify
	 
	 

	3.2
	Louvers to be made by FRP
	Vendor to specify
	 
	 

	3.3
	Nozzles
	Vendor to specify
	 
	 

	3.4
	Access to Nozzles
	Vendor to specify
	 
	 

	3.5
	Common Header
	Vendor to specify
	 
	 

	3.6
	fastens - Should be SS
	Vendor to specify
	 
	 

	3.7
	Distribution sub headers - GI Pipes and GI nipples
	Vendor to specify
	 
	 

	4.0
	SITE CONDITIONS
	 
	 

	4.1
	Design Inlet condition
a. Ambient Temp 40⁰C
b. Relative Humidity 70% (Non-condensing)
c. Altitude: 556 Mtr. Above MSL
d. Cooling tower inlet temperature 40 Degree C.
	 
	 
	 

	5.0
	GENERAL POINTS
	 
	 


The offer shall include the catalog for


technical description of all parts of the

cooling system the materials of

	construction of the major parts.
	Vendor to confirm
	 
	 
	

	5.2
	GA Drawing, Schematic & Foundation
Diagram Showing the Layout and
Interconnections, P&I diagram shall be
submitted along with the offer.
	Vendor to confirm
	 
	 

	6.0
	DOCUMENTATION:
	 
	 

	6.1
	Three sets of following documents
(3 Hard copies,) in English language
should be supplied along with the
Cooling Tower
	Vendor to confirm
	 
	 

	
	a. Operation & Maintenance Instructions
	Vendor to confirm
	 
	 

	
	b. Spare Parts Manual
	Vendor to confirm
	 
	 

	
	c. GA Drawing
	Vendor to confirm
	 
	 

	
	e. Assembly drawings
	Vendor to confirm
	 
	 

	
	f. Test curves related to guarantee
condition
	Vendor to confirm
	 
	 

	7.0
	ERECTION & COMMISSIONING
	 
	 
	 


Vendor to take full responsibility for 

erection. Water shall be provided

by BHEL at only one point to be

indicated by Vendor in their

foundation/layout drawings. Other

requirements like crane and helping

personnel shall also be provided by

	BHEL.
	Vendor to confirm
	 
	 
	

	7.2
	Commissioning spares, required for
commissioning of the machine
within stipulated time, shall be
brought by the Vendor on returnable
basis.
	Vendor to confirm
	 
	 

	7.3
	Schedule of Erection and
Commissioning shall be submitted
with the offer.
	Vendor to confirm
	 
	 

	8.0
	TESTING & ACCEPTANCE
	 
	 

	8.1
	The equipment shall be offered for
inspection by BHEL Engineers at suppliers works prior to dispatch
	Vendor to confirm
	 
	 


Testing: - cooling tower should

tested at the supplier’s works to

determine its efficiency and show the 

capacity, difference of  temperatures

shall be measured and recorded

	 at our works.
	Vendor to confirm
	 
	 
	

	9.0
	G.A drawing, P&I diagram etc.  to be
submitted along with offer
	Vendor to confirm
	 
	 

	10.0
	The civil foundation drawings with layout to be submitted within one month of Purchase order release.
	Vendor to confirm
	 
	 

	11.0
	GAURANTEE
The equipment and accessories to be
guaranteed for a period of 12 months                   Vendor to confirm
from the date of commissioning or 18
months from the date of dispatch
whichever is earlier

	 
	 


SPECIAL  CONDITIONS:







ANNEXURE-B

	1.
	EMD :

Earnest Money Deposit of Rs.20,000 shall be deposited to BHEL account by the bidder along with the offer. In the event of acceptance of full or part tender, and if the contractor/bidder fails to commence the work within promised period,  BHEL shall without prejudice to any other right  or  remedy be at liberty to forfeit the said earnest money  absolutely. EMD does not carry any interest.

Offers without EMD will be rejected and will not be considered for evaluation.
	

	2.
	SECURITY DEPOSIT FOR WORK :

Successful bidder has to pay security deposit to BHEL as follows

- up to Rs. 10 Lakhs : 10 % 

- Above Rs. 10 Lakhs up to Rs. 50 Lakhs : Rs. 1 Lakh + 7.5 % of the amount exceeding Rs. 10 Lakhs

- Above Rs. 50 Lakhs : Rs. 4 Lakhs + 5% of the amount exceeding Rs. 50 Lakhs

This is as per clause 8.2.1 of BHEL Works policy and reproduced in terms & conditions. This amount shall be returned after successful completion of the contract work.
	

	3.
	REWORK IN LIEU OF REPLACEMENT :

Reworks in lieu of replacement on all parts (nozzles, pipes, nipples, valves, bolts, flanges etc. by machine grinding preferably/chrome plating / welding / machining etc. identified initially and also during joint inspection are covered under labour charges only.

For such works BHEL will not pay extra.
	

	 4. 
  
	TIME SCHEDULE :

Four weeks from the date of issue of work order for upgradation & modernisation of existing cooling tower by fan-less Induced draft 
Cooling Tower by contractor at BHEL works. 
	

	  5.
	PAYMENT TERMS:

Payment will be made after successful completion of works and submission of final bills.
	

	6.
	PENALTY:

  0.5% of the total contract value (labour cost + initial equipment cost + joint inspection equipment cost) per week or part there of up to a maximum of 10% of the contract value shall be levied beyond the delivery date 
	

	7.
	PERFORMANCE  BANK GUARANTEE : 

a) Satisfactory performance of the equipment shall be guaranteed for 12 months (two-shift basis). If it is not satisfactory during the guarantee period, Contractor shall attend to the equipment / replace failed parts free of charge as and when called upon to do so for defects / failures noticed and attributable to the Contractor’s work & supplies (both manufactured and bought-out by them).

b) The discarded parts (old) during the warranty period shall be taken back by Contractor at its expenses. Repairs, if any shall be carried out either at BHEL / Contractor works as agreed mutually but cost of transportation both ways shall be on Contractor’s account.

c) Performance bank guarantee for 10% of total contract value (labour cost + initial equipment cost + joint inspection equipment cost) shall be submitted for the guarantee period of 12 months (two shift basis) which shall cease after the guarantee period.
	

	8.
	Contractor personnel will be allowed to work inside BHEL premises only during checking and lifting of equipment, erection & commissioning, re-erection and re-commissioning and any maintenance work during the guarantee period.
	

	9.
	General tools / instruments / gauges required for

a) Assembly, erection, commissioning and prove out of the equipment at BHEL works shall be arranged for by Contractor. 

c) Special tools / instruments / gauges for these works will be provided  

    By BHEL.
	

	10. 
	General terms and conditions of BHEL as per enclosure shall be acceptable. They form an integral part of contract agreement.
	

	11.
	BHEL reserves the right to inspect the progress as well as workmanship at any stage of the work. Decision of BHEL Representative shall be final in the matter of inspection at any stage. Contractor shall extend necessary co-operation to enable such inspection.
	

	12.
	All discarded replaced parts shall be returned to BHEL. 
	

	13.
	Any other work (mechanical, hydraulics, electrical and electronics) not mentioned in this scope of work to keep the equipment in working condition with all features and accuracies are in the scope of the contractor.  
	

	 14.
	The contractor is required to study the existing equipment, the scope of supply and certify the completeness of scope in order to execute the work. In case of any discrepancies in the scope of work, the contractor is required to high light the same to BHEL before submission of the offer.
	

	 15.
	Contractor may visit BHEL works to see the equipment which is presently not in working condition.
	

	 16.
	Lodging & Boarding facilities for the contractor personnel are at Contractor’s scope (during erection & commissioning period, re-erection & re-commissioning period and for troubleshooting during performance guarantee period). BHEL is not responsible for this.
	

	17.
	Material handling facilities such as crane, battery truck, slings, lifting tackles etc. and utilities like electric power, compressed air etc. shall be provided by BHEL for the works performed at BHEL works
	

	18.
	The enclosed Electronic Funds Transfer Format shall be submitted along with offer. All payments will be made by EFT only as per CVC guidelines.
	


SCOPE OF WORK
	Sl. No
	Description
	Remarks

	1
	Supply of material (Complete FAN-LESS COOLING TOWER model I IK – 410) includes Design, Manufacture, Supply, Erection and Commissioning of Upgradation & Modernisation of existing cooling tower by Fan-less induced draft with complete accessories. All equipment furnished is to be heavy-duty Industrial design for long operating life and suitable at outdoor. The cooling system should replace the existing cooling towers and connected to our compressors cooling system.  
	Vendor’s Scope

	2
	a) Construction of civil basin and means of transferring water to existing basin through a trough.

b) Provision of pillars for support of common header near basin as per vendor’s drawing

c) Providing transportation facility for shifting materials from stores to work site, free of cost.

d) Providing crane facility for putting common header in place.
	BHEL’s Scope


 PRICE BID FORMAT

PART - A     
PRICE BID FORMAT FOR UPGRADATION & MODERNISATION OF EXISTING COOLIONG TOWER BY FAN-LESS INDUCED DRAFT COOLING TOWER 
	Sl no.
	Description 
	QTY
	TOTAL Rs. in

LAKHS

	1
	Supply of material (Complete FAN-LESS COOLING TOWER model I IK – 410) includes Design, Manufacture, Supply, Erection and Commissioning of Upgradation & Modernisation of existing cooling tower by Fan-less induced draft with complete accessories. All equipment furnished is to be heavy-duty Industrial design for long operating life and suitable at outdoor. The cooling system should replace the existing cooling towers and connected to our compressors cooling system.  
	1 Nos.
	


Note: Taxes are extra applicable.

Note :

1. The bidder should undertake careful study of equipment before offering rates under categories A & B of above format. 

2. L1 party (total lowest cost to BHEL) shall be arrived by  based on bids offered in the above format only (part-A of price bid format, both Labour and initial spares together but joint inspection spares excluded).

3. Price validity shall be for ninety days from techno-commercial bids opening date.
4. Vendor may visit the existing facility before submitting the offer.
Signature of the Bidder with seal
NATIONAL ELECTRONIC FUND TRANSFER FORMAT

(To be furnished on Contractor's Letter head)

Ref  No. :








Date       :

Dy. Manager/Finance-CM
Bharat Heavy Electricals Limited

Ramachandrapuram

Hyderabad 502 032

Dear Sir,

Sub: Details for National Electronic Fund Transfer


We request and authorize you to effect payment through NEFT to our Bank account, subject to RBI Guidelines, as per the details given below.

A. Supplier code (As per PO/SCO)

:

B. Beneficiary (Name as per PO/SCO)
:

C. PAN of Beneficiary


:

D. TIN of Beneficiary



:

E. e-mail address of Beneficiary

:

F. City (of Beneficiary)


:

G. Bank Name




:

H. Branch (of Bank) 



:

I. A/c Number




:

J. A/c Type (Savings or Current)

:

K. MICR Code of the branch (9 digit)
:

L. IFSC for EFT (11 char)


:

M. IFSC for RTGS (if different from L)
:

Thanking you,










(Signature with Seal)











Authorized Signatory









Name 

:









Designation 
:

Certified that the particulars furnished above are correct as per our records.

Date :






(Signature of authorized official of bank)










Bank Stamp


NNEXURE-D

BHEL TERMS AND CONDITIONS
A. CONTRACTUAL :

1) The Contractor will ensure that the employees deployed by him in the premises of BHEL are physically and mentally fit and do not have any criminal record.

2) The Contractor will maintain records of his employees deployed to carry out the job. The Contractor will provide employment card/Identity card with photograph duly attested by him to his employees.

3) In the event of termination of contract for any reason whatsoever, the contractor shall withdraw all his employees from the establishment of BHEL.

4) The Contractor will obtain insurance cover for his employees and take third party risk insurance coverage at his own cost.

5) The Contractor will be solely entitled to dictate such workers about the manner of carrying out the work. 

6) The Contractor or his authorized representative will supervise the work allotted to him and being carried out by his employees or will post a Supervisor for this purpose.

7) The Contractor will be responsible for the good conduct of his employees. In case of any misconduct /   misbehavior by any employee, contractor will replace such employee immediately.

8) The Contractor will keep watch on his employees and he will be liable for any pilferage / loss to BHEL due to acts of omission and commission by his employees. Similarly, liability for any compensation to outsiders on account of any act of omission and commission by the employees deployed by the contractor shall lie exclusively with him.

9) The Contractor will ensure that all precautions are taken for the safety of his employees.

10) The Contractor will provide to his employees all tools, tackles and equipments required to carry out the job under the contract at his own cost.

11) The Contractor will provide safety appliances at his own cost which may be required under the statute or otherwise.

12) The Contractor will provide all material at his own cost as mentioned in the contract to his employees for carrying out the job.

13) Transportation facility for the employees to come to BHEL works is in the scope of the contractor.

14) Consumables like air, water, power supply will be supplied by BHEL free of cost. 

15) No accommodation will be provided by BHEL to the contractor personnel deputed for performing the contract work.

16) Shift timings:  1st shift – 06:45 to 15:15 hrs with lunch break from 11:30 to 12:00 hrs



    2nd shift—15:00 to 23:30 hrs with dinner break from 19:30 to 20:00 hrs

B. STATUTORY :
1) The Contractor shall comply with all statutory requirements, rules, regulations, and notifications in relation to employment of his employees issued from time to time by the concerned authorities. 

2) The Contractor shall provide PF passbook to his employees and ensure payment of PF, EDLI, and pension dues under EPF & MP Act, 1952 to the RPFC.  

3) The Contractor shall produce proof of deductions as well as remittances of PF, EDLI, Pension, ESI contribution, administrative charges etc. wherever applicable and shall maintain proper records.

4) The Contractor shall furnish proper returns to the concerned statutory authorities. 

5) The Contractor shall be solely responsible for nonpayment/delayed payment of wages, contributions under EPF & MP Act, ESI Act etc. 

6) In case the contractor fails to make payment of wages to his employees or remittance of contribution to the concerned authorities, the security deposit/other dues under the contract can be utilized by BHEL to discharge the liability of the contractor.

7) The Contractor shall indemnify BHEL against all claims and losses under various statutes or any civil or criminal law in connection with employees deployed by him.

8) The liability for any compensation on account of injury sustained by an employee of the contractor will be exclusively that of the contractor.

9) The Contractor shall obtain license under CL(R&A) Act, 1970. 

C. GENERAL:

1) The contractor shall pay minimum wages to workers as per minimum wages act. Contractor shall make PF, ESI contributions as per applicable rules. ESI Cards should be arranged to contract labour and their wards by the contractor. These records need to be preserved for a period of at least 3 years and made available even after the contract is over for any verification by the statutory authorities.
2) Contractor shall provide personnel protective equipment like safety uniform in blue color, safety shoe in black colour and should ensure that they wear them daily while on work. 

3) Contract operates on Unit rates, contract labour should get at least Daily Unit rate as per the minimum wages act from the contractor. 

4) Contractor should pay double amount to the contract labour, if they are engaged more than 8 hours (normal).

5) Permissions for labour and materials shall be obtained in the prescribed formats. 

6) Break:  contract labour should be given break period for about 15 days once in every 6 months in case of long duration contracts, for one time/ short period contracts this clause will not apply

7) The contractor is wholly responsible for any loss of life or partial disability of any of their labour while on duty

8) In case of occurrence of any accident/ injury of contractor’s staff, BHEL will not pay any           compensation while they are on duty and contractor has to take care of health of workers under statutory obligation.

9) BHEL reserve the right to cancel the work order in part or in full without assigning any reason.

10) Upon awardal of the work, the contractor has to execute an agreement with BHEL on a non-judicial stamp paper worth Rs.100/- as per General Agreement Conditions before commencement of work.

11) BHEL shall have the privities of the contract with the contractor only and will give instructions to the contractor or his authorized representative. BHEL will have nothing to do or be concerned with the employment of employees working for the contractor.  The relationship between BHEL and the Contractor will be that of independent entities and nothing herein contained will amount to joint venture, partnership or an employer-employee relationship.

12) The contractor shall maintain regular contact with the designated employee(s) of BHEL and will   interact on matters relating to the work awarded under this contract.

13) In case the Contractor does not carry out the Contractual/Statutory obligations or the services rendered by him are found to be unsatisfactory, BHEL shall bring the same to his notice and he will be obliged to discharge the obligations and rectify the efficiency/anomaly within three days time failing which, BHEL reserves the right to terminate the contract without assigning any reason whatsoever. In such an event, no damages will be payable for short closure of the contract. 
14) Notwithstanding anything contained in the contract Agreement which will be entered after awardal of work, the contract may be terminated by BHEL without assigning any reason thereof by giving a notice of 30 days to the contractor. 

15) The Entry permits are to be issued to the Contract Labour by Assistant Commandant / CISF (Plant), based on the requisition submitted by Contract Executing Officer and forwarded by Dy.General manager / Personnel.

16) Every contractor shall submit a notice regarding commencement and completion of work in form – VI A&B [Rule 25 (VIII) & 81 (3)] to HR Department, IR section through his contract executing officer, for forwarding the same to State Labour Department. 

17) Non – compliance of any provisions under the act / rule / instructions / guidelines shall make the contractor liable for penal action including termination of contract.

18) Contractor shall furnish in a separate letter his place of residence and postal address. The delivery at the above named place or posting in a Post box regularly maintained by the post and telegraph Department or sending letters registered for acknowledgement of any notice,  letter or other communication to the contractor. Change in address shall come into force at any time by an instrument executed by the contractor and delivered to the Company official who has signed the contract.

19) The contractor must satisfy himself by personal study and 

20) examination of the drawings / specifications furnished and understands thoroughly the scope of proposed work in detail and all conditions affecting the work before entering into the contract. There shall not be at any time dispute / complaint of any misunderstanding with regard to scope of work and interpretation of specifications or any misunderstanding with regard to nature or omission of the work to be done not shall any application for compensation in terms of time and money shall be accepted by company regarding the above.

21) Contractor shall in his absence keep competent agent constantly on the works and any directions or explanations given by the “Contract Signing Officer” or his representative to such agent shall be held to have been given to the contractor himself.

22) It shall be contractor’s sole responsibility to protect the public and his employees against accident from any cause and provide required safety equipments and shall indemnify, the company against any claims for damages for injury to the person or property resulting from any such accidents and shall, where the provisions of the workmen’s compensation act apply, take steps to properly insure against any claims there under. 

23) In the event of any accident in respect of which compensation may become payable under the workmen’s compensation act VIII of 1923 whether by the contractor or by the company as principle employer, it shall be lawful for the company to retain out of monies due and payable to the contractor such sum or sums of money as may, in the opinion of the company shall be final in regard to all matter arising in this clause.

24) No work shall be done on Sundays or on other declared holidays of the company without the written permission of the company officer in-charge of the work. The contractor shall comply with the provisions of the Factories Act Rules framed there under if the same are applicable.

25) The contractor shall keep his work place clean and safe to avoid injuries to men and damage to finished products / equipments.

26) On the occurrence of an accident, which results in the death of any of the workmen employed by the contractor or which is so serious as to be likely to result in the death of any such workmen, the contractor shall intimate within 24 hours of the happening of such an accident intimate in writing to the company official in-charge of the work.

27) The contractor shall indemnify the company against all losses or damages sustained by the company resulting directly or indirectly from his failure to give intimation in the manner aforesaid including the penalties or dues if any and become payable by the company, as a consequence of failure, the company to give notice under the workmen’s compensation act or otherwise confirm to the provisions of the said act in regard to such accident.

28) The contractor shall ensure adherence to all statuary requirements applicable to BHARAT HEAVY ELECTRICALS LIMITED, RAMACHANDRA PURAM, HYDERABAD-502032.

29) Notwithstanding the clause, in case of any financial loss incurred by the company on account of contravention of the Provident Fund regulations or any regulations of rule touching the same by the contractor, the contractor shall submit an undertaking to indemnify the company to the extent of the loss incurred by the company.

30) The contractor should engage only those labourers who shall be more than 18(eighteen) years of age.

31) The contractor shall not resort to subcontracting under any circumstances. If found subcontracting at a later date, BHEL reserves the right to take whatever action it deems fit, including cancellation of the contract.

32) The contractor shall be responsible to settle any grievances of the labour deployed by him. 

33) Whenever the term “CONTRACTOR” is used, it shall be understood to refer to the particular person, firm or corporation with whom an agreement has been made by the concerned company official for executing the work defined in the concerned agreement and for the purpose of instructions regarding compliance with contract conditions, it shall include the contractor’s authorized agents, who are entrusted with the work by contractor.

34) The quantities mentioned in the agreement schedule are worked out from the relevant drawings in the company and may not be the actuals required for execution. The company does not expressly or by implication agree that the actual amount of the work to be done shall correspond therewith, but reserves the right to increase or decrease the quantity of any class or portion of the work as he deems necessary.

35) All the works shall be carried out in accordance with the directions and to the satisfaction of the company official in accordance with the drawings, specifications and instructions.  Supplementing or explaining the same as may from time to time shall be done by the company official.

36) For all modifications, omissions or additions to the approved drawings and specifications, the company shall issue revised plans or written instructions and no modifications, omission or addition shall be made unless at any time before completion of the work. 

37) All materials, articles, and workmanship shall be the best of their respective kinds for the class of work described in the contract specifications and schedule and materials to be obtained by the contractor shall be from sources approved by the company.

38) Sample of materials shall be furnished by the contractor at his expense to the company when called for before execution of any work.

39) The company shall have power to reject at any stage, any work which is considered to be defective in quality of materials of workmanship and  shall not be debarred from rejecting wrong material by reasons of having previously passed them in an unworked condition.  Any portion of the work or materials rejected or pronounced to be inferior or not in accordance with specifications shall be taken down and removed from the work site at the contractor’s expenses.  

40) The decision of the company shall be final and binding on the contractor on all technical questions which may arise in the contract with respect to material, workmanship, removal; of improper work, interpretation of the working drawings, specifications, notes, procedures etc.

41) The decision of the “Contract Signing Officer” or any officer deputed by him duly authorized on his behalf, in respect of the rate of progress and the quality of work or material shall be final.

42) Contracts shall be deemed to have included in his tender price of all the plant, machinery and appliances required for the purpose of all operations connected to secure a satisfactory quality of work within the opinion of the company will ensure the completion of the work within the time specified. 

43) It is open to the company to lend or supply to the contractor any tools, implement, material and machinery that are needed by the contractor, which in the opinion of the company is essential to improve the quality or progress of work.  The contractor shall pay such deposit or charges that may be fixed or determined by the company for any such articles or machinery lent or hired to the contractor.

44) All rubbish as it accumulates shall be removed from the site to the point of disposal as indicated from time to time by the company. If this is not adhered to, the company shall remove the scrap and recover the cost of these operations from the bills of the contractor. 

45) Any sum due from the contractor on account of tools and plants, stores, or any other items provided by the company shall be deducted from the respective bill due to him.

46) In case the contractor does not execute the work awarded to him as per the terms and conditions of the agreement, the same shall be got executed by some other contractor and the excess cost incurred shall be recovered from the contractor’s security deposit/pending bills. 

47) In case of breach of any of the terms and conditions of the contract, a claim shall be lodged under the bank guarantee with the guarantor at the discretion of the competent authority of the company.  On successful completion of the contract to the satisfaction of the company, the bank guarantee shall be released after due claim period. 

48) In the event of any question or dispute or under this contract, the same shall be referred to a competent Authority in the company for sole arbitration and his decision shall be final and binding on the parties to the contract.

49) In case of any suit or other legal proceeding arising under this contract, the courts at Sangareddy (Medak Dist.) A.P only shall have the Jurisdiction. 

50) Disputes, grievances between the contractor and his labour, will have to be settled by the contractor only.

51) The labour employed by the contractor, if found in abetting and fellow labour or contractors or any BHEL employee, the same shall be considered as an act of indiscipline.  Such labourers shall be removed from the services of the contractor, on the advice of BHEL.  Further the contractor shall initiate every necessary action in accordance with the relevant Laws, Rules & Regulations and enactments of State and Central Government.

52) Wherever, BHEL/COMPANY standards are mentioned shall be strictly followed.

53) Nothing contained in the contract agreement and its conditions shall be deemed to preclude or render inoperative the service of any notice, letter or other communication upon the contractor personally. 

54.    Arbitration: All disputes arising in connection with the contract shall be settled by mutual consultation. If no   ]

         agreement is reached the dispute shall be settled in accordance with the provisions of the Arbitration and    

         conciliation act, 1996 and the rules made there under. The dispute shall be referred for arbitration to any arbitrator  

         to be appointed by the head of the unit. The award of the arbitrator shall be final and be binding on both the parties. 

         The venue of the arbitration shall be Hyderabad in INDIA. The award to be given by the arbitration shall be a 

         speaking award. All questions, disputes, differences arising under ,out or in connection with this contract shall be  

         to the exclusive jurisdiction of Sangareddy courts. 

54) All disputes, claims and demands arising in connection with the contract shall be settled by mutual consultation. If no such agreement is reached between the parties each party can appoint one Arbitrator and the Arbitrators so appointed can appoint a Presiding Arbitrator. The proceedings of the tribunal shall be in accordance with the provisions of the Arbitration and Conciliation Act, 1996 and the rules made there under. The venue of the Arbitration shall be at BHEL, Hyderabad or at such place as the Arbitrators may direct. The Award to be given by the Arbitral Tribunal shall be a speaking award. The arbitration costs, fees and expenses shall be borne by both the parties equally. The award of the tribunal shall be final and binding on both the parties equally. The award of the tribunal shall be final and binding on both the parties. All questions, disputes, differences arising under, out of or in connection with this contract shall be exclusive jurisdiction of the Courts at Sangareddy, Medak District, Andhra Pradesh.
D. GENERAL INSTRUCTIONS REGARDING BHEL TENDERING PROCESS:

1. If the tender is made by an individual, it shall be signed with his full name and his address shall be furnished.  If it is made by firm, it shall be signed with the co-partnership name by a member of the firm, who shall also sign his own name, also furnish the name and address of each member of the firm.  If the tender is made by a corporation, it shall be signed by a duly authorized Officer who shall produce with the tender, satisfactory evidence of his authorization.  Such tendering corporation/firm is required to furnish evidence of its existence along with bid.

2. The EMD will be refunded to the unsuccessful Tenderers after rejection of the tender is intimated.  The earnest money will be retained in the case of the successful tenderers and either of the cases will not carry any interest.  It will be dealt with as provided in the conditions attached to the tender.

3. Whenever a tender is to be accepted, the tenderer, whose tender is under consideration, shall attend the Office of " Officer Inviting the Tender " on the date fixed by written intimation to him.  He shall forthwith, upon intimation being given to him by the " Officer Inviting the Tender” for acceptance of his tender, complete the execution of the agreement by signing all documents connected therewith.  Failure to do so and not to commence the work within one month from the date of intimation shall entail forfeiture of the earnest money.

4. Tenderers shall pursue carefully the instructions and directions to the parties given in the tender document and the conditions thereof and all other relevant documents before quoting the rates for the work.  The approximate quantity of work to be executed under each class is given in the schedule.  The quantities are given with a view to enable tenderer to quote his overall rate for each class of work in the tender form and for a uniform comparison of tenders.  It shall be definitely understood that the schedule is liable to alterations at the discretion of accepting authority.

5. Tenderers shall keep the offer valid for a period of 90 days from the date of opening of tender.  After submitting the tender, he will not recall his offer or modify the terms and conditions thereof.  Should the tenderer fail to observe or comply with the foregoing stipulations, the EMD shall be forfeited.

6. Tenderers have to quote their rates in the tender schedule legibly written in figures and words and those not submitted in proper form are liable for rejection.

7. The submission of tender shall be strictly in accordance with the terms and conditions stipulated in this tender notice.  No counter conditions will be acceptable or valid.

8. Contractor shall be deemed to have included in his tender price of all the plant, machinery and appliances required for the purpose of all operations connected with the work embraced under the contract to secure a satisfactory quality of work and rate of progress which in the opinion of the " Contract Signing Officer" will ensure the completion of the work within the time specified.

9. The rates quoted by the contractor should be firm for the contract period.  There shall be no revision in contract rates during the period of the contract.  Any increase of statutory levies during the period of the contract will be reimbursed on production of relevant proof of incurring expenditure for the same.

10. BHEL reserves the right to negotiate for price reduction with lowest quoted (L1) party and negotiated price will be considered as contract amount for all practical purposes.
11. The contractor must have phone facility at his office/ residence or cellular phone for proper communication.

12. Withdrawal from contract during contract period in BHEL will entail forfeiture of security deposit.

13. The contractor should abide by the company’s CISF Security / safety rules and provide such safety requirements as per statutory rules and requirements of the factories act. 

14. In case of breach of any of the terms and conditions of the contractor, BHEL reserves the right to cancel the contract either in part or full.

15. Contractor shall provide uniform, shoes and other Personal Protective Equipments (like safety helmet) wherever applicable to their labour.

16. Earnest Money Deposit : Earnest Money is to be paid by each tenderer to ensure that the tenderer does not refuse to execute the work after it is awarded to him.  The rate of earnest money deposit shall be as per tender schedule. EMD by the Tenderer will be forfeited as per Tender Documents if:

i). After opening the tender, the tenderer revokes his tender within the validity period or increases his earlier quoted rates.

ii). The tenderer does not commence the work within the period as per LOI / Contract. In case the LOI / contract is silent in this regard then within 15 days after award of contract.

iii). EMD shall not carry any interest   

17. Security deposit:   (Clause 8.2 of BHEL Works Policy)   

      8.2.1 Security Deposit should be collected from the successful tenderer. The rate of Security Deposit will be as below:

         -- Upto    Rs. 10 lakhs
   

:  10%

         -- Above Rs. 10 lakhs   Up to Rs. 50 lakhs   
:  Rs.1 lakh + 7.5% of the amount exceeding Rs.10 lakhs

         -- Above Rs. 50 lakhs 


: Rs.4 lakhs + 5% of the amount exceeding Rs.50 lakhs

        The security Deposit should be collected before start of the work by the contractor.

        8.2.2 Security Deposit may be furnished in any one of the following forms 

i). Cash (as permissible under the Income Tax Act)

ii). Pay Order, Demand Draft in favor of BHEL.
iii). Local cheques of scheduled banks, subject to realization.

iv). Securities available from Post Offices such as National Savings Certificates, Kisan Vikas Patras etc.   (Certificates should be held in the name of Contractor furnishing the security and duly pledged in favor of BHEL and discharged on the back).

v). Bank Guarantee from Scheduled Banks / Public Financial Institutions as defined in the Companies Act.  The Bank Guarantee format should have the approval of BHEL. 

vi). Fixed Deposit Receipt issued by Scheduled Banks / Public Financial Institutions as defined in the Companies Act. The FDR should be in the name of the contractor, A/C BHEL, duly discharged on the back. 

vii). Security deposit can also be recovered at the rate of 10% from the running bills. However in such cases at least 50% of the Security Deposit should be collected before start of the work and the balance 50% may be recovered from the running bills.                                                                                                                                                                         

(Note: In case of small value contracts not exceeding Rs.10 lakhs and all SAS jobs, work can be started before Security Deposit is collected. However, payment can be released only after collection / recovery of initial 50% Security Deposit)

a.  EMD of the successful tenderer can be converted and adjusted against the security deposit. 

b.  The security deposit shall not carry any interest.

       (NOTE:  Acceptance of Security Deposit against Sl. No. (iv) and (vi) above will be subject to hypothecation or endorsement on the documents in favour of BHEL. However, BHEL will not be liable or responsible in any manner for the collection of interest or renewal of the documents or in any other matter connected therewith.  

8.2.3 Security deposit shall not be refunded to the contractor except in accordance with the terms of the contract.

Signature of the Bidder with seal
PAGE  
M&S-Gas Services

