| S.NO | ##### ITEM DESCRIPTION |  | ## Qty/Unit | ## Qty for Two Units |
| --- | --- | --- | --- | --- |
| [A] CONTROL VALVES COMPLETE WITH PNEUMATIC ACTUATOR AND ALL ACCESSORIES MOUNTED , PIPED AND TERMINATED ON JB |  |  |  |  |
| S. No. | TAG NO. | SERVICE |  |  |
| 1 | ASV-8 | D/A Pegging from Aux. Steam Header | 01 | 02 |
| 2 | CRHV-6 | D/A Pegging from CRH Line | 01 | 02 |
| 3 | CDV-22 & CDV-25 | Main Condensate Control | 02 | 04 |
| 4 | CDV-10, CDV-12 & CDV-14 | CEP A/B/C Minimum Recirculation | 03 | 06 |
| 5 | CDV-43 | Excess Dump Control | 01 | 02 |
| 6 | CDV-39 | GSC min. flow recirculation | 01 | 02 |
| 7 | CDV-67 | Condensate for Flash Tank-B | 01 | 02 |
| 8 | CDV-72 | Condensate for Valve Gland Sealing | 01 | 02 |
| 9 | DRV-53 | HPH-7A Normal Drain to HPH-6A | 01 | 02 |
| 10 | DRV-59 | HPH-7B Normal Drain to HPH-6B | 01 | 02 |
| 11 | DRV-56 | HPH-7A Alt Drain to F/T-A | 01 | 02 |
| 12 | DRV-62 | HPH-7B Alt Drain to F/T-B | 01 | 02 |
| 13 | DRV-2 | HPH-6A Normal Drain to HPH-5A | 01 | 02 |
| 14 | DRV-8 | HPH-6B Normal Drain to HPH-5B | 01 | 02 |
| 15 | DRV-5 | HPH-6A Alt Drain to F/T-B | 01 | 02 |
| 16 | DRV-11 | HPH-6B Alt Drain to F/T-B | 01 | 02 |
| 17 | DRV-15 | HPH-5A Drain to Deaerator | 01 | 02 |
| 18 | DRV-22 | HPH-5B Drain to Deaerator | 01 | 02 |
| 19 | DRV-18 | HPH-5A Alt Drain to F/T-A | 01 | 02 |
| 20 | DRV-25 | HPH-5B Alt Drain to F/T-A | 01 | 02 |
| 21 | DRV-28 | LPH-3 Normal Drain to LPH-2 | 01 | 02 |
| 22 | DRV-31 | LPH-3 Alt Drain to F/T-A | 01 | 02 |
| 23 | DRV-34 | LPH-2 Normal Drain to LPH-1 | 01 | 02 |
| 24 | DRV-37 | LPH-2 Alt. Drain to F/T-B | 01 | 02 |
| 25 | DRV-48 | Deaerator Overflow to F/T-A | 01 | 02 |
| 26 | DMV-19 | DM Normal MU to Hotwell | 01 | 02 |
| 27 | DMV-23 | DM Emergency MU to Hotwell | 01 | 02 |
| 28 | FDV-14 | Low Load Feed Control | 01 | 02 |
| 29 | ECW-20 | TG-ECW System | 01 | 02 |
| 30 | ECW-83 | SG-ECW System | 01 | 02 |

BILL OF QUANTITY

| [B] | 15 Meters of 10mm OD x 1.5mm thick PVC Coated annealed Cu. Tubing (for each CV) (To be supplied Loose) |  | 495 METERS | 990 METERS |
| --- | --- | --- | --- | --- |
| [C] | FITTINGS: for each CV (To be Supplied Loose) | (i) BRASS FITTING-Double Compression Type for Connection to Air Filter Regulator | 1 LOT | 2 LOT |
|  |  | (ii) BRASS FITTING- Double Compression Type for Connection to Solenoid Valve | 1 LOT | 2 LOT |
|  |  | (iii) BRASS FITTING- Double Compression Type for Connection to IA Header isolation vlv. | 1 LOT | 2 LOT |
|  |  | (iv) BRASS TEE | 1 LOT | 2 LOT |
| [D] | START-UP/COMMISSIONING SPARES : ( TOTAL PRICE FOR 1 SETS OF BODY AND BONNET GASKET & 1 SETS OF GLAND PACKINGS PER CV ) |  | 1 LOT | 2 LOT |
| [E] | MANDATORY SPARES |  | 1 LOT | 2 LOT |
| [F] | HAND HELD HART CALIBRATOR |  | 1 NO. | 2 NO. |
| [G] | PC(INDUSTRIAL GRADE) & DIAGNOSTIC SOFTWARE: Software for diagnostic & configuration with facility of configuring all valve tags in a unit through polling & without any change in wiring. |  | 1 LOT | 2 LOT |