SCHEDULE OF PRICES

| S.NO |  | ##### ITEM DESCRIPTION |  | ## UNIT PRICE ## (Ex-Works) | ## TOTAL PRICE for TWO Units (Ex-works) |
| --- | --- | --- | --- | --- | --- |
| [A]CONTROL VALVES COMPLETE WITH PNEUMATIC ACTUATOR AND ALL THE ACCESSORIES |  |  |  |  |  |
| S. No. | TAG NO. |  | SERVICE |  |  |
| 1 | ASV-8 |  | D/A Pegging from Aux. Steam Header |  |  |
| 2 | CRHV-6 |  | D/A Pegging from CRH Line |  |  |
| 3 | CDV-22 & CDV-25 |  | Main Condensate Control |  |  |
| 4 | CDV-10, CDV-12 & CDV-14 |  | CEP A/B/C Minimum Recirculation |  |  |
| 5 | CDV-43 |  | Excess Dump Control |  |  |
| 6 | CDV-39 |  | GSC min. flow recirculation |  |  |
| 7 | CDV-67 |  | Condensate for Flash Tank-B |  |  |
| 8 | CDV-72 |  | Condensate for Valve Gland Sealing |  |  |
| 9 | DRV-53 |  | HPH-7A Normal Drain to HPH-6A |  |  |
| 10 | DRV-59 |  | HPH-7B Normal Drain to HPH-6B |  |  |
| 11 | DRV-56 |  | HPH-7A Alt Drain to F/T-A |  |  |
| 12 | DRV-62 |  | HPH-7B Alt Drain to F/T-B |  |  |
| 13 | DRV-2 |  | HPH-6A Normal Drain to HPH-5A |  |  |
| 14 | DRV-8 |  | HPH-6B Normal Drain to HPH-5B |  |  |
| 15 | DRV-5 |  | HPH-6A Alt Drain to F/T-B |  |  |
| 16 | DRV-11 |  | HPH-6B Alt Drain to F/T-B |  |  |
| 17 | DRV-15 |  | HPH-5A Drain to Deaerator |  |  |
| 18 | DRV-22 |  | HPH-5B Drain to Deaerator |  |  |
| 19 | DRV-18 |  | HPH-5A Alt Drain to F/T-A |  |  |
| 20 | DRV-25 |  | HPH-5B Alt Drain to F/T-A |  |  |
| 21 | DRV-28 |  | LPH-3 Normal Drain to LPH-2 |  |  |
| 22 | DRV-31 |  | LPH-3 Alt Drain to F/T-A |  |  |
| 23 | DRV-34 |  | LPH-2 Normal Drain to LPH-1 |  |  |
| 24 | DRV-37 |  | LPH-2 Alt. Drain to F/T-B |  |  |
| 25 | DRV-48 |  | Deaerator Overflow to F/T-A |  |  |
| 26 | DMV-19 |  | DM Normal MU to Hotwell |  |  |
| 27 | DMV-23 |  | DM Emergency MU to Hotwell |  |  |
| 28 | FDV-14 |  | Low Load Feed Control |  |  |
| 29 | ECW-20 |  | TG-ECW System |  |  |
| 30 | ECW-83 |  | SG-ECW System |  |  |

| [B] 15 METERS OF Cu. TUBING FOR CONNECTION BETWEEN IA HEADER ON ONE END & ACCESSORIS ON THE OTHER END OF CV + 1 SET OF FITTINGS FOR EACH VALVE. |  |  |
| --- | --- | --- |
| [C] START-UP/COMMISSIONING SPARES ( TOTAL PRICE FOR 1 SETS OF BODY AND BONNET GASKET & 1 SETS OF GLAND PACKINGS PER CV ) |  |  |
| [D] MANDATORY SPARES |  |  |
| [E] HAND HELD HART CALIBRATOR |  |  |
| [F] PC(INDUSTRIAL GRADE) AND DIAGNOSTIC SOFTWARE: Software for diagnostic & configuration with facility of configuring all valve tags in a unit through polling & without any change in wiring. |  |  |
| [G] CV TEST CHARGES (ONE PER TYPE PER SIZE, CV VALUE. TAG NOS. TO BE GROUPED ACCORDINGLY AND INDICATED. ) |  |  |
| [H] DOCUMENTATION CHARGES FOR THE FINAL DOCUMENTS & SOFT COPIES. |  |  |

| # PARTICULARS OF THE BIDDER / AUTHORISED REPRESENTATIVE |  |  |  |  |
| --- | --- | --- | --- | --- |
| NAME | DESIGNATION | SIGNATURE | DATE | COMPANY SEAL |