	  [image: image1.png]



JHANSI
	BHARAT HEAVY ELECTRICALS LIMITED , JHANSI

FACTORY CIVIL DEPARTMENT

 Name of work: - Epoxy flooring suitable for Air Caster Movement.
Tender Enquiry No. FCX / TE / 1 / 32 /  R                                       DT 11/02/2012





CORRIGENDUM SLIP -1
This corrigendum is issued on 11/02/2012 and henceforth forms a part of tender document for tender no FCX/TE/1/32/R. The following clauses of tender are hereby clarified / amended and all tenderers must submit their offers in light of the same. The tenderer must submit this corrigendum slip (duly signed and stamped) along with tender documents. 

1. Refer page 20, Clause 4 under “Special Conditions of Contract”. This must be read as follows
Cement will be issued from BHEL store @ Rs 200 per bag of 50kg. Cement wastage @ 2% of total issued quantity shall be permissible. Beyond this recovery shall be made at double the issue rate for cement.
2. Refer page 23, Clause I.1; page 30, Blank Price Bid S No1 and page 33, Price Bid S No 1, “Surface Cleaning and preparation”. It is clarified that the thickness of micro concrete to be laid is average 20 mm. It may vary at certain points due to unevenness of the existing surface. Tenderers are advised to inspect the site and quote accordingly. 
3. Refer page 23, Clause I.4;page 25, Clause II.5;page 30, Blank Price Bid S No. 4; page 31, Blank Price Bid S No. 9; page 33, Price Bid S No. 4; page 34, Price Bid S No. 9 “EPU Coating for Air Castor”. The following additional points must be carefully considered before quoting

a. The Air Castor has load capacity of 200 tonnes

b. The maximum surface pressure of air castor wheel / floor P < 25 N / sq mm. (This is as per specifications of Air Castor manufacturer)

c. Epoxy Polyurethane (EPU) self leveling three component top coat to be done must be minimum 2 mm thick.
4. The last date of submission of tender documents shall be 24/02/2012, till 1:15 PM at tender box placed at ADM Gate. The tenders ( Part I techno commercial bid only ) shall be opened on same day ie. 24/02/2012 , 2:00 PM. The bidders must clearly mention tender due date of 24/02/2012 on the envelope containing their bid documents 
           Signature & seal  issuing authority                                                              
Sign, seal & date of contractor

 1




[image: image1.png]_1390471342.doc
[image: image1.png]






