| PRICE BID PART-B |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Title: Supply of CPVC Pipe and accessories for residential blocks in BHEL Township, Sector-17, Noida, UP. |  |  |  |  |  |  |  |  |
| # NIT NO. : 18: AA: NOI: ADMN. CPVC PIPE: 112:2015-16 Dated: 16/12/2015 |  |  |  |  |  |  |  |  |
| Delivery Schedule: - Full quantity within 15 days from placement of Purchase Order. |  |  |  |  |  |  |  |  |
| S. No | Description of items | Unit | Quantity | Rate (in Rs.) including all taxes but excluding VAT (in figure) | VAT (%) | Rate (in Rs.) including all taxes including VAT (in figure) | Rate (in Rs.) including all taxes including VAT (in words) | Amount (in Rs.) inclusive of VAT & all other taxes (in figure) |
| 1 | CPVC Pipe(20 mm) SDR 11 (Supreme, Prince , Astral or equivalent) | Feet | 12000 |  |  |  |  |  |
| 2 | CPVC Elbow (plain) 20 mm (Supreme, Prince or equivalent) | Nos. | 1350 |  |  |  |  |  |
| 3 | CPVC Tee (plain) 20mm (Supreme, Prince or equivalent) | Nos. | 600 |  |  |  |  |  |
| 4 | CPVC Socket (plain) 20 mm (Supreme, Prince or equivalent) | Nos. | 600 |  |  |  |  |  |
| 5 | CPVC Socket (Brass- male) 20mm by 15mm(Supreme, Prince or equivalent) | Nos. | 120 |  |  |  |  |  |
| 6 | CPVC Socket (Brass- female) 20mm by 15mm(Supreme, Prince or equivalent) | Nos. | 540 |  |  |  |  |  |
| 7 | CPVC Union 20 mm(¾")(Supreme, Prince or equivalent) | Nos. | 60 |  |  |  |  |  |
| 8 | Brass Ball Valve 15mm (Zoloto or equivalent) | Nos. | 30 |  |  |  |  |  |
| 9 | PVC Saddle (3") (Prayag or equivalent) | Nos. | 30 |  |  |  |  |  |
| 10 | CPVC Solution (in 100 gm. Packet) (Holdite or equivalent) | Nos. | 120 |  |  |  |  |  |
| 11 | ½" PTMT Ball Cock (Prayag or equivalent) | Nos. | 510 |  |  |  |  |  |
| 12 | PVC Ball (Prayag or equivalent) | Nos. | 510 |  |  |  |  |  |
| 13 | Ball Cock Rod (Prayag or equivalent) | Nos. | 510 |  |  |  |  |  |
| 14 | M.S. Bush (1" x ½") | Nos. | 30 |  |  |  |  |  |
| 15 | Total Amount(Rs.) |  |  |  |  |  |  |  |
| 16 | Freight/ Cartage (Rs) |  |  |  |  |  |  |  |
| 17 | Gross Total Amount (Rs) |  |  |  |  |  |  |  |
| Total in Words: Rupees |  |  |  |  |  |  |  |  |

Note:-

- Bidders are required to quote all the applicable charges OR clearly mention N.A. against the items which are not applicable.

- For the charges quoted in percentage, bidder must specify the price component on which it is chargeable.

- In case, gross total price indicated in above price bid does not match with the total of item wise breakup, the highest price so calculated shall be considered for evaluation but in case of order, the same shall be placed at the lowest price.

(Engineer-in-charge)											(Signature & seal of the bidder)