B  H  A  R  A  T   H  E  A  V  Y   E  L  E  C  T  R  I  C  A  L  S   L  I  M  I  T  E  D

[image: image1.png]


Heavy   Power   Equipment   Plant,   Ramachandrapuram,   Hyderabad - 502 032

   Phones    : 040- 23182169, FAX: 040- 23020154, e-mail : kvsk@bhelhyd.co.in

PROJECTS   DEPARTMENT

                  TENDER NOTICE

              Sealed  Tenders  in  two separate  covers,  are invited by the  Sr. Manager /Projects ,  from  the  reputed agencies / firms  experienced  in  similar works  with  Govt. of India,  Govt. of  A.P, Railways,   M E S, Public Sector Undertakings, reputed Industrial / Business houses for  the  following  works  to be dropped in the Tender box provided at Vendor complex behind Admn. Building,  B H E L,  Ramachandrapuram,  Hyderabad 502 032  upto  11.00 Hours on  the  dates  specified  and  the  Tenders  will  be  opened  on  the  same  day  at 13.15 Hours in vendor complex behind Admn building.

            The  tenders  will  be issued on all  working  days  between  9.00 Hours  and  14.00  Hours   at the office of  Sr. Manager (Projects) on submission of proof of documents as listed below. The agencies can down load tender documents from BHEL web site , CPP  till the due date of opening. The last date for receipt of Tenders as per the dates mentioned below.                    
	Sl. 

No.
	Name of work
	Approx. 

Estimate Amount     (Rs. in Lakhs)
	Earnest Money Deposit                ( Rs in Lakhs).
	Period of contract

Upto
	Cost of Tender Document (Rs)
	Sale of Tenders (09.00 hrs to 14.00 hrs)
	Last date for receipt (11.00 hrs) and opening of tenders. (13.15 hrs)

	
	
	
	
	
	If Purchased from BHEL 
	If down loaded from web
	From
	To
	

	
	Tender Notice No: Proj-EC / ELEC / OT / 2012-13/14,   dt.18-01-2013
	
	
	
	
	
	
	
	

	1
	Mechanical works for Test Plants of GT Fr.5,Fr.6 and Fr.9 at GT complex.
	39.22
	1.00
	10 Months
	500/-
	250/-
	22.01.2013
	12.02.2013
	13.02.2013

	2
	Shifting,erection and levelling of Clamping Bars for Test Beds of GT Fr.5,Fr.6 and Fr.9E
	1.40
	NIL
	6 Months
	250/-
	150/-
	22.01.2013
	12.02.2013
	13.02.2013

	3
	Providing Lighting for Vehicle Parking area at Admn. Building.
	12.91
	0.40
	2 Months
	500/-
	250/-
	22.01.2013
	04.02.2013
	05.02.2013


          The tenderer must posses P.F. and ESI codes. Documentary requirements of minimum turnover, experience, labour licence, PAN No.,  Service Tax Reg. shall be submitted as demanded in the techno commercial bid.  For full details and tender documents, please visit  web sites   http://www.bhel.com or www.eprocure.gov.in on the above mentioned dates. All corrigenda, addenda, amendments, time extensions clarifications, etc, of the tender will be hosted on BHEL website(www.bhel.com)  and  www.eprocure.gov.in.  The agencies are advised to visit to the site to understand the nature of work / quantum of work in its true perspective to avoid any complications.

    SR.MANAGER


                                            Projects  Dept

PRE-QUALIFICATION ( Mechanical works )

I. The following conditions have to be satisfied by the tenderer, with documentary proof to be enclosed with tender bid (Technical).

1. Average annual financial turnover for the  three Years 2009-10, 2010-11 and  2011-12  should be at least 30% of the estimated cost.

2. Particulars of experience / credentials for the   Mechanical  works  executed   during last             7 years   ( work Completion/execution certificate to be enclosed ) ending last day of month previous to the one in which applications are invited should be either of the following:

(a) Three completed/executed  Mechanical works* costing not less than the amount equal to 40% of the estimated cost     OR

(b) Two completed/executed  Mechanical works* costing not less than the amount equal to 50% of the estimated cost      OR

(c) One completed/executed   Mechanical work* costing not less than the amount equal to 80% of the estimated cost.
Mechanical works : piping works / fabrication/ steel structural works /welding works / erection of  machine tools/ erection of clamping bars.
3. (a)
ESI Code

(b) P.F.Code No.( if available ), In case not available, the agency shall submit the PF Code No. 
       before commencement of work.
4. Labour License ( Central Government ) before commencement of work.
5. It is required to furnish VAT registration certificate issued by Commissioner, Commercial Taxes,  and   Service Tax registration Certificate in respect of all works. 

6. PAN No. 

7. EMD / Cost of document   -  RECEIPT/DD.

II. Tender documents can also be had through Web sites www.bhel.com or www.eprocure.gov.in, Cost of Documents, EMD  shall be paid in the form of Demand Drafts or Bankers cheques and separately enclosed to the Tender bid ( Technical Bid ).

III. The requisition for Tender documents shall be given in person to Sr. Manager/Projects BHEL, Ramachandrapuram, Hyderabad-502032 along with Demand Draft / Bankers cheque drawn in favour of “BHARAT HEAVY ELECTRICALS LIMITED, HYDERABAD” or payment of cash in BHEL Cash Office (No other mode of payment will be accepted). Tender documents shall be collected in person by the contractor or his representative. In case of Tender application & Tender documents downloaded from WEB SITE, the Tenderer shall pay cost of Tender documents and EMD  for item of work he is tendering separately by means of two separate DDs ( in favour of BHEL, R.C.Puram, Hyderabad) one towards cost of tender documents and second towards EMD. Both DDs shall be enclosed along with Technical Bid.

IV. Penalty: 0.5% of the gross value of the work will be levied for every weeks delay by the agency, subject to a maximum of 10% value of the work.

V. Quotation should be valid for a period of  120 days. 

VI. Period of completion of work is  6 months.
VII. Tenders not fulfilling the above conditions are liable for rejection. The semi filled, incomplete  Tender Documents will be rejected. 
 

VIII. If the Bidder deliberately gives any wrong information in his Tender to create in circumstances for the acceptance of his bid, BHEL reserves the right to reject such Tender/application.
IX. Bidders should regularly visit BHEL website ( respective NIT) to keep themselves updated for corrigenda, addenda, amendments, time extensions, time reductions, clarifications etc. and shall submit the Tender documents accordingly. Tenderers are requested to check NIT/Web site always before submission of Tenders. 
                      


SR. MANAGER/ PROJECTS

TENDER BOX IS AVAILABLE AT VENDOR COMPLEX , BEHIND ADMN.BUILDING  FOR DROPPING FILLED TENDERS UPTO   ( 11.00 HRS ) ON DUE DATE 
B H A R A T  H E A V Y  E L E C T R I C A L S  L I M I T E D 

RAMACHANDRAPURAM : : HYDERABAD – 502032

PROJECTS DEPARTMENT

TELEPHONE No.:040- 23182327, FAX No.: 040–23020154, e-mail : bcp@bhelhyd.co.in

TENDER NOTICE No.: PROJ-EC/ELEC/OT/2012-13/ 14, dtd.18.01.2013  , ( Item No.2 )                                                           

1.         Name of work



: Shifting,erection and leveling of Clamping Bars for Test 

                                                                                 Beds of GT Fr.5,Fr.6 and Fr.9E.
2.      Earnest Money Deposit

: NIL  

3.      Time of Completion


: Six Months  from the date of commencement. 

4.       Maintenance period


: Six Months  from the date of completion.

5.     Sale of Tenders  from 


 : 22.01.2013
6.      Last date of receipt of Tenders
            : 13.02.2013 upto 11.00 Hrs. Tender Box is 
                                                                     available  at Vendor Complex, Behind
                                                                      Admn.Bldg. 

7.      Date and time of opening of Tenders
:, 13.02.2013 after  13.15 Hrs. 

8.     Estimated Amount 


: Rs.1,40,036 /-,  Service Tax &  VAT Extra.
9.      Cost of Tender documents

:  Rs. 250.00  and 
    ( Non Refundable )


   Rs 150/- if downloaded from Web site and 

                                                               Submitted.

 Full Name & Address:


--------------------------------------------------------------- 



---------------------------------------------------------------

---------------------------------------------------------------

         E- Mail id: ____________________________________

         Contractor Code No: 

         (  BHEL issued No. )_____________________________

 EMD  :   EMD PAID   /   ONE TIME EMD 
 TENDERING PROCESS

A. Tender box is kept /  available at  VENDOR COMPLEX , BEHIND ADMN.BUILDING  for dropping / submitting the Tenders and  Tender box will be closed at 11.00 Hrs on due date. 

B. Tender documents are issued in two bid system.

1.    Technical bid

2.     Price bid

C. Tender opening

On the day of tender opening i.e., 13.02.2013 , after 13.15  Hrs. only TECHNICAL BIDS will be opened and evaluated. After scrutiny and acceptance of the technical bids, price bids  of  qualified  Agencies only will be opened at a later date and date of opening  of  price bids will be intimated separately. 
D. The technical bid consists of technical schedule & General Conditions requiring  documentary proof. In case the agency has  not satisfied all the conditions along with documentary  proof,  the tender will be rejected.                                

E.   Technical and price bids  must be in separate covers and superscribed as "Technical bid"  and "Price Bid"  separately with  Tender Notice No., Item No. , Name of the work , NIT No. and  address of the agency with Contact Nos. shall  be clearly written on  both the covers.   The Tenders should be addressed  to  The Sr.Manager/Projects, Projects Department,  Bharat Heavy Electricals Limited,  Ramachandrapuram,  Hyderabad – 502032.  Tenders received  mixed  (with price and technical bids) will be rejected.  Every page of the Technical Bid and price bid  document shall be signed  and stamped by   the Tenderer at the bottom   of the page.

F. In case of tender application and tender documents  downloaded from web site, the Tenderer shall pay cost of tender documents and EMD for item of work  he is tendering separately  by means of two separate DDs/Bankers Cheques (in  favour of  Bharat Heavy Electricals Limited, R.C.Puram, Hyderabad)  one towards cost of tender documents  and second towards EMD. Both DD's shall be enclosed  along with the Technical bid. DD’s/Bankers Cheques may be drawn for cost of tender documents upto last date of receipt of tenders.
                                                                                                          …2/-
              :: 2 ::

                                                                  To be filled up  by the bidder /Contractor

                   TECHNICAL BID

Name of work                       : Shifting, erection and leveling of Clamping Bars for Test Beds of GT 

                                                      Fr.5,Fr.6 and Fr.9E.
Tender Notice No &              : PROJ-EC/ELEC/OT/2012-13/14,  dtd. 18-01-2013  ( Item No.2 )                                                   
	S.No
	Description
	Data to be filled by Bidder/Contractor

	1
	Name of the Contractor       

Full Address                              

Contractor’s code No.
Contact person                           

Phone 

Fax   

Mobile Nos.    

E-mail ID     

 Agency shall provide  Fax No, e-mail id for  communication. BHEL will communicate through  e-mail for required data/ intimation of dates.
	:

:

:

:

:

:

:

:



	2
	Details of DD/Cash receipt        

a)   D.D or Cash receipt  Nos for  EMD 

                  DD Date  and  Bank Details 
Please submit recently issued DDs with a validity period of three months  from date of issue.

b)   DD/Cash receipt  Nos for Cost Of Tender Documents.

                 DD  Date   and  Bank Details                                         

 (DD/Bankers Cheques/C.R has to be enclosed along with  Technical  bid only). 
	Amount          : Rs 
C.R/DD No.   :  

C.R/DD  date :  

Bank    : 
Branch :

Valid up to date:

Date of validity of One  

Time EMD ( If submitted):
Amount          : Rs

C.R/DD No    :  

C.R/DD  date :  

Bank    :

Branch :

Valid up to date:

	3
	Particulars  of experience/credentials

as detailed in notice. 

( work Completion/execution certificates  to be enclosed )
	:



	4
	ESI No.  (Copy to be enclosed)
	:

	5
	PF CODE  No. (Copy to be enclosed) 

In case not available, the agency shall submit 

the PF Code No. before commencement of work. 
	:

	6
	PAN No . (Copy to be enclosed)  

 
	:


                                                                                     SIGNATURE OF  CONTRACTOR
                                                                         : 3 :
	S.No
	Description 
	Data to be filled by Bidder/Contractor

	7
	VAT Reg.No: (Copy to be enclosed)  
	:



	8
	LABOUR LICENCE (Copy to be enclosed if available )         Valid up to : 

In case not available, party shall submit  the Licence  before  commencement of the work .
	:



	9
	Annual turnover  during  3 years  period – Fin.Year 10-11, 09-10  and   Year 08-09. (Audited/CA Certified).   

( supporting  documents  with Saral , Audited/CA Certified P&L Account  and  Balance Sheets  are  to be enclosed )
	Fin.Year  11-12 :

Fin.Year  10-11 :

Fin.Year  09-10 :

	10
	Service Tax No

(Copy to be enclosed)
	:




 NOTE: 
1.  Without  PAN ,VAT TIN No., and Service Tax  Registration Nos  contractors bills cannot be       

        processed and payments will be held up.

2. Technical bids will be scrutinised by the Dept. and   In case the   agency has not satisfied all the above conditions with documentary   proof the bid will be rejected and their price bid will not be opened.

3. In case of a firm, the documents shall be in the name of the firm.   However in case of sole proprietor or individuals these  documents shall  be  on the name of the sole proprietor or individual.

4. Though some of above documents are available with BHEL for those agencies who are presently working with BHEL, they also should submit one copy of the same. Otherwise the  offer will be rejected.

5. All the  relevant columns shall be filled with proper information. The  unfinished/wrongly filled/incomplete Tender Documents  ( Technical Bids / Price Bids ) will be rejected.

6. BHEL reserves the right to reject any or all tenders in part or in full without assigning any reason. The Tender will be finalized on the lowest cost to BHEL.

7.  Any other works not mentioned but required for completion of the project are to be carried out by the contractor with mutually agreed rates and vetted by Finance.

8. BHEL reserves the right to reduce/increase/delete the items/quantities mentioned in the schedule.
9. Party shall comply all applicable( State/Central) legal & statutory requirements before  commencement of  the work. 
10. The agencies are advised to visit the work site to understand the   nature of    work /  

       quantum of work in its true perspective to avoid  any complications in future.

11. Tenders submitted without EMD /Cost of documents will be rejected.

                                                                                                            Signature of Contractor(s).
TECHNOCOMMERCIAL TERMS, CONDITIONS  AND SPECIAL INSTRUCTIONS
1 The Tenderers are required to quote their tender value in percentage ( % ) basis at excess or less or on par with estimated value.( The agency shall quote (+) or (- ) or on par with estimated value). The quoted value in percentage ( % )  shall be written  in  Figures and  words over the BHEL estimate value given in the Price bid. In case of any difference in words and figures the  percentage  given in words will be considered   for comparison and for awarding the work. 

If the the agency quotes for any  two variants (  +  or -   or  on par )at a time, the lowest value will be considered for evaluation of Tender.

In case more than one agency becomes L1 by quoting same value, further sealed quotations will be  called for,  from those L1 agencies only to decide final agency with further lowest value. No agency shall quote more than his original tender rates, while re-quoting. 

2 The tenderer should quote the value  inclusive of all taxes & duties ( except VAT & Service Tax ) levied by State and other Government organizations as well as all local authorities as applicable. The  VAT and Service tax  are extra which will be paid by BHEL to the agency after submission of necessary documents. Interest and penalties paid/payable  by the Contractor will not be reimbursed by BHEL and entire implication is only to be borne by the agency. The Tenderer shall indicate the rate of applicable taxes and duties for the work executed. Tenderer shall indicate all exemptions on account of threshold limit or special notifications under any stature.

3 If the due date of tenders opening extended because of  poor response  the  agencies who have already submitted  tender bids earlier  need not  submit revised tender. The original tender only will be considered for evaluation. If the Tender is not opened on  due date due to any reasons/unavoidable circumstances/the date of opening happens to be a declared holiday at a later date,  the same will be opened on next working day at the stipulated time.
4 Bills /material proof of entry inside factory area shall be shown to the Engineer

             -   incharge for the bought out items. 
5 The tenderer shall accept all the terms and conditions of the techno commercial bid  of the tender document.  In case same is not confirmed by the tenderer , the offer will be liable for rejection.

6 The tenderer shall not include any additional conditions / alter conditions either in the techno commercial bid or price bid. 

7 All materials of  BHEL  free issue shall be lifted by the bidder  from BHEL stores and transported to worksite .  Also the agency shall return the leftover  materials to stores. The rates shall include  transportation costs also.

8 Rates quoted shall be firm throughout the period of the contract  and no price escalation is payable under this contract on any account.

9 Sub- contracting is not permitted under any circumstances without written consent of BHEL.  

10 Contract to be closed in all respects including final measurement recording in M book and submitting the bill within two months from the completion time as mentioned in the tender or Approved date of completion whichever is later.

12      BHEL shall have the right to reject any tender based on past unsatisfactory performance.
CONTRACTOR(S)




ISSUING OFFICER 

Special Instructions: -

1. All BHEL General Conditions of the Contract shall be applicable. A copy of which is available in the office of Sr.Manager / Projects for perusal.

2. Any statutory increase in the labour wages during the period of execution shall be borne by the agency.  The agency shall quote the firm rates considering the possible labour escalation also.

3. The rates quoted shall be finished items of work including all lifts, leads and other incidental charges mentioned in the General Conditions of the Contract, unless otherwise specified.

4. The department reserves the right to split and award the work to more than one agency.

5. The contractor should follow all the safety precautions, special conditions of safety attached  while executing the work.  

6. The contractor should engage labours whose age is above  18 years.

7. All the bills of contractors will be cleared by Finance Department subject to production of “Clearance Certificate” by the contractors in respect of compliance of all statutory requirement, issued by I R section of Human Resource Department.

8. The tenderer shall comply with all statutory requirement pertaining to the state or any government agencies or authorities Example, PF, ESIC, workman’s compensation & personnel accidents insurance . The company will not be responsible for any claim made by the workers or government agencies / authorities.

9. Time is the  essence of the contract . If agency fail to complete the work with in stipulated time , agency is  liable to pay  penality as mentioned below.

0.50% of the gross value of work will be levied for every weeks delay by the agency subject to a maximum of 10% value of the work.

10. BHEL is an ISO 14001 & OHASAS 18001 certificate company and always strives for excellence in HSE management  and the agency shall comply all the standards from time to time.

11. Agency will also ensure that qualified and experienced site staffs are available at all times during working hours in order to ensure proper supervision and to maintain the quality . You should take precaution regarding the safety of labour during the execution of the work. company shall not accept responsibility for the safe keeping of your tools, tackles and materials etc., you will therefore provide and maintain at your  own cost locking , watch and ward when and where necessary .

12. Safety shoes, masks and gloves etc:
Safety shoes, gum boots, gloves, masks, helmets/summer caps etc shall be provided by the agency for each worker.

CONTRACTOR(S)




ISSUING OFFICER 

[image: image2.png]



BHARAT  HEAVY  ELECTRICALS  LIMITED
RAMACHANDRAPURAM : : HYDERABAD – 32.

TENDER  DOCUMENTS

I N D E X 
1.       Directions to Parties for Tendering 

2.       Tender for the work

3.       Tenderer’s and Contractor’s Certificate

4.       General Terms and Conditions

5.
Special conditions (Safety)   & Tidiness at  Site etc.

6.         Schedule – A  : Schedule of rates and approximate quantities  - PRICE BID. 

DIRECTIONS TO PARTIES FOR TENDERING  

1.
 Subsidiary items such as water for work, clearing and marking out site, hire of tools  and plants should be separately entered.  If such items are not so entered, it will be assumed that the rates quoted, in the schedule include provision for them also. 

2. Each tenderer must also send a certificate of Current Income Tax Clearance from the appropriate Income Tax Authority in the form prescribed therefore.  In the case of proprietary firm, it will be necessary to produce the certificate aforementioned for the proprietor or proprietors and for each of the partners as the case may be.

3. Every tenderer is expected, before quoting his rates to inspect the site of the proposed work. The best class of materials shall be used on the work.  In every case, the materials as comply with the relevant standards specifications 

4. Time shall be considered as the essence of the contract.  The rate of progress as mutually agreed to is required to be maintained.  Date of commencement of this programme will be the date on which the site (or premises) is handed to the contractor.

5. The tenderer should quote specific rates for items in the schedule in percentage ( % ) basis as given in the Price bid and the rates should be in rupees and paise. .  The schedule accompanying the tender shall be written legibly and free from  erasures, over writings or corrections of figures.  Corrections where unavoidable should be made by crossing out, initialing, dating and rewriting.  No alterations which is made by the tenderer in the agreement form, the conditions of agreement, the drawings or specifications accompanying the same will be recognized and if any such alterations are made, the tender will be void.

SIGNATURE OF CONTRACTORS(S)     

        ACCEPTING AUTHORITY  

TENDER FOR THE  WORK
I/We_____________________________________________do hereby tender to execute works of the under mentioned description and in accordance with the conditions noted below in consideration of payment being made for the quantity of work executed at the respective rates specified in the following schedule.

I / We hereby distinctly and expressly declare and acknowledge that before the submission of my / our tender I / We carefully followed the instructions in the tender notice and have read the  Andhra Pradesh Standard specification and the clauses of the preliminary specifications and that I /We have made such examination of the contract documents and of the specifications etc., and of the location where the said work is to be done and such investigation of the work required to be done and in regard to the material required to be furnished as to enable me/us thoroughly to understand the intention of same and the requirements, covenants, agreements, stipulations  and restrictions contained in the contract and in the said specifications and distinctly agree that I /We will not hereafter make any claim or demand upon the Bharat Heavy Electricals Limited based  upon or arising out of the said requirements, covenants, agreements, stipulations, restrictions and conditions I /We, _______________________ enclose a income tax verifications certificate.  I /We ________________________________________ have already produced  income  tax verification certificate during the current calendar year in respect of (here particulars of the previous occasion on which the certificate was produced should be given ______________________________________________________________________________________________________________________________________________________. 

                                           
                                Signature of Contractor (S)

                                                      
                    Address

TENDERER’S AND CONTRACTOR’S CERTIFICATE

1. I hereby declare that I have perused in detail and examined closely the Andhra Pradesh Standard Specifications and it’s addenda volume and also BHEL General Conditions of contract. I agree to be bound by and comply with all specifications contained in Andhra Pradesh  Standard Specification and General Conditions of contract, for the various items of works specified in the   Schedule “A”  ( Price Bid ) and the work as a whole.

2. I hereby declare that I shall pay the statutory minimum wages to my workers as applicable from time to time.

I shall  also adhere to all the statutory obligations under Contract Labour (Regulation and Abolition) Act 1971 and Rules framed thereunder with subsequent revisions if any .

Date _________________                            SIGNATURE OF CONTRACTOR(S)

GENERAL  CONDITIONS  APPLICABLE  TO  ELECTRICAL  & MECHANICAL WORKS CONTRACTS.

Following are the “ General conditions applicable to Electrical & Mechanical  Works Contracts”.  Contractors shall be basically bound by the clauses mentioned herein.  However,  contractors shall also be bound by such of the clauses mentioned in General conditions of contract for supply,  supervision, erection of equipment and electrical installations annexed with this, which are not incorporated in the first said general conditions and which are applicable to Work Contracts.

1. Before submitting the tender, the tenderer shall be deemed to have carefully examined the tender documents (specifications, general conditions) and have satisfied himself by actual inspection of the site of the work and also conditions liable to be encountered during the execution of works are taken into account and the rates quoted are adequate and also inclusive.

2. Should a tenderer find discrepancies in or omissions from the drawings or any of the tender documents or should be in doubt as to their meaning  should at once obtain the clarification from the accepting authority.  It shall be understood that every endeavor has been made to avoid any error which can materially effect the basis of the tender and the successful tenderer shall take upon himself and provide for the risk of any error which may subsequently be noticed and shall make no subsequent claim or account thereof. 

3. Words imparting the singular number shall also include the plural and vice-versa where the context requires.

4. Before submitting the tender, tenderers should sign on each and every page of the tender documents including drawings.

5.   POWER TO VARY OR OMIT WORK: The tenderer shall quote  his rates  in Percentage basis ( %)  at excess or less or on par with estimated value with reference to  items of the schedule.   In case of any difference in words and figures the  percentage  given in words will be considered   for comparison and for awarding the work.  The tenderer should quote the item rates inclusive of all taxes  ( except VAT and Service Tax which will be reimbursed on submission of valid documents ) and duties levied by State / Central / Other Government Organizations as well as Local Authorities as applicable and should submit proper document evidencing the payment of applicable Tax / Duty, based on which BHEL can avail Credit, Otherwise the payment to the contractor will be reduced to that extent.  While quoting the rates, tenderers are advised  to take care of market fluctuation during the period of validity of contract.  No claim shall be entertained on account of any extra expenditure.  The quantities indicated in the Schedule are approximate and the Contractor must be prepared to execute the job for increase/decrease of quantities, Company shall pay/deduct from Contract at the rates mentioned in the scheduled enclosed with Letter of Intent. Minimum quantities are not guaranteed against any item of the schedule.  Where an item or items are not appearing in the tender schedule and where the rates are not given in the schedule, they shall be settled by the BHEL and Contractor jointly.

6. Any erasures and or alterations in the tender documents must be attested by the tenderer, otherwise the tender is liable for rejection.

7. If the tenderer furnished wrong information for the acceptance of the tender, the BHEL reserves the right to reject such an offer/tender and or cancel the contract at any stage of work.    
                                                                                                                                           …..2

              CONTRACTOR                                                           ACCEPTING AUTHORITY







::2::

8. The tenderers shall keep the offer for a period of 120 days from the date of  opening the tender within which period, if the contractor revokes his offer or increase the prices, the offer is liable for rejection by forfeiting the Earnest Money Deposit.   

9. If the tenderer expires after the submission of his tender or after acceptance of this, the BHEL shall deem such tender as cancelled.  If a partner of the firm expires, after the submission of their tender or after the acceptance of their tender, the BHEL shall deem such tenders as cancelled unless the firm retains its character.

10. Tenderers are advised to note incase of negotiations, such negotiations shall not amount to cancellation of original offer.  The original offer however shall be binding till the expiry of the validity period.

11.
 TERMS OF PAYMENTS 

Subject to any recoveries or deduction, which the Company may be entitled or authorised to make under this contract or otherwise the Company will pay: - 

a)  75% of the value of non- perishable materials as Secured Advance after                                                              

         Storing the required materials on site and certified by the Engineer incharge against 
        INDEMINITY BOND in the prescribed proforma.

b)  100% of the value of the portion of work completed in all respects of any of the items of the Scheduled on progressive execution.

c) Amount of the extent of 10%of the agreed rate against each items of the schedule will   

be deducted towards testing and commissioning wherever necessary and the same will be paid after actual handing  over the Installation duly tested and commissioned.

12.
This earnest money deposit will be refunded to the unsuccessful Bidders after finalization of the award of work. In case of successful bidder, the earnest money will be adjusted as part of the Security Deposit for satisfactory completion of the work in accordance with BHEL’s General Conditions of Contract 

 EMD of the tenderer will be forfeited by BHEL if 

i) After opening the tender / price bid the tenderer revokes his tender within the validity period or increases his earlier quoted rates.

ii) 
The tenderer does not commence the work within the period as per LOI /Contract. In case the LOI / Contract is silent in this regard then within 15 days after award of contract.
The successful tenderer has to execute an agreement in the prescribed proforma on a non-judicial stamp paper worth applicable as per value of contract and the expenses of completing the agreement shall be borne by the Contractor.  Copy of  the Agreement will be given to the Contractor after its approval by the Accepting Department  of BHEL.

14.
The successful tenderer at the time of executing the agreement is required to produce the 
following:  


i)   Income tax clearance certificate or a sworn affidavit duly counter signed by

     the income Tax Authority.


ii)   Affidavit or Partnership Deed or Memorandum and Articles of Association.


iii)   Power of attorney.     










   SECURITY DEPOSIT

15.1 
Security Deposit shall be collected from the successful tenderer. The rate of Security  Deposit will be as below:













…..3
        CONTRACTOR                                                           ACCEPTING AUTHORITY

                                                                    ::3::
         Upto Rs.10 Lakhs

-   
10%


Above Rs.10 Lakhs upto 
-   
1 Lakh + 7.5% of the amount  - 
    

          Rs.50 Lakhs
                          
exceeding Rs.10 Lakhs.


Above Rs.50 Lakhs
           - 
Rs.4 Lakhs + 5% of the amount






   
Exceeding Rs.50 Lakhs.


Before commencement of work, the contractor has to deposit the 


Security Deposit. 

15.2
Security Deposit may be furnished in any one of the following forms:

I. Cash (as permissible under the income Tax Act). 

II. 
Pay Order, Demand Draft in favour of BHEL.  

III. Local cheques of Scheduled banks, subject to realization. 
IV. 
Securities available from Post Offices such as National Savings Certificates, Kisan Vikas Patras etc.(Certificates should be held in the name of Contractor furnishing the Security and duly pledged in favour of BHEL and discharged on the back). 

V. 
Bank Guarantee from Nationalized Banks, BHEL Consortium Bank Scheduled Banks.The Bank Guarantee format should have the approval of BHEL.

VI. 
Fixed Deposit Receipt issued by Scheduled Banks / Public Financial Institutions as defined in the Companies Act.  The FDR should be in the name of the Contractor, A/C BHEL, duly discharged on the back.

VII. Security Deposit will also be recovered at the rate of 10% from the running bills.  However, in such cases at least 50% of the Security Deposit will be collected before start of the work and the balance 50% will be recovered from the running bill.


VIII. EMD of the successful tenderer will be converted and adjusted against the Security Deposit.

IX. The Security deposit shall not carry any interest.

NOTE:  Acceptance of Security Deposit against Sl.No.(iv) and (vi) will be subject to hypothecation or endorsement on the documents in favour of BHEL.  However, BHEL will not be liable or responsible in any manner for the collection of interest or renewal of the documents or in any other matter connected therewith. The Earnest Money paid at the time of tender will be adjusted as part of the Security Deposit and the balance amount will be recovered by deduction from the running bills of the contractor at the rates mentioned above.

15.3
Security Deposit shall not be refunded except in accordance with the terms of Security Bond or Agreement. No interest shall be allowed on Security Deposits. BHEL shall not be Responsible for any depreciation in the value of the securities while in their charge or for any loss of interest there on.

15.4
All compensation or other sums of money payable by the Contractor to BHEL under the terms of this contract or under any other contract with BHEL may be deducted from the Security Deposit or from any sums which may be due or may become due to BHEL and in the event of this Security Deposit being deducted by reason of such deductions as aforesaid, the Contractor shall within 7 days thereafter, make good in cash or in securities  endorsed as aforesaid, any sum by which the Security Deposit has been reduced. If the contractor fails to execute the contract either fully or partially or violates the contract conditions leading to cancellation of the contract, the security deposit will be forfeited.

                                                                                                                                        …..4
                    CONTRACTOR                                                           ACCEPTING AUTHORITY

                                                                    ::4::
16.
The work so far as it is to be carried out in the Company’s premises shall be   carried out at such time as the Company may approve and so as not to interfere with the conduct of Company’s business, but the Company shall given the contractor all reasonable facilities for carrying out the work. 
17.  
PROGRAMME OF WORKING:

The Contractor at the time of executing the agreement shall submit the programme of working i.e. procurement of materials (date of placing the order, expected date of arrival of material) and executing with the date of commissioning and probable date of completion.

18.
RISK PURCHASE:


In case Contractor/Supplier withdraws the quotation after its acceptance by BHEL, or fails to execute the work or supply goods as per the terms and conditions of contract or at any time repudiate the contract wholly or in part, BHEL shall be at liberty to forfeit the EMD/SD submitted by Contractor/Supplier and cancel the Work Order/Purchase Order. BHEL reserves the right, without any prejudice, to get the work done/procure material through alternate sources along with other incidental charges at the risk and cost of the contractor/Supplier. In case of execution of work through alternative sources, the extra cost incurred by the company will be recovered from the defaulting contractor/supplier and if price is lower, no benefit on this account will be passed on to Contractor/Supplier.
If the Contractor fails to commence the work as stipulated in the agreement and or if the progress of work is not satisfactory the agreement is liable for cancellation after informing the Contractor by forfeiting the Security Deposit.  The job will be executed by another agency and the excess cost involved in getting  the job executed either by another Contractor or departmentally is liable for recovery from payment that are due to the Contractor in connection with the same work or any other work or by recourse to legal action .  

RECOVERY FROM CONTRACTOR:
Whenever under the contract, any sum of money, shall be recoverable from or payable by the Contractors, the same may be deducted from or any sum then due or which at any time thereafter may become due to Contractor under the contract or under any other contract with BHEL or from his Security Deposit or he shall pay the claim on demand.
19.
TIME OF COMPLETION & EXTENSION OF TIME:



The work shall be completed in all respects and handed over, with in time stipulated in the agreement.  Extension of time shall be allowed without any penalty in case of the progress of work gets delayed by any act of BHEL or by any other contractor employees by BHEL or any reasons beyond our control which BHEL feels justified. No extension of time shall be allowed unless as an applications made in writing by the Contractor in the prescribed proforma.  

19.1
PENALTY.

If the Contractor fails to execute the job within the specified period as per the agreement or any extension of time thereof, he shall be liable for unconditional penalty at ½% of the Contract value per week of delay or part thereof subject to maximum to 10% of the total value of the finished contract amount and without prejudice to any other relief or compensation under any other conditions of contract.

                                                                                                                                            …..5
               CONTRACTOR                                                           ACCEPTING AUTHORITY







::5::

20. 
CANCELLATION / TERMINATION CONDITIONS                                                                                                                  
a) 
CANCELLATION OF CONTRACT FOR CORRUPT ACTS

BHEL, whose decision shall be final and conclusive, shall without prejudice to any other right or remedy which shall have accrued /shall accrue thereafter to BHEL cancel the contract in any of the following cases and the Contractor shall be liable to make payment to BHEL for any loss or damage resulting from any such cancellation to the same extent as provided in the case of cancellation for default.

If the Contractor shall,

i)  Offer or give or agree to give to any person in BHEL service any gift or consideration of any kind, as an inducement or reward for doing or for bearing to do or for having done or for borne to do any act, in relation to the obtaining or execution of this or any other contract for BHEL service,

OR

ii)  Enter in to a contract with BHEL in connection with which commission has been paid or agreed to be paid by him or with his knowledge, unless the particulars of any such commission and the terms of payment thereof have previously been disclosed in writing to BHEL.

OR

iii)  Obtain a contract with BHEL as a result of ring tendering or by non-bonafide methods of competitive tendering, without first disclosing the fact in writing to BHEL.

b) 
CANCELLATION OF CONTRACT FOR INSOLVENCY, ASSIGNMENT OF TRANSFER 
OR SUB-LETTING OF CONTRACT

BHEL, without prejudice to any other right or remedy, which shall have accrued or shall accrue thereafter to BHEL, shall cancel the contract in any of the following cases:

If the Contractor,

i) being an individual or if a firm any partner thereof shall at any time be adjudged bankrupt or have a receiving order for administration of his estate, made against him or shall take any proceedings for liquidation or composition under any bankruptcy Act or assignment of his effects of composition or arrangement for the benefit of his creditors or purport to do so, or if any application made under any Bankruptcy Act for the time being in force for the sequestration of his estate or if a trust deed be granted by him on behalf of his creditors

OR

ii)
 being a Company, shall pass a resolution or the Court shall make an order for the liquidation of its affairs, or a receiver or Manager on-behalf of the debenture holders shall be appointed or circumstances shall arise which entitle the Court or debenture holders to appoint a receiver or Manager,

OR

iii) 
Assigns, Transfers, Sub-lets or attempts to assign, transfer or sub-let any portion of the work without the prior written approval of the BHEL .

                                                                                                                                                 …..6
               CONTRACTOR                                                           ACCEPTING AUTHORITY




  ::6::

iv) Whenever BHEL exercise the authority to cancel the contract under this conditions, BHEL may have the work done by any means at the Contractor's risks and expenses provided always that in the event of the cost of the work so done (as certified by competent authority  which is final and conclusive) being less than the contract cost, the advantage shall accrue to the BHEL and if the cost exceeds the money due to Contractor under the contract, the Contractor shall either pay the excess amount ordered by COMPETENT AUTHORITY ,or the same shall be recovered from the Contractor by other means.

v) In case BHEL carries-out the work under the provisions of this condition the cost to be taken into account in determining the excess cost to be charged to the Contractor under this condition shall consist of the cost of the materials, hire charges of tools and plants and/or labour provided by the BHEL with an addition of such percentage to cover superintendence and establishment charges as may be decided by the competent authority, whose decision shall be final and conclusive.

c)
 CANCELLATION OF CONTRACT IN PART OR FULL FOR CONTRACATOR’S 
DEFAULT

If the Contractor,

i) 
Makes default in carrying out the work as directed and continues in that state after a reasonable notice from BHEL.;

ii)
 Fails to comply with any of the Terms and Conditions of the contract or after reasonable notice in writing with orders properly issued there under; 

iii) 
BHEL, may without prejudice to any other right or remedy which shall have accrued or shall accrue thereafter to BHEL CANCEL the contract as whole or in part thereof or only such work order or items of work in default from the contract. Whenever BHEL exercise the authority to cancel the contract as whole or part under this condition, BHEL may complete the work at the contractor's risk and cost (as certified by COMPETENT AUTHORITY, which is final and conclusive) being less than the contract cost, the advantage shall accrue to the BHEL. If the cost exceeds the moneys due to the Contractor under this contract the Contractor shall either pay the excess amount ordered by competent authority  or the same shall be recovered from the Contractor by other means. In case the BHEL carries out the work or any part thereof under the provisions of the conditions the cost to be taken into account in determining the excess cost to be charged to the Contractor under this condition shall consist of the cost of the materials, hire charges of tools and plant and/or labour provided by the BHEL with an addition of such percentage to cover the superintendence and establishment charges as may be decided by the COMPETENT AUTHORITY, whose decision shall be final and conclusive.

d)
 TERMINATION OF CONTRACT ON DEATH OF CONTRACTOR

Without prejudice to any of the rights or remedies under this contract, if the Contractor dies, or if the firm is dissolved or the company is liquidated BHEL shall have the option of terminating the contract without compensation to the Contractor.     

                        






         …7                                                                                                                                      
               CONTRACTOR                                                           ACCEPTING AUTHORITY







  ::7::

21.
The Contractor shall ensure adherence to all the Statutory requirements under the Central/State Rules in respect of Service  conditions for the employment of Contract Labour including those contained in Labour Commissioner’s Notification No.D1/8385/79.  Any violation in respect of observance of Statutory requirements under the Contract Labour  (Regulation Abolition) Act, 1970 will make the Agreement liable for immediate termination.

22.
CO-OPERATION WITH OTHER CONTRACTORS:

The Contractor shall co-operate with the Company’s other Contractors in order to execute the job in an economical and efficient way in fulfilling the contractual obligation. 
23.
POSSESSION PRIOR TO COMPLETIONS :

The Company shall have the right to take possession of any partially or fully completed part of the work. Such possession shall not be deemed to be acceptance of any work not in accordance with the Contract.

24.
 Electrical Works shall be executed in accordance with the requirements of Indian Electricity Act, 1937 Rules with all statutory modifications thereof to date and as per relevant Indian Standard specifications amended upto date.

25.
The Contractor is not permitted to sub-contract the work without the prior  permission of competent authority of BHEL.  Even in such cases where the sub-contract is permitted, the whole responsibility  of executing the work as per agreement lies with the contractor who entered into the agreement.

26.
The work shall be maintained for a period 6/12 month (  or as per NIT ) from the date of satisfactory completion, testing and handing over the  complete installation by the contractor and he shall make good for any defects, faults and imperfection (which may appear) at his own cost.

27
In case where the work is to be subjected for inspection of the electrical inspector, the contractor should be present at the time of inspection and or any defects pointed out by the Electrical Inspector should be rectified by the contractor at free of cost.

28
Final layout as well as foundation drawings should be submitted in advance for execution of Civil works.

29
 SAFETY MEASURES:    
Contractors are advised to issue all necessary safety equipments to workers and see that they are properly used by them.  Contractors are advised to follow all necessary safety precaution such as providing sign boards and touching the installation with prior permission of the competent authority.

All sorts of  safety measures to be taken shall be deemed to form an integral part of agreement.

30 
INSPECTION & TESTING AT CONTRACTOR’S PREMISES:
The Engineer incharge of the work or his authorised representative shall have all reasonable times access to the Contractor’s premises or works.  In case of work being executed at other premises, the Contractor shall obtain the permission for inspection of the same by the Engineer incharge of work as if the work is being executed at the Contractor’s own premises.










                            ….8 CONTRACTOR                                                           ACCEPTING AUTHORITY






::8::

31
 In respect of materials supplied by the Contractor for which any guarantee has been given by the manufacturer for a period more than the maintenance,  period for which the contractor is responsible,  the Company shall be entitled to such guarantee and the same shall have to be transferred by the Contractor to the Company. All minor jobs whether specified separately or not in the specifications but required for efficient working shall be executed by the contractor with prices quoted.

32.
A R B I T R A T I O N  :  

All disputes arising in connection with the contract shall be settled by mutual consultation.  If no agreement is reached the dispute shall be settled in accordance with the provisions of the Arbitration and Conciliation Act, 1996 and the rules made there under.  The dispute shall be referred for arbitration to any arbitrator to be appointed by the Head of the Department / Unit.  The award of the arbitrator shall be final and binding on both the Parties. 

 The venue of the Arbitration shall be Hyderabad in India.  The Award to be given by the Arbitration shall be a speaking award.  All questions, disputes, differences arising under, out of or in connection with this contract shall be to the exclusive jurisdiction of Sangareddy Courts. 
Work under the Contract shall be continued  by the Contractor during the arbitration proceeding unless otherwise directed in writing by the Company or unless the matter is such that the Works cannot possible to be continued until the decision of the arbitrators of the Umpire as the case may be is obtained and save has those which are otherwise expressly provided in the Contract no payment due or payable by the Company shall be withheld on account of such arbitration proceeding unless it is the subject matters thereof.

33.
That the said contractor has agreed to perform the said work according to the latest Indian Electricity Act & Rules as amended from time to time, the code of practice etc., for electrical wiring, the fitting in buildings Indian Standard IS: 732/1963 as amended upto date and such other conditions as  contained in all the specification contained in the contract documents.

34.
That all  charges on account of octroi, terminal or Sales tax both State & Central and any other rate or charges imposed by any Government or Local Authority on the materials obtained for or in respect of the execution of the said work shall be borne by the Contractor.

                                                                                                                                               ….9 
CONTRACTOR                                                           ACCEPTING AUTHORITY







::9::
CONTRACTOR'S OBLIGATIONS

a)
Contractor shall decide the number of employees to be deployed for execution of the work awarded to him and he or his authorized representative will be solely entitled to dictate such workers about the manner of carrying out the work as per the prescribed specifications and quality plan.

b) Contractor shall supervise the work allotted to him and to be carried out by his employees.

c) Contractor to ensure that the employees deployed in the premises of BHEL are physically and mentally fit and do not have any criminal record.  Such employees should possess requisite skill, proficiency, qualification, experience etc.

d) Contractor to maintain appropriate records of his employees deployed to carry out the job(s).

e) Contractor should issue appropriate appointment letters to his employees.

f) Contractor to provide employment card/identity card with photograph duly verified and attested by the Contractor to his employees.  Contractor to indicate the name of the proprietary/partnership firm/company, place of work, contract number and duration of validity of card.

g) Contractor will be responsible for the good conduct of his employees.  In case of any misconduct/misbehaviour by any employee, the contractor shall  replace such employee(s) immediately.

h)
Contractor will ensure that the job is executed through his employees on his rolls and under no circumstances the contractor will deploy any casual employee to carry out the job nor shall sub-contract the job without prior written permission.

i)
Contractor will keep watch on his employees and he will be liable for any pilferage / loss to BHEL due to acts of omission and commission by his employees.  Similarly, liability for any compensation to outsiders on account of any act of omission and commission by the employees deployed by the contractor shall lie exclusively with him.

j)
Contractor to provide safety appliances and safety shoes to his employees.  The  contractor shall be responsible for enforcing all safety regulations as applicable.

k) The contractor has to provide a distinct uniform different from BHEL employees.  The Uniform should have logo of the Contractors firm / company.  The uniform shall be kept in neat, tidy and wearable condition.  Wherever necessary, the Cap shall be integral part of the uniform.

l) Contractor to ensure that all precautions are taken for safety of his employees and equipments.
                                                                                                                                     ….10

CONTRACTOR                                                           ACCEPTING AUTHORITY







::10::

m) In the event of termination of contract for any reason whatsoever, the contractor shall withdraw all his employees from the establishment of BHEL.  In case contractor decides to terminate services of his employees, he should settle all terminal dues including retrenchment compensation. 

n) Contractor shall provide to his employees all tools, tackles and equipments and maintain the same to carry out the job under the contract at his cost and if necessary contractor may take insurance policy of his men, material, equipments and tools and tackles.

o) Contractor shall provide safety appliances and maintain the same at his own cost which may be required under the statute or otherwise.

p) Contractor shall provide material at his cost as mentioned in the contract to his employees for carrying out the job.

TOWARDS STATUTORY LIABILITY 

a) All statutory requirements under Minimum Wages Act, 1948, Payment of Wages Act, 1936, Workmen Compensation Act.  1923, EPF & MP Act, 1952, Payment of Gratuity Act, 1972. ESI Act, 1948.  The Contract Labour (R&A) Act, 1971, Payment of Bonus Act, 1965, Income Tax Act, Service Tax Act  and all other applicable Acts shall be complied with by the contractor.

The contractor shall produce the following Registers and forms before commencement of work, verification by the Executing Officer of the company.

i. Form XIII
-
Register of workmen employed by contractor (Rule  



75)   

ii. Form XIV 
-
Employment card issued by contractor (Rule 




76).

iii. Form XVI
-
Muster Roll (Rule 78 (1) (a) (i)).

iv. 
Form XVII
-
Register of Wages (Rule 78 (1) (a) (i)).

v. 
Form XVIII
-
Register of wages - cum Muster Roll (in case 




of weekly payment).

vi. 
Form XIX
-
Wage slip (Rule 78 (b)).

vii. 
Form XX
-
Register of deduction for damages or loss 


   



(Rule 78 (1) (a) (ii)) 

viii.
Form XXI
-
Register for fines (Rule 78 (1) (a) (ii)). 

ix.
Form XXII
-
Register of advances (Rule 78 (1) (a) (ii)).

x.
Form XXIII
-
Register of overtime (Rule 78 (1) (a) (iii)). 

  xi.
Form XXIV
-
Register to be sent by the contractor to 







licensing Officer (Rule 82 ) (1). 

The contractor shall maintain the above neatly, completely an legibly for inspection by various statutory authorities and the company officials even at short notice
….11

CONTRACTOR                                                           ACCEPTING AUTHORITY

::11::
b)
Contractor shall comply with all statutory requirements, rules, regulations, notifications in relation to employment of his employees issued from time by the concerned authorities.

c)
Contractor shall ensure payment of statutory prescribed minimum wages as applicable from time to time in the presence of authorized representative of BHEL and maintain proper records of their timely disbursement.  These records need to be preserved for a period of at least 3 years and should be made available even after the contract is over for any verification by the statutory authorities / BHEL authorities.

d)
Contractor to provide PF pass book to his employees and ensure payment of PF, EDLI,  pension dues under EPF & MP Act, 1952 to the PRFC.

e)
Contractor shall ensure payment of ESI contribution under ESI Act, 1948 and provide ESI membership No. / card of each employee.

f)
Contractor shall produce proof of deductions as well as remittances of PF, EDLI, Pension, ESI contribution, administrative charges etc. wherever applicable and shall maintain proper records.  Contractor to issue wage slips to his employees.

g)
Contractor shall furnish proper returns to the concerned statutory authorities and provide a copy of the same to BHEL.

h)
Contractor shall be solely responsible for non payment / delayed payment of wages / DA, contributions under EPF & MP Act, ESI Act etc.

i)
In case the contractor fails to make payment of wages to his employees or remittance of contribution to the concerned authorities, the security deposit / other dues / running bills under the contract can be utilized by BHEL to discharge the liability of the  contractor.

j) 
Contractor shall indemnify BHEL against all claims and losses under various Labour   Laws, statutes or any civil or criminal law in connection 
with 
employees 
deployed by him.

k) 
The liability for any compensation on account of injury sustained by an 
employee of the 
contractor will be exclusively that of the contractor.

l) Contractor to obtain insurance cover for his employees / equipment / tools and tackles etc. and take third party risk insurance coverage at his own cost.  BHEL shall not be responsible for any loss, damage, and pilferage of property and / or his employees.

m)
Contractor should have independent code numbers / exemptions under EPF & MP Act, 1952 and ESI Act, 1948 and shall cover his employees under the said codes.

n)
Payment of bonus under the payment of Bonus Act, Payment of gratuity under the Gratuity Act, and retrenchment compensation under Act will be the sole responsibility of the contractor.

o)
Over and above the daily wage rate, payment shall be made for leave with wages.
….12

CONTRACTOR                                                           ACCEPTING AUTHORITY






       ::12::
p)
Contractor shall observe Provisions of the Factories Act in respect of working hours, holidays, rest intervals, leave and overtime to his employee.   No work shall be done on second/third shift, overtime, Sundays or on other declared holidays without written                permission.

q)
In case a contractor employs women as employee he will discharge his obligation under law in respect of such women workers such prohibition of engaging them during night-hours, prohibition of employing them for more than 9 hours per day, provision of crèche facility, grant of maternity leave as per rules etc.

r)
Contractor shall be responsible for making payment of wages before expiry of 7 days from the last day of wage period and to ensure disbursement of wages in the presence of the authorities representative of contract operating division who shall record under his signature at the end of entries in the Register of wages.

s)
Contractor to obtain license under CL(R&A) Act, 1970. The Contractor shall obtain license from the Assistant Labour Commissioner (Central), or appropriate Government if he engages 20 (Twenty) or more workmen only.
General Terms and conditions

1
BHEL shall have the privity of the contract with the contractor only and will give 
instructions to the contractor or his authorized representative. BHEL will 
have 
nothing 
to do or be concerned with the employment 
of employees working for the contractor.  
The relationship between BHEL and the Contractor will be that of 
independent entities 
and nothing 
herein contained will amount to joint venture, partnership or an 
employer-employee relationship.

2.
The contractor shall maintain regular contact with the designated employee(s) of BHEL and will interact on matters relating to the work awarded under this contract.

3.
In case the Contractor does not carry out the Contractual / Statutory obligations or the services rendered by him are found to be unsatisfactory, BHEL shall bring the same to his notice and he will be obliged to discharge the obligations and rectify the deficiency / anomaly within three days time failing which, BHEL reserves the right to terminate the contract without assigning any reason whatsoever.  In such an event, no damages will be payable for short closure of the contract.

4.
The decision of BHEL regarding interpretation of any of terms and conditions set forth in the agreement shall be final and binding on the Contractor.

5.
Any matter arising out of or in connection with the agreement shall be under jurisdiction of Sangareddy Court.

6.
Notwithstanding anything contained in this Agreement, the contract may be terminated by BHEL without assigning any reason thereof by giving a notice of 15 days to the contractor.
….13

CONTRACTOR                                                           ACCEPTING AUTHORITY

                                                                       ::13 ::
7.  
Contractor shall obtain complete bio-data of the labour, employment certificate and Antecedent verification in the prescribed form for each labour and supervisor  engaged  by him and shall submit the same to the Personnel Department / IR section through the contract executing officers before commencement of the work.
8. The Entry permits are to be issued to the Contract Labour by Assistant Commandant /    CISF (Plant), based on the requisition submitted by Contract Executing Officer and forwarded by  Competent Authority/Personnel.

9. Every contractor shall submit a notice regarding commencement and completion, of work in form – VI A&B [Rule 25 (VIII) & 81 (3)] to Personnel Department, IR section through his contract executing officer, for forwarding the same to State/central Labour Department as applicable.

10. The contractor shall make himself of his representative available at the work spot everyday during execution of work, for effective supervision.

11. The contractor shall attend to all inspections notified / conducted by the Personnel Department, Labour Department, P.F. authorities. Factory Inspectors ESI Inspectors, or any other such authorities under the act.

12. Non – compliance of any provisions under the act/ rule/instructions / guidelines shall make the contractor liable for penal action including termination of contract.

13.  Contractor shall furnish in a separate letter his place of residence and postal address. The delivery at the above named place or posting in a Post box regularly maintained by the post and telegraph Department or sending letters registered for acknowledgement of any notice,  letter or other communication to the contractor. Change in address shall come into force at any time by an instrument executed by the contractor and delivered to the Company official who has signed the contract.

14. The contractor must satisfy himself by personal study and examination of the drawings / specifications furnished and understand thoroughly the scope of proposed work in detail and all conditions affecting the work before entering into the contract. There shall not be at any time dispute / complaint of any misunderstanding with regard to scope  of work and interpretation of specifications or any misunderstanding with regard to nature or omission of the work to be done not shall any application for compensation in terms of time and money shall be accepted by company regarding the above.

15. Contractor shall in his absence keep competent agent constantly on the works and any directions or explanations given by the “Contract Signing Officer” or his representative to such agent shall be held to have been given  to the contractor himself.

16. Contractor on the advise of company official shall immediately remove any person employed by him, who may in the opinion of the company official is incompetent or misc. conducts himself and such persons shall not be again employed on the works without permission of the company official.
                                                                                                                                             ….14

CONTRACTOR                                                           ACCEPTING AUTHORITY







::14::
17. The contractor shall erect and maintain at his own cost temporary weather proof sheds at such places approved by the company for keeping  materials under cover. 

18. The contractor shall give all notices  required  by the acts regulations , bylaws, legal acts and pay all fees in connection therewith unless and otherwise arranged and decided in writing with the company. He shall also ensure that no attachments are made against materials or work forming part of or for the use of the contractor. In all such cases, contractor shall protect and indemnify the company against any claim or liability  arising from or based on the violation of any such laws, ordinances, regulations, orders, decrees or attachments either by himself or by his employees,

19. It shall be contractor’s sole responsibility to protect the public and his employees against accident from any cause and provide required safety equipments and shall indemnify, the company against any claims for damages for injury to the person or property resulting from any such accidents and shall, where the provisions of the workmen’s compensation act apply, take  steps to properly insure against any claims thereunder.

20. In the event of any accident in respect of which compensation may become payable under the workmen’s compensation act 1923  by the contractor, it shall be lawful for the company to retain out of monies due and payable to the contractor such sum or sums of money as may, in the opinion of the company shall be final in regard to all matter arising in this clause.

21. No work shall be done on Sundays or on other declared holidays of the company without the written permission of the company officer incharge of the work. The contractor shall comply with the provisions of the Factories Act Rules framed thereunder if the same are applicable.

22. The contractor shall keep his work place clean and safe to avoid injuries to men and damage  to finished products / equipments.

23. On the occurrence of an accident, which results in the death of any of the workmen employed by the contractor or which is so serious as to be likely to result in the death of any such workmen, the contractor shall within 24 hours of the happening of such an accident  intimate in writing to the company official incharge of the work.

24. The contractor shall indemnify the company against all losses or damages sustained by the company resulting directly or indirectly from his failure to give intimation in the manner aforesaid including the penalties or dues if any and become payable by the company, as a consequence of failure, the company to give notice under the workmen’s  compensation act or otherwise confirm to the provisions of the said act in regard to such accident.

25. The contractor shall ensure adherence to all statuary requirements applicable to BHARAT HEAVY ELECTRICALS LIMITED, RAMACHANDRA PURAM, HYDERABAD-502032.

26. Not withstanding the clause, in case of any financial loss incurred by the company on account of contravention of the Provident Fund regulations or any regulations of rule touching the same by the contractor, the contractor shall submit an undertaking to indemnify the company to the extent of the loss incurred by the company.   
….15

CONTRACTOR                                                           ACCEPTING AUTHORITY

          ::15::
27. The contractor should engage only those labourers who shall be more than 18(eighteen) years of age.

28. The contractor shall not resort to subcontracting under any circumstances.  If found subcontracting at a later date, BHEL reserves the right to take whatever action it deems fit, including cancellation of the contract.

29. The contractor shall provide the required safety  equipment labours engaged by him.

30. Contractor shall issue “Employment Card” as per statute to all the labour and supervisors covered under the job work contract.

31. The contractor shall be responsible to settle any grievances of the labour deployed by him. 

32. Whenever the term “CONTRACTOR” is used, it shall be understood to refer to the particular person, firm or corporation with whom an agreement has been made by the concerned company official for executing the work defined in the concerned agreement and for the purpose of instructions regarding compliance with contract conditions, it shall include the contractor’s authorised agents, who are entrusted with the work by contractor.

33. The quantities mentioned in the agreement schedule are worked out from the relevant drawings in the company and may not be the actuals required for execution. 

34. The company does not expressly or by implication agree that the actual amount of the work to be done shall correspond there with, but reserves the right  to increase or decrease or delete the quantity of any class or portion of the work as  deems necessary.

35. All the works shall be carried out in accordance with the directions and to the satisfaction of the company official in accordance with the drawings, specifications and instructions.  Supplementing or explaining the same as may from time to time shall be done by the company official.

36. For all modifications, omissions or additions to the approved drawings and specifications, the company shall issue revised plans or written instructions and no modifications, omission or addition shall be made unless at any time before completion of the work.

37. The company shall have the privilege of ordering modifications, omissions, or additions at any time before completion of the work.

38. All materials, articles, and workmanship shall be the best of their respective kinds for the class of work described in the contract specifications and schedule and materials to be obtained by the contractor shall be from sources approved by the company.

39. Sample of materials shall be furnished by the contractor at his expense to the company when called for before execution of any work.
…16

CONTRACTOR                                                           ACCEPTING AUTHORITY

                                                                  ::16::
40. The company shall have power to reject at any stage, any work which is considered to be defective in quality of materials of workmanship and  shall not be debarred from rejecting wrong material by reasons of having previously passed them in an unworked condition.  Any portion of the work or materials rejected or pronounced to be inferior or not in accordance with specifications shall be taken down and removed from the work site at the contractor’s expenses.  

41. The decision of the company shall be final and binding on the contractor on all technical questions which may arise in the contract with respect to material, workmanship, removal; of improper work, interpretation of the working drawings, specifications, notes, procedures etc.

42. The decision of the “Contract Signing Officer” or any officer deputed by him duly authorised on his behalf, in respect of the rate of progress and the quality of work or material shall be final.

43. Contracts shall be deemed to have included in his tender price of all the plant.  Machinery an appliances required for the purpose of all operations connected to secure a satisfactory quality of work within the opinion of the company will ensure the completion of the work within the time specified. 

44. If at any time, during the progress of work or any part of it such methods or equipment appear to the company official to be insufficient or inappropriate for ensuring the quality of work required or rate of progress, he may order the contractor to increase their efficiency or to improve their quality of work and the contractor shall comply with such order and on failure of which the company may take such action as it deems it fit to improve the quality of work of the company may take such action as it deems if fit to improve  the quality of work or the rate of progress required from the contractor and all such actions taken by the company shall be at the cost and risk  of the contractor. 






 

45. It is open to the company to lend or supply to the contractor any tools, implement, material and machinery that are needed by the contractor, which in the opinion of the company is essential to improve the quality or progress of work.  The contractor shall pay such deposit or charges that may be fixed or determined by the company for any such articles or machinery lent or hired to the contractor.

46. Any electric power required for contractors machinery for the purpose of work shall be supplied by the company at the written request of the contractor at one point subject to the observance of rules an regulations of Electric board / company and charges there on shall be recovered from the contractor.

47. The contractor shall confirm to the regulations and laws of Central / State Govt. or any local authority and that of the company with whose system the machinery is supposed to be connected.
        …17

CONTRACTOR                                                           ACCEPTING AUTHORITY







 ::17::
48. All rubbish as it accumulates shall be removed from the site to the point of disposal as indicated from time to time by the company. If this is not adhered to, the company shall remove the scrap and recover the cost of these operations from the bills of the contractor.

49. Any sum due from the contractor on account of tools and plants, stores, or any other items provided by the company shall be deducted from the respective bill due to him.

50. In case the contractor does not execute the work awarded to him as per the terms and conditions of the agreement, the security deposit shall be forfeited and same shall be got executed by some other contractor and the excess cost incurred shall be recovered from the contractor’s pending bills. 

51. In case of breach of any of the terms and conditions of the contract, a claim shall be lodged under the bank guarantee with the guarantor at the discretion of the competent authority of the company.  On successful completion of the contract to the satisfaction of the company, the bank guarantee shall be released after due claim period.

52. In the event of any question or dispute or under this contract, the same shall be referred to a competent Authority in the company for sole arbitration and his decision shall be final and binding on the parties to the contract.

53. In case of any suit or other legal proceeding arising under this contract, the courts at Sangareddy (Medak Dist.) A.P only shall have the Jurisdiction. 

54. The company reserves the right to enter into parallel agreement with one or more contractor at their direction.

55. Disputes, grievances between the contractor and his labour, will have to be settled by the contractor only.

56. The labour employed by the contractor, if found in abetting and fellow labour or contractors or any BHEL employee, the same shall be considered as an act of indiscipline.  Such labourers shall be removed from the services of the contractor, on the advice of BHEL.  Further the contractor shall initiate every necessary action in accordance with the relevant Laws, Rules & Regulations and enactments of State and Central Government.

57. Wherever, BHEL/COMPANY standards are mentioned, same shall be strictly followed.

58.
The decision of the “Contracting Signing Officer” shall be final and binding on the contractor on all technical questions which may arise touching the contract with respect to the quality of material, workmanship, removal of improper work, interpretation of the working drawings, specifications, notes, procedures etc.





                                                                                                                                      ….18
CONTRACTOR                                                           ACCEPTING AUTHORITY







::18::
LIST OF SAFETY PRECAUTIONS TO BE OBSRVED BY THE CONTRACTOR

The Contractor shall take all necessary Safety precautions and arrange for appropriate appliance as per direction of BHEL to its authorized officials to prevent loss of human lives, injuries to personnel engaged and damage to property.

The Contractor shall provide to the work force and ensure the use of the following personnel Protective Equipment as found necessary and as directed by the authorized BHEL Officials.

I. Safety Helmets conforming to IS: 2925, 1984

II. Safety Belts conforming to IS: 3521, 1983

III. Safety shoes conforming to IS: 14544, 1998

IV. Eye & Face protection devices conforming to IS: 1179, 1967

V. Hand & body protection devices conforming to IS:2573-1975; IS: 6994-1973 and IS: 8520-1978, IS: 578-1985 and IS: 6694.

The contractor shall not use any hand lamp energized by electric power with supply voltage of more than 24Volts (DC).
All portable electric tools, used by the Contractor shall have safe plugging system to sources of Power and be appropriately earthed.

All tools, tackles, lifting appliances, scaffolds, cradles, safety nets, ladders, equipment etc. issued by the contractor shall be safe design and construction.  The authorized BHEL officials shall have the right to ban the use of any item, if such use is considered to be dangerous by the concerned BHEL officials.

If the Contractor fails to take appropriate safety precautions or to provide necessary safety devices and equipment or to carryout instructions issued by the authorized BHEL officials, BHEL shall have the right to take corrective steps at the risk and cost of the contractor.

The contractor shall take necessary fire safety precautions as per directions of the authorized BHEL official.    

In case of a fatal or disabling injury accident to any person due to lapses by the Contractor, BHEL shall have the right to impose appropriate financial penalty on the Contractor and recover the same from payments due to the contractor  for suitably compensating the victim or his/her dependents.  Before imposing the penalty, appropriate enquiry shall be held by BHEL.

In case of any damage to property due to lapses by the Contractor, BHEL shall have the right to recover the cost of such damages from the payments due to the contractor after holding an appropriate enquiry.

In case of any delay in the completion of a job due to mishaps attributable to lapses by the Contractor, BHEL shall have the right to recover cost of such delay from the payments due to the Contractor after notifying the contractor suitably.

If the Contractor fails to improve the standards of safety in its operation to the satisfaction of BHEL after being given reasonable opportunity to do so.  BHEL shall have the right to terminate the contract and get the job completed at the risk and cost of contractor.

                                                                                                                                              ….19
CONTRACTOR                                                           ACCEPTING AUTHORITY

::19::

Guidelines and statutory payments for submitting  Tenders for  Works  as per existing instructions.

The daily wage rate of labour applicable as on date  is as follows.

Unskilled worker

 -
Rs. 508.02 / Per day.
Semi Skilled Worker
             -
Rs. 551.38 / Per day.
Skilled Worker

 -
Rs. 594.05 / Per day.
The Contract / Job Executing Officers are required to ensure that Contractor pays the ‘Daily Wages’ as shown above to their workforce  along with  PF & ESI  contributions may also be ensured.  In case, the workforce is engaged on over time by the contractor, they have to be paid double the wages.  The workforce are also entitled for Holidays which are applicable to BHEL and  1 day leave of every 20 days of working and payment of bonus under the payment Act 1965.

Bonus  contributions : Agency shall pay  minimum bonus @ 20%  on Rs 3500/- under the payment of  Bonus Act 1965 to the workers. 

PF & ESI at the rate of 12% and 1.75% respectively on the daily wages are to be deducted as Employee’s contribution. Further, Contractor shall pay 12% PF and 1.61% Administrative charges towards PF and 4.75% towards ESI as Employer’s contributions.  The contractor shall remit the above contributions along with Employee’s contribution to PF & ESI departments and file monthly returns by 20th of every following month.  Contractor shall also provide uniform, shoes and other personal protective Equipments  applicable to their workforce.

            Any increase in rate of Cost of Living Allowance / Wage hike shall not be reimbursed to the contractor.  Contractor shall anticipate such hike, and quote in the tenders.

          CONTRACTOR                                                           ACCEPTING AUTHORITY

                   END OF     TECHNICAL BID                END OF TECHNICAL BID 
PRICE BID

BHARAT HEAVY ELECTRICALS LIMITED

RAMACHANDRAPURAM, HYDERABAD-32

PROJECTS DEPARTMENT
Tender schedule for the work of “Shifting,erection and leveling of Clamping Bars for Test  Beds of GT 

                                                           Fr.5,Fr.6 and Fr.9E ”.

TENDER NOTICE No.: PROJ-EC/ELEC/OT/2012-13/ 14  dtd.  18-01-2013   ( Item No.2 )                                                        

( The  quotations should be on our Tender  schedule only. Any deviations/deletions etc. should be brought out separately in your letter pad and enclosed to our tender documents ).

                                                                                                                                             Pg.   1/2
	Sl.

No.
	Description
	QTY
	Unit
	Unit Rate in Rs.
	Amount in Rs.

	1
	Shifting, erection, alignment & leveling of clamping bars including foundation bolts, taper wedges in approved location as required up to a minimum leveling accuracy of 0.1 mm/ mtr. The surface of the clamping bars should be cleaned with kerosene and oil stone and also foundation bolts threaded portion & nuts cleaned before erection. The leveling should be carried out with spirit level of 0.1 mm / mtr. Accuracy. Weight details of clamping bars, foundation bolts , taper wedges & Packing plates are as given below:  

a) 2.5 M Clamping Bars: 104 Nos.                                              104 x 650 Kg. = 67,600 Kg.                                                             (b) Foundation Bolts: 312 Nos.                                               312 x 8 Kg =  2496 Kg.                                                                     (c) Packing Plates: 104 x 108 Kg/bar = 11,232 Kg.                                                                                           (d) Taper Wedges: 624 x 0.6 Kg = 375 Kg.  

Total = a+b+c+d =  81,703 Kg
                                                         
	82
	Ton
	1480
	121360

	2
	Shifting of MS scrap plates from scrap yard or any other block to work site. The MS scrap should be made to size of 150 mm x150 mm or any other size as desired by site engineer from 5 mm to 60 mm thickness plates with Gas cutting ,edges to be chipped and grinded with hand drilling machine.

Finished plates to be shifted to site/stores as per the instruction of site engineer.

(Shifting of materials, equipments, gas cutting torch etc. are in the scope of contractor). Only Acetylene Gas, Oxygen and MS scrap plates shall be of BHEL free issue.                                                       
	14
	Ton
	1334
	18676

	
	Total
	
	
	
	140036


 CONTRACTOR                                      Page     1/ 2                   ACCEPTING AUTHORITY 
Contd..2
: 2 :
Note:- The Tenderers are required to quote their tender value in  Percentage  ( % ) basis at  excess or less or on par with  estimated value. 

	  Tender percentage ( % ) 
	                                In words 
	Figures

	Less
	
	

	Estimated rates only ( On par )
	
	

	Excess
	
	


Note: 

1.  VAT ,Service Tax are extra and will be released on submission  of the valid documents.

2. All the unused/excess materials  issued by BHEL shall be returned to the stores after use.

3. All unused materials/scrap generated to be shifted to scrap yard or as per site engineer's instructions to avoid accumulation of scrap in the site area.
4. The  Price discount/increase offered by the agency is proportionately  applicable for all the items in the schedule.        
       CONTRACTOR                    Page      2/ 2                             ACCEPTING AUTHORITY
