## For Foreign Bidders
4 X 250 MW NABINAGAR THERMAL POWER PROJECT
Anexxure-I(A)
APPLICABLE FOR FOREIGN BIDDERS/ FOREIGN BIDDERS WITH THEIR AUTHORISED INDIAN ASSOCIATES |  |  |  | PRICE SCHEDULE FOR HYDROGEN GENERATION PLANT
|  |  |  | IMPORTED ITEMS (Supply not from Indian Territory) | [7 empty] | INDIGENEOUS ITEMS (Supply from Indian Territory) | [5 empty] | Total FOR Site IMPORTED + INDIGENOUS SUPPLY [(Currency+INR)+INR] | E & C Portion |  |  |  | Total Lumpsum price for supply (IMPORTED + INDIGINEOUS SUPPLY) and E&C with Service tax. {[(Currency+INR)+INR]+Currency}
SL NO | ITEM DESCRIPTION | UOM | TOTAL QTY FOR POWER HOUSE UNIT | Currency | UNIT F.O.B. Price (including seaworthy packing; handling and transportation to Vendor's own port.) (Currency) | TOTAL F.O.B. Price (including seaworthy packing; handling and transportation to Vendor's own port.) (Currency) | Ocean Freight (Currency) | Ocean / Marine Insurance | Custom Duty with other duties and charges (Refer NIT terms Sl. No. 17) after availing CENVAT benefit if applicable (INR) | Inland FREIGHT CHARGES (INCLUDING SERVICE TAX) (INR) | F.O.R. site Imported Items supply price (Currency + INR) | UNIT EX-WORKS PRICE (INR) | TOTAL EX- WORKS PRICE (INR) | ED (INCLUDING CESS) (INR) | CST/VAT @_______% Against Form 'C' /EI/EII (INR) | FREIGHT CHARGES INCLUDING SERVICE TAX) @_________% OF TOTAL EX-WORKS (INR) | TOTAL F.O.R SITE PRICE (INR) |  | Currency | E & C CHARGES (including Trial run, PG Test etc.) | SERVICE TAX @ ________% | E & C CHARGES INCLUDING SERVICE TAX
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10=5+6+8+9 | 11 | 12 | 13 | 14 | 15 | 16=12+14+15 | 17=16+10 | 18 | 19 | 20 | 21=19+20 | 22=17+21
1 | HYDROGEN GENERATION PLANT Total lump sum firm price for Design, Engineering, Manufacturing, Inspection, Testing at Manufacturer’s works, Supply/delivery duly packed (sea worthy packing for imported items) to project site (4 X 250 MW NABINAGAR THERMAL POWER PROJECT) on FOR Site basis including Ocean Freight; Custom clearance & port Handling; Inland Freight; Unloading; Storage and Handling at site; Erection and Commissioning; Trial run at site; PG test; Obtaining CCE approval; Plant Handing Over to customer etc. And also inclusive of all prevailing taxes, duties and other levies of HYDROGEN GENERATION PLANT complete with all accessories including start up, Commissioning Spares and Mandatory Spares, As required for the total scope defined as per BHEL specification number - PE-TS-300-168-A000. | 1: LOT; 2: 1; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
NOTES:-
a) | Bidder to note that total price indicated above at 1.0 shall be considered for evaluation and hence should be complete in all respect for the full scope defined and considering all terms and conditions agreed.
b) | In case, price indicated above does not match with total of item wise break-up given at 2.0, the higher price so calculated shall be considered for evaluation but in case of order, the same shall be placed at the lower price.
c) | For available CIF refer NIT terms Sl. No. 17.
2 | MAJOR BREAK-UP OF PRICES GIVEN IN 1.0 ABOVE
2.1 | Total lump sum firm price for Design, Engineering, Manufacturing, Inspection, Testing at Vendor/Subvendor's works, Supply/delivery of duly packed (sea worthy packing for imported items) to project site (4 X 250 MW NABINAGAR THERMAL POWER PROJECT) on FOR Site basis including Freight (Ocean Freight & Inland Freight), of HYDROGEN GENERATION PLANT (Main Equipment Supply) complete with all accessories, start up Commissioning Spares ,including Custom clearance & port Handling as required for the total scope defined as per BHEL specification number - PE-TS-300-168-A000.
2.1.1 | Imported Items/part (Supply not from Indian Teritory) (Item-wise break up with item-wise price to be given as per ANEXXURE-II (Table-A1)) | 7: BY BHEL
2.1.2 | Indegeneous items/part (Supply from Indian Teritory) (Item-wise break up with item-wise price to be given as per ANEXXURE-II (Table-A1)) | [12 empty] | NIL AGAINST PAC refer SCC clause No. 19
2.2 | Total lump sum firm price for Design, Engineering, Manufacturing, Inspection,Testing at Vendor/Subvendor's works, supply/delivery duly packed (sea worthy packing for imported items) to project site (4 X 250 MW NABINAGAR THERMAL POWER PROJECT) on FOR Site basis including Freight (Ocean Freight & Inland Freight) of Mandatory Spares of HYDROGEN GENERATION PLANT complete with all accessories,including Custom clearance & port Handling as required for the total scope defined as per BHEL specification number - PE-TS-300-168-A000. Mandatory spares indicated as "Not Applicable" if found applicable during detailed engineering shall be supplied without any commercial/delivery implication to BHEL/Customer.
2.2.1 | Imported part (Supply not from Indian Teritory) (Item-wise break up with item-wise price/Unit rate to be given as per ANEXXURE-II (Table-B1)) | 7: BY BHEL
2.2.2 | Indegeneous part (Supply from Indian Teritory) (Item-wise break up with item-wise price/Unit rate to be given as per ANEXXURE-II (Table-B1)) | [12 empty] | NIL AGAINST PAC refer SCC clause No. 19
2.3 | Total lump sum firm price for all services including Unloading, taking delivery of material at site; Storage and Handling at site (4 X 250 MW NABINAGAR THERMAL POWER PROJECT), Erection and Commissioning, Trial run at site , PG test ,Obtaining CCE approval and Plant Handing Over to customer etc. inclusive of all prevailing taxes, duties and other levies of HYDROGEN GENERATION PLANT, as required for the total scope defined as per BHEL specification number - PE-TS-300-168-A000.
3 | TOTAL ORDERING VALUE | 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
NOTES:
1 | Bidders to not that total price indicated above at 1.0 shall be considered for evaluation and hence should be complete in all respects for the full scope defined and considering all terms and conditions agreed.
2 | Bidders to use BHEL price format only. In case bidders are using separate price format then the bid may be liable to be comercially rejected.
3 | Wherever separate break-up is required please furnish the same.
4 | Un-priced schedule shall also be furnished for BHEL's review in this format only.
5 | Power loading and commercial loading will be considered for arriving at FOR site price (For the purpose of evaluation, if any).
6 | Any Extra tax if applicable may be indicated in a separate column without disturbing the other columns of the price format.
7 | Exact amount to be indicated against each column, if applicable. No where "at actuals" shall be qouted.
8 | Mandatory spares indicated as "Not Applicable" if found applicable during detailed engineering shall be supplied without any commercial/delivery implication to BHEL/Customer.
Particulars of bidder / authorised representative
Name
Designation

## For Indian Bidders
4 X 250 MW NABINAGAR THERMAL POWER PROJECT
Anexxure-I(B)
(Applicable for Indian Bidders) |  | PRICE SCHEDULE FOR HYDROGEN GENERATION PLANT
SL NO | ITEM DESCRIPTION | UOM | TOTAL QTY FOR POWER HOUSE UNIT | UNIT EX-WORKS PRICE (INR) | TOTAL EX- WORKS PRICE (INR) | ED (INCLUDING CESS) (INR) | CST/VAT @_______% Against Form 'C' /EI/EII (INR) | FREIGHT CHARGES (INCLUDING SERVICE TAX) @_________% OF TOTAL EX-WORKS (INR) | TOTAL F.O.R SITE PRICE (INR) | E & C CHARGES (including Trial run, PG Test etc.) (INR) | SERVICE TAX @ ________% (INR) | E & C CHARGES INCLUDING SERVICE TAX (INR) | Total Lumpsum price for supply and E&C with Service tax. (INR)
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8=4+6+7 | 9 | 10 | 11=9+10 | 12=8+11
1 | HYDROGEN GENERATION PLANT Total lump sum firm price for Design, Engineering, Manufacturing, Inspection, Testing at Manufacturer’s works, Supply/delivery duly packed (sea worthy packing for imported items, if applicable) to project site (4 X 250 MW NABINAGAR THERMAL POWER PROJECT) on FOR site basis including Freight; Unloading; Storage and Handling at site; Erection and Commissioning; Trial run at site; PG test; Obtaining CCE approval; Plant Handing Over to customer etc. And also inclusive of all prevailing taxes, duties and other levies of HYDROGEN GENERATION PLANT complete with all accessories including start up, Commissioning Spares and Mandatory Spares, As required for the total scope defined as per BHEL specification number - PE-TS-300-168-A000. | 1: LOT; 2: 1; 5: NIL AGAINST PAC refer SCC clause No. 19
NOTES:-
a) | Bidder to note that total price indicated above at 1.0 shall be considered for evaluation and hence should be complete in all respect for the full scope defined and considering all terms and conditions agreed.
b) | In case, price indicated above does not match with total of item wise break-up given at 2.0, the higher price so calculated shall be considered for evaluation but in case of order, the same shall be placed at the lower price.
c) | For available CIF refer NIT terms Sl. No. 17. Also list of CIF contents for hdrogen generation plant shall be mentioned seperately in Annexure-CIF.
2 | MAJOR BREAK-UP OF PRICES GIVEN IN 1.0 ABOVE
2.1 | Total lump sum firm price for Design, Engineering, Manufacturing, Inspection,Testing at Vendor/Subvendor's works, Supply/delivery of duly packed (sea worthy packing for imported items) to project site (4 X 250 MW NABINAGAR THERMAL POWER PROJECT) on FOR Site basis with Freight inclusive of all prevailing taxes, duties and other levies of HYDROGEN GENERATION PLANT (MAIN EQUIPMENT SUPPLY) complete with all accessories, start up Commissioning Spares , as required for the total scope defined as per BHEL specification number - PE-TS-300-168-A000. (Item-wise break up with item-wise price to be given as per ANEXXURE-II (Table-A2)) | 5: NIL AGAINST PAC refer SCC clause No. 19
2.2 | Total lump sum firm price for Design, Engineering, Manufacturing, Inspection,Testing at Vendor/Subvendor's works, Supply/delivery of duly packed (sea worthy packing for imported items) to project site (4 X 250 MW NABINAGAR THERMAL POWER PROJECT) on FOR Site basis with Freight inclusive of all prevailing taxes, duties and other levies on Mandatory spares of HYDROGEN GENERATION PLANT complete with all accessories, start up Commissioning Spares , as required for the total scope defined as per BHEL specification number - PE-TS-300-168-A000. Mandatory spares indicated as "Not Applicable" if found applicable during detailed engineering shall be supplied without any commercial/delivery implication to BHEL/Customer. (Item-wise break up with item-wise price to be given as per ANEXXURE-II (Table-B2)) | 5: NIL AGAINST PAC refer SCC clause No. 19
2.3 | Total lump sum firm price for all services including Unloading, taking delivery of material at site; Storage and Handling at site (4 X 250 MW NABINAGAR THERMAL POWER PROJECT), Erection and Commissioning, Trial run at site , PG test ,Obtaining CCE approval and Plant Handing Over to customer etc. inclusive of all prevailing taxes, duties and other levies of HYDROGEN GENERATION PLANT, as required for the total scope defined as per BHEL specification number - PE-TS-300-168-A000.
3 | TOTAL ORDERING VALUE | 5: NIL AGAINST PAC refer SCC clause No. 19
NOTES:
1 | Bidders to not that total price indicated above at 1.0 shall be considered for evaluation and hence should be complete in all respects for the full scope defined and considering all terms and conditions agreed.
2 | Bidders to use BHEL price format only. In case bidders are using separate price format then the bid may be liable to be comercially rejected.
3 | Wherever separate break-up is required please furnish the same.
4 | Un-priced schedule shall also be furnished for BHEL's review in this format only.
5 | Power loading and commercial loading will be considered for arriving at FOR site price (For the purpose of evaluation, if any).
6 | Any Extra tax if applicable may be indicated in a separate column without disturbing the other columns of the price format.
7 | Exact amount to be indicated against each column, if applicable. No where "at actuals" shall be qouted.
8 | Mandatory spares indicated as "Not Applicable" if found applicable during detailed engineering shall be supplied without any commercial/delivery implication to BHEL/Customer.
Particulars of bidder / authorised representative
Name
Designation

## CIF sheet
ANNEXURE - CIF
4 X 250 MW NABINAGAR THERMAL POWER PROJECT
LIST OF CIF CONTENTS FOR HDROGEN GENERATION PLANT
Applicable for Indian Bidders
Country of Import : ……………………………………………….
Sl. No. | Description of items to be imported. | Unit of Measurement | Qty. | Currency | Unit rate in foreign currency | Total CIF Contents
GRAND TOTAL
Notes:
a) | For available CIF refer NIT terms Sl. No. 17. List of CIF contents for hdrogen generation plant shall be mentioned in Annexure-CIF (above).
Particulars of bidder / authorised representative
Name
Designation

## ANEXXURE-II (Table-A1)
4 X 250 MW NABINAGAR THERMAL POWER PROJECT
ANEXXURE-II (Table-A1): APPLICABLE FOR FOREIGN BIDDERS/ FOREIGN BIDDERS WITH THEIR AUTHORISED INDIAN ASSOCIATES
HYDROGEN GENERATION PLANT MAIN EQUIPMENT |  |  |  | PRICE SCHEDULE FOR HYDROGEN GENERATION PLANT
|  |  |  | IMPORTED ITEMS (Supply not from Indian Territory) | [7 empty] | INDIGENEOUS ITEMS (Supply from Indian Territory) | [5 empty] | Total FOR Site IMPORTED + INDIGENOUS SUPPLY [(Currency+INR)+INR]
SL NO | ITEM DESCRIPTION | UNIT | QTY | Currency | UNIT F.O.B. Price (including seaworthy packing; handling and transportation to Vendor's own port.) (Currency) | TOTAL F.O.B. Price (including seaworthy packing; handling and transportation to Vendor's own port.) (Currency) | Ocean Freight (Currency) | Ocean / Marine Insurance | Custom Duty with other duties and charges (Refer NIT terms Sl. No. 17) after availing CENVAT benefit if applicable (INR) | Inland FREIGHT CHARGES (INCLUDING SERVICE TAX) (INR) | F.O.R. site Imported Items supply price (Currency + INR) | UNIT EX-WORKS PRICE (INR) | TOTAL EX- WORKS PRICE (INR) | ED (INCLUDING CESS) (INR) | CST/VAT @_______% Against Form 'C' /EI/EII (INR) | FREIGHT CHARGES INCLUDING SERVICE TAX) @_________% OF TOTAL EX-WORKS (INR) | TOTAL F.O.R SITE PRICE (INR)
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10=5+6+8+9 | 11 | 12 | 13 | 14 | 15 | 16=12+14+15 | 17=16+10
1 | Total lump sum firm price for Design, Engineering, Manufacturing, Inspection, Testing at Vendor/Subvendor's works, Supply/delivery of duly packed (sea worthy packing for imported items) to project site (4 X 250 MW NABINAGAR THERMAL POWER PROJECT) on FOR Site basis including Freight (Ocean Freight & Inland Freight), of HYDROGEN GENERATION PLANT (Main Equipment Supply) complete with all accessories, start up Commissioning Spares ,including Custom clearance & port Handling as required for the total scope defined as per BHEL specification number - PE-TS-300-168-A000.
1.1 |  | 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
1.2 |  | 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
1.3 |  | 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
2 | TOTAL ORDERING VALUE | 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
NOTES:
1 | Wherever separate break-up is required please furnish the same.
2 | Any Extra tax if applicable may be indicated in a separate column without disturbing the other columns of the price format.
3 | Exact amount to be indicated against each column, if applicable. No where "at actuals" shall be qouted.
Particulars of bidder / authorised representative
Name
Designation

## ANEXXURE-II (Table-B1)
4 X 250 MW NABINAGAR THERMAL POWER PROJECT
ANEXXURE-II (Table-B1) :APPLICABLE FOR FOREIGN BIDDERS/ FOREIGN BIDDERS WITH THEIR AUTHORISED INDIAN ASSOCIATES
HYDROGEN GENERATION PLANT |  |  |  | PRICE SCHEDULE FOR HYDROGEN GENERATION PLANT
|  |  |  | IMPORTED ITEMS (Supply not from Indian Territory) | [7 empty] | INDIGENEOUS ITEMS (Supply from Indian Territory) | [5 empty] | Total FOR Site IMPORTED + INDIGENOUS SUPPLY [(Currency+INR)+INR]
SL NO | ITEM DESCRIPTION | UNIT | QTY IN NOS* | Currency | UNIT F.O.B. Price (including seaworthy packing; handling and transportation to Vendor's own port.) (Currency) | TOTAL F.O.B. Price (including seaworthy packing; handling and transportation to Vendor's own port.) (Currency) | Ocean Freight (Currency) | Ocean / Marine Insurance | Custom Duty with other duties and Charges (Refer NIT terms Sl. No. 17) after availing CENVAT benefit if applicable (INR) | Inland FREIGHT CHARGES (INCLUDING SERVICE TAX) (INR) | F.O.R. site Imported Items supply price (Currency + INR) | UNIT EX-WORKS PRICE (INR) | TOTAL EX- WORKS PRICE (INR) | ED (INCLUDING CESS) (INR) | CST/VAT @_______% Against Form 'C' /EI/EII (INR) | FREIGHT CHARGES INCLUDING SERVICE TAX) @_________% OF TOTAL EX-WORKS (INR) | TOTAL F.O.R SITE PRICE (INR)
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10=5+6+8+9 | 11 | 12 | 13 | 14 | 15 | 16=12+14+15 | 17=16+10
A | Total lump sum firm price for Design, Engineering, Manufacturing, Inspection,Testing at Vendor/Subvendor's works, supply/delivery duly packed (sea worthy packing for imported items) to project site (4 X 250 MW NABINAGAR THERMAL POWER PROJECT) on FOR Site basis including Freight (Ocean Freight & Inland Freight) of MANDATORY SPARES of HYDROGEN GENERATION PLANT complete with all accessories,including Custom clearance & port Handling as required for the total scope defined as per BHEL specification number - PE-TS-300-168-A000. Mandatory spares indicated as "Not Applicable" if found applicable during detailed engineering shall be supplied without any commercial/delivery implication to BHEL/Customer.
1 | Water electrolyser | 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
1.1 | Complete cell | 1: 1 set; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
1.2 | All electronic Cards and power supply card for rectifiers | 1: 1 no of each type; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
2 | Spares for Compressors | 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
a | Suction and discharge Valves (complete) | 1: 1 set for each stage / size / type.; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
b | Seats of suction and Discharge Valves | 1: 1 set for each stage / size / type.; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
c | Springs of suction and Discharge Valves | 1: 1 set for each stage /size/type.; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
d | Gaskets of suction and dischargevalve | 1: 2 sets for each stage /size/type.; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
e | Bearings of Drive end, non-drive end, intermediate and motor | 1: 1 set of each type /rating; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
f | Piston rings (if applicable) | 1: 2 sets of each stage/ type; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
g | Diaphram (if applicable) | 1: 2 sets of each stage/ type; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
h | Complete piston (if applicable) | 1: 1 set of each stage/type; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
i | V-Belts / Coupling | 1: 1 set of each type; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
j | Relief / Unloader assembly | 1: 1 no of each stage/type; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
3 | Feed water Valves | 1: 1 no of each type/size; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
4 | Filter element | 1: 2 sets of each type/rating; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
5 | Dryer desiccant | 1: 2 complete fill; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
6 | Blower | 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
6.1 | Diaphram (if applicable) | 1: 2 nos; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
6.2 | Belts | 1: 1 set; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
7 | Hydrogen manifold valves | 1: 4 nos of each type/ Size; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
8 | Adsorption filter elements with gaskets /O rings | 1: 2 sets; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
9 | Complete set of valves for isolation for filters, dryers, instruments and drain valves | 1: 1 no of each type/rating; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
10 | Measuring device for dew point meter | 1: 1 no; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
11 | Special connection cable for dew point meter | 1: 30 meter; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
12 | Zenner barrier | 1: 2 nos of each type/rating.; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
13 | Limit switches | 1: 5% of each type/rating or 1 no. whichever is more; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
14 | All electronic cards and power supplies | 1: 10% of main supply or 2 nos. whichever is more; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
15 | Annunciation indicating lamps | 1: 100% of main supply; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
16 | Oxygen analyser panel and Oxygen analyser sensor | 1: 1 no. each type; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
17 | Pressure switches | 1: 1 no. each type and rating; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
18 | Pressure gauges | 1: 1 no. each type and rating; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
19 | Temperature gauge | 1: 1 no. each type and rating; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
20 | Flow indicators | 1: 1 no. each type and rating; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
21 | Differential pressure switches | 1: 1 no. each type and rating; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
22 | Power supply unit | 1: 20 % or 2 nos. of each type and model, whichever is more.; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
23 | Electronic modules like I/O, CPU Communication, Interface | 1: 10 % of each type and model; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
24 | Cooling Fan in PLC system/cabinet | 1: 10% or 2 nos. whichever is more.; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
25 | Audible devices. | 1: 1 no.; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
26 | Graphical Interface Unit | 1: 1 no. of each type; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
27 | Prefeb cables and system bus cables | 1: 1 no. of each type and length; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
28 | Relays | 1: 10 % of 10 nos. of each type and model, whichever is more.; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
29 | Batteries used for battery back up of RAMs | 1: 1 set; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
30 | Fuses | 1: 200% of each type and rating.; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
31 | Complete pole of breaker | 1: 2 nos. of each type and rating; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
32 | Spring charging motors | 1: 6 nos. of each type and rating; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
33 | Aux. contact set | 1: 12 sets of each type and rating; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
34 | Limit switches | 1: 6 nos. of each type and rating; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
35 | Arc chutes | 1: 4 nos. of each type and rating; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
36 | Fixed contact set | 1: 6 sets of each type and rating; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
37 | Moving contact set | 1: 6 sets of each type and rating; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
38 | Arcing contact | 1: 6 sets of each type and rating; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
39 | Charging spring | 1: 4 nos. of each type and rating; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
40 | Current transformer (metering) | 1: 3 nos. of each type and rating; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
41 | Current transformer (protection) | 1: 3 nos. of each type and rating; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
42 | Closing coil | 1: 12 nos. of each type and rating; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
43 | Trip coil | 1: 12 nos. of each type and rating; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
44 | CT for Bimetal O/L relays | 1: 6 nos. of each type and rating; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
45 | Voltage transformer | 1: 3 nos. of each type and rating; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
46 | Control supply transformer | 1: 2 nos. of each type and rating; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
47 | Ammeter | 1: 2 nos. of each type and rating; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
48 | Voltmeter | 1: 2 nos. of each type and rating; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
49 | Relays | 1: 6 nos. of each type and rating; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
50 | Power contactor | 1: 2 nos. of each type and rating; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
51 | Coil of above contactor | 1: 3 nos. of each type and rating; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
52 | Air break switches | 1: 5 nos. of each type and rating; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
53 | DP air break switches (DC) | 1: 2 nos. of each type and rating; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
54 | Control & selector switches | 1: 2 nos. of each type and rating; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
55 | Control fuses & neutral links | 1: 10% of each type and rating; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
56 | Indicating lamps | 1: 20% of each type and rating; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
57 | Bus bar support insulators(each type) | 1: 5 % of each type and rating; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
58 | Bus duct flexibles connectors | 1: 3 nos. of each type and rating; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
59 | Primary disconnect in MCC (Male/ female contact) | 1: 1 set of each type and rating; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
60 | Push buttons | 1: 10% of each type and rating; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
61 | Power fuses | 1: 10% of each type and rating; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
62 | Thermal bimetal relays | 1: 2 nos. of each type and rating; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
63 | Indication Lamp Holders complete | 1: 10% of each type and rating; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
61 | Maintenance tools and accessories for Maintenance (bidder to list) | 1: 2 sets of each type and rating; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
62 | Terminal blocks | 1: 12 nos. of each type and rating; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
63 | Busbar aluminium flat pieces | 1: 12 meters of each size; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
64 | Busbar angles/formed pieces for breaker | 1: 2 nos. each type; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
65 | Lighting fixtures complete with lamp, accessories etc. of type used in Hazardous area suitable for Group II C as per IS 2418 or class-I, Division-II as per NEC 70-428, same as used for hydrogen generation plant shall be supplied as Mandatory spares. | 1: 2 nos.; 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
B | TOTAL ORDERING VALUE | 7: BY BHEL |  |  |  | NIL AGAINST PAC refer SCC clause No. 19
NOTES:
1 | Wherever separate break-up is required please furnish the same.
2 | Exact amount to be indicated against each column, if applicable. No where "at actuals" shall be qouted.
3 | Mandatory spares indicated as "Not Applicable" if found applicable during detailed engineering shall be supplied without any commercial/delivery implication to BHEL/Customer.
4* | Wherever Unit required is mentioned in sets/lot/%/type/size/rating/stage/model; bidder is requested to clearly mention the same in numbers in the column head named "QTY IN NOS".
Particulars of bidder / authorised representative
Name
Designation

## ANEXXURE-II (Table-A2)
4 X 250 MW NABINAGAR THERMAL POWER PROJECT
ANEXXURE-II (Table-A2) :(Applicable for Indian Bidders)
HYDROGEN GENERATION PLANT |  | PRICE SCHEDULE FOR HYDROGEN GENERATION PLANT
SL NO | ITEM DESCRIPTION | UNIT | QTY | UNIT EX-WORKS PRICE (INR) | TOTAL EX- WORKS PRICE (INR) | ED (INCLUDING CESS) (INR) | CST/VAT @_______% Against Form 'C' /EI/EII (INR) | FREIGHT CHARGES (INCLUDING SERVICE TAX) @_________% OF TOTAL EX-WORKS (INR) | TOTAL F.O.R SITE PRICE (INR)
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8=4+6+7
A | Total lump sum firm price for Design, Engineering, Manufacturing, Inspection,Testing at Vendor/Subvendor's works, Supply/delivery of duly packed (sea worthy packing for imported items) to project site (4 X 250 MW NABINAGAR THERMAL POWER PROJECT) on FOR Site basis with Freight inclusive of all prevailing taxes, duties and other levies of HYDROGEN GENERATION PLANT (MAIN EQUIPMENT) complete with all accessories, start up Commissioning Spares , as required for the total scope defined as per BHEL specification number - PE-TS-300-168-A000.
1.1 |  | 5: NIL AGAINST PAC refer SCC clause No. 19
1.2 |  | 5: NIL AGAINST PAC refer SCC clause No. 19
1.3 |  | 5: NIL AGAINST PAC refer SCC clause No. 19
B | TOTAL ORDERING VALUE | 5: NIL AGAINST PAC refer SCC clause No. 19
NOTES:
1 | Wherever separate break-up is required please furnish the same.
2 | Any Extra tax if applicable may be indicated in a separate column without disturbing the other columns of the price format.
Particulars of bidder / authorised representative
Name
Designation

## ANEXXURE-II (Table-B2)
4 X 250 MW NABINAGAR THERMAL POWER PROJECT
ANEXXURE-II (Table-B2) :(Applicable for Indian Bidders)
HYDROGEN GENERATION PLANT |  | PRICE SCHEDULE FOR HYDROGEN GENERATION PLANT
SL NO | ITEM DESCRIPTION | UNIT | QTY IN NOS* | UNIT EX-WORKS PRICE (INR) | TOTAL EX- WORKS PRICE (INR) | ED (INCLUDING CESS) (INR) | CST/VAT @_______% Against Form 'C' /EI/EII (INR) | FREIGHT CHARGES (INCLUDING SERVICE TAX) @_________% OF TOTAL EX-WORKS (INR) | TOTAL F.O.R SITE PRICE (INR)
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8=4+6+7
A | Total lump sum firm price for Design, Engineering, Manufacturing, Inspection,Testing at Vendor/Subvendor's works, Supply/delivery of duly packed (sea worthy packing for imported items) to project site (4 X 250 MW NABINAGAR THERMAL POWER PROJECT) on FOR Site basis with Freight inclusive of all prevailing taxes, duties and other levies on MANDATORY SPARES of HYDROGEN GENERATION PLANT complete with all accessories, start up Commissioning Spares , as required for the total scope defined as per BHEL specification number -PE-TS-300-168-A000.
1 | Water electrolyser | 5: NIL AGAINST PAC refer SCC clause No. 19
1.1 | Complete cell | 1: 1 set; 5: NIL AGAINST PAC refer SCC clause No. 19
1.2 | All electronic Cards and power supply card for rectifiers | 1: 1 no of each type; 5: NIL AGAINST PAC refer SCC clause No. 19
2 | Spares for Compressors | 5: NIL AGAINST PAC refer SCC clause No. 19
a | Suction and discharge Valves (complete) | 1: 1 set for each stage / size / type.; 5: NIL AGAINST PAC refer SCC clause No. 19
b | Seats of suction and Discharge Valves | 1: 1 set for each stage / size / type.; 5: NIL AGAINST PAC refer SCC clause No. 19
c | Springs of suction and Discharge Valves | 1: 1 set for each stage /size/type.; 5: NIL AGAINST PAC refer SCC clause No. 19
d | Gaskets of suction and dischargevalve | 1: 2 sets for each stage /size/type.; 5: NIL AGAINST PAC refer SCC clause No. 19
e | Bearings of Drive end, non-drive end, intermediate and motor | 1: 1 set of each type /rating; 5: NIL AGAINST PAC refer SCC clause No. 19
f | Piston rings (if applicable) | 1: 2 sets of each stage/ type; 5: NIL AGAINST PAC refer SCC clause No. 19
g | Diaphram (if applicable) | 1: 2 sets of each stage/ type; 5: NIL AGAINST PAC refer SCC clause No. 19
h | Complete piston (if applicable) | 1: 1 set of each stage/type; 5: NIL AGAINST PAC refer SCC clause No. 19
i | V-Belts / Coupling | 1: 1 set of each type; 5: NIL AGAINST PAC refer SCC clause No. 19
j | Relief / Unloader assembly | 1: 1 no of each stage/type; 5: NIL AGAINST PAC refer SCC clause No. 19
3 | Feed water Valves | 1: 1 no of each type/size; 5: NIL AGAINST PAC refer SCC clause No. 19
4 | Filter element | 1: 2 sets of each type/rating; 5: NIL AGAINST PAC refer SCC clause No. 19
5 | Dryer desiccant | 1: 2 complete fill; 5: NIL AGAINST PAC refer SCC clause No. 19
6 | Blower | 5: NIL AGAINST PAC refer SCC clause No. 19
6.1 | Diaphram (if applicable) | 1: 2 nos; 5: NIL AGAINST PAC refer SCC clause No. 19
6.2 | Belts | 1: 1 set; 5: NIL AGAINST PAC refer SCC clause No. 19
7 | Hydrogen manifold valves | 1: 4 nos of each type/ Size; 5: NIL AGAINST PAC refer SCC clause No. 19
8 | Adsorption filter elements with gaskets /O rings | 1: 2 sets; 5: NIL AGAINST PAC refer SCC clause No. 19
9 | Complete set of valves for isolation for filters, dryers, instruments and drain valves | 1: 1 no of each type/rating; 5: NIL AGAINST PAC refer SCC clause No. 19
10 | Measuring device for dew point meter | 1: 1 no; 5: NIL AGAINST PAC refer SCC clause No. 19
11 | Special connection cable for dew point meter | 1: 30 meter; 5: NIL AGAINST PAC refer SCC clause No. 19
12 | Zenner barrier | 1: 2 nos of each type/rating.; 5: NIL AGAINST PAC refer SCC clause No. 19
13 | Limit switches | 1: 5% of each type/rating or 1 no. whichever is more; 5: NIL AGAINST PAC refer SCC clause No. 19
14 | All electronic cards and power supplies | 1: 10% of main supply or 2 nos. whichever is more; 5: NIL AGAINST PAC refer SCC clause No. 19
15 | Annunciation indicating lamps | 1: 100% of main supply; 5: NIL AGAINST PAC refer SCC clause No. 19
16 | Oxygen analyser panel and Oxygen analyser sensor | 1: 1 no. each type; 5: NIL AGAINST PAC refer SCC clause No. 19
17 | Pressure switches | 1: 1 no. each type and rating; 5: NIL AGAINST PAC refer SCC clause No. 19
18 | Pressure gauges | 1: 1 no. each type and rating; 5: NIL AGAINST PAC refer SCC clause No. 19
19 | Temperature gauge | 1: 1 no. each type and rating; 5: NIL AGAINST PAC refer SCC clause No. 19
20 | Flow indicators | 1: 1 no. each type and rating; 5: NIL AGAINST PAC refer SCC clause No. 19
21 | Differential pressure switches | 1: 1 no. each type and rating; 5: NIL AGAINST PAC refer SCC clause No. 19
22 | Power supply unit | 1: 20 % or 2 nos. of each type and model, whichever is more.; 5: NIL AGAINST PAC refer SCC clause No. 19
23 | Electronic modules like I/O, CPU Communication, Interface | 1: 10 % of each type and model; 5: NIL AGAINST PAC refer SCC clause No. 19
24 | Cooling Fan in PLC system/cabinet | 1: 10% or 2 nos. whichever is more.; 5: NIL AGAINST PAC refer SCC clause No. 19
25 | Audible devices. | 1: 1 no.; 5: NIL AGAINST PAC refer SCC clause No. 19
26 | Graphical Interface Unit | 1: 1 no. of each type; 5: NIL AGAINST PAC refer SCC clause No. 19
27 | Prefeb cables and system bus cables | 1: 1 no. of each type and length; 5: NIL AGAINST PAC refer SCC clause No. 19
28 | Relays | 1: 10 % of 10 nos. of each type and model, whichever is more.; 5: NIL AGAINST PAC refer SCC clause No. 19
29 | Batteries used for battery back up of RAMs | 1: 1 set; 5: NIL AGAINST PAC refer SCC clause No. 19
30 | Fuses | 1: 200% of each type and rating.; 5: NIL AGAINST PAC refer SCC clause No. 19
31 | Complete pole of breaker | 1: 2 nos. of each type and rating; 5: NIL AGAINST PAC refer SCC clause No. 19
32 | Spring charging motors | 1: 6 nos. of each type and rating; 5: NIL AGAINST PAC refer SCC clause No. 19
33 | Aux. contact set | 1: 12 sets of each type and rating; 5: NIL AGAINST PAC refer SCC clause No. 19
34 | Limit switches | 1: 6 nos. of each type and rating; 5: NIL AGAINST PAC refer SCC clause No. 19
35 | Arc chutes | 1: 4 nos. of each type and rating; 5: NIL AGAINST PAC refer SCC clause No. 19
36 | Fixed contact set | 1: 6 sets of each type and rating; 5: NIL AGAINST PAC refer SCC clause No. 19
37 | Moving contact set | 1: 6 sets of each type and rating; 5: NIL AGAINST PAC refer SCC clause No. 19
38 | Arcing contact | 1: 6 sets of each type and rating; 5: NIL AGAINST PAC refer SCC clause No. 19
39 | Charging spring | 1: 4 nos. of each type and rating; 5: NIL AGAINST PAC refer SCC clause No. 19
40 | Current transformer (metering) | 1: 3 nos. of each type and rating; 5: NIL AGAINST PAC refer SCC clause No. 19
41 | Current transformer (protection) | 1: 3 nos. of each type and rating; 5: NIL AGAINST PAC refer SCC clause No. 19
42 | Closing coil | 1: 12 nos. of each type and rating; 5: NIL AGAINST PAC refer SCC clause No. 19
43 | Trip coil | 1: 12 nos. of each type and rating; 5: NIL AGAINST PAC refer SCC clause No. 19
44 | CT for Bimetal O/L relays | 1: 6 nos. of each type and rating; 5: NIL AGAINST PAC refer SCC clause No. 19
45 | Voltage transformer | 1: 3 nos. of each type and rating; 5: NIL AGAINST PAC refer SCC clause No. 19
46 | Control supply transformer | 1: 2 nos. of each type and rating; 5: NIL AGAINST PAC refer SCC clause No. 19
47 | Ammeter | 1: 2 nos. of each type and rating; 5: NIL AGAINST PAC refer SCC clause No. 19
48 | Voltmeter | 1: 2 nos. of each type and rating; 5: NIL AGAINST PAC refer SCC clause No. 19
49 | Relays | 1: 6 nos. of each type and rating; 5: NIL AGAINST PAC refer SCC clause No. 19
50 | Power contactor | 1: 2 nos. of each type and rating; 5: NIL AGAINST PAC refer SCC clause No. 19
51 | Coil of above contactor | 1: 3 nos. of each type and rating; 5: NIL AGAINST PAC refer SCC clause No. 19
52 | Air break switches | 1: 5 nos. of each type and rating; 5: NIL AGAINST PAC refer SCC clause No. 19
53 | DP air break switches (DC) | 1: 2 nos. of each type and rating; 5: NIL AGAINST PAC refer SCC clause No. 19
54 | Control & selector switches | 1: 2 nos. of each type and rating; 5: NIL AGAINST PAC refer SCC clause No. 19
55 | Control fuses & neutral links | 1: 10% of each type and rating; 5: NIL AGAINST PAC refer SCC clause No. 19
56 | Indicating lamps | 1: 20% of each type and rating; 5: NIL AGAINST PAC refer SCC clause No. 19
57 | Bus bar support insulators(each type) | 1: 5 % of each type and rating; 5: NIL AGAINST PAC refer SCC clause No. 19
58 | Bus duct flexibles connectors | 1: 3 nos. of each type and rating; 5: NIL AGAINST PAC refer SCC clause No. 19
59 | Primary disconnect in MCC (Male/ female contact) | 1: 1 set of each type and rating; 5: NIL AGAINST PAC refer SCC clause No. 19
60 | Push buttons | 1: 10% of each type and rating; 5: NIL AGAINST PAC refer SCC clause No. 19
61 | Power fuses | 1: 10% of each type and rating; 5: NIL AGAINST PAC refer SCC clause No. 19
62 | Thermal bimetal relays | 1: 2 nos. of each type and rating; 5: NIL AGAINST PAC refer SCC clause No. 19
63 | Indication Lamp Holders complete | 1: 10% of each type and rating; 5: NIL AGAINST PAC refer SCC clause No. 19
61 | Maintenance tools and accessories for Maintenance (bidder to list) | 1: 2 sets of each type and rating; 5: NIL AGAINST PAC refer SCC clause No. 19
62 | Terminal blocks | 1: 12 nos. of each type and rating; 5: NIL AGAINST PAC refer SCC clause No. 19
63 | Busbar aluminium flat pieces | 1: 12 meters of each size; 5: NIL AGAINST PAC refer SCC clause No. 19
64 | Busbar angles/formed pieces for breaker | 1: 2 nos. each type; 5: NIL AGAINST PAC refer SCC clause No. 19
65 | Lighting fixtures complete with lamp, accessories etc. of type used in Hazardous area suitable for Group II C as per IS 2418 or class-I, Division-II as per NEC 70-428, same as used for hydrogen generation plant shall be supplied as Mandatory spares. | 1: 2 nos.; 5: NIL AGAINST PAC refer SCC clause No. 19
B | TOTAL ORDERING VALUE | 5: NIL AGAINST PAC refer SCC clause No. 19
NOTES:
1 | Wherever separate break-up is required please furnish the same.
2 | Any Extra tax if applicable may be indicated in a separate column without disturbing the other columns of the price format.
3 | Mandatory spares indicated as "Not Applicable" if found applicable during detailed engineering shall be supplied without any commercial/delivery implication to BHEL/Customer.
4* | Wherever Unit required is mentioned in sets/lot/%/type/size/rating/stage/model; bidder is requested to clearly mention the same in numbers in the column head named "QTY IN NOS".
Particulars of bidder / authorised representative
Name
Designation