PROJECTS DEPARTMENT

SPECN.No. HY/PROJ-E&C/N&B/03/003

DETAILED SPECIFICATION FOR COMBINATION FUSE SWITCH UNITS
415V Combination Fuse Switch Unit type CH Cast Iron Enclosure TPN along with Cable Entry boxes for top & bottom as per enclosed sketch. Make: GE/ENGLISH ELECTRIC of following capacity:

1.
315 A


-
QTY. REQD:  05 Nos.

2.
200 A


-
QTY. REQD:
04 Nos.

3.
100 A


-
QTY.REQD:   03 Nos.

4.          63A                            -
QTY.REQD:   02 Nos.

415V TPN switch in sheet enclosure along with cable  entry boxes for top & bottom as per enclosed sketch.. Make: Standard/GE/L&T of the following capacity:

1.
400A


-
QTY. REQD:  02 Nos.

415V TPN switch in sheet enclosure. Make: Standard/GE/L&T of the following capacity:

1.         16A                           -              QTY. REQD: 12nos

2.          32A                           -              QTY. REQD: 05nos

[image: image1.jpg]BOTTOM CABLE ENTRY BOX FOR

\

CFs UNIT
To SUIT sWITcH i
P i
| |
|
| 1
| |
# M
| e
| o
| it
| i Al
o |
E CUT OUT FoR CAELE F.Mgh ; 5
o imwte . = b | S
| |
l. £
| -
oo AT S %
1! il gs
| I -
i ()

NOTE: SHEET TWCKNESSS @ {iBum (M)

)

¢
TOPR 'CABLE ENTRY Box FoR
LS LNT.

4, i

i

| CUT oUuT FOR
| CABLE ENTRY

|, ¢ S
l

l
|

l - HOLES To BE
a//“\'

| 4 & SUIT FoR CFS
l i SWITCH .
\ To SUIT SWITCH
& & m
R T ) e S R
i o
fay
4 i 1
: 4
I (0]
5 *
Ly \
r—'-l—-—— — = =
[ | Y|
| | (4
>
| f 9
| ! i
| : E
ORI (A TN <
N i )
i IRl
C L b
bl e 1

NOTE : SHEET TWCKNESS: |5 MM (M)





