Specification for Pocket Type Surface Roughness Tester

Description             :  Pocket Type Portable Surface Roughness Tester.
Range                     : Ra= 0.1 µ to 40µ 
Accuracy                : ±5%
Resolution              : 0.01µ
Weight                    : 250gms.
Type of operation   : Remote
Type of Stylus        : In-built in the Tester 
Power source          : Suitable  in-built batteries with charger.
Calibration              : Calibrated Specimen with certificate.
Commissioning       : At BHEL free of cost.

Scope of Supply      :  Standard supply containing Main Unit,

                                    Specimen Ra, Charger, Battery, Calibration Certificate and      

                                    carrying case.

