BHEL JHANSI

Tender Documents

             DETAILS OF TENDER DOCUMENT

TENDER NO. WEX/TE/2/17




      
       DATE: 22.01.2013
NATURE OF WORK: “Environmental Tests for OHSAS 18001 in 
BHEL Jhansi”
1. BHEL JHANSI is in the process of finalizing the Environmental  Tests for OHSAS 18001.
2.
The Tender Document has been detailed as follows:   

a) Notice Inviting Tender (Annexure A)

b) Work Specifications (Annexure B)

c) Qualifying Requirements (Annexure C)

d) Instruction to Tenderers (Annexure D)

e) Tender Evaluation Criteria (Annexure E)

f) Criteria for measurement of work (Annexure F)

g) Technical Bid Application (Annexure G)

h) Price Bid ( Annexure H)
i) Blank Price Bid ( Annexure I)
j) Other General Terms & Conditions ( Annexure J)

The duly filled in Technical and Price / Rate bids (Annexure I and J, separately) along with the instructions to the Tenderers, Contractor’s Obligations, General Terms and Conditions with the signature of the Tenderer on all the pages and complete in all respects superscribed as “Quotation for Tender No. WEX/TE/2/17 dated 22.01.2013” should reach us in a sealed cover on or before 11.02.2013 (13.15 hours) through Registered / Speed Post or the same may be dropped in the  Tender Box available at the following address:
CISF Control Room/Office

Administrative Building

Bharat Heavy Electricals Limited

Jhansi-284120
Signature of Contractor with Seal      





AGM (WEX)
BHEL – JHANSI

Tender Documents

NOTE :- 
TECHNICAL BID AND PRICE BID SHOULD BE SUBMITTED IN SEPARATE SEALED ENVELOPES, IN CASE THE BIDS FOUNDS IN ONE SINGLE ENVELOPE THEN THE “BIDS” ARE LIABLE TO BE REJECTED. 

CONTENTS

	Sl. No.
	DESCRIPTION
	ANNEXURE NO
	No. of Pages

	1.
	Notice Inviting Tender
	A
	1

	2.
	Work Specifications
	B
	4

	3.
	Qualifying Requirements
	C
	1

	4.
	Instructions to Tenderers
	D
	2

	5.
	Tender Evaluation Criteria
	E
	1

	6.
	Measurement Of Work and Payments Thereof
	F
	2

	7.
	Technical Bid Application
	G
	2

	8.
	Price Bid
	H
	2

	9.
	Blank Price Bid
	I
	1

	10
	Other General Terms & Conditions
	J
	3


Signature of Contractor with Seal      



AGM (WEX)

Annexure ‘A’

BHEL – JHANSI



Tender Documents
NOTICE INVITING TENDER

TENDER NO: WEX/TE/2/17





       DATE: 22.01.2013
1.  SCOPE OF WORK  :  “Environmental  Tests for OHSAS 18001 in BHEL Jhansi”
2.  Tender Evaluation Criteria             :    
As per Annexure – E
3.   Estimated value of work                     :    
Rs. 1.88 Lakh. 
4.   Duration of the Contract                      :  
One Year
5.   Other specific requirements                :
As per Tender

6.   Last date of receipt of the Tender       :   
up to 1315 hours on 11.02.2013
7.  Date of opening of Techno:     

14.00 hours on 11.02.2013
        Commercial Bid  

 8.  Address for receipt/issue of Tender      : 
Safety Officer / Consultant (Safety)
     Documents

Bharat Heavy Electricals Limited, Jhansi
9.  Earnest Money Deposit

        :
NIL
10. Cost of Tender Document:
Rs. 200-00 + 14% VAT= Total Rs.228-00      
    




(Rs. Two Hundred Twenty Eight Only) (payable 






through a Separate Demand Draft in Favour





of “BHEL, Jhansi” alongwith Technical Bid, in 






case the documents downloaded from  website)

11. Security Deposit

:
Security Deposit shall be as per our Work Policy 






para, 8 (refer website www.bhel.com) and shall  







be deposited before start of work.The EMD shall 






be adjusted with the actual amount of security 






deposit shall be given in work order
NOTE :  

1.
THE CONTRACTORS MAY PHYSICALLY VISIT THE WORK PLACE BEFORE QUOTING THEIR RATES.

2.
FOR RELEVANT DETAILS PLEASE VISIT OUR WEBSITE “www.bhel.com” & www.bheljhs.co.in
I/We agree with the above

Signature of Contractor with Seal





AGM (WEX)

                                       




Annexure’B’
BHEL – JHANSI

Tender Documents

TENDER NO: WEX/TE/2/17





       DATE: 22.01.2013
WORK SPECIFICATION

DETAILS OF WORK
	Sl.No
	Type of  test/report
	Qty.  / Annum
	Rate
	Amount

	1
	Boiler Stack Monitoring
	04
	
	

	2
	Ambient Work Place Monitoring
	08
	
	

	3
	Factory Oxidation Pond Discharge Report 
	04
	
	

	4
	Township Oxidation Pond Discharge Report  
	04
	
	

	5
	Environmental Audit Report
	01
	
	

	6
	Fiber Glass Dust
	08
	
	

	7
	M.S. Welding Fumes
	16
	
	

	8
	Soldering Fumes
	08
	
	

	9
	Ammonia Fumes
	04
	
	

	10
	Exhaust of  Vacuum Pump
	08
	
	

	11
	Noise Level
	40
	
	

	12
	Intensity of  Light
	40
	
	

	13
	Saw Dust (R.S.P.M.)
	04
	
	

	14
	Boiler Dust (R.S.P.M.)
	04
	
	

	15
	DG Set Stack
	08
	
	

	16
	Drinking Water Test
	08
	
	

	
	Sub Total
	
	
	

	
	Service Tax  @ 12.36%
	
	
	

	
	Grand Total
	
	
	


I/We agree with the above 
Signature of Contractor with Seal





AGM (WEX)

Scope of Work
Detail parameters for Test and TLV to be furnished also in front of measured readings:

Boiler Flue Fases :

A- Flue Gas Temp. Degree Cells.

B- Velocity M/Sec.

C- Concentration of SPM/ in Mg/ Nm3

D- Concentration of SO2 in ug/M3

E- Concentration of Nox in ug/M3

F- Concentration of Carbon Mono Oxide

G- Hydrocarbon

H- CO2 %

I- O2%

J- CO%

K- NO%

Ambient Work Place Monitoring :

A-Concentration of SPM/ in Mg/ Nm3

B-Concentration of SO2 in ug/M3

C-Concentration of Nox in ug/M3

D-Concentration of Carbon Mono Oxide

E- Repairable particulate matter less than 10 u min ug/M3

F- Lead (PB)

Factory and Township Oxidation Discharge :

A- Ph

B- Total suspended solids

C- Total dissolved solids

D- BOD5 AT 20 degree cels

E- COD

F- Oil and grease

G- Chlorides Cl

H- Sulphate as SP4

I- Floride as F

J- Total phosphorous

K- Total Kzeldahl Nitrogen as N

L- Chromium Hexa

M- Iron

N- Copper

O- Zinc

P- Cadmium                                                                                   

Noise Level :
The monitoring of noise level of all 04 DG Set shall be made half yearly. It will be measured in DBA
Intensity of Light :

It will measured in lux
Fiber Glass Dust :

Repairable in mg/ cu m.
M.S. Welding Fumes :

1.
Fe in mg/m3

2.
Mn in Mg/M3

3.
Mn O in Mg/M3

4.
Fe2 O3 in Mg/M3

5.
Total fumes in mg/cu M
Soldering Fumes During Soldering On Copper Or Tinning Process On Copper :

1. Total fumes in mg/cu m

2. Lead in mg/m3

3. Copper oxide in mg/m3

4. Cu in mg/m3

5. Chlorides in mg/m3

Vacuum Pump Exhaust Fume :

1.  Carbon mono oxide concentration

2.
Oil fumes concentration

3.
CO2

4.
Solvent
Saw Dust (Wooden) :

Respirable in mg/cu m
Coal Dust :

Respirable in mg/ cu m
Please Note That :
1. Item# 2 of BOQ Ambient air of work place monitoring out of 08 Test samples 04 shall be taken from Ambient Air of work place and 02 samples shall be taken from painting areas in Loco and Transformer shops for air pollutions like acetone, X-ylene, Di-methyl – benzene etc. also
2. Please submit the reports of water and air consent from U P Pollution Control Board within the same financial year and monthly follow-up with UPPC.
3. Contractor has to fill up Air and Water consent form, obtained from UP PCB.

4. Contractor has to assist in obtaining Air and Water consent from UP PCB.

5. All the Tests shall be conducted in Govt. Recognized Laboratory.

I/We agree with the above 
Signature of Contractor with Seal




AGM (WEX)

Annexure ‘C’

BHEL – JHANSI

Tender Documents

QUALIFYING REQUIREMENTS

1.
Should have PAN/TAN number

2.
Should have Service Tax number (PAN based)

3.
Self certificate that he is not blacklisted/banned/delisted on the date of tender.

4.
Declaration that he is not blacklisted/under hold from BHEL Jhansi or banned by any unit/region/office of BHEL

5.
Declaration that he should not be guilty by a Court of Law in India for any offence involving fraud, dishonesty and Moral Turpitude.
6. 
Last 3 years average amount turnover should not less than Rs. 0.56 Lack. 

7.

The bidder should have experience of at least one contract in the field of Environment Test for a minimum value of Rs. 1.0 (One lakh).
Documentary proof in support of above eligibility criteria shall be submitted alongwith Techno Commercial Bid at Annexure I

(Any other requirement as deemed fit by tendering deptt. like 
experience etc.)
I/We agree with the above 
Signature of Contractor with Seal





AGM (WEX)
Annexure ‘D’
BHEL – JHANSI

Tender Documents
INSTRUCTIONS TO TENDERERS
Above Tender is in Two Bid System (Techno Commercial Bid & Price/ Rate Bid)

1.
The Tender is to be processed in Two parts viz. 1) Techno Commercial Bid  2) and Price/Rate Bid. The Technical Bid Application (Annexure - I) and its enclosures (along with the Contractor’s Obligations, General Terms & Conditions and copies of qualifying requirements) must be submitted in one sealed envelope super scribed as “Environmental  Tests for OHSAS 18001 in BHEL Jhansi” TECHNOCOMMERCIAL bid. EMD/Cost of Tender Document or Documents required as per qualifying requirements must be enclosed. The second envelope duly sealed should contain the price bid (Annexure-J) only super scribed as (Name of Work) “Environmental  Tests for OHSAS 18001 in BHEL Jhansi”. PRICE bid”. Any other enclosures, which the Tenderer wishes to submit, must be enclosed with the Technical Bid only. The Price Bid envelope should contain the rates only. Offers not in line with the above procedure or quoted in any other format is liable to be rejected / by passed.

2.
Both the Technical Bid and Price Bid sealed envelopes must be again sent in a single envelope duly sealed and superscribed as “TENDER FOR TENDER NO WEX/TE/2/17 Due date of opening 11.02.2013 The same should be dropped in the Tender Box kept in the CISF Gate of Administrative Building, BHEL, Khailar, Jhansi, within the specified date and time by the representative of the Tenderer.  

3.
All Tenderers can witness the opening of the Technical Bid. After evaluation of the Technical Bid which may involve visit to the Tenderer’s/ clients place by authorised officials, Price Bids of only those Tenderers who are Technically found suitable will be opened on a subsequent date which will be informed to the concerned whose  Technical Bid has been accepted, in advance for witnessing the Price Bid  opening.

4.
All entries in the Tender Document should be in one ink. Corrections, over writing, cuttings, etc. will not be permitted.  All the columns in the Tender form should be filled without leaving blank in any page of the Tender and all the pages must be duly signed & stamped by the Tenderer before submission.

5.
The price / rate should be quoted in figures as well as in words. Price quoted in Price Bid shall be inclusive of all Taxes & Duties, all statutory requirements / liabilities like PF/ESI/Bonus/Min. wages etc. However service Tax shall be payable extra as applicable.
Signature of Contractor with Seal      
 




AGM (WEX)
6.
The rate quoted will be valid for the period of contract and no hike will be admissible.

7.
The contract will commence on the date as applicable against the contract and shall be valid as per the validity period of the contract. The contract can be extended further on mutually agreed terms and conditions.
I/We agree with the above

Signature of Contractor with Seal      
 



AGM (WEX)

Annexure’E’

BHEL – JHANSI

Tender Documents

TENDER EVALUATION CRITERIA

The evaluation of the Tender will be carried out as follows:

1. BHEL officials may visit the Tenderer’s Office & their client’s place to evaluate the capability and assess the performance.

Capability of the Contractor will be assessed on the basis of employees including supervisors on their Rolls, Machinery, Equipments in its possession, previous track record, experience in other organizations, etc.

2. Successful techno commercial qualified Tenderers after the above process only will be invited for opening of the rate / price bid.

3. The contractor shall be awarded the work on over all L-1  basis if otherwise not specified in the Tender.

I/We agree with the above

Signature of Contractor with Seal      




 AGM (WEX)
Annexure ‘F’
BHEL – JHANSI

Tender Documents

MEASUREMENT OF WORK AND PAYMENTS THEREOF.

1.
The designated officer of the Unit will periodically inspect the Work being provided by the contractor and find out deficiencies. The contractor shall rectify the same immediately to the satisfaction of the designated officer.

2.
Payment towards work satisfactorily executed will be made to the contractor on the basis of following: -

	Sl.No
	Type of  Test/Report
	Qty.  / Annum
	Rate
	Amount

	1
	Boiler Stack Monitoring
	04
	
	

	2
	Ambient Work Place Monitoring
	08
	
	

	3
	Factory Oxidation Pond Discharge Report 
	04
	
	

	4
	Township Oxidation Pond Discharge Report  
	04
	
	

	5
	Environmental Audit Report
	01
	
	

	6
	Fiber Glass Dust
	08
	
	

	7
	M.S. Welding Fumes
	16
	
	

	8
	Soldering Fumes
	08
	
	

	9
	Ammonia Fumes
	04
	
	

	10
	Exhaust of  Vacuum Pump
	08
	
	

	11
	Noise Level
	40
	
	

	12
	Intensity of  Light
	40
	
	

	13
	Saw Dust (R.S.P.M.)
	04
	
	

	14
	Boiler Dust (R.S.P.M.)
	04
	
	

	15
	DG Set Stack
	08
	
	

	16
	Drinking Water Test
	08
	
	

	
	Sub Total
	
	
	

	
	Service Tax  @ 12.36%
	
	
	

	
	Grand Total
	
	
	


3)
Payments will be made to the contractor on the basis of work carried out by him on a monthly basis.

4) All payments will be subject to deduction of income tax at source as per Income Tax as per the applicable Rules.

5) Measurement Book to be maintained for the work carried out daily / weekly / monthly by the contractor & the same shall be verified by BHEL official, nominated for the same.

I/We agree with the above

Signature of Contractor with Seal






AGM (WEX)

Annexure ‘G’

BHEL – JHANSI

Tender Documents

Ref: Your Enquiry No. WEX/TE/2/17



       DATE: 22.01.2013
PROFORMA FOR SUBMITTING TECHNICAL BID FOR “Environmental Tests for OHSAS 18001 in BHEL Jhansi”
1.       Name of the firm                               :  _________________________
2. Name of the Proprietor                     : _________________________
3. Address and Contact Numbers       : _________________________
4. Registration Number                        : _________________________
          Copy of the Certificate                      :    Enclosed / Not Enclosed

5. Labour Licence Number     
  
 :
Not Applicable
         Copy of the Licence                           :    Enclosed / Not Enclosed

6. PF Code Number                               : 
Not Applicable
         Copy of the Certificate                       :    Enclosed / Not Enclosed

7. ESI Code Number                              : 
Not Applicable
         Copy of the Certificate                       :    Enclosed / Not Enclosed

8. PAN/TAN Number                              : _________________________
9. Service Tax Number(PAN Based) 
 : _________________________                   
10. VAT/TIN Number                        
 :  Enclosed / Not Enclosed
(To be submitted only in case


where material transaction is


involved)

Signature of Contractor with Seal    





AGM (WEX)

Contd…(2)
: 2 :

11. No.of Workers including Supervisors    
 : _____________________
on the rolls of the firm 

12.    Earnest Money Deposit


  
 : Rs. -----------------------------
        a) D.D. Number & Date


 
 :  -------------------Date-------------
        b) Drawn  on (Bank)



 :  --------------------------------------
13.
Any other relevant information

  :---------------------------------------
14.
Tender Cost




  :  Rs. -------------------- 


D.D.No.





  :  -------------------------

15.
Validity of offer



 
  : 90 days from the date of 







    tender Opening.

16.     Blank Price bid format


  
  :  Enclosed/Not Enclosed

We will fulfill all the obligations of the contractor and abide by the Terms & Conditions mentioned in the enquiry.

                                                                          Signature with Name

                                                                                & Office Seal

Date:


NOTE : TECHNICAL BID AND PRICE BID SHOULD BE SUBMITTED IN SEPARATE SEALED ENVELOPS. IN CASE THE BIDS ARE FOUND IN ONE SINGAL ENVELOPE THEN THE “BIDS” ARE LIABLE TO BE REJECTED.  

I/We agree with the above

Signature of Contractor with Seal
    



      AGM (WEX)

Annexure ‘H’
PRICE BID
TENDER NO WEX/TE/2/17


    


          DATE: 22.01.2013
Name of Work - “Environmental Tests for OHSAS 18001 in BHEL Jhansi”
PRICE BID

a.
Name of the firm




:

b.
Name of the proprietor/partners

:

c.
Address and contact nos


:

d.
Price offer on work measurement basis     :

	Sl.No
	JOB/ACTIVITY
	UNIT OF MEASURE-MENT

(Nos./ Kgs./Mtr./ words etc.
	QUANTUM OF WORK ANNUAL/ Monthly
	RATE QUOTED/UNIT (No.)
	TOTAL VALUE (E=C*D)

	
	A
	B
	C
	D
	E

	1
	Boiler Stack Monitoring
	Nos.
	04 
	 
	 

	2
	Ambient Work Place Monitoring
	Nos.
	08
	
	

	3
	Factory Oxidation Pond Discharge Report 
	Nos.
	04
	
	

	4
	Township Oxidation Pond Discharge Report  
	Nos.
	04
	
	

	5
	Environmental Audit Report
	Nos.
	01
	
	

	6
	Fiber Glass Dust
	Nos.
	08
	
	

	7
	M.S. Welding Fumes
	Nos.
	16
	
	

	8
	Soldering Fumes
	Nos.
	08
	
	

	9
	Ammonia Fumes
	Nos.
	04
	
	

	10
	Exhaust of  Vacuum Pump
	Nos.
	08
	
	

	11
	Noise Level
	Nos.
	40
	
	

	12
	Intensity of  Light
	Nos.
	40
	
	

	13
	Saw Dust (R.S.P.M.)
	Nos.
	04
	
	

	14
	Boiler Dust (R.S.P.M.)
	Nos.
	04
	
	

	15
	DG Set Stack
	Nos.
	08
	
	

	16
	Drinking Water Test
	Nos.
	08
	
	

	
	Sub Total
	
	
	
	

	
	Service Tax  @ 12.36%
	
	
	
	

	
	Grand Total
	
	
	
	


Signature of Contractor with Seal   

        



   AGM (WEX)

NOTE / CONDITIONS FOR PRICE BID
1.
TECHNICAL BID AND PRICE BID SHOULD BE SUBMITTED IN SEPARATE SEALED ENVELOPES. IN CASE THE BIDS ARE FOUND IN ONE SINGLE ENVELOPE THEN THE SAME ARE LIABLE TO BE REJECTED.

2.
ALL THE BLANK SPACES IN PRICE BID FORMAT SHOULD BE FILLED BY THE CONTRACTOR.

3.
IF ANY OTHER ADDITION IS MADE OR ANY CONDITION IS ADDED BY THE BIDDER IN THE PRICE BID FORMAT THEN THE OFFER SHALL BE BY-PASSED.

I/We agree with above and all other terms & conditions of the contract.

Date: -----------------


    

 Name & Signature with Office Seal

Signature of Contractor with Seal          


  
AGM (WEX)

Annexure ‘I’
BLANK PRICE BID
TENDER NO WEX/TE/2/17


    


          DATE: 22.01.2013
Name of Work - “Environmental Tests for OHSAS 18001 in BHEL Jhansi”
	Sl.No
	JOB/ACTIVITY
	UNIT OF MEASURE-MENT

(Nos./ Kgs./Mtr./ words etc.
	QUANTUM OF WORK ANNUAL/ Monthly
	RATE QUOTED/UNIT (No.)
	TOTAL VALUE (E=C*D)

	
	A
	B
	C
	D
	E

	1
	Boiler Stack Monitoring
	Nos.
	04 
	-----------
	------------

	2
	Ambient Work Place Monitoring
	Nos.
	08
	-----------
	------------

	3
	Factory Oxidation Pond Discharge Report 
	Nos.
	04
	-----------
	------------

	4
	Township Oxidation Pond Discharge Report  
	Nos.
	04
	-----------
	------------

	5
	Environmental Audit Report
	Nos.
	01
	-----------
	------------

	6
	Fiber Glass Dust
	Nos.
	08
	-----------
	------------

	7
	M.S. Welding Fumes
	Nos.
	16
	-----------
	------------

	8
	Soldering Fumes
	Nos.
	08
	-----------
	------------

	9
	Ammonia Fumes
	Nos.
	04
	-----------
	------------

	10
	Exhaust of  Vacuum Pump
	Nos.
	08
	-----------
	------------

	11
	Noise Level
	Nos.
	40
	-----------
	------------

	12
	Intensity of  Light
	Nos.
	40
	-----------
	------------

	13
	Saw Dust (R.S.P.M.)
	Nos.
	04
	-----------
	------------

	14
	Boiler Dust (R.S.P.M.)
	Nos.
	04
	-----------
	------------

	15
	DG Set Stack
	Nos.
	08
	-----------
	------------

	16
	Drinking Water Test
	Nos.
	08
	-----------
	------------

	
	Sub Total
	
	
	-----------
	------------

	
	Service Tax  @ 12.36%
	
	
	-----------
	------------

	
	Grand Total
	
	
	-----------
	------------


Signature of Contractor with Seal   

          



 AGM (WEX)

[image: image1.wmf]Annexure ‘J’
       GENERAL TERMS & CONDITIONS AND CONTRACTOR’S OBLIGATIONS
1.0
a.    Stamp Duty: Contractor should deposit stamp duty on security deposit as per Stamp Duty Act of Govt. Of UP / India.
            b.     Party should have Sales Tax Registration No.(TIN No.)

2.0 
GENERAL TERMS AND CONDITIONS :-

2.1 
In case of non satisfactory performance of the contract, BHEL shall have a right of      forfeiting the security deposit. In case of any dispute, decision of concerned Head of the Department will be final.
2.2   
The Contractor shall compensate BHEL for any loss or damage to the plant/property, material of BHEL due to his negligence or otherwise during execution of work.
2.3  
In the event of contractor abandoning the work or BHEL revoking the contract BHEL shall      have a right to get incomplete work completed at contractor’s risk and cost. BHEL shall have a right to terminate the contract at any time without assigning any reason thereof.
2.4   
The contractor shall deposit an amount of Rs... as security deposit  in the manner as prescribed under Clause 8.2 of Works Policy of BHEL. This security deposit shall be liable to be returned to contractor after termination of contract and fulfillment of contract and statutory obligations. 
2.5 
Security deposit will be released on submission of following certificates from departments mentioned as under:-

a.   Completion of said contract and payment of final bill duly certified by the department   concerned.

b. No-dues certificate regarding service tax payment, and any other dues liable to be remitted by contractor under  financial laws,  to Finance department.

2.6 

The successful Tenders / contractor has to sign to formal agreement with AGM (WEX) BHEL – Jhansi on Non Judicial Stamp Paper of Rs. 100/- (Rupees One Hundred Only)  which will remain valid for the period of contract.

3.0       Notwithstanding anything contained in this Agreement, the contract may be terminated by BHEL without assigning any reason thereof by giving a notice of 15 days to the contractor. 

4.0      The contract will commence on ----------- (date) and will remain valid for a period of …………year(s) i.e. till -------------(date).  The parties reserve the right to extend the contract on mutually agreed terms and conditions.
5.0         SETTLEMENT OF DISPUTE/JURISDICTION/ARBITRATION ETC.:-
5.1         BHEL RESERVE THE FOLLOWING RIGHTS
a. 

To evaluate the bid as per BHEL policy and Govt. guidelines including CVC/Vigilance guidelines by the tender committee duly constituted by BHEL Management. The decision of BHEL, Jhansi Management or Tender committee duly approved by competent authority shall be final and binding to bidder.
b.  
  Accept/Reject any or all tender fully or partly without assigning any reason there of. Contractor should not have been blacklisted and/or suspended from business by any BHEL Unit/region continuously for one year or more. The contractor whose suspension from business or delisting from contractor’s list has been removed/withdrawn by the concerned BHEL Unit on or earlier to tender due date, shall become eligible to qualify for this tender. Blacklisted contractor may become eligible  only after expiry of blacklisting period on tender due date if blacklisting is not permanent. Tenderer has to give self-declaration or certificate from BHEL sister units in this regard. Any declaration/certificate found/detected to be false at a later date shall lead to cancellation of the contract forthwith apart from other penal action that BHEL may impose.
c.  
The tenderer should not have been held guilty by a Court of Law in India            for any offence involving fraud, dishonesty and moral turpitude. Declaration    to that effect must be submitted alongwith the offer.
5.2    CONFIDENTIALITY 


The parties agree & acknowledge that in the course of their discussions and interaction, BHEL may disclose information of confidential proprietary nature relating to its business, products, know-how, technology, customers, employees and financial to the contractor. Such information shall be considered as confidential. The contract agrees to keep it confidential & secret at all times and not directly or indirectly disclose to any party other than its employees and authorised personnel’s strictly on a need know basis, without the prior written permission of BHEL.

5.3    SUSPENSION 


BHEL reserves the right to suspend performance of any or all of its obligations under the contract.  Such notice shall specify the obligation of which performance is to be suspended, the effective date of the suspension and the reasons therefore. The Contractor shall thereupon suspend performance of such obligations until ordered in writing to resume such performance by the same authority that ordered for suspension.



I/we agree with the above


     

Signature of contractor with Seal




AGM (WEX)
5.4   TERMINATION OF CONTRACT 


BHEL reserve the right to terminate the contract at any time during the validity period on account of non fulfillment of contract condition, adverse feedback regarding quality of services rendered, indulgence in unethical practices or questionable integrity.
5.5   JURISDICTION

Any matter of dispute arising out of or in connection with this contract shall be under jurisdiction of Jhansi Court only.  
5.6    ARBITRATION :-
Any dispute(s) or difference (s) arising out of or in connection with the contract shall, to the extent possible in the first instance be resolved amicably between the contractor and BHEL.


In   case  a  dispute  is  not  resolved,  the  same  shall  be referred 
for conciliation by an officer of BHEL. In case, it still remains unresolved, the dispute will be referred for arbitration by an officer of BHEL. (In case arbitration by an officer of BHEL’s is not acceptable, 
the same could be entrusted to any mutually agreeable common functionary or an independent person). The arbitrator will give his award within a shortest period. The award of the arbitrator shall be final, conclusive and binding on both parties.

The   arbitration   proceeds   shall  be conducted in accordance  with “Indian  Arbitration   and   Conciliation   Act  1996 or any statutory modification there of language of the arbitration proceedings shall be in English. The venue of Arbitration shall be Jhansi, India. The court of Jhansi shall have exclusive jurisdiction.

6.0 Security Deposit.

6.1 Security Deposit should be collected from the successful tender. The rate of Security Deposit will be as below:

- Up to Rs.10 lakhs
: 10%

- Above Rs.10 lakhs up to Rs. 50 lakhs : Rs. 1 lakh + 7.5 % of the amount exceeding    

   Rs. 10 lakh.

- Above 50 lakhs  : Rs. 4 lakhs + 5 % of the amount exceeding Rs. 50 lakhs.

   
  The security deposit will be collected before start of the work by the contractor.

6.2 Security Deposit may be furnished in any one of the following  forms.
i.       Cash (as permissible under the Income Tax Act)

ii.       Pay Order, Demand Draft in favour of BHEL,Jhansi

iii. Local cheques of scheduled banks, subject to realization.

iv.        Securities available from Post Offices such as National Saving Certificates, Kisan Vikas Patras etc. (Certificates should be held in the name of contractor furnishing the security and duly pledged in favour of BHEL, Jhansi and discharged on the back).

v.  Bank Guarantee from Scheduled Banks/Public Financial Institutions as defined in the 

Companies Act. The Bank Guarantee format should have the approval of BHEL, Jhansi.
vi.          Fixed Deposit Receipt issued by Scheduled Banks/ Public Financial Institutions as 

defined in the Companies Act. The FDR should be in the name of the contractor, A/C 
BHEL Jhansi, duly discharged on the back.
vii.       Security deposit can also be recovered at the rate of 10% from the running bills. However in such cases at least 50% of the Security Deposit will be collected before start of work and the balance 50% may be recovered from the running bills.

(Note: In case of small value contracts not exceeding Rs. 10 Lakhs and all SAS jobs, work can be started before Security Deposit is collected. However, payment can be released only after collection/ recovery of initial 50% Security Deposit).
viii. EMD of the successful tender can be converted and adjusted against the security deposit.  
ix. The Security Deposit shall not carry any interest.

Note: Acceptance of the Security Deposit against SL No (iv) and (vi) above will be subject to hypothecation or endorsement on the documents in favour of BHEL, Jhansi. However BHEL, Jhansi will not be liable or responsible in any manner for the collection or interest or renewal of the documents or in any other matter connected therewith.
  I/we agree with the above

   
   Signature of contractor with Seal 


     

               AGM ((WEX)







40
7

