OBT DC MOTOR REPAIR Tender-final scope

BHARAT HEAVY ELECTRICALS LIMITED

RAMACHNADRAPURAM:: HYDERABAD- 502 032

Website:  www.bhel.com
                       Name of the Department inviting tender bids :
 M&S (Planning & Co-Ordination)

EXECUTING DEPT:  BALANCING TUNNEL – TESTING DEPARTMENT
NOTICE  INVITING TENDER

Dt: 24th    November 2008
TENDER NIT :   M&S/P&C/2008/40
Sealed tenders in two bids (Techno commercial & Price bids) in a sealed cover, superscribing the tender notice number, tender date, name of the work and due date of tender opening will be received by the undersigned from the contractors satisfying the prequalification requirements indicated below and will be opened at 13.30 hrs on the due date itself in the presence of tenderer’s or their authorized representatives in Finance   Department, BHEL, Ramachandrapuram, Hyderabad.
1.  Name of the Work    : 
REPAIR OF 1300 KW , 550 volts  DC MOTOR AND SPARE  ARMATURE  IN BALANCING TUNNEL ( TESTING DEPARTMENT)  .
2.    Approximate Estimated value of work
:    

3     Sale / Closure of Tenders
                        :   12.12.2008   
4.    Last date for receipt of tender

:  13.12.2008 

5.    Date and time of tender opening

          ( Date and time)


            : 13.12.2008  at 13.30 HRS
6.   Period of completion

(Duration of the Contract)

: THREE MONTHS for K-3231  &  6 WEEKS  for K-3232
7.  EMD                  :


 Rupees 60,000/- 

8.  Cost of the Tender Notice

:   Rs250/-   ( Non Refundable)

FIRM ADDRESS OF NIT OFFER SUBMITTING AGENCY:                                                    

( G.Janardhan Rao)

SR.MANAGER/M&S(P&C)

TELEPHONE NO. 040 23182739

FAX NO. 040 – 23020185

email id: gjrao@bhelhyd.co.in

TENDERING PROCESS

A. Tender box is kept in 02 Annexe Ground floor  M&S (P&C Section) of BHEL, R.C.Puram, Hyderabad – 502 032; tenders can be dropped    before the due date & Time

B. The bids shall be submitted in two parts.

1. Technical & Commercial Bid.       2.
Price   Bid.

a) Technical & Commercial Bid:  The envelop shall contain the Technical & Commercial Bid as per the enclosed technical bid proforma with relevant documents like copies of   PAN No, & Experience, turnover  Saral ( IT) along with Profit & Loss  account copies duly  certified by tax consultant / CA  for the past  3 previous years ( TO MEET TURNOVER POINT).  Tender cost & EMD.  The envelop shall be super scribed “Technical bid    ------  ( name of work) & NIT no, name of the firm
b) The second envelope shall contain only the price bid to be quoted   Actual or approximate on any account.    Any other information in the price bid shall not be considered and the quotation is likely to be rejected.  The envelope shall be sealed and super scribed “Price Bid”       -----    ( name of work) & NIT no, name of the firm .
c) above two envelopes shall be kept into another sealed cover.   price bid document shall be signed by the tenderer at the bottom of the page. The cover shall be super-scribed with Quotation for -  ( name of work )”   and shall be addressed to Manager / M&S( P&C), 02 Annexe Ground Floor, Bharat Heavy Electricals Limited, Ramachandrapuram, Hyderabad – 502 032   to reach on or before by 11.00hrs on due date     and it should appear   from address, Tender No.                          &   Tender due date:
C. The requisitions for tender documents can  be sent to Sr.Manager/ M&S(P&C), 02 Annexe Ground Floor, BHEL, Ramachandrapuram, Hyderabad – 502 032 along with Demand Draft / Bankers Cheque for Rs.250/- drawn in favor of “Bharat Heavy Electricals Limited, Hyderabad” payable at Hyderabad or  cash receipt obtained   after   payment made in  BHEL cash office.  No other mode of payment will be accepted.

D. Tender documents may be  download from our website:http://www.bhel.com / Tender Notifications --- tender cost is applicable.    The  tender  documents cost of  Rs.250/- should be by way of demand draft  or   Bankers Cheque or BHEL  Cash receipt,       should be attached with  technical bid.  
E. BHEL is not responsible for any postal delay in receiving of bids.  The tenders will be opened in BHEL R.C.Puram Hyderabad- 32 on tender due date at 13.30hrs in presence of those tenderer who choose to be present.

F. Date of opening of price bids will be intimated to  qualified  agencies after technical scrutiny. 

G. The technical bid consists of technical schedule requiring documentary proof.    In case the agency has not satisfied all the conditions along with documentary proof, the tender will be rejected.

H. Tenders received mixed with both technical & Price bid documents with out individual envelope, shall be rejected.
I. Lowest offer will be decided on   the basis of total  cost to BHEL. 
J. EMD:    by way of Demand Draft / Bankers  Cheque  should be in favour of M/s BHEL
K. Work experience documents:   Contractor  should be able to produce  1/2/3   work experience certificates obtained in the last 7 years from any reputed organization for value indicated in the pre qualification.
 Tender cost / EMD  can  be deposited  in cash at BHEL Cash office;  Cash office timings:   09.30 AM to 11.30 AM &   1.30 PM to 3.30 PM

PRE QUALIFICATION  for bidding : 

I.
The following conditions have to be satisfied by the tenderer, with documentary proof to be enclosed   with tender bid In case the agency fails to enclose the following documentary proof with tender the tender will be liable for rejection.

A)   
For Electrical/Mechanical Works:

i). Average Annual financial turnover during the last 3 years, ending 31s March of the previous financial  year (07-08), should be at least 30% of the estimated cost.

ii). Experience of having successfully completed similar works during last 7 years     ( between 2001-2008)  in which applications are invited should be either of the following:-

a) Two   works   ( 750 KW DC Motor  repair  works )   completed works  - 

                      QUALIFYING CONDITIONS ARE OUTLINED IN POINT 6

iii). STATUTORY CODES:  

a)  PAN  No.  (in case not available, proof of having applied with   

     acknowledgement from concerned authorities)

b) Service Tax

c) VAT/ TIN

NOTES:

1 Period of contract  shall be as mentioned in NIT 6 Months.

2. Techno commercial  bids will be scrutinized with in a shortest possible time.  In case the  agency has not satisfied all the above conditions with documentary   proof, a chance will be given to submit missed documents otherwise the bid is liable to be rejected and their price bid will not be opened.

3. In case of a firm, shall be in the name of the firm.   However in case of sole proprietor or individuals these can be on the name of the sole proprietor or individual.

4. All the columns shall be filled with proper information   

5.    BHEL  reserves the right to reject or cancel the tender at any stage of the tender process   without assigning any reasons there of.

6.  The agencies are advised to visit the work site to understand the nature of    work /  quantum of work in its true perspective to avoid any complications in future .

Contractor signature

	[image: image1.png]




	BHARAT HEAVY ELECTRICAL LIMITED
RAMACHANDRAPURAM :: HYDERABAD 502 032.
	Enquiry No.
	 M&S/P&C/2008/40

	
	
	Due Date :
	 13.12.2008

	HYDERABAD
	UNIT'S PHONE NOS.  040 23182559   / 040 23182739( M&S/ P&C)
	Contractor Qtn. No.:
	 

	
	CONTACT PERSON'S NAME/DESIGN./PHONE NO./E-MAIL 

T.Santosh Kumar/ Sr.Manager/ Testing  - 71 Bldg; santosh@bhelhyd.co.in 
	Date :
	 

	SPECIFICATION FOR REPAIR OF 1300 KW, 550V DC MOTOR AND SPARE ARMATURE

	OF OLD BALANCING TUNNEL AT BHEL, HYDERABAD
(HY/T/6036/08/OBT/DCM/REPAIR)

	
	NOTE:-

	
	1. Contractor must submit complete information against clause no. 6. The offer meeting this clause would only be processed.

	
	2. The "Offered" Column and where applicable, the "Deviations" & "Remarks" Column of this format shall be filled in by the Contractor and submitted along with the offer.  Inadequate / incomplete, ambiguous, or unsustainable information against any of the clauses of the specifications/requirements shall be treated as non-compliance.

	
	3. The offer and all documents enclosed with offer should be in English language only.

	

	ADDRESS OF THE CONTRACTOR :
	ADDRESS OF THE LOCAL AGENTS :



	TELEPHONE NOS.:
	TELEPHONE NOS.:



	FAX NOS.:
	FAX NOS.:



	E-MAIL ADDRESS :
	E-MAIL ADDRESS :



	SCOPE: REPAIR OF 1300 KW, 550V DC DRIVE MOTOR AND SPARE ARMATURE AS PER SPECIFICATION GIVEN HERE UNDER.


	1.0
	PURPOSE OF THE EQUIPMENT:

	Specified/ confirmed by
	Offered 
	Deviations 
	Remarks 

	1.1
	This DC Motor is used for rotating jobs under high speed dynamic balancing. The High Speed Vacuum Balancing Facility is used for balancing of Steam Turbines, Gas Turbines, Compressors, Turbo Generators, Exciters, Blowers etc. at works of BHEL, RC Puram, Hyderabad.

This DC Motor is powered thru’ Thyristor controlled drive to achieve step less speed control of the job under balancing.
	
	 
	 
	 

	1.2
	This DC Motor has one spare Armature. The (active) faulty armature (K-3231) is taken out & presently the motor is run with spare Armature (K-3232) with faulty commutator segments isolated.

	
	
	
	

	2.0
	SPECIFICATION OF THE DC MOTOR:


	 
	 
	 
	 

	2.1
	Type : EE128-30-8T
MODEL : 1964 ; TH II – CSN345182

KW : 1300
Armature Voltage : 550

Armature Current : 2550A

Speed : 750 / 1000 RPM

Direction : Bi directional

Excitation : 220/100V

                   16/8 Amps

Weight of the Armature (rotor): 15000 Kgs (approx.)
Length of the rotor : 3300mm (flange to flange)
Max. Diameter of the rotor : 1260mm
	
	 
	 
	 


	3.0
	SCOPE:
	Specified/ confirmed by
	Offered 
	Deviations 
	Remarks 

	3.1
	a ) The broad scope of this tender includes repair / rewinding of the Armature (Identification No. K-3231), Dynamic Balancing & Testing, Overhauling (at site) of the main field winding, compensating winding & Inter-pole winding, replacement of repaired Armature into the existing Motor after removing the existing Armature (K-3232), solo running & load testing upto rated speed and handing over for regular operation.
	 Contractor
	 
	 
	 

	3.2
	b) Repair of the Spare Armature (Identification No. K-3232), Dynamic Balancing & Testing.
	Contractor
	
	
	

	4.0
	Detailed Scope :
	Specified/ confirmed by
	Offered 
	Deviations 
	Remarks 

	4.1.0
	Portion I –

REPAIR OF ARMATURE (K-3231)
	
	 
	 
	 

	4.1.1
	Packing & Transportation :
	
	
	
	

	
	The disassembled armature should be packed with due care, shifted and transported to the contractors works. The transit insurance will be in BHEL’s scope.
	Contractor
	
	
	

	4.1.2
	Winding Portion :                                            
	 
	 
	 
	 

	
	a) Removal of Old Winding. ---

b) Ensuring healthiness of armature core & repair core if necessary.

c) Manufacturing of New Coils with class ‘H’ conductors and class ‘H’ insulation.

d) Varnishing with class ‘H’ varnish & baking.

e) IR Value measurement, High Voltage test & IT on each coil before brazing ---- Inspection by BHEL representative.

f) Brazing of coils to the raisers with 30% silver brazing rods.

g) old copper can be retained by contractor, no need to return to  BHEL
	Contractor
	 
	 
	 

	4.1.3
	Commutator Portion :                                           
	 
	 
	 
	 

	
	a) Complete dismantling of Double Commutators.

b) Replacement of Flexible Mica rings and hub.

c) Replacement of Hard Mica between Segments.

d) IR value measurement, Inter-segment Insulation test & High Voltage test on finished Commutator – Inspection by BHEL representative.
	Contractor
	 
	 
	 


	4.1.4
	Acceptance Tests :
	
	 
	 
	 

	
	a) Dynamic Balancing 

b) IR value measurement

c) High voltage Test –

d) Drop Test of the Winding
The above tests will be witnessed by BHEL representative.
	Contractor
	
	
	

	4.1.5
	Shifting of Armature to BHEL after repair / rewinding and successful testing at contractor’s works as in 4.1.4 above. Transit Insurance will be in BHEL’s scope.
	Contractor
	
	
	

	4.1.6
	Removal of electrical connections of the Existing Armature including commutator brushes & holders and disassembly from the stator at site. (Identification K-3232) 
	Contractor
	 
	 
	 


	4.1.7
	Overhauling of the Yoke :
	Specified/ confirmed by
	Offered 
	Deviations 
	Remarks 

	
	Cleaning of Mainfield, Interpoles, compensating windings with TCE or thinner, drying of windings, heating of windings for improvement of IR values, application of varnish and Epoxy Gel coat to the windings and drying of windings. Cleaning of Mainfield body, terminal board, checking the resistance and IR values of Mainfield, Interpoles and compensating windings.
	Contractor
	
	
	

	4.1.8
	Assembly and electrical connections of the repaired armature (K-3231) in the stator at site. Neutral axis setting with K-3231.
	Contractor
	 
	 
	 

	4.1.9
	Solo running and load test of the Motor upto rated speed.
	Contractor
	 
	 
	 


	4.2.0
	Portion II–

REPAIR OF ARMATURE (K-3232)
	Specified/ confirmed by
	Offered 
	Deviations 
	Remarks 

	4.2.1
	Packing & Transportation :
	
	
	 
	

	
	The disassembled armature should be packed with due care, shifted and transported to the contractors works. The transit insurance will be in BHEL’s scope.
	Contractor
	
	
	

	4.2.2
	Commutator Portion :                                           
	
	
	
	

	
	Repair of faulty commutator.
	Contractor
	
	
	

	4.2.3
	Acceptance Tests :
	
	
	
	

	
	a) Dynamic Balancing

b) IR value measurement

c) High Voltage Test before brazing to Armature Winding.

d) Drop Test of the winding.

BHEL representative will witness tests at a, b & d above.
	Contractor
	
	
	

	4.2.4
	Shifting of Armature to BHEL after repair / rewinding and successful testing at contractor’s works as in 4.2.3 above. The transit Insurance will be in BHEL’s scope.
	Contractor
	
	
	

	
	
	
	
	
	


	5.0
	Performance Guarantee : 

Guarantee regarding workmanship, materials used, and performance should be for a period of 12 months from the date of commissioning and acceptance.
	Contractor
	
	
	

	6.0
	QUALIFYING CONDITIONS/ REFERENCE LIST:


	Specified/ confirmed by
	Offered 
	Deviations 
	Remarks 

	6.1.0
	Only those Contractors, who have repaired and commissioned at least TWO (BHEL has right to relax this at it’s discretion) DC Motors of 750 KW or above rating (On the Date of Opening of tender) and such DC Motors are presently working satisfactorily after commissioning (On the Date of Opening of tender), should quote. However, if referred DC Motor has/had been repaired & commissioned in BHEL, then referred DC Motor should be presently working satisfactorily for more than six months after its commissioning and acceptance (On the Date of Opening of tender) in BHEL. Contractors shall furnish details of such customers with contact person/s’ details and also order copies. This is required from all the Main Vendors for qualification of their offer.


	Contractor
	 
	 
	 

	6.1.1
	1. Name of the customer- I / company- I where referred DC Motor is installed.                                     
	Contractor to inform.
	 
	 
	 

	
	2. Complete postal address of the customer- I.
	Contractor to inform.
	 
	 
	 

	
	3.  Month and year of commissioning / repair.      
	Contractor to inform.
	 
	 
	 

	
	4. Rating & details of the Motor repaired.
	Contractor to inform.
	 
	 
	 

	
	5. Name and designation of the contact person of the customer.
	Contractor to inform.
	 

 
	 

 
	 

 

	
	6. Phone, FAX no. and email address of the contact person of the customer.
	
	
	
	


	6.1.2
	1. Name of the customer- II / company- II where referred DC Motor is installed.                                     
	Contractor to inform.
	 
	 
	 

	
	2. Complete postal address of the customer- II.
	Contractor to inform.
	 
	 
	 

	
	3.  Month and year of commissioning / repair.      
	Contractor to inform.
	 
	 
	 

	
	4. Rating & details of the Motor repaired.
	Contractor to inform.
	 
	 
	 

	
	5. Name and designation of the contact person of the customer.
	Contractor to inform.
	 
	 
	 

	
	6. Phone, FAX no. and email address of the contact person of the customer.
	Contractor to inform.
	 
	 
	 


	6.2
	Performance certificates from any one the above customers regarding satisfactory performance of DC Motor after repair. (Original certificate or Through E-mail directly from the customer).The Original performance certificate may be returned after verification by BHEL, if required.


	Contractor to submit.
	 
	 
	 

	6.3
	BHEL reserves the right to verify the information provided by Contractor.  In case the information provided by Contractor is found to be false/incorrect, the offer shall be rejected.


	Contractor to accept & confirm.
	 
	 
	 


	7.0
	DELIVERY
	Specified/ confirmed by
	Offered 
	Deviations 
	Remarks 

	7.1
	Portion I : 12 Weeks from the date of issue of LOI.
	Contractor to accept & confirm.
	 
	 
	 

	7.2
	Portion II : 6 Weeks from the date of issue of spare Armature.

After successful performance of the repaired armature (K-3231) & yoke, the second armature ( K-3232) will be issued for repair
	Contractor to accept & confirm.
	
	
	


	8.0
	ERECTION & COMMISSIONING
	Specified/ confirmed by
	Offered 
	Deviations 
	Remarks 

	8.1
	Contractor to take full responsibility for-

1) Carrying out the disassembly, transportation & assembly of Armatures K-3231 & K-3232.

2) Service requirement like power (3 phase, 415 V, 50 Hz), compressed air (at 6kg/cm.sqr.) & water shall be provided by BHEL. 

3) Lifting tackles and tools for dismantling, assembling and moving the armatures from & to site will be in contractor’s scope. There is no Crane facility in the DC Motor room.

4) Other Instruments and equipment required to carry out all above activities should be brought by the contractor.

5) Any other requirement which is not explicitly stated in this document shall be in contractor’s scope.

6) Charges, duration, terms & conditions for E&C should be furnished in detail separately by contractor along with offer.
	Contractor to accept & confirm.
	 
	 
	 


	9.0
	IMPORTANT NOTES :
	Specified/ confirmed by
	Offered 
	Deviations 
	Remarks 

	9.1
	Contractors are advised to visit the site (before quoting) and inspect the jobs to assess the extent of repair and quantum of work.
	Contractor to accept & confirm.
	
	
	

	9.2
	This is an indivisible Contract & only those contractors / vendors who quote for the complete job will be considered. 

The Total cost will be considered for evaluation of bids.
	Contractor to accept & confirm.
	
	
	

	9.3
	Contractor shall submit detailed quality plan, for approval by BHEL, indicating the stages of repair and inspection by BHEL.
	Contractor to accept & confirm.
	
	
	

	9.4
	The cost of all inspection visits of BHEL representatives will be loaded for arriving at the cost of repair.
	Contractor to accept & confirm.
	
	
	

	9.5
	Scrap copper shall be retained by the contractor and shall be taken into account while quoting for repair / rewinding.
	Contractor to accept & confirm.
	
	
	

	9.6
	No Accommodation / transportation will be provided by BHEL.
	Contractor to accept & confirm.
	
	
	

	9.7
	The contractor shall submit the price bid as per the format duly indicating item wise taxes wherever applicable.
	Contractor to accept & confirm.
	
	
	


Contractor signature    
ANNEXURE-II

Name of work                   :  REPAIR OF  1300 KW DC MOTOR K 3231   and spare armature  K-3232 
TECHNO COMMERCIAL PART 



Description


                                         Contractor’sAcceptance/ Remarks.

	1
	 Acceptance of Completion Time   in  6  months
	

	2
	Validity:  Minimum 90 days from technical bid opening date.
	

	3
	EMD  Rs60,000/-    Bankers cheque  DD   Details  ( Clause 27 ) 
	

	4
	Tender cost Rs 250/-   BHEL Cash receipt / bankers cheque/ DD   details 
	

	5
	Security Deposit clause:     acceptance ( Details see under terms and conditions clause 28 )
	

	6
	PAN No:
	

	7
	Service Tax Regn  No:  ( if applicable) 
	

	8
	VAT  Registration No:

Percentage should be mentioned here 

whether  your offer is inclusive or exclusive of Value Added  Tax
	

	9
	Price quoted 

Confirm  whether quoted rate is inclusive of taxes and duties or not.

The tenderer should indicate clearly nature of tax and rate of tax quoted in the price bid, 

 to avail credits by BHEL  such as 

a) Service Tax
b) Value Added  Tax

Unit rate and amount  is  to be filled for all  items  in the price schedule. 
	

	  10
	PAYMENT TERMS:
Progressive   payment for each job  after acceptance of repaired motors  by BHEL.   Bill should be entered in measurement book with all details. Release of payment may take about 30 days from certification by testing department.
	

	  11
	No advance payment
	

	  12
	PENALTY:  0.5% of the contract value per week or part thereof upto a maximum of 10% of the contract value shall be levied beyond the scheduled completion time.
	

	    13
	Decision of BHEL Representative shall be final in the matter of inspection at any stage
	

	14
	All items will be carried out as per   Price bid  Annexure-I 
	

	15
	Annual turnover  during last 3 years 

07-08

06-07

05-06


	


General  Instructions/  Obligations of the Contractors :

1. If the tender is made by an individual, it shall be signed with his full name and his address shall be furnished.  If it is made by firm, it shall be signed with the co-partnership name by a member of the firm, who shall also sign his own name, also furnish the name and address of each member of the firm.  If the tender is made by a corporation, it shall be signed by a duly authorized Officer who shall produce with the tender, satisfactory evidence of his authorization.  Such tendering corporation/firm is required to furnish evidence of its existence along with bid.

2. The EMD will be refunded to the unsuccessful Tenderers on application after rejection of the tender is intimated.  The earnest money will be retained in the case of the successful tenderers and either of the cases will not carry any interest.  It will be dealt with as provided in the conditions attached to the tender.

3. Whenever a tender is to be accepted, the tenderer, whose tender is under consideration, shall attend the Office of " Officer Inviting the Tender " on the date fixed by written intimation to him.  He shall forthwith, upon intimation being given to him by the " Officer Inviting the Tender "  for acceptance of his tender, complete the execution of the agreement by signing all documents connected therewith.  Failure to do so and not to commence the work within one month from the date of intimation, shall entail forfeiture of the earnest money.

4. Tenderers shall persue carefully the instructions and directions to the parties given in the tender document and the conditions there of and all other relevant documents before quoting the rates for the work.  The approximate quantity of work to be executed under each class is given in the schedule.  The quantities are given with a view to enable tenderer to quote his overall rate for each class of work in the tender form and for an uniform comparison of tenders.  It shall be definitely understood that the schedule is liable to alterations at the discretion of accepting authority.

5. Tenderers shall keep the offer valid for a period of 90 days from the date of opening of tender.  After submitting the tender, he will not recall his offer or modify the terms and conditions thereof.  Should the tenderer fail to observe or comply with the foregoing stipulations, the EMD shall be forfeited.

6. Tenderers have to quote their rates in the tender schedule legibly written in figures,  if not submitted in proper form NIT is  liable for rejection.

7. The submission of tender shall be strictly in accordance with the terms and conditions stipulated in this tender notice.  No counter conditions will be acceptable or valid.

8. Contractor shall be deemed to have included in his tender price of all the plant, machinery and appliances required for the purpose of all operations connected with the work embraced under the contract to secure a satisfactory quality of work and rate of progress which in the opinion of the " Contract Signing Officer" will ensure the completion of the work within the time specified.

9. BHEL is having every right to split the schedule and to award the work to single or many parties on the lowest offered rates basis.

10. This is a time bound contract for period mentioned, and does not envisage any extension of time / period.

11. The rates quoted by the contractor should be firm for the contract period.  There shall be no revision in contract rates during the period of the contract.  Any increase of statutory levies during the period of the contract will be reimbursed on production of relevant proof of incurring expenditure for the same.

12. BHEL reserves the right to negotiate for price reduction with L1 party and negotiated price will be considered as contract amount for all practical purposes.

13. BHEL reserves the right to terminate the contract at any stage without assigning any reason.

14. tender should be dropped  in tender box if by post  sealed cover should be addressed to the SrManager/ M&S(P&C) and duly super scribed with the tender number, tender date, name of the work and due date of tender opening on the envelope. The tenders will be opened on tender due date at 13.30 Hrs in presence of those tenders who choose to be present at finance department, BHEL, Ramachandrapuram, Hyderabad.

15. The contractor must have phone facility at his office/ residence or cellular phone for proper communication.

16. Contractor is wholly responsible for injuries/ death of the person employed by him arising due to accident during the contractual period. At any point of time BHEL will not be responsible for any loss/ damage to the person arising out of accident for performing the contractual obligations.

17. Withdrawal from contract during contract period in BHEL  will entail forfeiture of security deposit.

18. Soon after acceptance of tender the contractor shall enter into a contract with BHEL, Ramachandrapuram,  Hyderabad.

19. The contract agreement shall be entered with BHEL, Ramachandrapuram,  Hyderabad on valid non judicial stamp paper of the value of Rs100/- to be purchased by the contractor at his own cost.

20. Any dispute arising out of this contract should be referred to the sole arbitration of General Manager/ M&S of BHEL, Ramachandrapuram, Hyderabad-502 032 or his authorized representative whose decision shall be final and binding on both the parties.

21. In case of any suit or other legal proceeding arising out of and relating to the  contract to be entered into  the courts at  Hyderabad/ Secunderabad and Sangareddy (Medak Dist.)  A.P only shall have the jurisdiction.

22. The contractor should abide by the company’s CISF Security/ safety rules and provide such safety requirements as per statutory rules and requirements of the factories act. 

23. In case of breach of any of the terms and conditions of the contractor,  BHEL reserves the right to cancel the contract either in part or full.

24. The contractor can  produce the bank guarantee towards security deposit, in the prescribed proforma valid for the contract period for a value calculated at the rates mentioned,.  The claim period under the guarantee shall be valid for 3 months after expiry of the contract.

25. In the agreement no mention shall be made regarding the number or the sex of the laborers to be employed by the contractor.  The agreement shall not contain provision to hire labour like number of men, category of men, and number of maydays from the contractor for any type of work.  All types of job work agreements shall be based on clearly quantified volume of work only.

26. The Executing Officer shall ensure the execution of work on quantifiable basis taking into account equipment and machinery deployed rather than availability of labour.

27. Earnest Money Deposit:  

        
Earnest Money is to be paid by each tenderer to ensure that the tenderer does not refuse to execute the work after it is awarded to him.  The rate of earnest money deposit shall be as per tender schedule. 

          EMD by the Tenderer will be forfeited as per Tender Documents if

i). After opening the tender,  the tenderer revokes his tender within the validity period or increases his earlier quoted rates.

ii). The  tenderer  does not commence the work within the period  as per LOI / Contract. In case the LOI / contract is silent in this regard then within 15 days after  award of contract.

EMD shall not carry any interest

28.    Security deposit:   

      Security Deposit

Security Deposit should be collected from the successful tenderer .  The rate of Security Deposit will be  as below:

Above 10 Lakhhs  Up to Rs. 50 lakhs
: Rs 1 lakh + 7.5% of the amount 
The security Deposit should be collected before start of the work by the contractor.

Security Deposit may be furnished in any one of the following forms 

i). Cash (as permissible under the Income Tax Act)

ii). Pay Order, Demand Draft in favour of BHEL

iii). Local cheques of scheduled banks, subject to realization.

i). Securities available from Post Offices such as National Savings Certificates,  Kisan Vikas     Patras etc.      (Certificates should be held in the  name of Contractor furnishing the security and duly pledged in  favour of BHEL and discharged on the back).

ii). Bank Guarantee from  Scheduled Banks /  Public Financial Institutions as defined in the Companies Act subject to a maximum of 50% of the total security deposit value.  The balance 50% has to be remitted either by cash or in the other form of  security. The Bank Guarantee format should have the approval of BHEL. 

iii). Fixed Deposit Receipt issued by  Scheduled Banks /  Public Financial Institutions  as defined in the Companies Act . The FDR should be in the name of the contractor,  A/C BHEL, duly discharged on the back. 

iv). Security deposit can also be recovered at the rate of 10% from the running bills. However in such cases at least 50% of the Security Deposit should be collected before start of the work and the balance 50% may be recovered from the running bills. 

v). EMD of the successful tenderer  shall be converted and adjusted against the security deposit.

The security deposit shall not carry any interest

29.     PENALTY: That if the contractor fails to complete the work with in the stipulated or extended date, the company shall have the right to levy penalty on the contract value at 0.5%  per week  or 10% maximum  and without prejudice to any other relief or compensation to which the company is entitled under the other conditions of the contract.

30. Safety:    All sorts of safety measures to be taken shall be deemed to form an integral part of the agreement and non-compliance with safety requirement amounts to breach of the contract.

SPECIAL CONDITIONS

1. Time is the essence of the contract and the specified time of completion is upto   which will be reckoned from the date of commencement of work.

2. These special conditions supplement the conditions to tenders and contracts and the general conditions of contract and form part of the contract documents. Where these special conditions are at variance with the general conditions of contract.  These special conditions shall prevail.

3. All rates quoted shall be finalized;   work in site inclusive of all leads,  lifts and other incidental charges and those in general conditions.

4. Before quoting his rates of the work, the tenderer shall inspect the site of work and the quarries from which various materials are to be brought and should satisfy him about the nature and scope of work to be executed and quality of materials procurable from the quarries. In every case the materials shall confirm to the relevant IS and shall have got to be approved by engineer in charge before they are used on the work.   In case the contractor is found later on to have misjudged the nature and scope of the work and also the availability of materials, BHEL will not Pay any extra charges for any other reason to the contractor once contract rate is finalized. 

5. The issue of materials is governed by the conditions specified in the schedule-B (If any).  All other materials shall be supplied by the contractor himself and the rates for the relevant items are inclusive of all such supplies.

6. BHEL is reserve the right to deviate wither by addition or by deletion from the schedule of items of work given in the tender document after awarding the work.

7. In case of any difference between agreement wording and detailed drawings the interpretation of the site engineer shall be final and binding on the contractor.

8. The final acceptance of work in all items are subject to proper behavior after testing regardless of whether the items or paid or not.

9. All debris and surplus material shall be cleared from the site as and when directed by the site in charge. 

10. Permissions for labour and materials shall be obtained in the prescribed formats. 

(PRICE BID  SHOULD BE SUBMITTED IN A SEALED COVER)

TENDER NO:  M&S/P&C/2008/40   DT: 24.11.2008

Annexure – I

PRICE BID  (   PART- B)

	SL NO
	DESCRIPTION
	AMOUNT Rs

	A
	ARMATURE K – 3231  ( SCOPE COVERS IN POINTS 3 & 4 ) 
 1.1 Removal of old winding 

1.2 Manufacturing of new coils with Class H conductors and Class H Insulation
1.3 Brazing of coils to the raisers with 30% silver brazing rods

1.4 Varnishing with Class H Varnish

1.5 Baking, dynamic balancing and testing  

2.   COMMUTATOR 
2.1 Complete  dismantling of double commutator

2.2 Replacement of flexible mica rigs and hub

2.3 Replacement of hard mica between segments

2.4 Testing
3. REPLACEMENT OF REPAIRED ARMATURE in to the existing motor after removing the recently partially repaired armature

4. OVERHAULING of main field winding compensating winding and inter pole windings. 
	…..

	A1
	COST OF MATERIALS 
	Rs

	A2
	VAT  ON MATERIALS  FOR THE ABOVE DC  MOTOR REPAIRS  
	Rs

	A3
	COST OF LABOUR
	Rs

	A4
	REINSULAATION OF DOUBLE COMMUTATOR
	Rs

	A5
	Replacement of repaired armature in the motor
	Rs

	A6
	Overhauling of main field winding, compensating winding and inter poles
	Rs

	A7
	Service Tax
	Rs

	A
	TOTAL AMOUNT  FOR A 

MATERIALS  - Rs
LABOUR  - Rs
TAXES  - Rs
	Rs

	B
	ARMAUTRE     K-3232( SCOPE COVERS IN POINTS 3 & 4.2  )
COMMUTATOR PORTION

Complete dismantling of double commutators

1.2 Replacement of flexible mica rings and hub

1.3 Replacement  of hard mica between segments

1.4  Testing  
	…

	B 1
	REINSULAATION OF DOUBLE COMMUTATOR
	Rs

	B 2
	Service Tax
	Rs

	B
	TOTAL AMOUNT  FOR   B -
MATERIALS  - Rs
LABOUR  - Rs
TAXES – Rs
	Rs

	(NOTE:   


	GROSS  TOTAL  FOR A + B  :   Rs 

TRANSPORT CHARGES  - BOTH WAYS SHOULD BE BORNE BY THE CONTRACTOR,   old copper can be retained by contractor, no need to return to  BHEL)
	


CONTRACTOR SIGNATURE WITH SEAL
PAGE  
16

