[image: image1.png]


BHARAT HEAVY ELECTRICALS LIMITED
RAMACHANDRAPURAM :: HYDERABAD – 502032

M & S, F & P, CW, HSE & SAFETY DIVISION

10-REPAIR SHOP, AIR-CONDITIONING

Phone No.: 040--23182708  Fax No.: 040–23020185  email : ramapra@bhelhyd.co.in
NOTICE INVITING TENDER  

Tender Notice No.: HY/M&S/AC/FEVP/08-09/1106/21                   
Date: 06-11-2008
M/S ……………………………

…………………………………

…………………………………

Tender in two parts (Techno-commercial & Price Bid) will be received by the undersigned in sealed cover from the reputed contractors for following work. The following should be legibly written on the cover -- tender notice number, tender date, name of the work, due date of opening, techno commercial bid or price bid on top of cover. Tenders will be opened at 13.30 hrs on the due date in the presence of tenderer’s or their authorized representatives in BHEL, Ramachandrapuram, Hyderabad.

1.    Name of work

       :  “Dismantling and shifting of 2 nos. X 18000 CFM 
Evaporative Cooling machines and Ducting located at   

Finance-Wages section, to re-build at Works Canteen 
including additional ducting and electrical wiring as per 
site requirements”. 

2.   Earnest Money Deposit
       :   Rs. 10,000/-

3. Contract Period

       :   One Month  

4. Estimated Cost

       :   Rs 2.50 Lakhs (including taxes & duties)
5.  Cost of Tender Document       :   Rs. 100/- (to be paid by DD/BC or in BHEL Cash office)
      (non-refundable)
6.   Tender sale starts from
      : 6th November 2008
7.   Tender sale closes on
      :  13th November 2008 by 11:00 hrs
8. Last date of receipt of tenders  :  13th Novemebr 2008 upto 13:00 Hrs
9.   Date and time of opening of tenders : 13th November 2008 at 13:30 hrs
         (techno-commercial bid only)
The tender will be issued on all working days at the office of SDGM(M&S), 02-Annexe (Ground Floor), B.H.E.L, R.C.Puram, Hyderabad – 502032 or tender may be downloaded from BHEL WEBSITE PORTAL http://www.bhel.com. TENDERERS ARE REQUESTED TO SIGN AND PUT SEAL ON ALL PAGES OF TENDER DOCUMENT AND SUBMIT.

  (B.BHAGAVAN DOSS)










      Dy.Manager (M&S)

                                                                                                                 10-Repair Shop, A.C.
EMD Payment : An amount of Rs.10,000/- (Rupees Ten Thousands only) towards EMD shall be Deposited  in cash at BHEL Cash office or by way of Demand Draft / Bankers cheque drawn in the name of M/S Bharat Heavy Electricals Limited payable at Hyderabad and shall be enclosed to the tender bid. No other means of payment will be accepted, no interest on EMD will be payable.

         Cash office timings:   09.30 AM to 11.30 AM &   1.30 PM to 3.30 PM

SECURITY DEPOSIT shall be paid before start of the work as per the terms and conditions enclosed
TENDERING PROCEDURE

Tenders may be dropped before the due date & Time in the M&S Tender box kept in 02-Annexe (Ground floor),  M&S (P&C Section) of BHEL, R.C.Puram, Hyderabad – 502 032

The bids shall be submitted in two parts.

1. Techno-commercial bid.      

2. Price Bid

1. Techno-commercial Bid :  The envelop shall contain the Techno-commercial Bid as per the enclosed technical bid pro-forma with relevant documents like copies of ESI, PF code, Labour license, PAN No. and EMD.  The envelop shall be super scribed “Techno-commercial bid -------  (name of work)”.

2. The second envelope shall contain only the price bid to be quoted. Any other information in the price bid shall not be considered and the quotation is likely to be rejected.  Price bid document shall be signed by the tenderer at the bottom of the page. The envelope shall be  sealed and super scribed “Price Bid -----------    (name of work)”.


Both the above two envelopes shall be kept in another sealed cover. The cover shall be super-scribed  with “Quotation for ------------- ( name of work )”   and shall be addressed to Sri Sri C.Suresh Kumar, Sr.Dy.Gen.Manager (M&S)/10-RS, A.C., 02 Annexe (Ground Floor), Bharat Heavy Electricals Limited, Ramachandrapuram, Hyderabad – 502 032 to reach at or before 13.00 hrs on the due date and it should also contain Tenderer address, Tender No. & due date.

Tender documents may be downloaded from BHEL website : http://www.bhel.com. BHEL is not responsible for any postal delay. The tenders will be opened in BHEL R.C.Puram Hyderabad- 32 on tender due date at 13.30 hrs in presence of those tenderers who choose to be present.


Date of opening of price bids will be intimated after techno-commercial suitability.


The technical bid consists of technical schedule requiring documentary proof.  In case the party has not satisfied all the conditions along with documentary proof, the tender will be rejected.


Tenders received mixed with both technical & Price bid documents without individual envelop will be rejected.

I. Techno Commercial Bid:

PRE-QUALIFICATION REQUIREMENTS: The following conditions have to be satisfied by the tenderer. Contractor should have executed atleast one cooling system of value Rs 2.0 Lakhs (Erection  and Commissioning of evaporative cooling systems) during the period 1/4/06 to 31/8/08. Proof for this shall be submitted along with techno-commercial offer without which the offer shall be rejected.
	Sn
	Description
	Data

	1
	PF CODE NO 
	

	2
	ESI CODE NO
	

	3
	PAN No.
	

	4
	Service tax regn. no.
	

	5
	Sales Tax Regn. No.
	

	Sn.
	Description of Activity
	Contractor response  Accepted / 

Not accepted
	Deviations, if any

	 
	Dismantling & shifting existing Evaporative cooling system at Finance-Wages section (consisting of 2 nos X 18000 CFM Evaporative Cooling machines and Ducting) and re-build at Works Canteen including additional ducting and wiring as per site requirements. Finance Wages section room size-148X49X12 Ft. Works Canteen Buffet area size-73X73X15Ft. Scope of work consists the following :
	 
	 

	1
	Removing of duct from roof , placing it on the ground, removing of nut, bolts, felt etc. & place it on the ground
	
	

	2
	Erection of the above duct at canteen after duct is delivered at canteen
	
	

	3
	New nut, Bolts, Hangers, felt fasteners, duct supports, drilling in slabs for fixing of duct etc.
	 
	 

	4
	Fabricate of new duct (approx. 940 sq.ft. required)
	 
	 

	5
	Duct Insulation (Approx. 480 sq.ft. required. Actual lengths will be Billed)
	 
	 

	6
	Gas cutting the angulars coming in the way of movement of machines on the roof for crane handling (if crane is used)
	 
	 

	7
	Moving machine by 20 ft. after angle sections is removed.
	 
	 

	8
	Lowering the machines (2 nos.) from terrace to floor by mobile crane of 10 ton cap and 15 mtrs. boom length-lump sum
	 
	 

	9
	Lifting  the machines (2 nos) from floor at canteen  to terrace  by mobile crane of 10 ton cap and 15 mtrs boom length-lumpsum
	 
	 

	10
	Commissioning of the same including Electrical control panel
	 
	 

	11
	Duct designing
	 
	 

	12
	Taxes & Duties Included/Excluded
	 
	 


Signature & Stamp of the Contractor
II. Price Bid Format

        Sub.: Dismantling existing Evaporative Cooling system of Finance department and 
	Sn.
	Description of Activity
	Rate in Rs.
	Total amount in Rs.

	1
	Removing of duct from roof, placing it on the ground, removing of nut, bolts felt etc. & place it on the ground floor, lumsum
	
	

	2
	Erection of the above duct at canteen after duct is delivered at canteen  with 
	
	

	3
	New nut, Bolts, Hangers, felt fasteners, duct supports , drilling in slabs for fixing of duct etc.
	 
	 

	4
	Fabricate of new duct @ Rs……per sq.ft.  Approx. reqd 940 sq.ft.(Actual lengths will be Billed)
	 
	 

	5
	Duct/Insulation @ Rs…… per sq ft. apprx. reqd 480 sq.ft. (Actual lengths will be Billed)
	 
	 

	6
	Gas cutting angular coming in the way of movement of machines on the roof for crane handling (if crane is used)
	 
	 

	7
	Moving machine by 20 ft. after angle sections is removed.
	 
	 

	8
	Lowering the machines (2 nos.) from terrace to floor by mobile crane of 10 ton cap and 15 mtrs. boom length-lump sum
	 
	 

	9
	Lifting  the machines (2 nos) from floor at canteen  to terrace  by mobile crane of 10 ton cap and 15 mtrs boom length-lumpsum
	 
	 

	10
	Commissioning of the same including Electrical control panel
	 
	 

	11
	Duct designing-lumpsum
	 
	 

	12
	Details of Taxes :
VAT @ ___% :

Service Tax @ ______%
	 
	 

	13
	Total including Taxes
	 
	 


      re-erect at Works Canteen - Buffet Area with additional ducting.

Signature & Stamp of the Contractor
OTHER  CONDITIONS :

1. Tender bids without Tender cost are liable for rejection

2. Period of completion: 30 days from the date of award of work

3. Tools and equipments such as welding generator, Brazing set, drilling machine etc. are in 

    contractor scope.

4. Payment: Payment after successful completion of the work and by Commissioning the    

    plants certified by the Dy.Manager / M&S/10-RS/A.C. No advance payment will be made.

5. The contractor shall make himself or his representative available at the work spot everyday    

    during execution of work, for effective supervision.
6. Penalty: 0.5% of the contract value per week or part thereof subject to a max. of 10% after allotted period of completion.

7. Prospective Contractor is advised to inspect both sites before quoting.
Signature & Stamp of the Contractor







