[image: image1.png]


BHARAT HEAVY ELECTRICALS LIMITED.

RAMACHANDRAPURAM :: HYDERABAD – 502032

M & S, F & P, CW & HR DIVISION

10-REPAIR SHOP, AIR-CONDITIONING

Phone : 040-23182708            Fax No.: 040-23186009         email Id : bbdoss@bhelhyd.co.in
NOTICE INVITING TENDER  

Tender Notice No.: HY/M&S/10-RS/AC/08-09/0321/1             
              Date: 21-03-2009
M/S ……………………………

…………………………………

…………………………………

…………………………………

Sir,
Tender in two parts (Techno-commercial & Price Bid) will be received by the undersigned in sealed cover from the reputed contractors for following Works. The following should be legibly written on the cover – tender notice number, tender date, name of the work, due date of opening, techno commercial bid or price bid on the top of cover. Tenders will be opened at 13.30 hrs on the due date in the presence of tender’s or their authorized representatives in BHEL, Ramachandrapuram, Hyderabad. Tender forms may be downloaded from www.bhel.com.
1. Name of Work

    : “Service and maintenance of Air coolers--126 nos. as per list 

                                                          enclosed”
2. Earnest Money Deposit
    :   NIL
3. Contract Period

    :   Four Months  

4. Estimated Cost

    :   Rs 0.84 Lakhs 
5. Cost of Tender Document      :   Nil

(non-refundable)
6.   Last date of receipt of tenders:  28.03.2009  upto 13.00 Hrs.

8.  Date and time of opening of tenders: 28.03.2009, 13.30 Hrs

      (techno-commercial bid only)

TENDERERS ARE REQUIRED TO SIGN AND PUT SEAL ON ALL PAGES OF TENDER DOCUMENT AND SUBMIT. 
  (B.BHAGAVAN DOSS)










      Dy.Manager (M&S)

                                                                                                                10-Repair Shop, A.C. 

TENDERING PROCEDURE

Tender may be dropped before the due date & Time in the M&S Tender box kept in 02- Annexe (Ground floor), M&S (P&C Section) of BHEL, R.C.Puram, Hyderabad – 502032 
 The bids shall be submitted in two parts.
1. Techno-Commercial bid.


2. Price bid. 
1. Techno-commercial Bid : The envelop shall contain the Techno-commercial Bid as per the enclosed technical bid pro-forma with relevant documents like copies of ESI, PF code, Labour license, PAN No. etc.. The envelop shall be superscribed “Techno-commercial bid----------------------- (name of work)”.

2. The second envelop shall contain only the price bid to be quoted. Any other information in the price bid shall not be considered and the quotation is likely to be rejected. Price bid document shall be signed by the tenderer at the bottom of the page. The envelope shall be sealed and super scribed “Price Bid --------------------------- (name of work)”.

Both the above two envelopes shall be kept in another sealed cover. The cover shall be superscribed with “Quotation for ----------------------(name of work)” and shall be addressed to Sri C.Suresh Kumar, Sr.Dy.Gen.Manager (M&S)/10-RS, A.C., 02 Annexe (Ground Floor), Bharat Heavy Electricals Limited, Ramachandrapuram, Hyderabad – 502 032 to reach at or before 13.00 hrs on the due date and it should also contain Tenderer address, Tender No. & due date.

Tender documents may be downloaded from BHEL website: http:/www.bhel.com. BHEL is not responsible for any postal delay. The tenders will be opened in BHEL R.C.Puram Hyderabad -32 on tender due date at 13.30 hrs in presence of those tenderers who choose to be present.

Date of opening of price bids will be intimated after techno-commercial suitability.

The technical bid consists of technical schedule requiring documentary proof. In case the party has not satisfied all the conditions along with documentary proof, the tender will be rejected.

Tenders received mixed with both technical & price bid documents without individual envelop will be rejected.
I. Techno Commercial Bid
Name of work   
:  

Name of Contractor 
:

Address             
:

Mobile / ph. No.   
:
Fax / e-mail Id. 
:
	
	Description
	Contractor to fill the data.

	1
	PF CODE NO.:
	

	2
	ESI CODE NO.:
	

	3
	Service Tax Regn  No.:  ( if available)
	

	4
	PAN No.:
	

	5
	Valid Electrical license No : (Compulsary)
	

	6
	LABOUR LICENCE NO.  under section 12 (1) of   R&A 1970 & Validity (either valid or under renewal should indicate) if not available, acceptance to submit before commencement of work :
	

	7
	Acceptance for the terms and   conditions enclosed.
	

	8
	 Acceptance to undertake the maintenance activity for 4  Months
	

	9
	Validity:  Minimum 30 days from bid opening date.
	

	10
	Price quoted shall be firm during contract period and Quoted price is inclusive of all taxes (if taxes are included in the price bid nature of tax and shall be indicated in % clearly.
	

	  11
	PAYMENT TERMS: Payment will be released  after completion of Contract Period (4 months)
	

	  12
	Experience:
(Details should be furnished )

name of the work undertaken:

value of work:

worked for which company/ organization:

year of work undertaken / completion: 

work experience certificate  obtained from whom:

(enclose a separate sheet if necessary)

Completion reports/ experience certificates should be enclosed for reference.
	Description

Item No/ year/ amount 

	  13
	PENALTY:   Penalty shall be 0.5% per week or part thereof to a maximum of 10% of the total contract value if any work is not done as per scope of work. 
	

	   14
	SECURITY DEPOSIT shall be paid @10% of total contract value before start of the work as per the terms and conditions enclosed
	

	   15
	Overhauling and keeping all air-coolers in working condition in first month.
	


ANNEXURE-I

SCOPE OF WORK FOR SERVICE & MAINTENANCE OF AIR COOLERS
	Sl.
	Description of work
	Qty. 
	Contractor response Accepted /                 Not accepted
	Deviations, if any

	1
	Removing the existing damaged wood wool / khus khus and replacing with  fresh  material of 20" / 24" size (material will be supplied by  BHEL) (First month only)
	All
	
	 

	2
	Fixing, checking, servicing, painting, oiling the pumps and fan motors including paint (Material will be supplied by BHEL). (First month only)
	All
	 
	 

	3
	Fabricating M.S. stands with 1" diameter pipe.  Material will be supplied by BHEL. (First month only)
	07
	 
	 

	4
	Replacement of defective water distributors with pipe. (Material will be supplied by BHEL) (First month only)
	90 nos.
	 
	 

	5
	Replacement of the side cooling pads of Room Air-coolers in place of the damaged and irreparable pads including binding wire (Material will be supplied by BHEL) (First month only)
	35 sets
	 
	 

	6
	4 times, monthly once, service  charges for checking,  draining  out the water from   the  cooling   tank,  filling up fresh water, cleaning the choked holes, water / air cleaning of   the   pads   once  in  a  month, attending the electrical faults including checking and providing proper earthing to avoid electrical shocks,  attending daily breakdown complaints including dismantling the defective pumps,  fan motors, float valves, on/off switches and replacing with the given pumps and motors. Including carpentry work (Material will be supplied by BHEL).
	126
	
	 


OBLIGATIONS OF THE CONTRACTORS: 
1. Whenever a tender is to be accepted, the tenderer, whose tender is under consideration, shall attend the Office of " Officer Inviting the Tender " on the date fixed by written intimation to him.  He shall forthwith, upon intimation being given to him by the " Officer Inviting the Tender” for acceptance of his tender, complete the execution of the agreement by signing all documents connected therewith.  Failure to do so and not to commence the work within one month from the date of intimation shall entail forfeiture of the earnest money.

2. Tenderers shall persue carefully the instructions and directions to the parties given in the tender document and the conditions there of and all other relevant documents before quoting the rates for the work.  The approximate quantity of work to be executed under each class is given in the schedule.  The quantities are given with a view to enable tenderer to quote his overall rate for each class of work in the tender form and for a uniform comparison of tenders.  It shall be definitely understood that the schedule is liable to alterations at the discretion of accepting authority.

3. Tenderers shall keep the offer valid for a period of 30 days from the date of opening of tender.  After submitting the tender, he will not recall his offer or modify the terms and conditions thereof.  Should the tenderer fail to observe or comply with the foregoing stipulations, the tender bid is liable for rejection.

4. Tenderers have to quote their rates in the tender schedule legibly written in figures and words and those not submitted in proper form are liable for rejection.

5. The submission of tender shall be strictly in accordance with the terms and conditions stipulated in this tender notice.  No counter conditions will be acceptable or valid.

6. Contractor shall be deemed to have included in his tender price of all the plant, machinery and appliances required for the purpose of all operations connected with the work embraced under the contract to secure a satisfactory quality of work and rate of progress which in the opinion of the " Contract Signing Officer" will ensure the completion of the work within the time specified.

7. BHEL is having every right to split the schedule and to award the work to single or many parties on the lowest offered rates basis.

8. BHEL is having right to call the lowest bidder for price negotiations, if the rate or amount quoted by contractor is felt on higher side. In such cases contractor should attend negotiations with full details.  

9. This is a time bound contract for period mentioned, and does not envisage any extension of time / period.

10. The rates quoted by the contractor should be firm for the contract period.  There shall be no revision in contract rates during the period of the contract.  Any increase of statutory levies during the period of the contract,  contractor should  borne the difference
11. BHEL reserves the right to negotiate for price reduction with L1 party and negotiated price will be considered as contract amount for all practical purposes.

12. BHEL reserves the right to terminate the contract at any stage without assigning any reason.
13. Tender should be submitted in sealed cover addressed to the Sr. Manager/ M&S(AC) and duly super scribed with the tender number, tender date, name of the work and due date of tender opening on the envelope. The tenders will be opened on tender due date at 13.30 Hrs in presence of those tenders who choose to be present at finance department, BHEL, Ramachandrapuram, Hyderabad.

14. The contractor must have phone facility at his office/ residence or cellular phone for proper communication.

15. Withdrawal from contract during contract period in BHEL will entail forfeiture of contractor payment.

16. Soon after acceptance of tender the contractor shall enter into a contract agreement with BHEL, Ramachandrapuram, and Hyderabad on valid non judicial stamp paper of the value of Rs100/- to be purchased by the contractor at his own cost.

17. Labour engaged by the contractor should be disciplined & exhibit good behavior in dealing with employees of BHEL. Any misbehavior or conduct of any Peron engaged by the contractor is not good, contractor shall change that person immediately or else it may even lead to termination of the contract & security deposit will be forfeited as penalty.

18. The Executing Officer shall ensure the execution of work on quantifiable basis taking into account equipment and machinery deployed rather than availability of labour.

19. Disputes, grievances between the contractor and his labour, will have to be settled by the contractor only.

20. Any dispute arising out of this contract should be referred to the sole arbitration of General Manager/ M&S of BHEL, Ramachandrapuram, Hyderabad-502 032 or his authorized representative whose decision shall be final and binding on both the parties.

21. In case of any suit or other legal proceeding arising out of and relating to the contract to be entered into the courts at Hyderabad/ Secunderabad and Sangareddy (Medak Dist.)  A.P only shall have the jurisdiction.

22. The contractor should abide by the company’s CISF Security/ safety rules and provide such safety requirements as per statutory rules and requirements of the factories act. 

23. In case of breach of any of the terms and conditions of the contractor, BHEL reserves the right to cancel the contract either in part or full.

24. In the agreement no mention shall be made regarding the number or the sex of the laborers to be employed by the contractor.  The agreement shall not contain provision to hire labour like number of men, category of men, and number of maydays from the contractor for any type of work.  All types of job work agreements shall be based on clearly quantified volume of work only.
25. The labour employed by the contractor, if found in abetting any of fellow labour or contractors or any BHEL employee, the same shall be considered as an act of indiscipline.  Such laborers shall be removed from the services of the contractor, on the advice of BHEL.  Further the contractor shall initiate every necessary action in accordance with the relevant Laws, Rules & Regulations and enactments of state and Central Government

26. EMD nil for the works estimating less than a Rs 2 Lakhs.  
GENERAL TERMS AND CONDITIONS:
1) Contractor should provide a ladder for attending cooler repairs at 1st   floor of staff canteen

2) Man power engaged should have required basic skills and able to do hard work.

3) Contractor should supply basic personnel protective equipments and should see that they wore at work. 

4) Contract period : 4 months.
5) Guarantee  :  One month 
6) HR / IR Clearance Certificate should be submitted along with the bill
7) Full Payment will be released after satisfactory completion of work
8) The contractor shall pay minimum wages to the staff as per minimum wages act applicable from time to time.    Contractor has to make PF, ESI contributions as per applicable rules; contractor should pay double wages if engaged on overtime beyond normal working hours.

9) Contractor should supervise the labour engaged for this work.

10) Contractor shall arrange ESI cards for the contract labour   and shall extend all relevant statutory rules for his staff.

11) Contractor shall comply with the provision of PF, ESI for their labour. 

12) Contractor & their labour should attend safety classes being conducted by safety department.

13)   Contract operates on Unit rates, no revision of rates will be allowed during contract period.

14) The contractor is wholly responsible for any loss of life or partial disability of any of their employees while on duty

15) In case of occurrence of any accident/ injury of contractor’s staff, BHEL will not pay any compensation while they are on duty and contractor has to take care of same under statutory obligation.

16)  Above mentioned work shall be executed in accordance with the general agreement conditions applicable to job works as per OMI-195. A copy of the same can be had in soft or hard from the undersigned.

17) Upon awardal of the work, the party has to execute an agreement with BHEL as per General Agreement Conditions before commencement of work, contractor should approach with required stamp paper.

18) Read the specifications/ work content carefully before quote. 

19)  Contractor shall follow General  instructions/ Obligations of the contractors  

20) Everyday contractor should sign and fill up the areas covered/ work executed in the prescribed pro-forma.

21) BHEL reserve the right to reject any or all tenders in part or in full without assigning any reason

PRICE BID- Format
	Sl.
	Description of work
	Qnty. In Nos.
	Rate per each in Rs.
	Amount for Four months in Rs.

	1
	Removing the existing damaged wood wool / khus khus and replacing with  fresh  material of 20" / 24" size (material will be supplied by  BHEL) (First month only)
	All
	
	

	2
	Fixing, checking, servicing, painting, oiling the pumps and fan motors including paint (Material will be supplied by BHEL). (First month only)
	All
	 
	

	3
	Fabricating M.S. stands with 1" diameter pipe.  Material will be supplied by BHEL. (First month only)
	07
	 
	

	4
	Replacement of defective water distributors with pipe. (Material will be supplied by BHEL) (First month only)
	90 nos.
	 
	

	5
	Replacement of the side cooling pads of Room Air-coolers in place of the damaged and irreparable pads including binding wire (Material will be supplied by BHEL) (First month only)
	35 sets
	 
	

	6
	4 times, monthly once, service  charges for checking,  draining  out the water from   the  cooling   tank,  filling up fresh water, cleaning the choked holes, water / air cleaning of   the   pads   once  in  a  month, attending the electrical faults including checking and providing proper earthing to avoid electrical shocks,  attending daily breakdown complaints including dismantling the defective pumps,  fan motors, float valves, on/off switches and replacing with the given pumps and motors. Including carpentry work (Material will be supplied by BHEL).
	126
	
	

	7
	TOTAL
	    
	 
	

	8
	Taxes                                     Extra/Inclusive
	
	
	

	
	TOTAL AMOUNT
	
	
	


OTHER  CONDITIONS :

1. Tools and equipments such as welding generator, Brazing set, drilling machine etc. are in 

    contractor scope.

2. Payment: Payment after successful completion of the work  certified by the Dy.Manager /   

    M&S/10-RS/A.C. No advance payment will be made.

3. The contractor shall make himself or his representative available at the work spot everyday    

    during execution of work, for effective supervision.
4. Prospective Contractor is advised to inspect the units before quoting.
AIR COOLERS LIST LOCATIONWISE 

	Sl.No
	Location
	Size of the Air Cooler
	  Qty in nos.
	Defective stands
	Defective Side pads
	Defective water distributers

	1
	Works canteen
	24"
	22
	 
	12
	18

	2
	03- Canteen
	24"
	8
	4
	8
	6

	3
	Factory Dispensaries
	24"
	4
	 
	 
	2

	4
	Stores
	24"
	2
	 
	 
	 

	5
	02- Canteen
	24"
	8
	 
	3
	6

	6
	51- Canteen
	24"
	5
	3
	3
	3

	7
	Genaral Hospital
	24"
	18
	 
	9
	14

	8
	Genaral Hospital
	20"
	19
	 
	 
	15

	9
	Transport
	24"
	2
	 
	 
	1

	10
	Transport
	20"
	4
	 
	 
	2

	11
	Township (Civil)
	20"
	6
	 
	 
	3

	12
	LWC
	20"
	6
	 
	 
	4

	13
	Tel.Exchange
	20"
	2
	 
	 
	1

	14
	11 Block Collection Cell
	20"
	2
	 
	 
	2

	15
	06 Consumable stores
	20"
	1
	 
	 
	1

	16
	01 Int.mediate Stores
	20"
	3
	 
	 
	2

	17
	52 Build. Sub Station
	20"
	1
	 
	 
	 

	18
	02 Personnel
	20"
	2
	 
	 
	2

	19
	06 Annexe, 1st Fl.
	20"
	1
	 
	 
	 

	20
	Safety Engg.
	20"
	1
	 
	 
	 

	21
	15/83 Bldg. Office
	20"
	2
	 
	 
	2

	22
	06 Block, Co-operation Cell
	20"
	1
	 
	 
	1

	23
	56 Stores
	20"
	1
	 
	 
	 

	24
	Site Return Store
	20"
	1
	 
	 
	1

	25
	01 Raw Material Stores
	20"
	1
	 
	 
	 

	26
	Factory Civl
	20"
	1
	 
	 
	2

	27
	Adm.Bld. Civil
	20"
	2
	 
	 
	2

	 
	                      TOTAL=
	 
	126
	7
	35
	90








Signature & Stamp of the Contractor

