## Sheet2
Annexure – I
Mandatory Spare List
Project : 400kV Bay Extension at Abhishekpatty Substation
Sl. No. | Description | Unit | Quantity | Unit Price | Amount
A | 420 kV SF6 Circuit Breaker
1 | One complete Pole of CB including Closing resistor, Grading Capacitor, Interrupter, pole column, with operating mechanism and MB but without support structure (3150A, 40KA, 1 Sec) | No | 1 |  | 0
2 | Rubber gaskets, O rings and seals for SF6 gas(complete replacement for one breaker) | Set | 1 |  | 0
3 | Trip coils with resistor | Nos | 2 |  | 0
4 | Closing coils with resistor | Nos | 1 |  | 0
5 | Molecular filter for SF6 Circuit for 1 Pole of CB | Nos | 2 |  | 0
6 | Terminal Pad and Connectors | Nos | 2 |  | 0
7 | Corona Rings | Nos | 1 |  | 0
8 | Relays, Power Contactors, Switch fuse unit , Limit Switches, Push Buttons, Timers and MCBs etc | Set | 1 |  | 0
9 | Pressure Switches | Set | 1 |  | 0
10 | Auxiliary Switch Assembly | Set | 1 |  | 0
B | 420 kV Isolator |  |  |  | 0
1 | One Complete pole of isolator including support insulator with 1 E/S with operating mechanism for main isolator and earth switch (excluding structure) (3150A,40 kA,1sec) | Set | 1 |  | 0
2 | Copper contact fingers for female and male contacts | Set | 2 |  | 0
3 | Open/Close Contactor Assembly, Timer, Key Interlock push button switch and auxiliary switches | Set | 1 |  | 0
4 | Limit Switch | Nos | 2 |  | 0
5 | Terminal Pad and Connectors | Nos | 3 |  | 0
6 | Corona Shield Ring | Nos | 3 |  | 0
C | 420 kV Current Transformer |  |  |  | 0
1 | 420kV, 120% extended 5 core CT complete in all respects including terminal connectors and support stool for erecting on standard support structure. | Nos | 1 |  | 0
D | 420 kV Capacitive Voltage Transformer |  |  |  | 0
1 | 420kV, 4400/8800pf CVT complete in all respects including terminal connectors and support stool for erecting on standard support structure. | No | 1 (4400pf) |  | 0
E | 336 kV Surge Arrester |  |  |  | 0
1 | 336kV Surge arrester complete with insulating base and terminal connectors | No | 1 |  | 0
2 | Surge Monitor /Monitor | Nos | 5 |  | 0
F | CONTROL AND RELAY PANEL |  |  |  | 0
(i) | Line Protection Panel Equipment Spares |  |  |  | 0
1 | Main-I/II Numerical Distance Relay, one no of each type ( Complete Unit) | Set | 1 |  | 0
2 | Line Current Differential Relay | Set | 0 |  | 0
G | PLCC Equipments |  |  |  | 0
1 | Set of prints for carrier terminal (Analogue Type) | Set | 1 |  | 0
2 | Set of prints for protection coupler ( Analogue Type) | Set | 1 |  | 0
3 | Set of prints for Digital protection coupler | Set | 1 |  | 0
H | Substation Automation |  |  |  | 0
1 | Substation Automation Bay Control unit ( IED) of type | Set | 1 |  | 0
2 | Ethernet Switch of each type | Set | 1 |  | 0
| Total (Rs.) |  |  |  | 0
Note
Bidder has to give unit rates for items # A to H. Total amount of this annexure is to be filled against item no.26 of ETC BOQ.This annexure should also be kept in price bid envelope.