## INDIGENOUS BIDDERS
2 x 500 MW NEW NEYVELI TPP (TG PACKAGE)
BOQ-CUM-PRICE SCHEDULE (MANDATORY SPARE LIST - AIR CONDITIONING SYSTEM)
FOR INDIAN BIDDERS | [8 empty] | ANNEXURE-7
SL No | DESCRIPTION OF EQUIPMENT/ ITEM | SUPPLY
|  | UNIT | QUANTITY | Unit Ex-works price (Rs) | Total Ex-works price (Rs) | ED (Inc. cess) for self-manufactured items only (Rs) | CST / VAT (Rs) | Freight (Including service tax, if applicable) @ ….. % of Quoted Total Ex-works (Rs) | TOTAL F.O.R. Site Price Supply (Rs) | REMARKS
1 | Humidistat | No | 2 |  |  | NIL AGAINST PAC. Refer SCC Sl. No. 18A |  |  |  | Applicable items considered. Applicable items are those which are installed in the system.
2 | Pr. Gauge of each type and range | % | 5
3 | Temperature gauge of each type and range | % | 5
4 | Level switches of each type and range | No | 2
5 | Solenoid valves of each type and range | No | 2
6 | Flow meter of each type and range | No | 2
7 | Flow Switch of each type | No | 2
8 | Thermostat of each type | No | 2
9 | PLC cards (i.e. all types of cards/modules of PLC including CPU, power supply modules, interface modules, converter modules, I/O modules, relays, MCBs, fuses, terminal blocks, converters etc.) | % | 10
9.1 | Power supply unit of each type | % | 10
9.2 | Graphic Interface Unit for each type | No | 1
9.3 | Cooling Fan in PLC system/Cabinet | No | 2
9.4 | TFT Monitor for each type & size | No | 1
9.5 | Printer for each type | No | 1
TOTAL
NOTE: | Bidder to indicate CIF contents as per Annexure-7A.

## CIF sheet
ANNEXURE - 7A
2x500 MW NEW NEYVELI TPP (TG PACKAGE)
LIST OF CIF CONTENTS FOR MANDATORY SPARE LIST-AIR CONDITIONING SYSTEM
Applicable for Indian Bidders
Country of Import : ……………………………………………….
Sl. No. | Description of items to be imported. | Unit of Measurement | Qty. | Currency | Unit rate in foreign currency | Total CIF Contents
GRAND TOTAL

## FOREIGN BIDDERS
2 x 500 MW NEW NEYVELI TPP (TG PACKAGE)
BOQ-CUM-PRICE SCHEDULE (MANDATORY SPARE LIST - AIR CONDITIONING SYSTEM)
FOR FOREIGN BIDDERS | [10 empty] | ANNEXURE-8
SL No | DESCRIPTION OF EQUIPMENT/ ITEM | SUPPLY
|  | UNIT | QUANTITY | CURRENCY | UNIT F.O.B. PRICE | TOTAL F.O.B. PRICE | OCEAN FREIGHT | OCEAN / MARINE INSURANCE | CUSTOM DUTY WITH OTHER DUTIES AFTER AVAILING CENVAT BENEFIT IF APPLICABLE | INLAND FREIGHT CHARGES (INCLUDING SERVICE TAX) | F.O.R. SITE SUPPLY PRICE (CURRENCY) | REMARKS
1 | Humidistat | No | 2 |  |  |  |  | BY BHEL | NIL |  |  | Applicable items considered. Applicable items are those which are installed in the system.
2 | Pr. Gauge of each type and range | % | 5
3 | Temperature gauge of each type and range | % | 5
4 | Level switches of each type and range | No | 2
5 | Solenoid valves of each type and range | No | 2
6 | Flow meter of each type and range | No | 2
7 | Flow Switch of each type | No | 2
8 | Thermostat of each type | No | 2
9 | PLC cards (i.e. all types of cards/modules of PLC including CPU, power supply modules, interface modules, converter modules, I/O modules, relays, MCBs, fuses, terminal blocks, converters etc.) | % | 10
9.1 | Power supply unit of each type | % | 10
9.2 | Graphic Interface Unit for each type | No | 1
9.3 | Cooling Fan in PLC system/Cabinet | No | 2
9.4 | TFT Monitor for each type & size | No | 1
9.5 | Printer for each type | No | 1
TOTAL