BHARAT  HEAVY  ELECTRICALS  LIMITED

RAMACHANDRAPURAM   ::   HYDERABAD

SWITCHGEAR  TESTING  DEPARTMENT

WORK SCHEDULE
REF:SGT&S/CL/2009/1, DT.14-5-2009                                   

#1. Evacuation of the breaker, SF6 filling form service cart/cylinder and taking back of SF6 gas to service unit after completion testing.( at two place to be    done during routine test and high voltage test) (job of SSW)
#2. Nitrogen gas filling in to accumulators form   cylinders (job of SSW) 

3. The empty Nitrogen gas cylinders shall be collected from various work centers and put them on pallet Trolley.
· The loaded pallet trolleys are to be taken to the 25 stores on a fork lift

· Unload the empty cylinders in 25 stores.

· Collect full Nitrogen gas cylinders from 25 stores and bring them to testing area by pallet trolley.

· Movement of full cylinders from different work centers wherever they needed.

4.-Collect full SF6 gas cylinders from storages area and bring them to testing on pallet trolley.

               Move the full cylinders to place wherever they are needed.

5- Cleaning of all the Test equipments and painting, marking. 

               4no’s High voltage transformers, 8no’s DC voltage devices, 4no’s SF6 gas filling trucks,

               1no.3 phase power pack, 2no’s Motor-Generator sets, 2no’s Nitrogen filling equipments 

                 And other meters.     

 6- Arrangement of the test equipment 

    Transporting of the Test equipment carefully to the different work centers  from storage rooms 

              And put them back into the storage rooms after completion of work. 

              During routine Testing and customer inspection. 

7-Markings

   Markings on tested products (main breakers, spares) on poles, base unit, control cubicles

               And at all loc kings.

8-Calibration

 Movement of the Test equipment to Calibration place by departmentally in test area and at 90 lab. 

9-Hydraulic oil –

   Hydraulic oil tins to be transported from stores to test area.

   Oil tins are to be Trans ported to different work areas.

   Filling of oil in the breakers tanks and draining after test completed. Cleaning of floor if leak.

#10- Connecting and removing test leads for timing and speed measurement.(job of SSW)  

11-Movement of materials 03 shop to j’gate and site retuned materials from J’ gate to 03 shop.

 12- Carrying Dak and approved files from 03 annex to G.M’s office, secretariat, Finance, Transport pool. And back to 03 annex.            
       ------------------------------------------------------------------------------------------
Sl.No.   Description  Total No.of     Rate per      Total
                      Remarks

                             Units.             Unit.       Amount

                                                            Rs.   Ps.      Rs.     Ps.

------------------------------------------------------------------------------------------
    01.      USW
            60

                                   1 Unit = 10 Man days
    02.       SSW            30                                                             1 Unit= 10 man days

# indicated job to be done by SSW

