PRE-QUALIFICATION CRITERIA

	PACKAGE
	ELECTROMAGNETIC FLOW METERS 
	DATE
	07.01.2015

	
	
	REV NO
	03



	1.0

2.0

3.0

4.0
5.0

	Supplier should be OEM or authorised Indian representative of OEM (representation is applicable only in case of foreign bidders) of the Electro-Magnetic Flow Meter.
Supplier to furnish list of orders executed in last five years.
The Product being offered by the Supplier should be in use successfully in use in Power Plant/ similar Industrial application for at least two years. Supplier  to submit either of following supporting documents for the product/
a. Copy of minimum two Satisfactory Performance Feedback Certificate from different end users specifying that product is running successfully for 2 years from date of commissioning. The certificate should indicate salient features like year of commissioning of equipment, duty parameters (size, flow, ANSI Rating), project name, PO no & date, date of issue of certificate and name/designation of the certificate issuer. Also copy of related Purchase Order to be attached.
OR

b. Copy of repeat orders from minimum two different end user/ Customer with a minimum gap of 2 years from previous 
OR
c. Copy of one Performance Certificate as per sl. No.3.0 (a) above and one repeat order. In repeat order, subsequent order shall be from same customer placed with a minimum gap of 2 years from previous 
Manufacturer should comply with BHEL quality plan & specification. (As per Annexure attached)

A confirmation for the same shall be submitted.  
Documents submitted by supplier should be in English/ Translated in English only.


NOTES

1.0 This PQR shall also be applicable for Bidder(s) already registered with BHEL-PEM-Noida, India (with/ without any technical limit) for subject package, they need to submit credentials for criteria indicated above.
2.0 In case foreign bidder is quoting through an Indian representative, authorisation letter from foreign bidder (i.e. OEM) stating the kind of contract between the two shall be submitted along with the bid.
3.0 In case of foreign bidders having an Indian representative, PQR documents shall be verified for foreign bidder i.e. OEM.
4.0 After satisfactory fulfilment of all the above criteria/ requirement, offer shall be considered for   further evaluation as per NIT and all other terms of the tender.

5.0 Consideration of offer will be subject to end user’s and BHEL approval of bidder.

