## MAIN PRICE FORMAT
1 X 800 MW KOTHAGUDAM TPS
SCHEDULE OF PRICES
PRICE FORMAT-INDIGENOUS BIDDERS
S.NO. | ITEM DESCRIPTION
[A] | CONTROL VALVES COMPLETE WITH SMART POSITIONER AND ALL ACCESSORIES MOUNTED, TUBED AND TERMINATED ON JB |  | QTY/UNIT | UNIT | UNIT EX-WORKS (INR) | TOTAL EX-WORKS (INR) | ED including cess @...% (for self manufactured items only) (INR) | CST @ …..% Against C-form & E1/E2 or VAT @.....% Whichever is applicable (INR) | Service tax@ …….% (INR) | FREIGHT (including service tax, if any ) @ …..% of total ex-works price (INR) | TOTAL F.O.R SITE PRICE (INR)
S. No. | TAG NO. | SERVICE |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7
1 | ASV-8 | D/A PEGGING FROM AUX. STEAM HEADER | 1 | No
2 | CRHV-6 | D/A PEGGING FROM CRH LINE | 1 | No
3 | CDV-22/25 | MAIN CONDENSATE CONTROL | 2 | No
4 | CDV-40 | GSC MIN. FLOW RECIRCULATION | 1 | No
5 | CDV-46 | EXCESS RETURN TO CST | 1 | No
6 | CDV-67 | CONDENSATE SPRAY TO FLASH TANK-B | 1 | No
7 | CDV-72 | CONDENSATE FOR VALVE GLAND SEALING | 1 | No
8 | DRV-14/20 | HPH-7A/7B NORMAL DRAIN TO HPH-6A/6B | 2 | No
9 | DRV-17/23 | HPH-7A/7B ALT. DRAIN TO F/T-A | 2 | No
10 | DRV-27/34 | HPH-6A/6B NORMAL DRAIN TO DEAERATOR | 2 | No
11 | DRV-30/37 | HPH-6A/6B ALT. DRAIN TO F/T-A | 2 | No
12 | DRV-58 | LPH-3 ALT. DRAIN TO F/T-B | 1 | No
13 | DRV-73 | DEAERATOR OVERFLOW TO F/T-B | 1 | No
14 | DRV-2/8 | HPH-8A/8B NORMAL DRAIN TO HPH-7A/7B | 2 | No
15 | DRV-5/11 | HPH-8A/8B ALT. DRAIN TO F/T-A | 2 | No
16 | DRV-40 | LPH-4 NORMAL DRAIN TO LPH-2 | 1 | No
17 | DRV-43 | LPH-4 ALT. DRAIN TO F/T-B | 1 | No
18 | DMV-2 | DM NORMAL MU TO HOTWELL | 1 | No
19 | DMV-5 | DM EMERGENCY MU TO HOTWELL | 1 | No
20 | FDV-8 | LOW LOAD FEED CONTROL | 1 | No
21 | DRV-52 | DRIP PUMP DISCHARGE CONTROL | 1 | No
22 | DRV-78 | LPH-2A&2B NORMAL DRAIN TO DC-1 | 1 | No
23 | DRV-81 | LPH-2A&2B ALT. DRAIN TO F/T-B | 1 | No
[B] | 360 METER OF ¼” SS TUBING FOR CONNECTION BETWEEN IA HEADER ON ONE END AND ACCESSORIES ON THE OTHER END OF CV |  | 360 | meter
[C] (i) | 1 LOT OF SS FITTINGS FOR CONNECTION TO AIR FILTER REGULATOR (AS PER HOOK-UP DIAGRAM) |  | 1 | Lot
(ii) | 1 LOT OF SS FITTINGS FOR CONNECTION TO AIR LOCK RELAY (AS PER HOOK-UP DIAGRAM) |  | 1 | Lot
(iii) | 1 LOT OF SS FITTINGS FOR CONNECTION TO IA HEADER ISOLATION VALVE (AS PER HOOK-UP DIAGRAM) 1 LOT OF SS EQUAL TEE (AS PER HOOK-UP DIAGRAM) |  | 1 | Lot
(iv) | 1 LOT OF SS EQUAL TEE (AS PER HOOK-UP DIAGRAM) |  | 1 | Lot
[D] | START-UP/COMMISSIONING SPARES (Refer annexure-II) |  | 1 | Set
[E] | Cv TEST CHARGES FOR EACH TYPE OF CONTROL VALVE (Refer annexure-III) |  | 1 | Lot
[F] | ADVANCE DIAGNOSTIC FEATURES SOFTWARE (FOR ALL TAGS) SOFTWARE FOR CONFIGURATION, DIAGNOSTIC, CALIBRATION & TESTING |  | 1 | No.
[G] | UNIVERSAL HAND HELD HART CALIBRATOR |  | 1 | No.
[H] | PC (INDUSTRIAL GRADE) |  | 1 | No.
[I] | MANDATORY SPARES AS PER LIST ENCLOSED IN SECTION D (Refer annexure-I) |  | 1 | Lot
[J] | DOCUMENTATION CHARGES FOR FINAL DOCUMENTS & SOFT COPIES |  | 1 | Set
TOTAL (A+B+C+D+E+F+G+H+I+J)

## Mandatory Spares Annexure-I
1 X 800 MW KOTHAGUDAM TPS
SCHEDULE OF PRICES
PRICE FORMAT-INDIGENOUS BIDDERS
ANNEXURE-I
D | MANDATORY SPARES FOR CONTROL VALVES |  | 1 | 2 | 3 | 4 | 5
S.No | ITEM DESCRIPTION | QUANTITY | TOTAL EX-WORKS (INR) | ED including cess @...% (for self manufactured items only) (INR) | CST @ …..% Against C-form & E1/E2 or VAT @.....% Whichever is applicable (INR) | FREIGHT (including service tax, if any ) @ …..% of total ex-works price (INR) | TOTAL F.O.R SITE PRICE (INR)
1 | Plot Relay | 1 set for each valve
2 | Actuator Diaphragm | 1 no.for each valve
3 | Feedback Linkage | 1 no.for each valve
4 | Smart Positioners | 10% of total quantity of each model / type
5 | I/P Converters (if any) | 10% of total quantity or minimum 15 nos.
6 | Complete Consumables for Valve Viz. O-ring, Gland Packing, Packing Ring, Bonnet Seal etc | 2 Sets each size, rating, type
7 | Valve Disc | 2 Sets each size, rating, type
8 | Valve Spindle | 2 Sets each size, rating, type
9 | Valve Seat | 2 Sets each size, rating, type
10 | Bush | 2 Sets each size, rating, type
11 | Guide | 2 Sets each size, rating, type
12 | Guide Bush | 2 Sets each size, rating, type
13 | Coupling Nut | 2 Sets each size, rating, type
14 | Actuator Piston with Rod & Seal | 2 Sets each size, rating, type
15 | Control valve stem packing and spare operator moulded rubber diaphragms | 1 set for each size, rating, type
16 | Valve trim (including cage, plug, stem, seat rings, guide bushings etc.) for each of the control valves as offered. | 1 set for each size, rating, type
17 | Solenoid valves, position transmitters, limit switches, I/P convertors, positioners etc of each type | 10% of total Quantity spare with minimum 1 no. for each size, rating, type
TOTAL
NOTES: The quantity to be reckoned for % indicated shall be rounded off to the next higher whole number. For example if the % of total quantity arrived is 0.2, the quantity to be supplied shall be 1 and if the % of total quantity is 5.1, the quantity to be supplied shall be 6.

## C Spares Annexure-II
1 X 800 MW KOTHAGUDAM TPS
SCHEDULE OF PRICES
PRICE FORMAT-INDIGENOUS BIDDERS
ANNEXURE-II
E | COMMISIONINIG SPARES FOR CONTROL VALVES |  |  | 1 | 2 | 3 | 4 | 5 | 6
S.No | TAG No | ITEM DESCRIPTION | QUANTITY | UNIT EX-WORKS (INR) | TOTAL EX-WORKS (INR) | ED including cess @...% (for self manufactured items only) (INR) | CST @ …..% Against C-form & E1/E2 or VAT @.....% Whichever is applicable (INR) | FREIGHT (including service tax, if any ) @ …..% of total ex-works price (INR) | TOTAL F.O.R SITE PRICE (INR)
E1 | Gaskets
1 | ASV-8 | D/A PEGGING FROM AUX. STEAM HEADER | One (1) set with each control valve Tag
2 | CRHV-6 | D/A PEGGING FROM CRH LINE | One (1) set with each control valve Tag
3 | CDV-22/25 | MAIN CONDENSATE CONTROL | One (1) set with each control valve Tag
4 | CDV-40 | GSC MIN. FLOW RECIRCULATION | One (1) set with each control valve Tag
5 | CDV-46 | EXCESS RETURN TO CST | One (1) set with each control valve Tag
6 | CDV-67 | CONDENSATE SPRAY TO FLASH TANK-B | One (1) set with each control valve Tag
7 | CDV-72 | CONDENSATE FOR VALVE GLAND SEALING | One (1) set with each control valve Tag
8 | DRV-14/20 | HPH-7A/7B NORMAL DRAIN TO HPH-6A/6B | One (1) set with each control valve Tag
9 | DRV-17/23 | HPH-7A/7B ALT. DRAIN TO F/T-A | One (1) set with each control valve Tag
10 | DRV-27/34 | HPH-6A/6B NORMAL DRAIN TO DEAERATOR | One (1) set with each control valve Tag
11 | DRV-30/37 | HPH-6A/6B ALT. DRAIN TO F/T-A | One (1) set with each control valve Tag
12 | DRV-58 | LPH-3 ALT. DRAIN TO F/T-B | One (1) set with each control valve Tag
13 | DRV-73 | DEAERATOR OVERFLOW TO F/T-B | One (1) set with each control valve Tag
14 | DRV-2/8 | HPH-8A/8B NORMAL DRAIN TO HPH-7A/7B | One (1) set with each control valve Tag
15 | DRV-5/11 | HPH-8A/8B ALT. DRAIN TO F/T-A | One (1) set with each control valve Tag
16 | DRV-40 | LPH-4 NORMAL DRAIN TO LPH-2 | One (1) set with each control valve Tag
17 | DRV-43 | LPH-4 ALT. DRAIN TO F/T-B | One (1) set with each control valve Tag
18 | DMV-2 | DM NORMAL MU TO HOTWELL | One (1) set with each control valve Tag
19 | DMV-5 | DM EMERGENCY MU TO HOTWELL | One (1) set with each control valve Tag
20 | FDV-8 | LOW LOAD FEED CONTROL | One (1) set with each control valve Tag
21 | DRV-52 | DRIP PUMP DISCHARGE CONTROL | One (1) set with each control valve Tag
22 | DRV-78 | LPH-2A&2B NORMAL DRAIN TO DC-1 | One (1) set with each control valve Tag
23 | DRV-81 | LPH-2A&2B ALT. DRAIN TO F/T-B | One (1) set with each control valve Tag
E2 | Gland Packing
1 | ASV-8 | D/A PEGGING FROM AUX. STEAM HEADER | One (1) set with each control valve Tag
2 | CRHV-6 | D/A PEGGING FROM CRH LINE | One (1) set with each control valve Tag
3 | CDV-22/25 | MAIN CONDENSATE CONTROL | One (1) set with each control valve Tag
4 | CDV-40 | GSC MIN. FLOW RECIRCULATION | One (1) set with each control valve Tag
5 | CDV-46 | EXCESS RETURN TO CST | One (1) set with each control valve Tag
6 | CDV-67 | CONDENSATE SPRAY TO FLASH TANK-B | One (1) set with each control valve Tag
7 | CDV-72 | CONDENSATE FOR VALVE GLAND SEALING | One (1) set with each control valve Tag
8 | DRV-14/20 | HPH-7A/7B NORMAL DRAIN TO HPH-6A/6B | One (1) set with each control valve Tag
9 | DRV-17/23 | HPH-7A/7B ALT. DRAIN TO F/T-A | One (1) set with each control valve Tag
10 | DRV-27/34 | HPH-6A/6B NORMAL DRAIN TO DEAERATOR | One (1) set with each control valve Tag
11 | DRV-30/37 | HPH-6A/6B ALT. DRAIN TO F/T-A | One (1) set with each control valve Tag
12 | DRV-58 | LPH-3 ALT. DRAIN TO F/T-B | One (1) set with each control valve Tag
13 | DRV-73 | DEAERATOR OVERFLOW TO F/T-B | One (1) set with each control valve Tag
14 | DRV-2/8 | HPH-8A/8B NORMAL DRAIN TO HPH-7A/7B | One (1) set with each control valve Tag
15 | DRV-5/11 | HPH-8A/8B ALT. DRAIN TO F/T-A | One (1) set with each control valve Tag
16 | DRV-40 | LPH-4 NORMAL DRAIN TO LPH-2 | One (1) set with each control valve Tag
17 | DRV-43 | LPH-4 ALT. DRAIN TO F/T-B | One (1) set with each control valve Tag
18 | DMV-2 | DM NORMAL MU TO HOTWELL | One (1) set with each control valve Tag
19 | DMV-5 | DM EMERGENCY MU TO HOTWELL | One (1) set with each control valve Tag
20 | FDV-8 | LOW LOAD FEED CONTROL | One (1) set with each control valve Tag
21 | DRV-52 | DRIP PUMP DISCHARGE CONTROL | One (1) set with each control valve Tag
22 | DRV-78 | LPH-2A&2B NORMAL DRAIN TO DC-1 | One (1) set with each control valve Tag
23 | DRV-81 | LPH-2A&2B ALT. DRAIN TO F/T-B | One (1) set with each control valve Tag
TOTAL (E1 + E2)
NOTES: The quantity to be reckoned for % indicated shall be rounded off to the next higher whole number. For example if the % of total quantity arrived is 0.2, the quantity to be supplied shall be 1 and if the % of total quantity is 5.1, the quantity to be supplied shall be 6.

## CV Test Annexure-III
1 X 800 MW KOTHAGUDAM TPS
SCHEDULE OF PRICES
PRICE FORMAT-INDIGENOUS BIDDERS
ANNEXURE-III
F | CV TEST CHARGES |  | 1 | 2 | 3 | 4 | 5
S.No | TAG No | SERVICE | TOTAL EX-WORKS (INR) | ED @ ------ (INCLUDING CESS) (INR) | CST @ …..% Against C-form & E1/E2 or VAT @.....% Whichever is applicable (INR) | SERVICE TAX @ ________% (INR) | TOTAL F.O.R SITE PRICE (INR)
1 | ASV-8 | D/A PEGGING FROM AUX. STEAM HEADER
2 | CRHV-6 | D/A PEGGING FROM CRH LINE
3 | CDV-22/25 | MAIN CONDENSATE CONTROL
4 | CDV-40 | GSC MIN. FLOW RECIRCULATION
5 | CDV-46 | EXCESS RETURN TO CST
6 | CDV-67 | CONDENSATE SPRAY TO FLASH TANK-B
7 | CDV-72 | CONDENSATE FOR VALVE GLAND SEALING
8 | DRV-14/20 | HPH-7A/7B NORMAL DRAIN TO HPH-6A/6B
9 | DRV-17/23 | HPH-7A/7B ALT. DRAIN TO F/T-A
10 | DRV-27/34 | HPH-6A/6B NORMAL DRAIN TO DEAERATOR
11 | DRV-30/37 | HPH-6A/6B ALT. DRAIN TO F/T-A
12 | DRV-58 | LPH-3 ALT. DRAIN TO F/T-B
13 | DRV-73 | DEAERATOR OVERFLOW TO F/T-B
14 | DRV-2/8 | HPH-8A/8B NORMAL DRAIN TO HPH-7A/7B
15 | DRV-5/11 | HPH-8A/8B ALT. DRAIN TO F/T-A
16 | DRV-40 | LPH-4 NORMAL DRAIN TO LPH-2
17 | DRV-43 | LPH-4 ALT. DRAIN TO F/T-B
18 | DMV-2 | DM NORMAL MU TO HOTWELL
19 | DMV-5 | DM EMERGENCY MU TO HOTWELL
20 | FDV-8 | LOW LOAD FEED CONTROL
21 | DRV-52 | DRIP PUMP DISCHARGE CONTROL
22 | DRV-78 | LPH-2A&2B NORMAL DRAIN TO DC-1
23 | DRV-81 | LPH-2A&2B ALT. DRAIN TO F/T-B
NOTES: A) CHARGES TO BE INDICATED AGAINST EACH TAG NO. B) CV TEST TO BE CONDUCTED FOR ONE PER TYPE PER SIZE, CV VALUE. TAG NOS. TO BE GROUPED ACCORDINGLY AND INDICATED C) Cv TEST NEEDS TO BE CONDUCTED FOR ALL TYPES OF CONTROL VALVES. Cv TYPE TEST CERTIFICATE IS NOT ACCEPTABLE.

## CONTROL VALVE ACCESSORIES
1 X 800 MW KOTHAGUDAM TPS
SCHEDULE OF PRICES
PRICE FORMAT-INDIGENOUS BIDDERS
S.No | ITEM DESCRIPTION | UNIT Price (INR)
CONTROL VALVE ACCESSORIES
1. $ | SMART POSITIONER EACH MODEL AND TYPE
2 | AIR FILTER REGULATOR
3 | AIR LOCK RELAY
4. $ | POSITION LIMIT SWITCH OF EACH MODEL AND TYPE
5 | ELECTRONIC POSITION TRANSMITTER OF EACH MODEL AND TYPE
6 | SOLENOID VALVE
7 | VOLUME BOOSTER (PNEUMATIC RELAY)
8. $ | PRESSURE GAUGES OF EACH TYPE
9 | JUNCTION BOX (36 WAYS)
10 | HANDWHEEL
11. $ | ACTUATOR OF EACH TYPE
12 | SS FITTING FOR CONNECTION TO AIR FILTER REGULATOR
13 | SS FITTING FOR CONNECTION TO AIR LOCK RELAY
14 | SS FITTINGS FOR CONNECTING TO AIR HEADER
15 | SS EQUAL TEE
16 | ¼” SS TUBING PER METRE
17. $ | VALVE STEM WITH PLUG & SEAT RING EACH SIZE & TYPE
18. $ | GASKET OF EACH SIZE AND TYPE
19. $ | BODY SEAL GASKETS OF EACH SIZE AND TYPE
20. $ | CAGE OF EACH SIZE AND TYPE
21. $ | GLAND PACKING EACH SIZE AND TYPE
22. $ | VALVE TRIM OF EACH SIZE AND TYPE
23. $ | DIAPHRAM OF EACH SIZE AND TYPE
24. $ | SEAL BOX “O” RING OF EACH TYPE AND SIZE
25. $ | COLOR “O” RING OF EACH TYPE AND SIZE
26 | POSITION TRANSMITTER
27 | HAND HELD UNIVERSAL HART CALIBRATOR
28 | DIAGNOSTIC SOFTWARE
NOTE:
$: Separate list to be attached for each size and type of these control valve accessories.