Enquiry No:-354E086,  Dt.: 31.07.14
Enquiry No:-354E086,  Dt.: 31.07.14

                                                                                                             BHEL/TBG/ETC/01-04 
BHARAT HEAVY ELECTRICALS LTD.

(TRANSMISSION BUSINESS GROUP)

    TERMS & CONDITIONS FOR INSTALLATION SEVICES 
                                NOTE:  This format is to be submitted in original only, duly filled in. Reproduction of  
                                             this  format on bidder’s letter head or on other paper is not  acceptable. 

	Sl.

No.
	Terms & Conditions

	1.0
	SCOPE OF WORK:

	
	The scope of work of the successful tenderer shall comprise but not limited to the following:

	1.1
	Receipt of equipment / material at site, unloading, handling, transportation to storage area.

	1.2
	Inspection/ verification of equipment/ materials received for any shortage/ damage after opening the packing cases and intimating the same to BHEL/ Owner and underwriters within the time period specified by BHEL and to strictly follow the procedures specified. Storage of equipment indoor / open stores in line with the instruction of the BHEL.

	1.3
	Conservation/ maintenance/ upkeep of the equipment in the store.

	1.4
	Temporary lighting in stores and construction area wherever required for their work.

	1.5
	Safety/ Security of equipments/ materials.

	1.6
	Transportation of equipment/ materials from stores to erection site, erection of equipment/ materials in line with the drawings/ instructions to be furnished by BHEL, testing and commissioning and handing over.

	1.7
	Maintenance of associated equipment till handing over, any other activity necessary for completion of the job but not specifically mentioned in this specification.

	1.8
	Unloading/ Transportation/ Storing/ Up keeping and handing over of spare items/ equipment.

	2.0
	TESTING AND COMMISSIONING :

	2.1
	All the electrical / mechanical test of the materials and equipment shall be arranged by the contractor as per standard specification / Field Quality Plan / Erection Manual / Directive of the Site Engineer/ and Owner. The contractor shall fill the check list for storage, erection, testing and commissioning of all their equipment as per BHEL systems to ensure proper quality of work.

	2.2

	All the testing equipment required to carry out the site test for all their equipment or the erected equipment shall be arranged by the contractor at his own cost. However, necessary instructions and guidelines will be given by BHEL/Owner.

	2.3
	The contractor shall be completely responsible for the satisfactory erection and providing test equipment and skilled manpower for testing, commissioning of all equipment.

	2.4
	Before charging, the system shall have to be approved by Statutory Govt. Authorities like Electrical Inspector, other concerned agency and the contractor has to arrange  approval for the same.


	SL.

No.
	Terms & Conditions

	3.0

	CONSUMABLES:

	3.1
	The contractor shall provide adequate inventory of necessary consumables at Site prior to erection so that timely completion of the works under the contract is not held up due to non availability of spares/ consumables.

	4.0
	COMMENCEMENT OF WORK:

	
	Project start / zero date for this work shall be issue date of letter of intent or as specified in P.O.

	5.0
	COMPLETION SCHEDULE:

	5.1
	The entire work under this tender is required to be completed as specified in NIT / Enquiry.

	6.0
	OVER RUN CHARGES:      

	6.1
	No over run charges are payable.

	7.0
	IDLE LABOUR CHARGES:

	7.1
	No idle labour charges will be admissible in the event of any stoppage of work resulting in the contractor's workmen being rendered idle due to any reason at any time.

	8.0
	SECURITY-CUM-PERFORMANCE GUARANTEE:

	8.1
	The contractor shall furnish security-cum-performance  BG for 10% of total contract value within  two weeks  of placement of work order  valid till guarantee  period  on a non-judicial stamp paper  of appropriate  value from a nationalised  bank or any  scheduled bank as per RBI  guidelines ( excluding  cooperative bank) in the prescribed format . The BG should be sent  directly  by your  banker to  us.

	9.0
	INSURANCE:

	9.1
	The Contractor shall take insurance cover(s) to cover his Tools and Plant assets, workman compensation and third party liability. The contractor shall make available the original insurance cover(s) to the Engineer for necessary verification before commencement of work.

	10.0
	QUANTITY VARIATION:

	10.1
	In case of item rate contract, the contract value is subject to variation based on the actual quantity executed within + 30%. Quantities of individual items may vary to any extent or may get deleted. No compensation is payable due to variation in quantity. If the work is to be executed on “Lumpsum” basis for the Package, no variation of contract value shall be admissible to the contractor within the scope of contract, as long as the inputs remain unchanged. In case of change in scope after award of the contract, the additions/ deletions to the scope shall be settled at mutually agreed rates.

	11.0
	GUARANTEE:

	11.1

	Though the work will be carried out under the supervision of BHEL Engineers, the contractor shall be responsible for the quality of the workmanship and shall guarantee the work done for a period of 15 months from the date of putting the complete system into commercial operation or 18 months from the date the system is declared completely  erected, duly tested and accepted by customer, whichever is later and shall rectify free of cost all defects due to faulty erection detected during the guarantee period  starting from the date of the completion of  rectification. In the event of the contractor failing to repair the defective works within the time specified by the engineer, BHEL may proceed to undertake the repairs of such defective works at the contractor's risk and cost without prejudice to any other rights under the contract and recover the same from security deposit/ other dues of this project or any other project executed by the contractor. 


	Sl No.
	Terms & Conditions

	12.0
	TERMS  OF PAYMENT:

	
	The terms of payment shall be as under unless specified elsewhere.

	12.1
	No mobilisation advance  is payable

	12.2
	70% of the contract price on the monthly progressive bills on pro-rata basis for the unloading,  storage and  erection work completed as certified by BHEL, Engineer.

	12.3
	20% after testing of equipments on pro-rata basis & completion of satisfactory commissioning.

	12.4
	10% of the contract price after acceptance test, retest if any,  PG Test and handing over. 

	12.5
	The payment due to the contractor shall be released after deducting income tax wherever  deductible  at source as per Indian. Income tax act and  BHEL will issue appropriate certificate to the contractor  after tax  deduction.

	12.6
	All taxes including  sales tax, works tax, service tax etc., if any shall be to the contractor’s  account. All charges on account of Octroi, Terminal tax and / or other duties on materials obtained for the work shall be borne by the contractor.

	13.0

	ESCALATION / PRICE VARIATION:

	13.1
	Prices shall be firm for total contract period and extended period, if any, and no price escalation / price variation will be applicable.

	14.0

	COMPENSATION FOR DELAY IN EXECUTION:

	14.1
	In case the contractor fails to complete the work within the time specified or any extension thereof subject to force major condition, the contractor shall be liable to pay by way of compensation, a sum equal to half percent (½%) of the contract price, per calendar week or part thereof by which the commissioning is delayed, subject to a ceiling of 10% of the contract price. 


	15.0
	FACILITIES TO BE PROVIDED AT SITE BY THE CONTRACTOR:

	15.1
	Watch and ward for the stores and safe custody of the equipment in the scope of Contractor shall be their responsibility.



	15.2
	It is the responsibility of the contractor to dismantle and take away all the materials of his office accommodation as soon as the work is handed over to BHEL/Owner and clean the area of debris.

	16.0
	ADDITIONAL EXPENDITURE:

	16.1
	In case any additional expenditure is incurred in the works arising out of the faulty execution of the works by the contractor, such additional expenditure shall be borne by the contractor.



	17.0
	REGULATION OF LOCAL AUTHORITIES  AND STATUS :

	17.1
	The contractor  shall comply with all state and central laws, statutory rules, regulations etc., such as : The payment  of wages to, the minimum wages Act. The workmen  compensation Act., The  employees liability Act., The industrial dispute Act., the employees  provident  fund  Act., Employees state insurance scheme, The contract labour (regulation & abolition) Act 1970 and other Acts, Rules and  regulations  for  labour  as  may be enacted by the  Government  during the tenure of the contract  and   having  in force  or jurisdiction  at site. The  contractor   shall   given   to  the   local Governing Body, Police and other concerned Authorities all such notice as may be required under law.


	Sl.

No.
	Terms & Conditions

	17.2
	The contractor, as required, will obtain independent license under the contract labour (Regulations and Abolition) Act. 1970 from the concerned authorities based on the certificate (Form-V) issued by the principal Employer/ Customer.

	17.3
	The contractor shall pay all taxes, fees, license charges deposits, duties, tolls, royalty, commissions or other charges which may be leviable on account of any of his operations connected with this contract. In case BHEL is forced to make any of such payments, BHEL shall recover the same from the contractor either from moneys due to him or otherwise as deemed fit.

	18.0
	DISCIPLINE OF WORKMEN:

	18.1
	The contractor shall adhere to the disciplinary procedure set by the owner in respect of his employees and workman at site.

	19.0
	ELECTRICITY &WATER:

	19.1
	Electricity for construction work shall be provided at one point on free of cost basis. The contractor shall have to make their own arrangements for distribution to various locations for their works including proper switch/fuse units, distribution boards, cables poles etc. to ensure safety of men and equipment. If  required the contractor shall employ diesel operative equipment in addition to electric operated ones to ensure timely completion of work. 


	19.2
	Unless stated otherwise, the contractor shall make his own adequate arrangement for procuring clear water to be used in various works.

	20.1
	FORCE  MAJEURE:              

	20.2
	The following shall amount to force majeure conditions: 

Acts of God, Act of any Government, war, sabotage, riots, civil commotion, Police action, revolution, flood, fire, cyclone, earthquake, epidemic and other similar causes, over which the contractor has no control.

	21.0

	ARBITRATION:

	21.1

	In case of any dispute, a sole arbitrator will be appointed by BHEL and whose decision would be final and binding on both the parties. The place of arbitration shall be any Indian city as decided by BHEL.

	22.
	VALIDITY OF OFFER:

	22.1
	The offer shall be valid for 120 days from the date of opening. 


We understand that the bids having deviation (s) w.r.t tender are to be out rightly rejected. BHEL, however at their discretion,  if consider the bid, have undisputable right to load the prices for price comparison as they deem fit.
                                                                                                                          Signature of Supplier

                                                                                                                                                 With seal 
Page 1 of 4
PAGE  
Page 3 of 4

