1/30 
BHARAT HEAVY ELECTRICALS LIMITED 

(A Government of India Undertaking) 
P.O. BHEL Jhansi 284120 

Department: Works Engineering & Services
TENDER DOCUMENT FOR THE WORK OF
Laying of HT Cable in BHEL Jhansi Factory and Township (Work contract).
(Total Pages: 30 Nos.)

Tender Enquiry No.WEX/TE/5/17/,Dt.22.02.2016
Due date of Tender opening (Only Technical):15.03.2016
------------------------------------------------------------------------------------------------------------- 
I/We agree with the above 

Signature of Contractor with Seal 
AGM (WE&S)

[image: image1.wmf]
2/30 
BHEL JHANSI         
Tender Documents

TENDER ENQUIRY NO: WEX/TE/5/17/


                                   DATE: 22.02.16
DETAILS OF TENDER DOCUMENT
nature of work: Laying of HT Cable in BHEL Jhansi Factory and Township(Work contract).
 1.
BHEL Jhansi is in the process of finalizing the Work Contract for “Laying of HT Cable in BHEL Jhansi Factory and Township “.
 2.
The tender document has been detailed as follows:   

a) Notice Inviting Tender (Annexure A)

b) Work Specifications (Annexure B)

c) Qualifying Requirements (Annexure C)

d) Instruction to Tenderers (Annexure D)

e) Tender Evaluation Criteria (Annexure E)

f) Contractor’s obligations (Annexure F)

g) Other General Terms and Conditions (Annexure G)

h) Criteria for measurement of work (Annexure H)

i) Technical Bid Application (Annexure I)

j) Price Bid ( Annexure J)
k) Blank/un-coated price bid ( Annexure K)
l) Guidelines for dealing with discrepancy in words and numbers in price bid.(Annexure L)

The duly filled in Technical and Price / Rate bids (Annexure I and J, separately) along with the instructions to the tenders, Contractor’s Obligations, General Terms and Conditions with the signature of the tender on all the pages and complete in all respects super scribed as            “Quotation for Tender No. WEX/TE/5/17/ dated 22.02.16” should reach us in a sealed cover on or before 15.03.2016 (13.15 hours) through Registered / Speed post or the same may be dropped in the tender box available at the following address:

CISF Control Room/Office

Administrative Building

Bharat Heavy Electricals Limited

Jhansi-284 129.

Note: Dropping of tender in the Tender Box within schedule time and date is the  

           responsibility of the bidder. 
------------------------------------------------------------------------------------------------------------- 
I/We agree with the above 

Signature of Contractor with Seal 
AGM (WE&S)

3/30 
BHEL – JHANSI
Tender Documents

TENDER ENQUIRY NO: WEX/TE/5/17/




          DATE: 22.02.16
NOTE :  TECHNICAL BID AND PRICE BID SHOULD BE SUBMITTED IN SEPARATE SEALED ENVELOPES, IN CASE THE BIDS FOUNDS IN ONE SINGLE ENVELOPE THEN THE “BIDS” ARE LIABLE TO BE REJECTED. 

CONTENTS

	Sl. No. 
	Description
	ANNEXURE NO
	No. of Pages

	01.
	Notice Inviting Tender
	A
	2



	02.
	Work Specifications
	B
	2


	03.
	Qualifying Requirements
	C
	1

	04
	Instructions to Tenderers
	D
	1



	05.
	Tender Evaluation Criteria
	E
	1



	06.
	Contractors obligations
	F
	2



	07.
	Other General Terms & Conditions
	G
	12



	08
	Criteria for measurement of work
	H
	1



	09
	Technical Bid
	I
	2



	10
	Price Bid
	J
	1

	11
	Blank/un-coated price bid
	K
	1

	12
	Guidelines for dealing with discrepancy in words and numbers in price bid.
	L
	1


------------------------------------------------------------------------------------------------------------- 
I/We agree with the above 

Signature of Contractor with Seal 
AGM (WE&S)

4/30 











                 BHEL - JHANSI         







                  Annexure 'A'
Tender Documents                                                                                                                             Page 01 of 02
NOTICE INVITING TENDER 

TENDER ENQUIRY NO: WEX/TE/5/17/                                                                                 DATE:22.02.16
1. Scope of work:- Laying of HT Cable in BHEL Jhansi Factory and Township(Work Contract) .

2.  Tender Evaluation Criteria


:
As per Annexure – E
  3.  Duration of the Contract                               :

One Year or completion of total work which       ever is earlier.
4.  Other specific requirements                          :

As per Tender

5.  Last date of receipt of the Tender                 :       
up to 13:15 hours on 15.03.2016
7.  Date of opening of Techno                           :

14:00 hours on 15.03.2016
     Commercial Bid          
 8.  Address for receipt/issue of Tender             :   
 
Bharat Heavy Electricals Limited 


   Documents




     
Jhansi
9.   Earnest Money Deposit
       
        
:
 -----Nil----
	Payable in the form of Demand Draft/ Banker’s Cheque in favour of BHEL, Jhansi and copy of receipt may be enclosed along with tender form



	OR

	One time EMD of Rs. 2 Lacs can also be deposited in above form and copy of receipt may be enclosed alongwith tender form



	1. In case of successful tenderer EMD will  

    be converted and adjusted against the  

    security deposit.

2. In case of others the EMD shall be 

    returned within 15 days of acceptance of   

    award of work by the successful  

    tenderer).


------------------------------------------------------------------------------------------------------------- 
I/We agree with the above 

Signature of Contractor with Seal 
AGM (WE&S)


5/30











                 BHEL - JHANSI         







                  Annexure 'A'
Tender Documents                                                                                                                             Page 02 of 02
10. Cost of Tender Document
:
200+ 14.5% VAT= Total Rs.229     
    







 In Words: (Rs. Two  hundred twenty nine only)





(Payable through a Separate Demand Draft   





in favour of  “BHEL, Jhansi” along with 


          




technical bid, in case the documents  





downloaded from website)

11. Security Deposit

:
Security deposit shall be as per 








our work policy para ,8 (refer 








website www.bhel.com) and shall 
`






be deposited before start of work. 







The EMD shall be adjusted with








the actual amount of security 








deposit shall be given in work order

NOTE :  

1.
THE CONTRACTORS MAY PHYSICALLY VISIT THE WORK PLACE BEFORE QUOTING THEIR RATES.

2.
FOR RELEVANT DETAILS PLEASE VISIT OUR WEBSITE “www.bhel.com” & “www.bheljhs.co.in”

------------------------------------------------------------------------------------------------------------- 
I/We agree with the above 

Signature of Contractor with Seal 
AGM (WE&S)

6/30











                 BHEL - JHANSI         







                  Annexure 'B'
Tender Documents                                                                                                                             Page 01 of 02
TENDER ENQUIRY NO: WEX/TE/5/17/
DATE: 22.02.16 
WORK SPECIFICATION
DETAILS OF WORK 
	SL.NO.
	JOB/ACTIVITY                    (Assistance work in)
	MEASUREMENT CRITERIA/UNITS
	QUANTUM OF WORK

	1
	Laying of 11 kV H T cable in BHEL-Jhansi Factory and Township. 
	Mtr
	1200




----------------------------------------------------------------------------------------------------------------------------
I/We agree with the above 

Signature of Contractor with Seal 
AGM (WE&S)

                                                                          7/30











                 BHEL - JHANSI         







                     Annexure 'B'
Tender Documents                                                                                                                             Page 02 of 02
TENDER ENQUIRY NO: WEX/TE/5/17/
           DATE: 22.02.16


                 

Name Of work: Laying of HT Cable in BHEL Jhansi Factory and Township (Work Contract) .
DETAIL OF WORK

1. SCOPE OF WORK:
 1.1        Cable laying work will be done as per instructions given by maintenance in charge. It    includes transportation of cable drums from store to work place , laying of cable  in a buried cable trench sized 450X1000mm deep duly covered with bricks and re-filling with excavated earth and finish up to the existing ground level  in all respect.    
 1.2            Cable will be issued to the contractor free of cost form WE&S store. 

 1.3          After cable laying the empty cable drums or remaining cable in drums should be          
     
 handed-over in WE&S store.

2.
SCOPE OF CONTRACT WORK FACILITY

2.1     Sufficient work force shall be maintained by the contractor for the work   mentioned above. Work shall be done in First shift. However work in second shift may also be done subject to availability of work front and priority of work if any as instructed by the erection in charge .
2.2    Contractor shall maintain all records pertaining to his work.
2.3   All the basic tools shall be arranged by the contractor however welding facilities (cutting/welding machines and welding rods) shall be provided by BHEL free of cost.  

3.0      PERIOD OF CONTRACT

The period of contract will be one year or completion of total work whichever is earlier.

4.0       GENERAL TERMS & CONDITIONS:
4.1 After award of contract, the subjected work shall be started with in one week from the date of award in line with our tender condition.
----------------------------------------------------------------------------------------------------------------------------
I/We agree with the above 

Signature of Contractor with Seal 
AGM (WE&S)
8/30 











                 BHEL - JHANSI         







               Annexure 'C'
Tender Documents                                                                                                                         Page 01 of 02

TENDER ENQUIRY NO: WEX/TE/5/17/
           



DATE: 22.02.16
QUALIFYING REQUIREMENTS

1.
Should have PAN/TAN number Copy of PAN /TAN to be submitted. 
2.
Should have Service Tax number (PAN based) Copy of Certificate issued by Excise 
Dept.

3.
Should have VAT/TIN No. if material is supplied/consumed Certificate Issued by Sales 
Tax Dept to be enclosed.


4.
Self declaration that he is not blacklisted/under hold from BHEL Jhansi or banned by 

any unit/region/office of BHEL. 
5.
Self Declaration that he should not be guilty by a Court of Law in India for any offence 
involving fraud, dishonesty and moral turpitude. 
6. 
Should have independent ESI Code number

7.
Blank Price Bid as per annexure " K" 

8.0    
Average Financial Turnover:

8.1 
Average Annual financial turnover during the last 3 years, ending 31st March 2015 should be at least 0.33 Lakh (Duly audited Financial Statement/ Balance sheet / Certificate from CA to be submitted as a supporting document). Provisional Turnover duly certified by CA, for the year 2014-15 shall also be acceptable. 
 8.2
 If all balance sheets are not available for all three years then the average shall be 
calculated by 
dividing the sum of turnover of submitted balance sheets by three.

 9.0   
Experience of having successfully completed contract in last seven years ending 31st Jan-
16 as 
following:-
a. Three completed contract for the work of maintenance of machine/ plants/installation of electrical facilities in last 7 years ending 31st Jan-16,each costing not less than the amount equal to Rs. 0.45 Lakh.

OR

b. Two completed contract for the work of maintenance of machine/ plants/installation of electrical facilities in last 7 years ending 31st Jan-16,each costing not less than the amount equal to Rs. 0.56 Lakh.

OR

c. One completed contract for the work of maintenance of machine/ plants/installation of electrical facilities in last 7 years ending 31st Jan-16,costing not less than the amount equal to Rs. 0.89 Lakh.

10) 
*Documentary proof (Execution Certificate) for the experience to be submitted along with      Technical Bid. In case of experience in Private Sector relevant TDS Certificate must be attached as evidence. 
11) 
Documentary proof in support of above eligibility criteria along with EMD shall be submitted  along with Techno Commercial Bid at Annexure I. 
----------------------------------------------------------------------------------------------------------------------
I/We agree with the above 

Signature of Contractor with Seal 
AGM (WE&S)


09/30











                 BHEL - JHANSI         







                  Annexure 'D'
Tender Documents                                                                                                                             Page 01 of 01

TENDER ENQUIRY NO: WEX/TE/5/17
           




DATE: 22.02.16
INSTRUCTIONS TO TENDERERS

-
Above tender is in two Bid System (Techno Commercial Bid & Price/ Rate Bid).

1.
The tender is to be processed in two parts viz. 1) Techno Commercial bid 2) and price/rate bid. The Technical Bid Application (Annexure - I) and its enclosures (along with the Contractor’s Obligations, General Terms & Conditions and copies of qualifying requirements ) must be submitted in one sealed envelope superscripted as “Tender for Laying of HT Cable in BHEL Jhansi Factory and Township(Work Contract) . TECHNOCOMMERCIAL bid”.  EMD/Cost of Tender Document or Documents required as per qualifying requirements must be enclosed. The second envelope duly sealed should contain the price bid (Annexure-J) only super scribed as “(Name of Work) Assistance in Coal & Ash handling for Boiler in BHEL Jhansi. PRICE bid”.  Any other enclosures, which the tenderer wishes to submit, must be enclosed with the Technical Bid only. The price bid envelope should contain the rates only. Offers not in line with the above procedure or quoted in any other format is liable to be rejected/by passed.
2.
Both the technical bid and price bid sealed envelopes must be again sent in a single envelope duly sealed and superscribed as “TENDER FOR TENDER NO WEX/TE/5/17, DUE date of OPENING 15.03.2016. The same should be dropped in the tender box kept in the CISF gate of Administrative Building, BHEL, Khailar, Jhansi, within the specified date and time by the representative of the tenderer.  

3.

All tenderers can witness the opening of the Technical Bid. After evaluation of the 
Technical Bid which may involve visit to the tenderer’s / clients place by authorized officials, 
price bids of only those tenderers who are technically found suitable will be opened on a        
subsequent  date   which   will   be   informed  to the concerned whose  technical bid has been  
accepted, in advance for witnessing the Price Bid opening.
4.
All entries   in  the  tender   document  should  be  in one ink. 
Corrections, over writing, cuttings, etc. will not be permitted.  All the 
columns in the tender form should be filled without leaving blank in any page of the tender and all the pages must be duly signed & stamped by the tenderer before submission.

5.
The price / rate should be quoted in figures as well as in words. 
Price quoted in Price Bid shall be inclusive of all taxes & duties, all statutory requirements/liabilities like PF/ESI/Bonus/Min. wages etc. However service Tax shall be payable extra as applicable.

6.
The rate quoted will be valid for the period of contract.

7.
The contract will commence on the date as applicable against the contract and shall be valid as per the validity period of the contract. The contract can be extended further on mutually agreed terms and conditions.

----------------------------------------------------------------------------------------------------------------------------
I/We agree with the above 

Signature of Contractor with Seal 
AGM (WE&S)


10/30











                 BHEL - JHANSI         







                  Annexure 'E'
Tender Documents                                                                                                                             Page 01 of 01

TENDER ENQUIRY NO: WEX/TE/5/17/
           




DATE:22.02.16
TENDER EVALUATION CRITERIA

The evaluation of the Tender will be carried out as follows:

1. BHEL officials may visit the tenderer’s office & their client’s place to evaluate the capability and assess the performance. Capability of the Contractor will be assessed on the basis of employees including supervisors on their rolls, machinery, equipments in its possession, previous track record, experience in other organizations, etc.

2. Successful techno commercial qualified tenderers after the above process only will be invited for opening of the rate / price bid.

3. The contractor shall be awarded the work on over all L-1 bases if otherwise not specified in the tender.

----------------------------------------------------------------------------------------------------------------------------
I/We agree with the above 

Signature of Contractor with Seal 
AGM (WE&S)

11/30 











                 BHEL - JHANSI         







                  Annexure 'F'
Tender Documents                                                                                                                             Page 01 of 02

TENDER ENQUIRY NO: WEX/TE/5/17/
           




DATE: 22.02.16
CONTRACTOR’S OBLIGATIONS
A) CONTRACTUAL:-
Towards selection, control and supervision of employees:-
a) Contractor shall decide the number of employees to be deployed for execution of the work awarded to him and he or his authorized representative will be solely entitled to instruct such workers about the manner of carrying out the work as per the prescribed specifications and quality plan. 

b) 
Contractor shall supervise the work allotted to him and to be carried out by his employees.
c)
Contractor to ensure that the employees deployed in the premises of BHEL are physically and mentally fit and do not have any criminal record. Such employees should possess requisite skill, proficiency, qualification, experience etc. acceptable to concerned department.
d)
Contractor to maintain appropriate records of his employees deployed to carry out the job(s). Contractor shall maintain neatly written, complete and legible registers, records, reports and returns for inspection by various authorities at short notice.

e)
Contractor shall ensure Personal Accident Insurance (24x7) policy of Contract Workers from (Govt. under taking company). The coverage shall be of Rs. 5 lakhs per individual. The coverage shall be of 24 Hrs. (Accidental Death cover). The sum assured (Rs. 5 lakhs) shall become payable to the nominee in the event of death of insured person. In the event of death of any contract worker deployed by the contractor without proper insurance cover, the contractor shall be liable to pay   Rs. 5 lakhs to the nominee/ legal heir of such deceased contract worker. In case of extension of contract premium of accidental insurance will be on actual subject  to maximum of Rs. 300/- per individual per quarter. Gate pass of the contract labour shall be issued only after taking the Insurance Cover.

f)
Contractor will ensure that the job is executed through his employees on his rolls and under no circumstances the contractor will deploy any casual employee to carry out the job nor shall sub-contract the job without prior written permission.

g)
Contractor may apply for providing bus pass facility to his workmen. BHEL will consider such applications based on merits and availability of seats. Contractor would be responsible for depositing bus pass charges and penalties (if applied) of his/her workmen/staff etc. BHEL would have the right to deduct/recover the same in case of default by the contractor/supplier. 

h)
Contractor will keep watch on his employees and he will be liable for any pilferage / loss to BHEL due to acts of omission and commission by his employees.  Similarly, liability for any compensation to outsiders on account of any act of omission and commission by the employees deployed by the contractor shall lie exclusively with him.
----------------------------------------------------------------------------------------------------------------------------
I/We agree with the above 

Signature of Contractor with Seal 
AGM (WE&S)


12/30











                 BHEL - JHANSI         







                  Annexure 'F'
Tender Documents                                                                                                                             Page 02 of 02

TENDER ENQUIRY NO: WEX/TE/5/17/
           




DATE: 22.02.16
i)
The contractor has to provide to his workers uniform ( lower dark blue & upper light blue,) shoes, halmet & uniform stiching charges. The uniform should have logo of the contactor’s firm/ company which shall be affixed by the contract labour on the left side of his pocket. The uniform shall be kept in neat, tidy and wearable condition. No reimbursement of uniform, shoes in case of extension of contract.

j)
Contractor to ensure that all precautions are taken for safety of his employees and equipments.

k)
In the event of termination of contract for any reason whatsoever, the contractor shall withdraw all his employees from the establishment of BHEL. In case contractor decides to terminate services of his employees, he should settle all terminal dues required. 

l)
Contractor shall within 5 days of commencement/completion of        workorder submit Form VI-A to RLC office. The first & final bill shall be processed only on clearance regarding submission of Form VI-A & VI-B by contractor.
B )  Towards supply of tools, tackles and materials:-

a)
 Contractor shall provide to his employees all tools, tackles, material, equipments as 


specified in contract and maintain the same to carry out the job under the contract at his 

cost and if necessary may take insurance policy of his worker, material, equipments & 

tools & tackles.
b)
Contractor shall provide shoe, helmet, personal protective equipment & maintain the same 
at his own cost which may be required.  
c)
Contractor shall ensure that his workers wear uniform, shoes, helmet and other required 
safety appliances, apparels / equipments at the work place otherwise deduction @ of 5% 
will be deducted from the bills.
C)    Towards statutory liability:-

a)
As mentioned in the terms and conditions enclosed as Annexure ‘G’ of this contract.
b)
Contractor shall indemnify BHEL against all claims by statutory authorities and losses
under various Labour Laws,  statutes or any civil or criminal law in connection with employees deployed by him.
c) 
Contractor shall be responsible for making payment of wages before expiry of 7 days from 
the last day of wage period (wage period shall be from 1st day of the month to the last date of 
the month) and to ensure disbursement of wages in the presence of the authorities 
representative of contract operating division who shall record under his signature at the end of 
entries in the Register of wages
d)
Contractor to obtain license under the provisions of CL(R&A) Act.
D)    Towards Finance:-


Contractor to arrange his own finance for carrying out the job including supply of tools, tackles and equipments, if required, to his employees, materials, payment of wages to his employees etc.  Rates to be as per price bid.
----------------------------------------------------------------------------------------------------------------------------
I/We agree with the above 

Signature of Contractor with Seal 
AGM (WE&S)


13/30











                 BHEL - JHANSI         







                  Annexure 'G'
Tender Documents                                                                                                                             Page 01 of 12

TENDER ENQUIRY NO: WEX/TE/5/17/
           




DATE: 22.02.16
GENERAL TERMS & CONDITIONS FOR CONTRACTORS FOR DEPLOYMENT OF CONTRACT LABOURS UNDER SERVICE / WORKS CONTRACT.

1
LABOUR LICENCE AND OTHER REQUIREMENTS:-

1.0
Contractor should possess Labour license in case of contractors working in BHEL, Jhansi and deploying 20 or more labours on any day, from the Appropriate Government (Central Govt.) for carrying out the various activities mentioned in the contract document.
1.1
The contractor shall deploy such number of workers in the premises of BHEL, Jhansi, as required for completion of the contract. The workers such deployed shall be his own workers.

1.2
In case the number of labour deployed by the contractor in premises of BHEL Jhansi exceeds the number of labour allowed in the licence then the contractor shall immediately inform the HR and concerned department. The contractor shall also apply to the licensing officer in the region for amendment in the licence within 7 days of exceeding the number of labours mentioned in the licence. 
1.3   
Labour licence and other requirement in case of contractors NOT working in BHEL, Jhansi or has less than 20 workers on his rolls.

1.3.A The contractor should possess valid labour licence issued by  any licensing authority if he  has deployed 20 or more workers in any organization.

1.3.B
After being eligible to apply as above,  if the contractor is awarded the contract then he should apply for Form-V from BHEL to obtain Labour Licence from Appropriate Government and submit the same within one month from the date of award of contract. Till then award will be treated as provisional.

1.4
The contractor shall also have to submit copy of PAN card and last IT return.

1.5
The contractor must possess Service Tax Registration number under relevant code head.

1.6
The contractor should possess VAT/TIN Number if material is supplied/consumed. The contractor should not be disqualified from bidding in case the contractor does not have TIN No.  However, he shall have to produce TIN No. before opening of Price bid. 

1.7
Stamp Duty: Contractor should deposit stamp duty, before start of the 
contract, on 
security deposit   as per Stamp Duty Act.

2.0
APPOINTMENT AND ENTRY IN FACTORY PREMISES:-
2.1
The contractor shall submit the following to HR, contracting 
department and CISF 
(a) The details of the worker proposed to be deployed in Annexure-I.
----------------------------------------------------------------------------------------------------------------------------
I/We agree with the above 

Signature of Contractor with Seal 
   AGM (WE&S)

14/30











                 BHEL - JHANSI         







                  Annexure 'G'
Tender Documents                                                                                                                             Page 02 of 12

TENDER ENQUIRY NO: WEX/TE/5/17/
                            

DATE: 22.02..16
(b) Character certificate issued by District Magistrate’s Office or Proof of remittance of fees for character certificate at District Magistrate’s Office. Further he should submit the character certificate within 60 days failing which he will be discontinued.
 (c)
Copy of employment card issued by contractor to his own worker. – Annexure II
2.2
After submission of documents as in para 2.3, the contractor shall issue photo identity card to the labour and submit to HR department. This identity card shall be forwarded by HR department to CISF, which shall then authorize the labour to enter the factory premises initially for a period of one month. 

2.3
The photo identity card shall have to be revalidated every three month on last working day of the month or any other date fixed to do so. In absence of such revalidation, duly forwarded by HR department, CISF shall not allow any labour to enter the premises of BHEL Jhansi. 
2.4
The contractor shall maintain a register of persons employed by him in the format prescribed under Rule 75 of Contract Labour (R&A) Central Rules. A copy of this format is annexed as annexure III.
2.5      The entry of contactor’s workers in factory premise shall be through biometric/smart cards.    
The contractor shall ensure issuance of biometric/smart card through time office section 
of BHEL Jhansi. After the conclusion of work contract, the contractor shall collect these 
biometric cards from his workers and submit the same to Time office section through 
contracting department. In event of any contract worker leaving the service before 
completion of the contract, the contractor shall insure return of biometric card to BHEL-
Jhansi. In case of non-return of Biometric card, Rs.200/-(Rupees Two Hundred only) per 
card shall be deducted from the security of the contractor. 
3.0 
BILLS PAYMENT , ATTENDANCE AND PAYMENT OF WAGES:-
3.1
The contractor shall pay minimum wages as applicable of the Appropriate Goverment and in addition to minimum wages Rs. 123.08 per day shall also paid to the contract workers. This additional amount will also attract all statutory deduction and payments.

3.2
The contractor shall submit bills to the contracting department on or before 8th of each month.

3.3
The contractor’s bills should be accompanied with the following.


a)
The contractor should maintain attendance register by recording daily attendance duly signed by both contractor & contract worker.



b)
Copy of Measurement Book entries/Statement of work done by the  
                        Contractor
c)
Statement of Minimum Wages of labours deployed  by him under the Service contract, PF/ESI no., statutory deductions etc., in the format as in Annexure IV annexed to these terms and conditions. (Form XVII of Contract Labour (R&A) Rules
d)   
PF and ESI challans for previous month- separate for concerned Service contract. Print of online challan alongwith ECR/Contibution History  of contributing contract workers for PF/ESI duly certified by the contractor.
----------------------------------------------------------------------------------------------------------------------------
I/We agree with the above 

Signature of Contractor with Seal 
   AGM (WE&S)


15/30











                 BHEL - JHANSI         







                  Annexure 'G'
Tender Documents                                                                                                                             Page 03 of 12

TENDER ENQUIRY NO: WEX/TE/5/17/
           




DATE: 22.02.16


e)   
Wage payment sheet for the bill period as per annexure IV.



f) 
Copy of Form-5 and Form-10 (PF monthly returns) submitted 





by contractor to RPFC for billing month.



g)   
Copy of Form 12A-regarding PF remittance



h) 
 List of CL covered under accident insurance policy



i)  
Statement of material supplied by the contractor if any

j)  
Copy of Labour Licence if increase in no. of labours deployed against Work Order if applicable.

k)
Copy of Challan of previous service tax paid  

l)
Proof of Personal Accident Insurance Policy along with bill 

3.4
The executing department shall pass the bills of the contractor, after thorough  checking , alongwith requisite documents the bill in original and Service  Tax Challan & as in para 3.3 above  forward them to Finance through HR department latest by on or before 9th Day of the following month.
         3.5
After checking the Labour Laws compliances with respect to the concerned service contract HR department, after retaining copies of PF and ESI Challans and wage payment sheet pertaining to current month, annexure IV etc., will forward the bill along with requisite documents (the bill in original and Service  Tax Challan) to finance department. Finance department shall on satisfactory compliances of stamp duty charges, service tax and security deposit amount, make payment as per contract. 

3.6
Finance department shall, on satisfactory compliance, and after deduction on account of Security deposit amount and TDS will make payment to the contractor within 10 days of submission of clean bill by the contractor. 

3.7
The contractor shall issue pay slips to his workers, for the month deployed for undertaking activities under the Service contract, at least a day prior to disbursement of wages.
3.8
The contractor shall make payment to the his own labours/contract workers before 
the expiry of the 7th day after the last day of the wage period in respect of which the 
wages are payable. Preferably through bank account for better control & smooth 
disbursement of wages to the employees The payment of wages to the workers                
shall not be subject to payment against the bills by BHEL.

3.9
The contractor shall remit the cheques favouring RPFC and ESI Kanpur with the 

               appropriate banks with such period as stipulated under relevant provisions. Last   

               date for remittance of PF is 15th and that in case of ESI is 21st of each month.

----------------------------------------------------------------------------------------------------------------------------
I/We agree with the above 

Signature of Contractor with Seal 
   AGM (WE&S)


16/30











                 BHEL - JHANSI         







                  Annexure 'G'
Tender Documents                                                                                                                             Page 04 of 12

TENDER ENQUIRY NO: WEX/TE/5/17/
           




DATE: 22.02.16
3.10
The contractor shall make payment of wages to his workers on due date in presence of an authorized representative of contracting department. The authorized representative shall retain a copy of wage payment sheet with him.

3.11
In cases where the payment to the contractor is due only after completion of work and the payment is not made monthly then the contractor shall have to produce documents as enumerated in para 3.3 above, in respect of all workers deployed by him against the contract, for each month separately, along with final bills.

4.0
Provident Fund:-
4.1
The contractor should get independent EPF code before deployment of his contract worker against work contract.

4-2
The Contractor should allot PF account number and get the nomination form, duly filled in, from each worker deployed by him at the time of joining.

4-3
In case the worker already has PF/pension account number, allotted to him, previously, then the contractor shall get the transfer form filled up at the time of joining and send to the office of concerned Regional Provident Fund Commissioner.
4-4
After termination of contract the contractor shall provide due assistance to the labour for withdrawal of PF/pension amount, when 
due.
4.5
The Contractor shall liaison with the PF officials to get the annual PF slips and distribute amongst his own workers. Security deposit shall 
be released only after submission of PF slips of workers.
4.6
PF CONTRIBUTION:- 

Employee’s Contribution

Employer’s Contribution 


12% of Normal wages paid      

PF Contribution


3.67%


(Coverage Rs.15000/- on

Insp/Admn Charages       
0.85%


Employee’s/ Employers
     

Admn/Insp Charges
 
0.01%


Contribution).


   
Pension Fund


 8.33%






     
EDLI Charges

 
0.5%







Total                      
13.36%
4.7
The Contractor shall submit annual returns in Form-6A and Form 3A, 
prescribed 
under statutory EPF scheme, 1952, in respect of each 
worker 

           
 deployed by him with a copy to HR.

----------------------------------------------------------------------------------------------------------------------------
I/We agree with the above 

Signature of Contractor with Seal 
   AGM (WE&S)

17/30











                 BHEL - JHANSI         







                  Annexure 'G'
Tender Documents                                                                                                                             Page 05 of 12

TENDER ENQUIRY NO: WEX/TE/5/17/
           




DATE: 22.02.16
5.0
Employees State Insurance:-
5.1 The Contractor should allot ESI account number and get the nomination form, duly filled in, from each labour deployed by him at the time of joining.
5.2 At the time of joining the contractor shall get the self/family registration form filled by the workers and submit to the local ESI office.
5.3 The contractor shall facilitate collection of issued ESI cards by his worker .
5.4
ESI CONTRIBUTION:-

Employee’s Contribution

Employer Contribution

1.75% of gross wages


4.75% of gross wages

5.5     The Contractor shall submit annual returns in Form-6 prescribed under ESI Act, deployed by him with a copy to HR and finance department

5.6
The Contractor shall produce the following Registers and forms as per Contract Labour (R & A) Rules 1971 for verification by the Executing Officer of the company:-



(a)
Form XII - Register of contractors (Rule74)



(b)
Form XIII - Register of Workmen employed by contractor (Rule 75)



(c)
Form XIV - Employment Card issued by contractor (Rule 76)



(d)
Form XVI - Muster Roll 78(1) (a) (i)



(e)
Form XVII - Register of Wages (Rule 78 (1) (a) (i)



(f)
Form XVIII - Register of wages-cum Muster Roll (in case of weekly 




Payment)



(g)
Form XIX - Wage Slip (Rule 78)(1) (b)

(h)
Form XX - Register of deduction for damages of loss (Rule (78)( 1) (a) (ii)



(i)
Form XXI - Register of fines (Rule 78) (1) (a) (ii)



(j)
Form XXII - Register of advance (Rule 78) (1) (a) (ii)



(k)
Form XXIII - Register of overtime (Rule 78) (1) (a) (iii)



(l)
Form XXIV - Return to be sent by the contractor to licensing officer 




(Rule 82)

5.7
Contractor shall fully comply provisions of various applicable labour laws and all other enactments as applicable for such contracts.
----------------------------------------------------------------------------------------------------------------------------
I/We agree with the above 

Signature of Contractor with Seal 
   AGM (WE&S)


18/30 











                 BHEL - JHANSI         







                  Annexure 'G'
Tender Documents                                                                                                                             Page 06 of 12

TENDER ENQUIRY NO: WEX/TE/5/17/
           




DATE: 22.02.16

6.0
Bonus:-
The contractor shall be liable to pay statutory bonus under payment of Bonus Act, 1965. and submit proof of disbursement along with received copy of Form-D to L.E.O  Office.

7.0
Discipline:-
7.1
The Contractor shall be responsible for the discipline of his own labours deployed under the service contract. In case of any loss to the BHEL Jhansi on account of indiscipline of contract labour then such loss shall be assessed and  recovered from the running bills of the contractor or from the  security deposit.

7.2

The contractor shall not employ any person who has not 
completed his     

               18 years of age and person who has attained 60   years of age.

7.3
The contractor, on advice of authorized BHEL official, shall immediately remove any person employed by him, who may in 
the opinion of such authorized BHEL official is involved in misconduct. Such person shall not be re-employed by the contractor without prior permission. 


8
LEAVE WITH WAGES TO CONTRACT LABOUR :-

8.1
Guidelines as per UP factories Rules 1950 should be strictly observed with regard 
to crediting /availment of leave. Register as prescribed under the said rules should be 
maintained by the contractor.

8.2        The contractor will give three paid National Holidays to his employees.

9.0
INDEMNITY BOND/COMPLIANCE OF LEGAL PROVISION:-
9.1
BHEL Jhansi shall not be liable for any compensation whatsoever in the case of accident / injury to the person employed by the contractor coming in the premises of BHEL Jhansi. Contractor shall pay all claims / compensation / damages / penalty / fine or any amount payable to the individual / authorities payable due to accident / injury to the person employed by the Contractor.
9.2
That BHEL-Jhansi will not, in any manner be responsible for any act, omission or commission of the workers engaged by contractor and no claim in this respect will lie against BHEL-Jhansi. If any such claim 
is made against BHEL-Jhansi by any worker or his heirs engaged/employed by the contractor, which BHEL-Jhansi is obliged to discharge by virtue of any statue or any provision of law and rules due to mere fact of the workers of the contractor working at BHEL- Jhansi premises or otherwise, the contractor will be liable to indemnify/reimburse BHEL-Jhansi all the money paid in addition to the expenses incurred by him. The contractor must indemnify and keep indemnified BHEL- Jhansi against all losses and claims for injuries or damage to any person or property whatsoever which may arise of or in course of the operation of the contract and against all claims, demands, proceedings, damages, cost, charges and expenses whatsoever in respect of contingencies depicted herein shall be deemed as expected risk.

9.3
The Contractor has to make an agreement with BHEL in the format prescribed only on Rs. 100/- Non-Judicial Stamp Paper. 
----------------------------------------------------------------------------------------------------------------------------
I/We agree with the above 

Signature of Contractor with Seal 
   AGM (WE&S)


19/30











                 BHEL - JHANSI         







                  Annexure 'G'
Tender Documents                                                                                                                             Page 07 of 12

TENDER ENQUIRY NO: WEX/TE/5/17/
           




DATE: 22.02.16

10.0
OTHER GENERAL TERMS AND CONDITIONS :-

10.1
Legal compliance:-

The contractor will comply with all the provisions regarding licensing, welfare and health, procedures, maintenance of various records and registers etc., as provided under the contract Labour (Regulation & abolition) Act 1970, rules amendments, orders, notifications there under issued by the Appropriate Government from time to time. For non-compliance of any provisions, statutory compliance under law, the contractor shall be responsible for penalties levied by the appropriate authority under the Act. The contractor shall also be liable to comply with all other Labour and Industrial Laws and such other acts and Statutes  (including Factories Act, Payment of Bonus Act, minimum wages Act, etc.,). Depositing of ESI, PF contribution as may be applicable is the responsibility of the contractor. For any default in compliance, the contractor shall be held responsible. 
  10.2
The work shall be supervised by the contractor or through the authorized   representatives on day to day basis.

  10.3
The Contractor shall compensate BHEL for any loss or damage to the                plant/property, material of BHEL due to his workmen/representatives’ negligence or otherwise during execution of work.
  10.4
In the event of contractor abandoning the work or BHEL revoking the                contract BHEL shall have a right to get incomplete work completed at contractor’s risk and cost. BHEL shall have a right to terminate the contract at any time without assigning any reason thereof.

  10.5
Security deposit will be released on submission of following certificates from departments mentioned as under:-

a.
Completion of work and certification of payment of minimum wages to contract labours from contracting department.

b.   Certificate of compliance of labour laws from HR department.

c.   Certificate of payment of Bonus by Contracting and HR Department

d. 
No dues certificate from contractor regarding Service Tax payment & any other dues liable to remitted by contractor under Financial Laws to Finance department.


e.
In case of non satisfactory performance of the contract, BHEL shall have a right of forfeiting the security deposit. In case of any dispute decision of concerned Head of the Department will be final

11.0
 SETTLEMENT OF DISPUTE/JURISDICTION/ARBITRATION ETC. :-

       

BHEL Reserve the following rights:-



To evaluate the bid as per BHEL policy and Govt. guidelines including CVC / Vigilance 


guidelines by the tender committee duly constituted by BHEL Management. The 



decision of BHEL, Jhansi Management or Tender committee duly approved by 



competent authority shall be final and binding to bidder.


----------------------------------------------------------------------------------------------------------------------------
I/We agree with the above 

Signature of Contractor with Seal 
   AGM (WE&S)


20/30











                 BHEL - JHANSI         







                  Annexure 'G'
Tender Documents                                                                                                                             Page 08 of 12

TENDER ENQUIRY NO: WEX/TE/5/17/
           




DATE: 22.02.16

11.1
 CONFIDENTIALITY 



The parties agree & acknowledge that in the course of their discussions and interaction, BHEL may disclose information of confidential proprietary nature relating to its business, products, know-how, technology, customers, employees and financial to the contractor. Such information shall be considered as confidential. The contract agrees to keep it confidential & secret at all times and not directly or indirectly disclose to any party other than its employees and authorised personnel’s strictly on a need know basis, without the prior written permission of BHEL.

11.2(A) TERMINATION



BHEL reserves the right to Terminate contract awarded for any contravention of statutory provision or any other reasons without assigning any explanation or notice to the contractor. 



11.2(B) SUSPENSION 


BHEL reserves the right to suspend performance of any or all of its obligations under the contract.  Such notice shall specify the obligation of which performance is to be suspended, the effective date of the suspension and the reasons therefore. The  Contractor shall thereupon suspend performance of such obligations until ordered in writing to resume such performance by the same authority that ordered for suspension.


11.3
JURISDICTION
Any matter of dispute arising out of or in connection with this  contract shall be under jurisdiction of Jhansi Court only.  
          
11.4
 ARBITRATION:-

All disputes arising in connection with the contract shall be settled by mutual consultation. If no agreement is reached the dispute shall be settled in accordance with Arbitration and conciliation Act, 1996 and the rules made there under. The dispute shall be referred for arbitration to any arbitrator to be appointed by the Head of the unit (BHEL Jhansi). 

The award of the arbitrator shall be final and binding on both the parties. The venue of the Arbitration shall be at Jhansi in India. The Award to be given by the Arbitration shall be a speaking award. All questions, disputes, differences arising under, out of or in connection with this contract shall be to the exclusive jurisdiction of Jhansi court. 

----------------------------------------------------------------------------------------------------------------------------
I/We agree with the above 

Signature of Contractor with Seal 
   AGM (WE&S)

21/30











                 BHEL - JHANSI         







                  Annexure 'G'
Tender Documents                                                                                                                             Page 09 of 12

TENDER ENQUIRY NO: WEX/TE/5/17/
           




DATE:22.02.16
xsV ikl vkosnu izi=k

¼Bsdsnkj ds deZpkfj;ksa@vkiwfrZdrkZvksa@dksfj;j lsok deZ- vkfn ds mi;ksx gsrq½

1- Bsdsnkj dk uke

-------------------------------------------------------------------------------------------------------

2- dk;Z dk Lo:Ik

-------------------------------------------------------------------------------------------------------

3- dk;Z vkns'k la-@fnukad
-----------------------------------------------------------------------------------------------------

4- dk;Z vkns'k vof/k
------------------------------------------------------------------------------------------------------

5- dk;Z LFky ¼foHkkx½
-------------------------------------------------------------------------------------------------------

6- xsV dk uke ftlls izos'k@ofgZxu gksxk
--------------------------------------------------------------------------------------
lafonk Jfed dk O;fDrxr fooj.k

¼,d ls vf/kd lafonk Jfedkas ds vkosnu gsrq vyx ls lwph layXu djsa½

Lkafonk Jfed dk uke-----------------------------------------------------------tUe frfFk@vk;q------------------------------------

firk dk uke --------------------------------------------------------------------------igpku fpUg--------------------------------------

LFkkbZ irk--------------------------------------------------------------------------------orZeku irk---------------------------------------- 
--------------------------------------------------------------------------------------------------------------------------------------------------------------------

'kSf{kd ;ksX;rk-------------------------------------------------------------------------------------------------------------------------------------

Hkfo"; fuf/k [kkrk la[;k-----------------------------------------------------deZpkjh jk ch fuxe [kkrk la---------------

¼laafonk Jfed ds gLrk{kj@fnuakd½

dkj[kkuk izcU/kd@'kki izHkkjh ds gLrk{kj

     Bsdsnkj ;k mlds lqijokbtj ds gLrk{kj ¼fnukad ,oa eksgj lfgr½                            ¼fnukad ,oa eksgj lfgr½

&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&
vkoafVr xsV ikl la0-------------------------------------------fnukad--------------------------------gLrk{kj vkoaVudrkZ-------

foHkkxk/;{k ek-la-@la-J-iz- izHkkjh ds gLrk{kj
¼fnukad ,oa eksgj lfgr½

&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&&






ds-vkS-lq-c- }kjk Hkjus ds fy,
iklksa ds fopkj/khu jgus rd--------------------------------------ls-----------------------------rd Jh--------------------------------------------fu;kstu------------------------------------------------------------------------------------------------------------------dks dkj[kkus esa izos'k gsrq vuqefr nh tkrh gSA ikl la[;k------------------------------------tkjh gksus dh frfFk ls fnukad-----------------------------------------rd gh oS| gksxh rFkk izR;sd ekg@ rhu ds i'pkr 25 rkjh[k dks ds-vkS-lq-c- }kjk uohd`r fd;k tk;sxkA
gLrk{kj mi dekUMsUV ds-vkS-lq-c- bdkbZ

ch-,p-bZ-,y- >kWlh 
¼m0iz0½
----------------------------------------------------------------------------------------------------------------------------
I/We agree with the above 

Signature of Contractor with Seal 
   AGM (WE&S)

22//308











                 BHEL - JHANSI         







                  Annexure 'G'
Tender Documents                                                                                                                             Page 10 of 12

TENDER ENQUIRY NO: WEX/TE/5/17/
           




DATE: 22.02.16
Form-XIV
(See Rule 76)

Employment Card
1. Name and address of contractor 


:………………………………………………

2. Name of work and location of work


:………………………………………………

3. Name and address of establishment


:………………………………………………

4. In/under which contract is carried out


:………………………………………………

5. Name and address of principal employer 

:………………………………………………

6. Name of workman




:………………………………………………

7. Serial no. in the resister of the workman

:………………………………………………

    Employed. 





:………………………………………………

8. Nature of employment/designation


:……………………………………………….

9. Wage rates with particular s of unit


:………………………………………………

  In case of piece work




:………………………………………………

10. Wage period




:………………………………………………

11. Tenure of employment



:………………………………………………

12. Remark





:………………………………………………

----------------------------------------------------------------------------------------------------------------------------
I/We agree with the above 

Signature of Contractor with Seal 
   AGM (WE&S)

23/30











                 BHEL - JHANSI         







                  Annexure 'G'
Tender Documents                                                                                                                             Page 11 of 12

TENDER ENQUIRY NO: WEX/TE/5/17/
           




DATE:22.02.16
Form-XIV

(See Rule 75)

Resister of Workman employed by contractor 
1.  Name and address of contractor 

:………………………………………………

2. Name of work and location of work

:………………………………………………

3. Name and address of establishment

:………………………………………………

4. In/under which contract is carried out

:………………………………………………

5. Name and address of principal employer 
:………………………………………………

	Sl. No.
	Name and

Surname of      Work man
	Age & Sex
	Father’s/

Husband’s name
	Nature of employment/designation
	Permanent Home Address of Workman

(Village & Tahsil) and Taluk & District
	Local

Address
	Date of Commece
ment of

Employment
	Signature or Thumb impression of

     Workman
	Date of

Terminat
ion of Work man
	Local

Address
	Remark

	A
	B
	C
	D
	E
	F
	G
	H
	I
	J
	K
	L

	
	
	
	
	
	
	
	
	
	
	
	


----------------------------------------------------------------------------------------------------------------------------
I/We agree with the above 

Signature of Contractor with Seal 
   AGM (WE&S)

24/30











                 BHEL - JHANSI         







                     Annexure 'G'
Tender Documents                                                                                                                               Page 12 of 12

TENDER ENQUIRY NO: WEX/TE/5/17/
           




DATE: 22.02.16
1. STATEMENT OF THE CONTRACTOR FOR THE MONTH OF: -------------------20----------------
2. WORK ORDER NO



: ---------------------------------------------------------

	SL.NO.
	NAME OF WORKER
	CAT
	 NORMALDAYS           
	OT
DAYS
	GROS WAGES
	EMPLOYEE

CONTRIBUTION DEDUCTION
	OTHER

DEDUCTION
	TOTAL RECOVERY
	NET PAY ABLE
	EMPLOYER'S CONTRIBUTION

	
	
	
	
	
	
	PF 12%
	ESI 1.75%
	
	
	
	PF 13.61%
	ESI 4.75%

	A
	B
	C
	D
	E
	F
	G
	H
	I
	J
	K
	L
	M

	1. 
	
	
	
	
	
	
	
	
	
	
	
	

	2. 
	
	
	
	
	
	
	
	
	
	
	
	

	3. 
	
	
	
	
	
	
	
	
	
	
	
	

	4. 
	
	
	
	
	
	
	
	
	
	
	
	

	5. 
	
	
	
	
	
	
	
	
	
	
	
	

	6. 
	
	
	
	
	
	
	
	
	
	
	
	

	7. 
	
	
	
	
	
	
	
	
	
	
	
	

	8. 
	
	
	
	
	
	
	
	
	
	
	
	

	9. 
	
	
	
	
	
	
	
	
	
	
	
	

	10. 
	
	
	
	
	
	
	
	
	
	
	
	

	11. 
	
	
	
	
	
	
	
	
	
	
	
	

	12. 
	
	
	
	
	
	
	
	
	
	
	
	

	13. 
	
	
	
	
	
	
	
	
	
	
	
	

	14. 
	
	
	
	
	
	
	
	
	
	
	
	

	15. 
	
	
	
	
	
	
	
	
	
	
	
	

	16. 
	
	
	
	
	
	
	
	
	
	
	
	

	17. 
	
	
	
	
	
	
	
	
	
	
	
	

	18. 
	
	
	
	
	
	
	
	
	
	
	
	

	19. 
	
	
	
	
	
	
	
	
	
	
	
	

	20. 
	
	
	
	
	
	
	
	
	
	
	
	

	21. 
	
	
	
	
	
	
	
	
	
	
	
	

	22. 
	
	
	
	
	
	
	
	
	
	
	
	

	23. 
	
	
	
	
	
	
	
	
	
	
	
	

	24. 
	
	
	
	
	
	
	
	
	
	
	
	

	25. 
	
	
	
	
	
	
	
	
	
	
	
	

	26. 
	
	
	
	
	
	
	
	
	
	
	
	

	27. 
	
	
	
	
	
	
	
	
	
	
	
	

	28. 
	
	
	
	
	
	
	
	
	
	
	
	

	29. 
	
	
	
	
	
	
	
	
	
	
	
	

	30. 
	
	
	
	
	
	
	
	
	
	
	
	

	31. 
	
	
	
	
	
	
	
	
	
	
	
	


3. CONTRACTING DEPARTMENT

: ---------------------------------------------------------
4. CONTRACTOR NAME



: ---------------------------------------------------------
  SIGNATURE OF THE CONTRACTOR 

----------------------------------------------------------------------------------------------------------------------------
I/We agree with the above 

Signature of Contractor with Seal 
   AGM (WE&S)


25/30











                 BHEL - JHANSI         







                    Annexure 'H'
Tender Documents                                                                                                                              Page 01 of 01

TENDER ENQUIRY NO: WEX/TE/5/17/
           




DATE:22.02.16
MEASUREMENT OF WORK AND PAYMENTS THEREOF.

1.
The designated officer of the Unit will periodically inspect the Work being provided by the contractor and find out deficiencies. The contractor shall rectify the same immediately to the satisfaction of the designated officer.

2.
Payment towards work satisfactorily executed will be made to the contractor on the basis of following: -

	SL.NO.
	JOB/ACTIVITY                                     (Assistance work in)
	MEASUREMENT CRITERIA/UNITS
	QUANTUM OF WORK

	1
	Laying of 11 kV H T cable in BHEL-Jhansi Factory and Township(Work Contract). 
	Mtr
	1200




3)
Payments will be made to the contractor on the basis of work carried out by him on a monthly basis.

4) All payments will be subject to deduction of income tax at source as per Income Tax  as per the applicable Rules.
5) Measurement Book to be maintained for the work carried out daily / weekly / monthly by the contractor & the same shall be verified by BHEL official, nominated for the same.

----------------------------------------------------------------------------------------------------------------------------
I/We agree with the above 

Signature of Contractor with Seal 
   AGM (WE&S)


26/30











                 BHEL - JHANSI         







                  Annexure 'I'
Tender Documents                                                                                                                             Page 01 of 02

TENDER ENQUIRY NO: WEX/TE/5/17/
           




DATE: 22.02.16
Proforma For Submitting Technical Bid For: Laying of HT Cable in BHEL Jhansi Factory and 
Township(Work Contract).

(A) Essential Documents Required

1.0 Name of the firm


: -------------------------------------------------------------------


2.0 Name of the Proprietor/Partners 

: -------------------------------------------------------------------


3.0 Address and Contact Numbers 

: -------------------------------------------------------------------


4.0 ESI Code Number 


: -------------------------------------------------------------------


Copy of the ESI Certificate 

:  Enclosed / Not Enclosed

5.0 PAN/TAN Number  


: -------------------------------------------------------------------

6.0 Service Tax Number(PAN Based) 
: -------------------------------------------------------------------

7.0 Audited financial statement/BS/

: -------------------------------------------------------------------

CA Certificate as per tender     

:  Enclosed / Not Enclosed

8.0 Experience Certificate       

: -------------------------------------------------------------------                      


(Along with copy of work order/LOI) 
: Enclosed / Not Enclosed

9.0 No. of Workers including Supervisors 
: -------------------------------------------------------------------


on the rolls of the firm 


: -------------------------------------------------------------------

10.0 Earnest Money Deposit

: Rs. --------------------------------------------------------------

(a) D.D. Number & Date

: ------------------------Date-------------------------------------

(b) Drawn  on (Bank)               

: -------------------------------------------------------------------

11.0 Any other relevant information  : -------------------------------------------------------------------

12.0 Tender Cost


: Rs. --------------------------------------------------------------

    
D.D. No. /Receipt No

: -------------------------------------------------------------------
-----------------------------------------------------------------------------------------------------------------------------------
I/We agree with the above 

Signature of Contractor with Seal 
                                                                                AGM (WE&S)
:: 2 :

27/30











                 BHEL - JHANSI         







                     Annexure 'I'
Tender Documents                                                                                                                               Page 02 of 02

TENDER ENQUIRY NO: WEX/TE/5/17/
           




DATE: 22.02.16
13.0 Validity of offer                 
: -------------------------------------------------------------

(At least 90 days from the date of tender Opening.)

14.0 Blank Price bid format       
: Enclosed/Not Enclosed  

(B) Desirable:
1.0 PF Code Number
 

: --------------------------------------------------------

2.0 Copy of the PF Certificate   

: Enclosed / Not Enclosed
3.0 Income Tax return last 3 yrs.  
: Enclosed / Not Enclosed
4.0 UP VAT/TIN No.and/or CST No.
: Enclosed / Not Enclosed
Copy of Certificate (Whichever is applicable)
(To be submitted only in case where material transaction is involved)

We will fulfill all the obligations of the contractor and abide by the Terms & Conditions mentioned in the enquiry. 

Date:                                                                         Signature with Name& Office Seal

NOTE : TECHNICAL BID AND PRICE BID SHOULD BE SUBMITTED IN SEPARATE SEALED ENVELOPS. IN CASE THE BIDS ARE FOUND IN ONE SINGAL ENVELOPE THEN THE “BIDS” ARE LIABLE TO BE REJECTED.  
                                                                                                      
Signature with Name

                                                                                


& Office Seal

Date:

-----------------------------------------------------------------------------------------------------------------------------------
I/We agree with the above 

Signature of Contractor with Seal 
       
   AGM (WE&S)
28/30











                 BHEL - JHANSI         







                    Annexure 'J'
Tender Documents                                                                                                                               Page 01 of 01
TENDER ENQUIRY NO: WEX/TE/5/17/
           




DATE: 22.02.16

   Name of Work: Laying of HT Cable in BHEL Jhansi Factory and Township (Work Contract).
PRICE BID

a.
Name of the firm



:_______________________________

b.
Name of the proprietor/partners


:_______________________________

c.
Address and contact nos



:_______________________________

d.
Price offer on work measurement basis  

:_______________________________

	Sl.No
	JOB/ACTIVITY                    (Assistance work in)
	UNIT OF MEASURE-MENT
	QUANTUM OF WORK ANNUAL
	RATE QUOTED/ UNIT

(RS.)
	TOTAL VALUE (E=C*E)

(RS)


	A
	B
	C
	D
	E
	F

	1.
	Laying of 11 kV H T cable in BHEL-Jhansi Factory and Township.
	Mtrs.
	1200
	
	

	
	Total
	
	
	
	


NOTE / CONDITIONS FOR PRICE BID
1.
TECHNICAL BID AND PRICE BID SHOULD BE SUBMITTED IN SEPARATE SEALED ENVELOPES. IN CASE THE BIDS ARE FOUND IN ONE SINGLE ENVELOPE THEN THE SAME ARE LIABLE TO BE REJECTED.

2.
ALL THE BLANK SPACES IN PRICE BID FORMAT SHOULD BE FILLED BY THE CONTRACTOR.

3.
IF ANY OTHER ADDITION IS MADE OR ANY CONDITION IS ADDED BY THE BIDDER IN THE PRICE BID FORMAT THEN THE OFFER SHALL BE BY-PASSED.

I/We agree with above and all other terms & conditions of the contract.
Signature of contractor

----------------------------------------------------------------------------------------------------------------------------
I/We agree with the above 

Signature of Contractor with Seal 
   AGM (WE&S)


29/30











                 BHEL - JHANSI         







                   Annexure 'K'
Tender Documents                                                                                                                              Page 01 of 01
TENDER ENQUIRY NO: WEX/TE/5/17/
           




DATE: 22.02.16
 
 Name of Work: Laying of HT Cable in BHEL Jhansi Factory and Township (Work Contract).
BLANK PRICE BID
(TO BE SUBMITTED WITH TECHNICAL BID ONLY)
a.
Name of the firm



:_______________________________

b.
Name of the proprietor/partners


:_______________________________

c.
Address and contact nos



:_______________________________

d.
Price offer on work measurement basis  

 :_______________________________

	Sl.No
	JOB/ACTIVITY                    (Assistance work in)
	UNIT OF MEASURE-MENT
	QUANTUM OF WORK ANNUAL
	RATE QUOTED/ UNIT

(RS.)
	TOTAL VALUE (E=C*E)

(RS)


	A
	B
	C
	D
	E
	F

	1.
	Laying of 11 kV H T cable in BHEL-Jhansi Factory and Township.
	Mtrs.
	1200
	---------
	-----------

	
	Total
	
	
	
	


NOTE / CONDITIONS FOR PRICE BID
1.
TECHNICAL BID AND PRICE BID SHOULD BE SUBMITTED IN SEPARATE SEALED ENVELOPES. IN CASE THE BIDS ARE FOUND IN ONE SINGLE ENVELOPE THEN THE SAME ARE LIABLE TO BE REJECTED.

2.
ALL THE BLANK SPACES IN PRICE BID FORMAT SHOULD BE FILLED BY THE CONTRACTOR.

3.
IF ANY OTHER ADDITION IS MADE OR ANY CONDITION IS ADDED BY THE BIDDER IN THE PRICE BID FORMAT THEN THE OFFER SHALL BE BY-PASSED.

I/We agree with above and all other terms & conditions of the contract.
----------------------------------------------------------------------------------------------------------------------------
I/We agree with the above 

	Signature of Contractor with Seal 
                                                              AGM (WE&S)

	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	



                                30/30 











                 BHEL - JHANSI         







                  Annexure 'L'
Tender Documents                                                                                                                             Page 01 of 01
TENDER ENQUIRY NO: WEX/TE/5/17/
           




DATE:22.02.16
   
BHARAT HEAVY ELCTRICALS LIMETED

(A Government of India Undertaking)
CENTRAL DISPATCH CELL, JHANSI-284129

Sub: GUIDLINES FOR DEALING WITH “DISCREPANCY IN WORDS &                        FIGURES-QUOTED IN REVERSE AUCTION”

In case of non-conformities/errors/discrepancy are observed between the quoted praises in the figures and that in words, following guidelines shall be followed:

(a) If, in the price structure quoted for the required goods /service /works, there is discrepancy between the unit price (which is obtain by multiplying the unit price by the quantity), the unit prices shall prevail and the total price corrected accordingly .Unless in the opinion of the purchaser there is an obvious misplacement of the decimal point in the unit price, in which case the total price as quoted shall govern and the unit price corrected accordingly.

(b) If there is an error in a total corresponding to the addition or subtraction of subtotals , the subtotal shall prevail and the total shall be corrected and

(c) If there is a discrepancy between words and figure, the amount in words shall prevail unless the amount expressed in words is related to an arithmetic error, in which case the amount in figure shall prevail subject of (a) and (b) above.

(d) If there is such discrepancy in an offer the same shall be conveyed to the bidder with target date up to which the bidder has to send his acceptance on above lines and if        the bidder does not agree to the decision of the purchaser, the bid is liable to be ignored.
----------------------------------------------------------------------------------------------------------------
I/We agree with the above 

Signature of Contractor with Seal 
  AGM (WE&S)

