## SUPPLY
1 X 800 MW WANAKBORI TPP 1 X 800 MW WANAKBORI TPP (Station Lighting) Enq No.PE/PG/WAN/E-5065/2015 dtd 15.10.15
Annexure- 1 (a) :BOQ CUM PRICE SCHEDULE FOR MAIN ITEMS (SUPPLY)
SL. NO. | ITEM DESCRIPTION | UNIT | [8 empty] | QTY | UNIT EX-WORKS PRICE (Rs.) | TOTAL EX-WORKS PRICE (Rs.) | Excise Duty @...% (for self manufactured items only) (INR) | CST @ …..% Against C-form & E1/E2 or VAT @.....% Whichever is applicable (INR) | FREIGHT (including service tax, if any ) @ …..% of total ex-works price | TOTAL F.O.R SITE PRICE (INR)
1 | Lighting Distribution Board (LDB)
1.1 | AC LDB Type LDB-H (12)
1.1.1 | AC LDB Type LDB-H (12) without transformer (including cubicles suitable for 2 nos. 100 kVA transformer) | Nos. | 20 |  | 20 |  | 20 | 10% OF TOTAL | MANDATORY QTY | 14 | 22
1.1.2 | 100kVA transformer for housing in 1.1.1 | Nos. | 20 |  | 20 |  | 20 |  |  | 14 | 22
1.3 | DCLDB Type LDB-D (12) | Nos. | 4 |  | 4 |  | 4 |  |  | 2.8 | 4
1.3 | AC WDB Type WDB-H (12) | [8 empty] | 0
1.3.1 | AC WDB Type WDB-H (12) without transformer (including cubicles suitable for 2 nos. 100 kVA transformer) | Nos. | 2 |  | 2 |  | 2 |  |  | 1.4 | 3
1.3.2 | 100kVA transformer for housing in 1.4.1 | Nos. | 2 |  | 2 |  | 2 |  |  | 1.4 | 3
0
2 | Lighting Panels (LP) | [8 empty] | 0
2.1 | AC Normal /Emergency indoor Type LP – A (6) [with timer] | Nos. | 18 | 21.6 | 22 | 21.6 | 22 |  |  | 13.2 | 6
2.2 | AC Normal (Decorative) Type LP – A (6) | Nos. | 2 | 2.4 | 3 | 2.4 | 2 |  |  | 1.2 | 2
2.3 | AC Normal /Emergency indoor Type LP – A (12) [with timer] | Nos. | 22 | 26.4 | 26 | 26.4 | 26 |  |  | 15.6 | 28
2.4 | AC Normal /Emergency outdoor Type LP – A (12) [with timer] | Nos. | 10 | 12 | 12 | 12 | 12 |  |  | 7.2 | 14
2.5 | AC Normal (Decorative) Type LP – A (12) | Nos. | 6 | 7.2 | 7 | 7.2 | 7 |  |  | 4.2 | 20
2.6 | AC Normal /Emergency indoor Type LP – A (18) [with timer] | Nos. | 21 | 25.2 | 25 | 25.2 | 26 |  |  | 15.6 | 20
2.7 | AC Normal /Emergency outdoor Type LP – A (18) [with timer] | Nos. | 57 | 68.4 | 68 | 68.4 | 68 |  |  | 40.8 | 22
2.8 | DC indoor Type LP – D (6) | Nos. | 10 | 12 | 12 | 12 | 12 |  |  | 7.2 | 11
2.9 | DC outdoor Type LP – D (6) | Nos. | 6 | 7.2 | 7 | 7.2 | 7 |  |  | 4.2 | 4
2.1 | Street Lighting Type LP – S (6) | Nos. | 11 | 13.2 | 13 | 13.2 | 13 |  |  | 7.8 | 8
2.11 | LP Outdoor type (LP-E24) with 3KVA TRF | Nos. | [8 empty] | 2
0
3 | Lighting Luminaires (complete with accessories) | [8 empty] | 0
3.1 | Luminaire Type FC02 ( * ) | Nos. | 274 | 328.8 | 325 | 328.8 | 329 | 32.9 | 34 | 197.4 | 150
3.2 | Luminaire Type FC06 ( * ) | Nos. | 1851 | 2221.2 | 2220 | 2221.2 | 2221 | 222.1 | 223 | 1332.6 | 1000
3.3 | Luminaire Type FC26 ( * ) | Nos. | 1427 | 1712.4 | 1710 | 1712.4 | 1712 | 171.2 | 172 | 1027.2 | 700
3.4 | Luminaire Type FC81 ( * ) | Nos. | 114 | 136.8 | 135 | 136.8 | 137 | 13.7 | 14 | 82.2 | 160
3.5 | Luminaire Type FC32 ( * ) | Nos. | 269 | 322.8 | 320 | 322.8 | 323 | 32.3 | 32 | 193.8 | 300
3.6 | Luminaire Type FC07 ( * ) | Nos. | 260 | 312 | 310 | 312 | 312 | 31.2 | 31 | 187.2 | 175
3.7 | Luminaire Type FC33 ( * ) | Nos. | 51 | 61.2 | 60 | 61.2 | 61 | 6.1 | 6 | 36.6 | 125
3.8 | Luminaire Type FC34 ( * ) | Nos. | 400 | 480 | 480 | 480 | 480 | 48 | 48 | 288 | 200
3.9 | Luminaire Type SF63 ( * ) | Nos. | 6 | 7.2 | 7 | 7.2 | 7 | 0.7 | 1 | 4.2 | 60
3.1 | Luminaire Type SF64 ( * ) | Nos. | 30 | 36 | 35 | 36 | 36 | 3.6 | 5 | 21.6 | 7
3.11 | Luminaire Type SF66 ( * ) | Nos. | 31 | 37.2 | 37 | 37.2 | 37 | 3.7 | 5 | 22.2 | 60
3.12 | Luminaire Type SB11 ( * ) | Nos. | 200 | 240 | 240 | 240 | 240 | 24 | 25 | 144 | 120
3.13 | Luminaire Type SB02 ( * ) | Nos. | 337 | 404.4 | 400 | 404.4 | 404 | 40.4 | 40 | 242.4 | 250
3.14 | Luminaire Type SB03 ( * ) | Nos. | 136 | 163.2 | 160 | 163.2 | 163 | 16.3 | 16 | 97.8 | 80
3.15 | Luminaire Type SS61 ( * ) | Nos. | [8 empty] | 50
3.16 | Luminaire Type SS62 ( * ) | Nos. | 290 | 348 | 340 | 348 | 348 | 34.8 | 35 | 208.8 | 400
3.17 | Luminaire Type SS63 ( * ) | Nos. | 629 | 754.8 | 750 | 754.8 | 755 | 75.5 | 76 | 453 | 100
3.18 | Luminaire Type SW41 ( * ) | Nos. | 8012 | 9614.4 | 9600 | 9614.4 | 9614 | 961.4 | 961 | 5768.4 | 4800
3.19 | Luminaire Type SW42 ( * ) | Nos. | 774 | 928.8 | 920 | 928.8 | 929 | 92.9 | 93 | 557.4 | 450
3.2 | Luminaire Type MW96 ( * ) | Nos. | 264 | 316.8 | 310 | 316.8 | 317 | 31.7 | 33 | 190.2 | 400
3.21 | Luminaire Type FC30 ( * ) | Nos. | [8 empty] | 800
3.22 | Luminaire Type CC01 ( * ) | Nos. | [8 empty] | 10
3.23 | Luminaire Type CC02 ( * ) | Nos. | [8 empty] | 10
3.24 | Dichroic spot light fixture (For Halogen lamp) | Nos. | [8 empty] | 10
4 | Lighting Lamp
4.1 | 28W T5 fluorescent tube | Nos. | 7870 |  | 9420 | 9444 | 9444 | 944.4 | 950 | 5666.4 | 4620
4.2 | 70W HPSV lamp (SON-E) | Nos. | 8012 |  | 9600 | 9614.4 | 9614 | 961.4 | 961 | 5768.4 | 4800
4.3 | 150W HPSV lamp (SON-E) | Nos. | 974 |  | 1160 | 1168.8 | 1169 | 116.9 | 118 | 701.4 | 570
4.4 | 150W HPSV lamp (SON-T) | Nos. | 290 |  | 340 | 348 | 348 | 34.8 | 35 | 208.8 | 400
4.5 | 250W HPSV lamp (SON-E) | Nos. | 972 |  | 1157 | 1166.4 | 1166 | 116.6 | 117 | 699.6 | 410
4.6 | 400W HPSV lamp (SON-E) | Nos. | 228 |  | 269 | 273.6 | 273 | 27.3 | 31 | 163.8 | 207
4.7 | 125W HPMV lamp | Nos. | 264 |  | 310 | 316.8 | 317 | 31.7 | 33 | 190.2 | 400
4.8 | 12V, 50W Dichroic lamp | Nos. | 20 | [7 empty] | 10
4.9 | 14W T5 Fluorescent tube | Nos. | 0 | [7 empty] | 3200
4.1 | 18W CFL | Nos. | [8 empty] | 520
4.11 | 36W CFL | Nos. | [8 empty] | 20
4.12 | 70W HPSV lamp (SON-T) | Nos. | [8 empty] | 10
4.13 | 250W HPSV lamp (SON-T) | Nos. | [8 empty] | 10
5 | Switch Boxes
5.1 | Type SWB1 | Nos. | 58 | 69.6 | 70 | 69.6 | 70 |  |  | 42 | 250
5.2 | Type SWB2 | Nos. | 25 | 30 | 30 | 30 | 30 |  |  | 18 | 110
5.3 | Type SWB3 | Nos. | 13 | 15.6 | 15 | 15.6 | 16 |  |  | 9.6 | 45
0
6 | Junction boxes | [8 empty] | 0
6.1 | Type JB-F | Nos. | 10170 | 12204 | 12000 | 12204 | 12204 |  |  | 7322.4 | 8000
6.2 | Type JB-FE | Nos. | 25 | 30 | 30 | 30 | 30 |  |  | 18 | 160
6.3 | Type JB-S | Nos. | 564 | 676.8 | 370 | 676.8 | 677 |  |  | 406.2 | 250
0
7 | Receptacles | [8 empty] | 0
7.1 | Type RA | Nos. | 528 | 633.6 | 630 | 633.6 | 634 |  |  | 380.4 | 350
7.2 | Type RA (Flame proof) | Nos. | 20 | 24 | 24 | 24 | 24 |  |  | 14.4 | 22
7.3 | Type RB | Nos. | 440 | 528 | 520 | 528 | 528 |  |  | 316.8 | 350
7.4 | Type RC | Nos. | 108 | 129.6 | 130 | 129.6 | 130 |  |  | 78 | 60
7.5 | Type RC (Flame proof) | Nos. | [8 empty] | 2
7.6 | Type RD | Nos. | [8 empty] | 2
0
8 | Ceiling fans with electronic regulators | [8 empty] | 0
8.1 | 1200 mm sweep | Nos. | 80 | 96 | 90 | 96 | 96 |  |  | 57.6 | 40
8.2 | 1400 mm sweep | Nos. | [8 empty] | 40
0
9 | Emergency lighting Units |  | 24 | 28.8 | 30 | 28.8 | 29 |  |  | 17.4
9.1 | With Ni-Cd battery and 2 X 10W fluorescent lamp | Nos. | [7 empty] | 0 | 20
0
10 | Poles | [8 empty] | 0
10.1 | Type PS1 | Nos. | 145 | 174 | 250 | 174 | 450 |  |  | 270 | 200
10.2 | Type PS2 | Nos. | 206 | 247.2 | 250 | 247.2 | 250 |  |  | 150 | 120
10.3 | Type PS4 | Nos. | [8 empty] | 20
10.4 | Type PF1 | Nos. | [8 empty] | 2
10.5 | Type PF2 | Nos. | 15 | 18 | 20 |  | 30 |  |  | 18 | 20
0
11 | Wires | [8 empty] | 0
11.1 | 1x2.5 mm2 Cu PVC | mtrs. | 250000 | 300000 | 300000 | 300000 | 300000 |  |  | 180000 | 350000
11.2 | 1x 4 mm2 Cu PVC | mtrs. | 150000 | 180000 | 180000 | 180000 | 180000 |  |  | 108000 | 50000
0
12 | GI wire, Glat & MS rod | [8 empty] | 0
12.1 | 16 SWG GI wire | mtrs. | 289000 | 346800 | 340000 | 346800 | 347000 |  |  | 208200 | 220000
12.2 | 35X6 mm GI flat | mtrs. | 500 | 600 | 600 | 600 | 1000 |  |  | 600 | 1000
12.3 | 50X6mm GI flat | mtrs. | 500 | 600 | 600 | 600 | 1000 |  |  | 600 | 1000
12.4 | 40mm dia MS rod | mtrs. | 700 | 840 | 800 | 840 | 1000 |  |  | 600 | 2000
0
13 | Hot dip Galvanised Rigid Steel Conduits (Heavy Duty) | [8 empty] | 0
13.1 | 20 mm dia GI conduit, 1.6 mm thick | mtrs. | 150000 | 180000 | 180000 | 180000 | 180000 |  |  | 108000 | 110000
13.2 | 25 mm dia GI conduit, 1.6 mm thick | mtrs. | 20000 | 24000 | 20000 | 24000 | 24000 |  |  | 14400 | 20000
13.3 | 40 mm dia GI conduit, 2 mm thick | mtrs. | 8500 | 10200 | 10000 | 10200 | 10500 |  |  | 6300 | 7000
13.4 | 50 mm dia GI conduit, 2 mm thick | mtrs. | 500 | 600 | 600 | 600 | 600 |  |  | 360 | 1000
13.5 | 20 mm dia GI conduit with epoxy coating, 1.6 mm thick | mtrs. | 2000 | 2400 | 2400 | 2400 | 2400 |  |  | 1440 | 1100
0
14 | Flexible PVC coated conduit | [8 empty] | 0
14.1 | 20 mm dia PVC coated conduit | mtrs. | 18000 | 21600 | 21000 | 21600 | 21600 |  |  | 12960 | 12000
0
15 | Structural steel | MT | 45 | 54 | 55 | 54 | 54 |  |  | 32.4 | 50
0
16 | Hume pipe | [8 empty] | 0
16.1 | Hume pipe 100 mm dia | mtrs. | 300 | 360 | 350 | 360 | 360 |  |  | 216 | 500
0
17 | 24V supply module & lamp unit complete with all accessories | [8 empty] | 0
17.1 | Fixed type 24V supply modules | Nos. | 28 | 33.6 | 33 | 33.6 | 34 |  |  | 20.4 | 10
17.2 | Portable type 24V supply modules | Nos. | 20 | 24 | 25 | 24 | 24 |  |  | 14.4 | 4
17.3 | Portable halogen lamp unit | Nos. | 20 | 24 | 25 | 24 | 24 |  |  | 14.4 | 10
17.4 | 5A, 24V industrial type sockets | Nos. | 84 | 100.8 | 100 | 100.8 | 101 |  |  | 60.6 | 40
18 | HIGH MAST | Nos. | 5 | 6 | 5 |  | 5 |  |  | 3 | 10
19 | Ladder
19.1 | Free standing ladder | Nos. | [8 empty] | 4
19.2 | Wheel mounted ladder | Nos. | [8 empty] | 1
20 | EXIT SIGN | Nos. | [8 empty] | 15
21 | Padestal Fan | Nos. | [8 empty] | 10
Total (Supply)
Total (Mandatory Spares) (Break-up annexure I(b))
Total (E&C) (Break-up annexure I(c))
Total (Supply + Mandatory Spares + E&C)
1 | All Fluorescent fixtures shall have energy efficient lamp (T5) and electronic ballast.
2 | The unit rates of supply and installation quoted by the bidder shall be firm for a variation of quantities limited to: a) ±30% of total order value corresponding to BOQ of Main equipment supply as above till finalization of engineering details & BOQ.
3 | Basic Design Documents' cover: Drawings/ documents schedule, technical data sheets, GA dwgs. of equipments, quality plan, type test reports for Station Lighting System.
4 | Design engineering charges are considered to be included in main equipment supply price. No separate charges shall be applicable.
5 | Items shall be cleared for manufacturing and supply in stages on the basis of engineering information to be furnished by the vendor, who is responsible for engineering of the Lighting system.
6 | Each transformer shall be routine tested and one transformer shall be type tested in accordance with relevant standard. Bidder to include charges for the same. No separate charges are to be quoted by the bidder.

## MS
1 X 800 MW WANAKBORI TPP (Station Lighting) Enq No.PE/PG/WAN/E-5065/2015 dtd 15.10.15
ANNEXURE - 1 (b) : BOQ CUM PRICE SCHEDULE FOR MANDATORY SPARES (SUPPLY)
SL. NO. | ITEM DESCRIPTION | UNIT | QTY | UNIT EX-WORKS PRICE (Rs.) | TOTAL EX-WORKS PRICE (Rs.) | Excise Duty @...% (for self manufactured items only) (INR) | CST @ …..% Against C-form & E1/E2 or VAT @.....% Whichever is applicable (INR) | FREIGHT (including service tax, if any ) @ …..% of total ex-works price | TOTAL F.O.R SITE PRICE (INR)
1 | Comptalux Lamp | nos. | 40
2 | High Pressure Mercury Vapour Lamp 125W | nos. | 20
3 | High Pressure Sodium Vapour Lamp 70W | nos. | 150
4 | High Pressure Sodium Vapour Lamp 150W | nos. | 40
5 | High Pressure Sodium Vapour Lamp 250W | nos. | 40
6 | High Pressure Sodium Vapour Lamp 400W | nos. | 40
7 | Ignitors (Separate type) for High Pressure Sodium Vapour Lamp | nos. | 200
8 | Ballast for 1 x 125 W High Pressure Sodium Vapour Lamp | nos. | 30
9 | Ballast for 1 x 70 W High Pressure Sodium Vapour Lamp | nos. | 150
10 | Ballast for 1 x 150 W High Pressure Sodium Vapour Lamp | nos. | 100
11 | Ballast for 1 x 250 W High Pressure Sodium Vapour Lamp | nos. | 50
12 | Capacitor for 1 x 125 W High Pressure Sodium Vapour Lamp | nos. | 50
13 | Capacitor for 1 x 70 W High Pressure Sodium Vapour Lamp | nos. | 80
14 | Capacitor for 1 x 150 W High Pressure Sodium Vapour Lamp | nos. | 80
15 | Capacitor for 1 x 250 W High Pressure Sodium Vapour Lamp | nos. | 80
16 | Capacitor for 1 x 400 W High Pressure Sodium Vapour Lamp | nos. | 80
17 | Fluorescent Lamp 2 X 28W (T5) | nos. | 20
18 | Ballast for Fluorescent Lamp 2 X 28W (T5) | nos. | 50
19 | Clockswitch type Time Switch | nos. | 40
20 | Miniature Circuit Breakers (M.C. Bs)
20.1 | 1-Pole 20 Amps. | nos. | 40
20.2 | 2-Pole 20 Amps. | nos. | 20
20.3 | 2-Pole 16 Amps. | nos. | 20
21 | Receptacles
21.1 | 5Amp | nos. | 20
21.2 | 15Amp | nos. | 20
21.3 | 63Amp | nos. | 20
Total (Mandatory Spares)
NOTE :
Prices quoted for mandatory spares as above will be considered for bid evaluation purpose.

## E&C
1 X 800 MW WANAKBORI TPP 1 X 800 MW WANAKBORI TPP (Station Lighting) Enq No.PE/PG/WAN/E-5065/2015 dtd 15.10.15
ANNEXURE - 1 (c) : BOQ CUM PRICE SCHEDULE FOR ERECTION & COMMISSIONING
SL. NO. | ITEM DESCRIPTION | UNIT | [8 empty] | QTY | UNIT EX-WORKS PRICE (Rs.) | TOTAL EX-WORKS PRICE (Rs.) | Service Tax @....% | Total Price
1 | Lighting Distribution Board (LDB)
1.1 | AC LDB Type LDB-H (12)
1.1.1 | AC LDB Type LDB-H (12) without transformer (including cubicles suitable for 2 nos. 100 kVA transformer) | Nos. | 20 |  | 20 |  | 20 | 10% OF TOTAL | MANDATORY QTY | 14 | 22
1.1.2 | 100kVA transformer for housing in 1.1.1 | Nos. | 20 |  | 20 |  | 20 |  |  | 14 | 22
1.2 | DCLDB Type LDB-D (12) | Nos. | 4 |  | 4 |  | 4 |  |  | 2.8 | 4
1.3 | AC WDB Type WDB-H (12) | [8 empty] | 0
1.3.1 | AC WDB Type WDB-H (12) without transformer (including cubicles suitable for 2 nos. 100 kVA transformer) | Nos. | 2 |  | 2 |  | 2 |  |  | 1.4 | 3
1.3.2 | 100kVA transformer for housing in 1.4.1 | Nos. | 2 |  | 2 |  | 2 |  |  | 1.4 | 3
0
2 | Lighting Panels (LP) | [8 empty] | 0
2.1 | AC Normal /Emergency indoor Type LP – A (6) [with timer] | Nos. | 18 | 21.6 | 22 | 21.6 | 22 |  |  | 13.2 | 6
2.2 | AC Normal (Decorative) Type LP – A (6) | Nos. | 2 | 2.4 | 3 | 2.4 | 2 |  |  | 1.2 | 2
2.3 | AC Normal /Emergency indoor Type LP – A (12) [with timer] | Nos. | 22 | 26.4 | 26 | 26.4 | 26 |  |  | 15.6 | 28
2.4 | AC Normal /Emergency outdoor Type LP – A (12) [with timer] | Nos. | 10 | 12 | 12 | 12 | 12 |  |  | 7.2 | 14
2.5 | AC Normal (Decorative) Type LP – A (12) | Nos. | 6 | 7.2 | 7 | 7.2 | 7 |  |  | 4.2 | 20
2.6 | AC Normal /Emergency indoor Type LP – A (18) [with timer] | Nos. | 21 | 25.2 | 25 | 25.2 | 26 |  |  | 15.6 | 20
2.7 | AC Normal /Emergency outdoor Type LP – A (18) [with timer] | Nos. | 57 | 68.4 | 68 | 68.4 | 68 |  |  | 40.8 | 22
2.8 | DC indoor Type LP – D (6) | Nos. | 10 | 12 | 12 | 12 | 12 |  |  | 7.2 | 11
2.9 | DC outdoor Type LP – D (6) | Nos. | 6 | 7.2 | 7 | 7.2 | 7 |  |  | 4.2 | 4
2.1 | Street Lighting Type LP – S (6) | Nos. | 11 | 13.2 | 13 | 13.2 | 13 |  |  | 7.8 | 8
2.11 | LP Outdoor type (LP-E24) with 3KVA TRF | Nos. | [8 empty] | 2
0
3 | Lighting Luminaires (complete with accessories) | [8 empty] | 0
3.1 | Luminaire Type FC02 ( * ) | Nos. | 274 | 328.8 | 325 | 328.8 | 329 | 32.9 | 34 | 197.4 | 150
3.2 | Luminaire Type FC06 ( * ) | Nos. | 1851 | 2221.2 | 2220 | 2221.2 | 2221 | 222.1 | 223 | 1332.6 | 1000
3.3 | Luminaire Type FC26 ( * ) | Nos. | 1427 | 1712.4 | 1710 | 1712.4 | 1712 | 171.2 | 172 | 1027.2 | 700
3.4 | Luminaire Type FC81 ( * ) | Nos. | 114 | 136.8 | 135 | 136.8 | 137 | 13.7 | 14 | 82.2 | 160
3.5 | Luminaire Type FC32 ( * ) | Nos. | 269 | 322.8 | 320 | 322.8 | 323 | 32.3 | 32 | 193.8 | 300
3.6 | Luminaire Type FC07 ( * ) | Nos. | 260 | 312 | 310 | 312 | 312 | 31.2 | 31 | 187.2 | 175
3.7 | Luminaire Type FC33 ( * ) | Nos. | 51 | 61.2 | 60 | 61.2 | 61 | 6.1 | 6 | 36.6 | 125
3.8 | Luminaire Type FC34 ( * ) | Nos. | 400 | 480 | 480 | 480 | 480 | 48 | 48 | 288 | 200
3.9 | Luminaire Type SF63 ( * ) | Nos. | 6 | 7.2 | 7 | 7.2 | 7 | 0.7 | 1 | 4.2 | 60
3.1 | Luminaire Type SF64 ( * ) | Nos. | 30 | 36 | 35 | 36 | 36 | 3.6 | 5 | 21.6 | 7
3.11 | Luminaire Type SF66 ( * ) | Nos. | 31 | 37.2 | 37 | 37.2 | 37 | 3.7 | 5 | 22.2 | 60
3.12 | Luminaire Type SB11 ( * ) | Nos. | 200 | 240 | 240 | 240 | 240 | 24 | 25 | 144 | 120
3.13 | Luminaire Type SB02 ( * ) | Nos. | 337 | 404.4 | 400 | 404.4 | 404 | 40.4 | 40 | 242.4 | 250
3.14 | Luminaire Type SB03 ( * ) | Nos. | 136 | 163.2 | 160 | 163.2 | 163 | 16.3 | 16 | 97.8 | 80
3.15 | Luminaire Type SS61 ( * ) | Nos. | [8 empty] | 50
3.16 | Luminaire Type SS62 ( * ) | Nos. | 290 | 348 | 340 | 348 | 348 | 34.8 | 35 | 208.8 | 400
3.17 | Luminaire Type SS63 ( * ) | Nos. | 629 | 754.8 | 750 | 754.8 | 755 | 75.5 | 76 | 453 | 100
3.18 | Luminaire Type SW41 ( * ) | Nos. | 8012 | 9614.4 | 9600 | 9614.4 | 9614 | 961.4 | 961 | 5768.4 | 4800
3.19 | Luminaire Type SW42 ( * ) | Nos. | 774 | 928.8 | 920 | 928.8 | 929 | 92.9 | 93 | 557.4 | 450
3.2 | Luminaire Type MW96 ( * ) | Nos. | 264 | 316.8 | 310 | 316.8 | 317 | 31.7 | 33 | 190.2 | 400
3.21 | Luminaire Type FC30 ( * ) | Nos. | [8 empty] | 800
3.22 | Luminaire Type CC01 ( * ) | Nos. | [8 empty] | 10
3.23 | Luminaire Type CC02 ( * ) | Nos. | [8 empty] | 10
3.24 | Dichroic spot light fixture (For Halogen lamp) | Nos. | [8 empty] | 10
5 | Switch Boxes
5.1 | Type SWB1 | Nos. | 58 | 69.6 | 70 | 69.6 | 70 |  |  | 42 | 250
5.2 | Type SWB2 | Nos. | 25 | 30 | 30 | 30 | 30 |  |  | 18 | 110
5.3 | Type SWB3 | Nos. | 13 | 15.6 | 15 | 15.6 | 16 |  |  | 9.6 | 45
0
6 | Junction boxes | [8 empty] | 0
6.1 | Type JB-F | Nos. | 10170 | 12204 | 12000 | 12204 | 12204 |  |  | 7322.4 | 8000
6.2 | Type JB-FE | Nos. | 25 | 30 | 30 | 30 | 30 |  |  | 18 | 160
6.3 | Type JB-S | Nos. | 564 | 676.8 | 370 | 676.8 | 677 |  |  | 406.2 | 250
0
7 | Receptacles | [8 empty] | 0
7.1 | Type RA | Nos. | 528 | 633.6 | 630 | 633.6 | 634 |  |  | 380.4 | 350
7.2 | Type RA (Flame proof) | Nos. | 20 | 24 | 24 | 24 | 24 |  |  | 14.4 | 22
7.3 | Type RB | Nos. | 440 | 528 | 520 | 528 | 528 |  |  | 316.8 | 350
7.4 | Type RC | Nos. | 108 | 129.6 | 130 | 129.6 | 130 |  |  | 78 | 60
7.5 | Type RC (Flame proof) | Nos. | [8 empty] | 2
7.6 | Type RD | Nos. | [8 empty] | 2
0
8 | Ceiling fans with electronic regulators | [8 empty] | 0
8.1 | 1200 mm sweep | Nos. | 80 | 96 | 90 | 96 | 96 |  |  | 57.6 | 40
8.2 | 1400 mm sweep | Nos. | [8 empty] | 40
0
9 | Emergency lighting Units |  | 24 | 28.8 | 30 | 28.8 | 29 |  |  | 17.4
9.1 | With Ni-Cd battery and 2 X 10W fluorescent lamp | Nos. | [7 empty] | 0 | 20
0
10 | Poles | [8 empty] | 0
10.1 | Type PS1 | Nos. | 145 | 174 | 250 | 174 | 450 |  |  | 270 | 200
10.2 | Type PS2 | Nos. | 206 | 247.2 | 250 | 247.2 | 250 |  |  | 150 | 120
10.3 | Type PS4 | Nos. | [8 empty] | 20
10.4 | Type PF1 | Nos. | [8 empty] | 2
10.5 | Type PF2 | Nos. | 15 | 18 | 20 |  | 30 |  |  | 18 | 20
0
11 | Wires | [8 empty] | 0
11.1 | 1x2.5 mm2 Cu PVC | mtrs. | 250000 | 300000 | 300000 | 300000 | 300000 |  |  | 180000 | 350000
11.2 | 1x 4 mm2 Cu PVC | mtrs. | 150000 | 180000 | 180000 | 180000 | 180000 |  |  | 108000 | 50000
0
12 | GI wire, Glat & MS rod | [8 empty] | 0
12.1 | 16 SWG GI wire | mtrs. | 289000 | 346800 | 340000 | 346800 | 347000 |  |  | 208200 | 220000
12.2 | 35X6 mm GI flat | mtrs. | 500 | 600 | 600 | 600 | 1000 |  |  | 600 | 1000
12.3 | 50X6mm GI flat | mtrs. | 500 | 600 | 600 | 600 | 1000 |  |  | 600 | 1000
12.4 | 40mm dia MS rod | mtrs. | 700 | 840 | 800 | 840 | 1000 |  |  | 600 | 2000
0
13 | Hot dip Galvanised Rigid Steel Conduits (Heavy Duty) | [8 empty] | 0
13.1 | 20 mm dia GI conduit, 1.6 mm thick | mtrs. | 150000 | 180000 | 180000 | 180000 | 180000 |  |  | 108000 | 110000
13.2 | 25 mm dia GI conduit, 1.6 mm thick | mtrs. | 20000 | 24000 | 20000 | 24000 | 24000 |  |  | 14400 | 20000
13.3 | 40 mm dia GI conduit, 2 mm thick | mtrs. | 8500 | 10200 | 10000 | 10200 | 10500 |  |  | 6300 | 7000
13.4 | 50 mm dia GI conduit, 2 mm thick | mtrs. | 500 | 600 | 600 | 600 | 600 |  |  | 360 | 1000
13.5 | 20 mm dia GI conduit with epoxy coating, 1.6 mm thick | mtrs. | 2000 | 2400 | 2400 | 2400 | 2400 |  |  | 1440 | 2000
0
14 | Flexible PVC coated conduit | [8 empty] | 0
14.1 | 20 mm dia PVC coated conduit | mtrs. | 18000 | 21600 | 21000 | 21600 | 21600 |  |  | 12960 | 12000
0
15 | Hume pipe | [8 empty] | 0
15.1 | Hume pipe 100 mm dia | mtrs. | 300 | 360 | 350 | 360 | 360 |  |  | 216 | 500
0
16 | 24V supply module & lamp unit complete with all accessories | [8 empty] | 0
16.1 | Fixed type 24V supply modules | Nos. | 28 | 33.6 | 33 | 33.6 | 34 |  |  | 20.4 | 10
16.2 | 5A, 24V industrial type sockets | Nos. | 84 | 100.8 | 100 | 100.8 | 101 |  |  | 60.6 | 40
17 | HIGH MAST | Nos. | 5 | 6 | 5 |  | 5 |  |  | 3 | 10
18 | EXIT SIGN | Nos. | [8 empty] | 15
19 | Laying & termination of cables
19.1 | Armoured cables to be laid on tray
| a) 3.5C X 95 mm2 Al | mtrs. | [8 empty] | 5000
| b) 3.5C X 50 mm2 Al | mtrs. | [8 empty] | 4000
| c) 3.5C X 25 mm2 Al | mtrs. | [8 empty] | 2000
| d) 3C X 2.5 mm2 Al | mtrs. | [8 empty] | 2000
| e) 2C X 25 mm2 Al | mtrs. | [8 empty] | 3000
19.2 | Armoured cables to be buried underground
| a) 3.5C X 95 mm2 Al | mtrs. | [8 empty] | 2000
| b) 3.5C X 50 mm2 Al | mtrs. | [8 empty] | 2000
| c) 3.5C X 25 mm2 Al | mtrs. | [8 empty] | 1000
| d) 2C X 25 mm2 Al | mtrs. | [8 empty] | 1000
Total (E&C)
1 | The unit rates of supply and installation quoted by the bidder shall be firm for a variation of quantities limited to: a) ±30% of total order value corresponding to BOQ of Main equipment supply as above till finalization of engineering details & BOQ.
2 | All measuring and testing instruments required during erection, testing, commissioning and performance testing shall be arranged by the bidder and taken back.
3 | Design engineering charges are considered to be included in main equipment supply price. No separate charges shall be applicable.
4 | Erection & commissioning materials (such as double compression cable glands, conduit fittings viz. couplers, elbows, bends, tees, circular boxes etc., conduit accessories viz. clips, saddles, spacing plates, entry bushes, lock nuts, plugs, heavy duty lugs, ferrules, expansion fastners, ball & sockets, earth clips, fan boxes, clamps, screws, pull out boxes etc. form part of erection activities) and accessories including commissioning & operational spares upto system handing over to customer has to be worked out for complete and successful erection & commissioning of the total supply as per BOQ. The price to be quoted for E & C accordingly for equipment and fittings.
5 | Fabrication & painting charges of structural steel shall be part of erection charges of those equipment for which the same is being used.
6 | Cost of E&C for lighting fixture shall be inclusive of cost of lamp installation.