## Mech (MS)
1 X 800 MW WANAKBORI TPS UNIT-8
PRICE SCHEDULE FOR COOLING TOWER (Mandatory Spares-Mechanical)
ENQUIRY NO : PE/PG/WAN/E-4865/15 Dtd.02.06.2015
Annexure-MS-IA (Indian Bidder)
INDIAN BIDDER
SL NO | ITEM DESCRIPTION | TOTAL QTY | Remark | UNIT EX-WORKS PRICE (INR) | TOTAL EX- WORKS PRICE (INR) | ED @ ______% (INCLUDING CESS) (INR) | CST @_______% Against Form 'C' /EI/EII (INR) | FREIGHT CHARGES INCLUDING SERVICE TAX) @_________% OF TOTAL EX-WORKS (INR) | Entry Tax | TOTAL F.O.R SITE PRICE (INR)
A | Mechanical Pakages |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7= 2+3+4+5+6
1 | Butterfly Valve
1.1 | Complete Assembly | 1No. for Each type, Class and Size
1.2 | Electrical Actuators for the Valves as per Electrical List | Item & Quantity same as indicated in Electrical list 'B'
2 | Sump Pump
2.1 | Complete set with Level Switch & Motor | 10% of the total quantity used in the system for each type and rating or Minimum 1No. whichever is higher
2.2 | Annunciation System | Item & Quantity same as indicated in C&I list 'C'
GRAND TOTAL
Notes
1 | ANY ITEM ABOVE WHICH IS NOT REQUIRED, MAY BE INDICATED AS 'NOT APPLICABLE'. HOWEVER DURING DETAILED ENGINEERING IF THAT ITEM FOUND TO BE APPLICABLE, SAME SHALL BE SUPPLIED BY THE BIDDER WITHOUT ANY EXTRA COST TO BHEL/CUSTOMER.
2 | WHEREEVER THE QTY. IS MENTIONED IN PERCENTAGE / SETS, BIDDER TO INDICATE THE QUANTITY IN THE REMARKS COLUMN. THE QUANTITY SHALL BE VERIFIED DURING DETAILED ENGINEERING AND ANY CHANGE IN QUANTITY SHALL BE ACCOMODATED BY THE BIDDER WITHOUT ANY PRICE IMPLICATION.
3 | The Bidder shall offer mandatory spares of the same make, model and type for items which are offered in the main offer. Further, offered spare parts shall be of the same grade and shall have same performance as the instruments which they are to replace.

## Electrical (MS)
1 X 800 MW WANAKBORI TPS UNIT-8
PRICE SCHEDULE FOR COOLING TOWER (Mandatory Spares-Electrical)
ENQUIRY NO : PE/PG/WAN/E-4865/15 Dtd.02.06.2015
Annexure-MS-IB (Indian Bidder)
INDIAN BIDDER
SL NO | ITEM DESCRIPTION | TOTAL QTY | Remark | UNIT EX-WORKS PRICE (INR) | TOTAL EX- WORKS PRICE (INR) | ED @ ______% (INCLUDING CESS) (INR) | CST @_______% Against Form 'C' /EI/EII (INR) | FREIGHT CHARGES INCLUDING SERVICE TAX) @_________% OF TOTAL EX-WORKS (INR) | Entry Tax | TOTAL F.O.R SITE PRICE (INR)
B | Electrical Pakages |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7=2+3+4+5+6
1 | Motor
1.1 | HT Motor (other than BFP Motor) (If applicable)
1.1.1 | Driving End Bearing | 1No. (or 1Set as applicable) for each type and rating of Motor
1.1.2 | Non-Driving End Bearing | 1No. (or 1Set as applicable) for each type and rating of Motor
1.1.3 | Cooling Fan Internal & External | 1Set for each type and rating of Motor
1.1.4 | Bearing Temperature Gauge Driving & Non-Driving End | 1Set for each type and rating of Motor
1.1.5 | Phase-Segregated Terminal Box | 1Set for each type and rating of Motor
1.1.6 | Neutral End Terminal Bushing with Fasteners | 1No. for each type and rating of Motor
1.1.7 | RTD for Bearing Temperature | 1No. for each type and rating of Motor
1.1.8 | Motor Space Heater | 1No. for each type and rating of Motor
1.1.9 | Complete Set of Coupling | 1Set for each Application
2 | 415 Volt Motor (above 30KW Rating upto 160KW) (If applicable) | LOT | ( LOT PRICE FOR APPLICABLE ITEMS IN THE LIST OF ITEMS INDICATED BELOW IN SL NO 2.1 TO 2.6 AND 3.1 TO 3.4)
2.1 | End Shield Cover Driving & Non-Driving End | 1Set for each type and rating of Motor
2.2 | Driving End & Non-Driving End Bearing | 1Set for each type and rating of Motor
2.3 | Cooling Fan | 1No. for each type and rating of Motor
2.4 | Motor Space Heater | 1No. for each type and rating of Motor
2.5 | Motor Terminal Block | 1No. for each type and rating of Motor
2.6 | Complete Set of Coupling | 1Set for each Application
3 | 415 Volt Motor (Upto 30KW Rating) (If applicable)
3.1 | Driving End & Non-Driving End Bearing | 3Set for each type and rating of Motor
3.2 | Cooling Fan | 2No. for each type and rating of Motor
3.3 | Motor Terminal Block | 5No. for each type and rating of Motor
3.4 | Complete Set of Coupling | 1Set for each Application
4 | NDCT Lighting
4.1 | Medium intensity red flashing light | 3 Nos.
4.2 | Low intensity steady red light | 3 Nos.
4.3 | Control Unit for aviation warning light | 2 Nos.
4.4 | Lighting transformer | 1 No.
4.5 | M.C.C.B. | One (1 ) of each type and rating
4.6 | M.C.B. | Five (5) of each type and rating.
4.7 | Motor | One (1 ) of each type and rating
4.8 | Indicating meters | One (1 ) of each type and rating
4.9 | Push Button | Two (2 ) of each type and rating
4.1 | Contactor | One (1 ) of each type and rating
4.11 | Control Transformer | One (1 ) of each type and rating
4.12 | Receptacles | One (1 ) of each type and rating
GRAND TOTAL
Notes
1 | ANY ITEM ABOVE WHICH IS NOT REQUIRED, MAY BE INDICATED AS 'NOT APPLICABLE'. HOWEVER DURING DETAILED ENGINEERING IF THAT ITEM FOUND TO BE APPLICABLE, SAME SHALL BE SUPPLIED BY THE BIDDER WITHOUT ANY EXTRA COST TO BHEL/CUSTOMER.
2 | WHEREEVER THE QTY. IS MENTIONED IN PERCENTAGE / SETS, BIDDER TO INDICATE THE QUANTITY IN THE REMARKS COLUMN. THE QUANTITY SHALL BE VERIFIED DURING DETAILED ENGINEERING AND ANY CHANGE IN QUANTITY SHALL BE ACCOMODATED BY THE BIDDER WITHOUT ANY PRICE IMPLICATION.
3 | The Bidder shall offer mandatory spares of the same make, model and type for items which are offered in the main offer. Further, offered spare parts shall be of the same grade and shall have same performance as the instruments which they are to replace.

## C & I (MS)
1 X 800 MW WANAKBORI TPS UNIT-8
PRICE SCHEDULE FOR COOLING TOWER (Mandatory Spares-C&I)
ENQUIRY NO : PE/PG/WAN/E-4865/15 Dtd.02.06.2015
Annexure-MS-IC (Indian Bidder)
INDIAN BIDDER
SL NO | ITEM DESCRIPTION | TOTAL QTY | Remark | UNIT EX-WORKS PRICE (INR) | TOTAL EX- WORKS PRICE (INR) | ED @ ______% (INCLUDING CESS) (INR) | CST @_______% Against Form 'C' /EI/EII (INR) | FREIGHT CHARGES INCLUDING SERVICE TAX) @_________% OF TOTAL EX-WORKS (INR) | Entry Tax | TOTAL F.O.R SITE PRICE (INR)
C | CONTROL & INSTRUMENTATION |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7= 2+3+4+5+6
1 | Field Instruments
1.1 | Transmitters/ Temperature Elements (TC / RTD) /Gauges/ Switches etc. along with relevant accessories | 10% of total of each type or at least one (whichever is higher) for each type along with accessories.
2 | Control Panel/ Desk Mounted Items
2.1 | Push Button
2.1.1 | Complete Assembly | 5 Nos. For each colour
2.1.2 | Contact Elements (1 NO + 1NC) Block | 20 Nos
2.2 | Selector Switch | 10 Nos. of each type & rating
2.3 | Meter (Analog or Digital)
2.3.1 | Ammeter | 10 % for each type and range or minimum one (1) no. whichever is more.
2.3.2 | Voltmeter | 10 % for each type and range or minimum one (1) no. whichever is more.
2.3.3 | Frequency | 10 % for each type and range or minimum one (1) no. whichever is more.
2.3.4 | MW | 10 % for each type and range or minimum one (1) no. whichever is more.
2.3.5 | MVAR | 10 % for each type and range or minimum one (1) no. whichever is more.
2.3.6 | Power Factor | 10 % for each type and range or minimum one (1) no. whichever is more.
2.3.7 | Synchroscope | 10 % for each type and range or minimum one (1) no. whichever is more.
2.4 | Indicating Lamps complete assembly | 10 Nos for each colour & type
2.5 | Mimic Lamps | 10 Nos for each colour & type
2.6 | MCB | 2 Nos. for each type & rating
2.7 | Door Limit Switch | 2 Nos.
2.8 | Annunciation System
2.8.1 | Lamp Box with facia & lamps (LED type) | 25 Nos.
2.8.2 | Hooter | 1 No.
2.8.3 | Each Type of PCB (for non-PLC driven system) | 1 (one) no.
3 | Actuator
3.1 | Complete set of actuators | 1 No. for each type and rating
3.2 | Limit Switch | 2 Nos. each type and rating
3.3 | Torque Switch | 2 Nos. each type and rating
3.4 | Auxiliary Contact | 1 No. for each type and rating
3.5 | Motor | 1 No. for each type and rating
3.6 | Complete seal kit | 1 Set for each type and rating
3.7 | Complete O-Ring Set | 1 Set
GRAND TOTAL
Notes
1 | ANY ITEM ABOVE WHICH IS NOT REQUIRED, MAY BE INDICATED AS 'NOT APPLICABLE'. HOWEVER DURING DETAILED ENGINEERING IF THAT ITEM FOUND TO BE APPLICABLE, SAME SHALL BE SUPPLIED BY THE BIDDER WITHOUT ANY EXTRA COST TO BHEL/CUSTOMER.
2 | WHEREEVER THE QTY. IS MENTIONED IN PERCENTAGE / SETS, BIDDER TO INDICATE THE QUANTITY IN THE REMARKS COLUMN. THE QUANTITY SHALL BE VERIFIED DURING DETAILED ENGINEERING AND ANY CHANGE IN QUANTITY SHALL BE ACCOMODATED BY THE BIDDER WITHOUT ANY PRICE IMPLICATION.
3 | The Bidder shall offer mandatory spares of the same make, model and type for items which are offered in the main offer. Further, offered spare parts shall be of the same grade and shall have same performance as the instruments which they are to replace.