[image: image2.png]Eir vl
Bffe



भारत हेवी इलेक्ट्किल्स लिमिटेड
Bharat Heavy Electricals Limited
रामचन्द्रापुरम : हैदराबाद
Ramachandrapuram : Hyderabad - 502032


(परिक्षण विभाग / Testing Department)
Ref: HY/T/70/6004/2009                                           

Date: 15/05/2009 

TENDER NOTICE

Name of the department
: Pumps Testing Department / 70-Building

TENDER NOTICE NO
: HY/T/70/6004/2009-10/001
            Tender in a sealed cover, subscribing the tender notice number, tender due date, name of the work will be received by the undersigned from the contractors.  Contractor should meet pre-qualification requirements as indicated below and Tenders will be opened at 13.30 hrs on the due date itself, in the presence of tenderer’s or their authorized agents in Finance Department, BHEL, Ramachandrapuram, Hyderabad - 32.

	Name Of The Work
	Last Date For Tender Download
	Due Date/ Time For Receipt Of      Tender
	Date And Time Of Tender Opening
	Period Of Completion

	“Electrical and Instrumentation works for Pumps Test Plant” as per Schedule of works in Annexure-A is enclosed with these documents.
	29-05-2009

	30-05-2009 

at 12:00:00 hrs.
	30-05-2009
 at 13:30:00 hrs.


	May – 2010


· Tender Value

: Rs. 3.789 Lakhs.

· EMD


: Rupees 10,000/-

· Cost of the tender doc.
: Rs.  250/-


2 Part bid, First bid consists of Techno Commercial bid and Second bid is only price bid.

  Pre-qualification requirements;

1. Contractor shall furnish and enclose copies of ESI code, PF code, Valid labor license, electrical Contractor’s license “A” Grade (On Agency Name)
2. Experience in HT & LT Switchgear and Instrumentation works.
3. PAN NO & latest Income Tax returns (if available) copy.
4. Contractor should have experience in completion of 7 years of similar works as per the following criteria.

a. Three similar completed works costing not less than amount equal to 40% of estimated cost. 

OR

b. Two similar completed works costing not less than amount equal to 50% of estimated cost. 

OR

c. One similar completed works costing not less than amount equal to 80% of estimated cost. 
5. Enclose only relevant experience to meet the above requirement.
TERMS AND CONDITIONS:

General:

1) Man power engaged should have required basic skills in similar nature of work

2) Penalty will be levied at ½% per week on the total contract value to the maximum of 10% if work is not started immediately after issue of LOI

3) The contractor shall pay minimum skilled wages to the staff as per minimum wages act.  Contractor has to make PF, ESI contributions as per applicable rules; contractor should pay double wages if engaged on overtime beyond normal working hours.

4) Contractor should supervise the labor engaged for this work.

5) Contractor shall arrange ESI cards for the contract labor and shall extend all relevant statutory rules for his staff.
6) Contractor shall comply the provision of PF, ESI for their labor.

7) Contractor shall provide personnel protective equipment (PPEs).  Without PPEs no person will be allowed to work in the department.
8) Revision of rates will not be allowed during the contract period.
9) The contractor is wholly responsible for any loss of life or partial disability of any of their employees while on duty.
10) In case of occurrence of any accident / injury of contractor’s staff, BHEL will not pay any compensation while they are on duty and contractor has to take care of same under statutory obligation.

11) Above mentioned work shall be executed in accordance with the general agreement conditions applicable to job works as per OMI-195.  A copy of the same can be had in soft or hard from the undersigned.
12) Contractor shall note Bonus payment to be made by contractor for his work force.
13) Upon awardable of the work, the party has to execute an agreement with BHEL as per General Agreement conditions before commencement of work.

14) Read the specifications / work content carefully before quote.

15) Contractor shall follow General instructions / obligations of the contractors.
16) BHEL reserve the right to reject any or all tenders in part or in full without assigning any reason.

17) Contractor will be evaluated for total activities in the Work Contract.  Contract will be awarded for total activities for single party.  No partial contract will be awarded.
Other Requirements:

i. On the sealed cover it should be clearly mentioned as below:

a) Tender for the “ELECTRICAL AND INSTRUMENTATION WORKS FOR PUMPS TESTING”
b) From address:

c) To address: 
Manager/Testing/Pumps, 
70 – Building/Pump Shop,  

   
BHEL, R.C.PURAM, HYDERABAD-502 032

d) Tender no:    HY/T/70/6004/2009-10/001
e)  Tender due date: 30-05-2009
ii. The following documents should be submitted in a sealed cover

a) Documents showing relevant experience in similar work, at least 2 work orders should be furnished with the offer.

b) Contractor shall furnish:
 1) PF Code          
2) ESI Code      
 3) Labour Licence    
4) Electrical Licence ”A”  Grade – On Agency Name 
 
5) PAN NO
6) Latest Form Income Tax Return – Copy.
c) Tender Application cost of Rs.250/- and EMD of Rupees 10,000/- shall be submitted by cheque or DD in favor of “Bharat Heavy Electricals Limited, R.C.Puram” along with the offer.
Thanking you,                                                                

                                                                           



   Yours sincerely,

                                                                       



For and on behalf of

                                                           



Bharat Heavy Electricals Limited






[image: image1.jpg]Rrelre—




(Raghunath S Metre)





  Manager / Testing (Pumps)

           
70-Building

Phone: 040-2318 3662, 9490167516









E-mail : raghumethre@bhelhyd.co.in
	ANNEXURE – A

	STATEMENT OF WORK SCHEDULE FOR PUMPS TESTING

	Sl. No.
	Nature of work (For each 500MW BFP)
	Valuation unit
	AgmtQty
	Unit Rate Rs.
	Total Amount (Rs.)

	
	
	
	
	
	

	1
	Collection and mounting of BHEL supplied instruments like RTDs (4 wire type) Flow transmitters, Pressure Transmitters, Vibration Probes, Speed indicator probes, Manometers, Digital indicators etc., and terminating the associated cables before test, removal of above instruments disconnecting cables and stacking after test.  Assembly and removal of above instruments for calibration before & after testing & Storing.  Unit : each instrument
	1 unit, 10 Terminals
	50
	
	

	2
	Collection and installation of Pressure Gauges/Diff. Pressure gauges & Temp. gauges with associated valves thermo wells before test & removing & storing after test.  Unit: each instrument.
	1 unit, each Instrument
	20
	
	

	3
	Calibration of Pressure Gauges/Pressure transmitters and indicators with BHEL provided universal calibrator, Manometers, Flow Meters & Indicators, Vibration monitors, Speed indicators with universal calibration kit.  1 Unit = each gauge/Instrument.
	1 unit, each Instrument
	20
	
	

	4
	Operation and maintenance of 11 kV, 1600A vacuum circuit breakers for starting 10 MW Syn. motor. Checking of VCB working condition, Relays, Remote operation, protection for each breaker. Operation & maintenance of SEE panel etc. Total 10 Nos. of VCBs.  Unit = per VCB
	1 unit, each VCB
	10
	
	

	5
	Collection and mounting of BHEL supplied Voltmeters/Volt   Transmitters, Ammeters/ Current Transmitters, Watt meters/ Power Transmitters, Frequency meter, and connecting to the respective measuring desk for measurement of electric power and removing after test.  Unit = each instrument.
	1 unit, each Instrument
	10
	
	

	6
	Connection of power cables from test bed to outlet box before test for AOP. Cooler pump etc. Disconnecting & pulling and stacking after test. Clean the cables free from oil dust etc. insulate & cover the terminals with polythene cover. Cables of variable length & sizes.  Size with 95 sqmm to 400 sqmm.  1 Unit = 1 motor min. of 200 kW & 1 Unit = 1 motor max. of 10 MW.
	1 unit, each Motor
	5
	
	

	7
	Cleaning of test bed area, pipelines, associated area, removing of all unwanted materials, cleaning of Test control room, Switchgear room Electric control room, Measuring desk, control panel etc. Providing water, tea, snacks to customer during test.
	Lump sum
	Lump sum
	
	

	8
	Operation of valves of different sizes from 3" to 16" for loop charging, Inside – outside change over, BFP & BP change over and vice versa. 10 No. of valves.  Unit - each valve.
	Lump sum
	Lump sum
	
	

	TOTAL EXPENDITURE FOR TESTING OF ONE NO. 500MW BOILER FEED PUMP
	

	FOR TESTING 20 NO. OF 500MW BOILER FEED PUMP (              X 20)
	


	Sl. No.
	Nature of work (For each 250/210 MW BFP)
	Valuation unit
	Agmt. Qty
	Unit Rate Rs.
	Total Amount (Rs.)

	
	
	
	
	
	

	1
	Collection and mounting of BHEL supplied instruments like RTDs, Flow meters, Pressure Transmitters, Vibration probes, Speed indicator probes, Manometers, Digital indicators etc., and terminating the associated cables before test. Removal of above instruments, disconnection of cables and stacking properly after the test.  Assembly and removal of above instruments for calibration before and after test.  Unit = each instrument. 
	1 unit 10 terminals
	50
	
	

	2
	Collection and installation of pressure gauges, pressure switches, Differential pressure gauges, and special instruments if any, valves thermo wells etc., before test and also terminating the associated signal cables. Removing of all gauges and storing after the test.  Unit = each instrument.
	1 unit each instrument
	10
	
	

	3
	Calibration of pressure gauges, Pressure Transmitters, Indicators, Flow meters, Vibration Monitor, Speed indicator, DAS etc., before each test. Unit = each instrument.
	1 unit each instrument
	10
	
	

	4
	Maintenance of BVM-12, 6.6 kV VCBs for staring 3 MW, 6.6kV motor in star Delta. Checking & servicing of VCBs before test. Checking & ensuring satisfactory operation of remote control, protection relays, PTs etc.  Operation of 200 KW booster motor & 3 MW Induction Motor in Star delta mode. Switching off the same after testing 
	1 unit each VCB
	5
	
	

	
	Total No. of VCBs = 5 Nos. LT ACBs = 4 Nos.
	1 unit each ACBs
	4
	
	

	5
	Collection and mounting of BHEL supplied Voltmeters/Volt Transmitters, Ammeter/ Current Transmitters, Watt meters/ Power transmitters, Frequency meter, and connecting all the instruments to the respective measuring desks for measurement of electric power.  Unit = each instrument.  
	1 unit each instrument
	10
	
	

	6
	Operation & Maintenance of Test plant lube oil console. Cleaning of suction filters & system filters before test. Pouring of oil-to-oil tank whenever required.
	Lump sum
	Lump sum
	
	

	7
	Signal cable replacement, lugging, crippling, soldering, ferruling and termination with both ends for all instruments.  Temporary fixing of switches and Digital indicators, Manometers for special tests. 
	Lump sum
	Lump sum
	
	

	8
	Operation of hand operated valves for water leakages test & during testing.
	Lump sum
	Lump sum
	
	

	9
	Cleaning of test pit area for BFP, GB & Motor. Removing/Cleaning of oil, water and un-wanted materials from test bed before test. Cleaning of control room, electric control room, measuring desk, pipe line etc. before test.
	Lump sum
	Lump sum
	
	

	10
	Servicing of water, tea/coffee, snacks to customer & testing staff during testing of pumps.
	Lump sum
	Lump sum
	
	

	TOTAL EXPENDITURE FOR TESTING OF ONE NO. 210/250MW BOILER FEED PUMP
	

	FOR TESTING 25 NOS. OF 210/250MW BOILER FEED PUMP (                 x 25)
	


	Sl. No.
	Nature of work (For each 250/500 MW BP)
	Valuation unit
	Agmt. Qty
	Unit Rate Rs.
	Total Amount (Rs.)

	
	
	
	
	
	

	1
	Collection and mounting of BHEL supplied instruments like RTDs, Flow meters, Pressure Transmitters, Vibration probes, Speed indicator probes, Manometers, Digital indicators etc., and terminating the associated cables before test. Removal of above instruments, disconnection of cables and stacking properly after the test.  Assembly and removal of above instruments for calibration before and after test.  Unit = each instrument. 
	1 unit 10 terminals
	25
	
	

	2
	Collection and installation of pressure gauges, pressure switches, Differential pressure gauges, and special instruments if any, valves thermo wells etc., before test and also terminating the associated signal cables. Removing of all gauges and storing after the test.  Unit = each instrument.
	1 unit each instrument
	10
	
	

	3
	Calibration of pressure gauges, Pressure Transmitters, Indicators, Flow meters, Vibration Monitor, Speed indicator, DAS etc., before each test. Unit = each instrument.
	1 unit each instrument
	10
	
	

	4
	Operation & Maintenance of VM-12, 6.6 kV VCBs for staring 850 KW, 6.6kV motor & 400kW, 200kW & 100kW LT motors. Checking & servicing of VCBs & ACBs before test. Checking & ensuring satisfactory operation of remote control, protection relays, PTs etc.  Switching off the same after testing.  
	1 unit each VCB
	2
	
	

	 
	Total No. of VCBs  = 2 Nos.  LT ACBs = 4 Nos.
	1 unit each ACBs
	4
	
	

	5
	Collection and mounting of BHEL supplied Voltmeters/Volt Transmitters, Ammeter/ Current Transmitters, Watt meters/ Power transmitters, Frequency meter, and connecting all the instruments to the respective measuring desks for measurement of electric power.  Unit = each instrument.
	1 unit each instrument
	10
	
	

	6
	Operation & Maintenance of Test plant lube oil console. Cleaning of suction filters & system filters before test. Pouring of oil-to-oil tank whenever required.
	Lump sum
	Lump sum
	
	

	7
	Signal cable replacement, lugging, crippling, soldering, ferruling and termination with both ends for all instruments.  Temporary fixing of switches and Digital indicators, Manometers for special tests. 
	Lump sum
	Lump sum
	
	

	8
	Operation of hand operated valves for water leakages test & during testing.
	Lump sum
	Lump sum
	
	

	9
	Cleaning of test pit area for BP & Motor. Removing/Cleaning of oil, water and un-wanted materials from test bed before test. Cleaning of control room, electric control room, measuring desk, pipe line etc. before test.
	Lump sum
	Lump sum
	
	

	10
	Servicing of water, tea/coffee, snacks to customer & testing staff during testing of pumps.
	Lump sum
	Lump sum
	
	

	TOTAL EXPENDITURE FOR TESTING OF ONE NO. 210/500MW BOOSTER PUMP
	

	FOR TESTING 24 NOS. OF 210/500MW BOOSTER PUMP (                x 24)
	


	Sl. No.
	Nature of work (For each 250/500 MW CEP)
	Valuation unit
	Agmt. Qty
	Unit Rate Rs.
	Total Amount (Rs.)

	
	
	
	
	
	

	1
	Collection and mounting of BHEL supplied instruments like RTDs, Flow transmitters, Pressure Transmitters, Vibration probes, Speed indicator probes, Manometers, Digital indicators etc., and terminating the associated cables before test. Removal of above instruments, disconnection of cables and stacking properly after the test.  Assembly and removal of above instruments for calibration before and after test.  Unit = each instrument. 
	1 unit 10 terminals
	25
	
	

	2
	Collection and installation of pressure gauges, pressure switches, Differential pressure gauges, and special instruments if any, valves thermo wells etc., before test and also terminating the associated signal cables. Removing of all gauges and storing after the test.  Unit = each instrument.
	1 unit each instrument
	10
	
	

	3
	Calibration of pressure gauges, Pressure Transmitters, Indicators, Flow meters, Vibration Monitor, Speed indicator, DAS etc., before each test.  Unit = each instrument.
	1 unit each instrument
	10
	
	

	4
	Operation & Maintenance of BVM-12 , 6.6 kV VCBs for staring 600KW, 6.6kV motor & 1350KW, 6.6KV motor in DOL. Checking & servicing of VCBs before test. Checking & ensuring satisfactory operation of remote control, protection relays, PTs etc.  Switching off the same after testing.  Total No. of VCBs  = 2 Nos.
	1 unit each VCB
	2
	
	

	5
	Collection and mounting of BHEL supplied Voltmeters/Volt Transmitters, Ammeter/ Current Transmitters, Watt meters/ Power transmitters, Frequency meter, and connecting all the instruments to the respective measuring desks for measurement of electric power.  Unit = each instrument.  
	1 unit each instrument
	10
	
	

	6
	Signal cable replacement, lugging, crippling, soldering, ferruling and termination with both ends for all instruments.  Temporary fixing of switches and Digital indicators, Manometers for special tests. 
	Lump sum
	Lump sum
	
	

	7
	Cleaning of test pit area for CEP. Removing/Cleaning of oil, water and un-wanted materials from test bed before test. Cleaning of control room, electric control room, measuring desk, pipe line etc. before test.
	Lump sum
	Lump sum
	
	

	8
	Servicing of water, tea/coffee, snacks to customer & testing staff during testing of pumps.
	Lump sum
	Lump sum
	
	

	TOTAL EXPENDITURE FOR TESTING OF ONE NO. 210/500MW CONDENSATE PUMP
	

	FOR TESTING 46 NOS. OF 210/500MW CONDENSATE PUMP (                  x 46)
	


	Sl. No.
	Nature of work (For each 250/500 MW CWP)
	Valuation unit
	Agmt. Qty
	Unit Rate Rs.
	Total Amount (Rs.)

	
	
	
	
	
	

	1
	Collection and mounting of BHEL supplied instruments like RTDs, Flow transmitters, Pressure Transmitters, Vibration probes, Speed indicator probes, Manometers, Digital indicators etc., and terminating the associated cables before test. Removal of above instruments, disconnection of cables and stacking properly after the test.  Assembly and removal of above instruments for calibration before and after test.  Unit = each instrument. 
	1 unit 10 terminals
	20
	
	

	2
	Collection and installation of pressure gauges, pressure switches, Differential pressure gauges, and special instruments if any, valves thermo wells etc., before test and also terminating the associated signal cables. Removing of all gauges and storing after the test.  Unit = each instrument.
	1 unit each instrument
	10
	
	

	3
	Calibration of pressure gauges, Pressure Transmitters, Indicators, Flow meters, Vibration Monitor, Speed indicator, DAS etc., before each test.  Unit = each instrument.
	1 unit each instrument
	10
	
	

	4
	Operation & Maintenance of VM-12, 6.6 kV VCBs for staring 2000KW, 6.6kV motor in DOL. Checking & servicing of VCBs before test. Checking & ensuring satisfactory operation of remote control, protection relays, PTs etc.  Switching off the same after testing.  Total No. of VCBs  = 5 Nos.
	1 unit each VCB
	5
	
	

	5
	Collection and mounting of BHEL supplied Voltmeters/Volt Transmitters, Ammeter/ Current Transmitters, Watt meters/ Power transmitters, Frequency meter, and connecting all the instruments to the respective measuring desks for measurement of electric power.  Unit = each instrument.  
	1 unit each instrument
	10
	
	

	6
	Signal cable replacement, lugging, crippling, soldering, ferruling and termination with both ends for all instruments.  Temporary fixing of switches and Digital indicators, Manometers for special tests. 
	Lump sum
	Lump sum
	
	

	7
	Cleaning of test pit area for BFP, GB & Motor. Removing/Cleaning of oil, water and un-wanted materials from test bed before test. Cleaning of control room, electric control room, measuring desk, pipe line etc. before test.
	Lump sum
	Lump sum
	
	

	8
	Servicing of water, tea/coffee, snacks to customer & testing staff during testing of pumps.
	Lump sum
	Lump sum
	
	

	TOTAL EXPENDITURE FOR TESTING OF ONE NO. 210/500MW COLING WATER  PUMP
	

	FOR TESTING 07 NOS. OF 210/500MW COOLING WATER  PUMP OUT OF 48 (                 x 07)
	


	ESTIMATED TOTAL VALUE FOR WORKS CONTRACT

	Sl. No.
	Description
	Total (Rs.)

	1
	TESTING 20 NO. OF 500MW BOILER FEED PUMP 

(             x 20)
	

	2
	TESTING 25 NOS. OF 210/250MW BOILER FEED PUMP

(            x 25)
	

	3
	TESTING 24 NOS. OF 210/500MW BOOSTER PUMP 

(            x 24)
	

	4
	TESTING 46 NOS. OF 210/500MW CONDENSATE PUMP

(            x 46)
	

	5
	TESTING 07 NOS. OF 210/500MW COOLING WATER  PUMP 

(            x 07)
	

	TOTAL
	


�








Page | 1

