BHARAT HEAVY ELECTRICALS LIMITED

RAMACHNADRAPURAM:: HYDERABAD- 502 032

Website:  www.bhel.com
                       Name of the Department inviting tender bids :
 M&S (Planning & Co-Ordination)

NOTICE  INVITING TENDER
Dt: 21st   November 2006

TENDER NIT :   M&S/P&C/2008/42
Sealed tenders in two bids (Techno commercial & Price bids) in a sealed cover, superscribing the tender notice number, tender date, name of the work and due date of tender opening will be received by the undersigned from the contractors satisfying the prequalification requirements indicated below and will be opened at 13.30 hrs on the due date itself in the presence of tenderer’s or their authorized representatives in Finance   Department, BHEL, Ramachandrapuram, Hyderabad.
1.  Name of the Work    : 
MAINTENANCE OF FACTORY ROAD LIGHTING, SECURITY  GATES,  WATCH  & HIGH TOWERS”.
2.    Approximate Estimated value of work
:    Rs.2.16 Lakhs  + Taxes
3     Sale / Closure of Tenders
               :   12.12.2008 

4.    Last date for receipt of tender

:  13.12.2008 / 11.00 AM
5.    Date and time of tender opening

( Date and time)


: 13.12.2008  at 13.30 HRS

6.   Period of completion

(Duration of the Contract)

: TWELVE MONTHS

7.  EMD                  :


 Rupees 10,000/- 

8.  Cost of the Tender Notice

:   Rs250/-   ( Non Refundable)
Firm submitting NIT 
M/S ………………………….
 ………………….…….    
( G.Janardhan Rao)

SR.MANAGER/M&S(P&C)

TELEPHONE NO. 040 23182739

       FAX NO. 040 – 23020185

email id: gjrao@bhelhyd.co.in

TENDERING PROCESS

A. Tender box is kept in 02 Annexe Ground floor  M&S (P&C Section) of BHEL, R.C.Puram, Hyderabad – 502 032; tenders can be dropped    before the due date & Time

B. The bids shall be submitted in two parts.

1. Technical & Commercial Bid.      2.
Price   Bid.

a) 
Technical & Commercial Bid:  The envelop shall contain the Technical & Commercial Bid as per the enclosed technical bid proforma with relevant documents like copies of ESI, PF code (if available), Labour license (if available), Electrical licence, PAN No, & Experience, turnover  Saral ( IT) along with Profit & Loss  account copies duly  certified by tax consultant / CA  for the past  3 previous years ( TO MEET TURNOVER POINT).  Tender cost & EMD.  The envelop shall be super scribed “Technical bid    ------  ( name of work) & NIT no, name of the firm
b)
The second envelope shall contain only the price bid to be quoted   Actual or approximate on any account.    Any other information in the price bid shall not be considered and the quotation is likely to be rejected.  The envelope shall be sealed and super scribed “Price Bid”       -----    ( name of work) & NIT no, name of the firm .
   c)    above two envelopes shall be kept into another sealed cover.   price bid document shall be signed by the tenderer at the bottom of the page. The cover shall be super-scribed with Quotation for -  ( name of work )”   and shall be addressed to Manager / M&S( P&C), 02 Annexe Ground Floor, Bharat Heavy Electricals Limited, Ramachandrapuram, Hyderabad – 502 032   to reach on or before by 11.00hrs on due date     and it should also contain from address, Tender No.                                     &   Tender due date:               
C. The requisitions for tender documents can  be sent to Sr.Manager/ M&S(P&C), 02 Annexe Ground Floor, BHEL, Ramachandrapuram, Hyderabad – 502 032 along with Demand Draft / Bankers Cheque for Rs.250/- drawn in favor of “Bharat Heavy Electricals Limited, Hyderabad” payable at Hyderabad or  cash receipt obtained   after   payment made in  BHEL cash office.  No other mode of payment will be accepted.

D. Tender documents may be  download from our website:http://www.bhel.com / Tender Notifications --- tender cost is applicable.    The  tender  documents cost of  Rs.250/- should be by way of demand draft  or   Bankers Cheque or BHEL  Cash receipt,       should be attached with  technical bid.  
E. BHEL is not responsible for any postal delay in receiving of bids.  The tenders will be opened in BHEL R.C.Puram Hyderabad- 32 on tender due date at 13.30hrs in presence of those tenderer who choose to be present.

F. Date of opening of price bids will be intimated to  qualified  agencies after technical scrutiny. 
G. The technical bid consists of technical schedule requiring documentary proof.    In case the agency has not satisfied all the conditions along with documentary proof, the tender will be rejected.

H. Tenders received mixed with both technical & Price bid documents with out individual envelope, shall be rejected.

I. Lowest offer will be decided on   the basis of total  cost to BHEL. 
J. EMD:    by way of Demand Draft / Bankers  Cheque  or cash receipt obtained from BHEL cash office  
K. Work experience documents:   Contractor  should be able to produce  1/2/3   work experience certificates obtained in the last 7 years from any reputed organization for value indicated in the pre qualification.
             EMD/ Tender cost  can  be deposited  in cash at BHEL Cash office;  Cash office timings:   09.30 AM to 11.30 AM &   1.30 PM to 3.30 PM

PRE QUALIFICATION  for bidding : 

I.
The following conditions have to be satisfied by the tenderer, with documentary proof to be enclosed   with tender bid In case the agency fails to enclose the following documentary proof with tender the tender will be liable for rejection.

A)   
For Electrical/Mechanical Works:

i) Average Annual financial turnover during the last 3 years, ending 31s March of the previous financial  year (07-08), should be at least 30% of the estimated cost.

ii) Experience of having successfully completed similar works during last 7 years     ( between 2001-2008)  in which applications are invited should be either of the following:-

a) Three works   ( similar works  or  street light erection/ maintenance works )   completed works  - 40% of the estimated cost – Rs86,500/-.

Or

b) Two ( similar works  or  street light  erection/ maintenance works )    completed works costing not less than the amount equal to 50 % of the estimated cost – Rs108,125/-.

Or

c) One ( similar works  or  street light erection/ maintenance works )   completed work    costing not less than the amount equal to 75% of the estimated cost -   Rs162,200/-.

      iii)      STATUTORY CODES:  

                  (a)  ESI Code . 

(b)  P.  F.  Code  

   c)   Labour licence- if engaging more than 20 persons   (State Government)    

d) Electrical Licence-  wiremen  grade ( valid or under renewal)

e)  PAN  No.  (in case not available, proof of having applied with   

     acknowledgement from concerned authorities)

  NOTES:

1 Period of contract  shall be as mentioned in NIT ( One year).
2    Techno commercial  bids will be scrutinised with in a shortest possible time.  In case the  agency has not satisfied all the above conditions with documentary   proof, a chance will be given to submit missed documents otherwise the bid is liable to be rejected and their price bid will not be opened.

2. In case of a firm, shall be in the name of the firm.   However in case of sole proprietor or individuals these can be on the name of the sole proprietor or individual.

3. Though some of above documents are available with BHEL for those agencies who are presently working with BHEL, they also should submit one copy of the same.

4. All the columns shall be filled with proper information   
5.    BHEL  reserves the right to reject or cancel the tender at any stage of the tender process   without assigning any reasons there of.
6.  The agencies are advised to visit the work site to understand the nature of    work /  quantum of work in its true perspective to avoid any complications in future .
7. Tender will be decided on technically  qualified offer  and  overall lowest offer 

Contractor signature

ANNEXURE-II
BHARAT HEAVY ELECTRICAS LIMITED

RAMACHANDRAPURAM:: HYDERABAD-502 032

M&S DEPARTMENT / PLANNING & CO-ORDINATION

TECHNO- COMMERCIAL BID            (PART-A)

Work:  MAINTENANCE OF FACTORY LIGHTING, SECURITY GATES WATCH  &  HIGH TOWERS.

     This tender schedule must be submitted along with the General Conditions, Technical points /  conditions etc. enclosed herewith duly signed and stamped on each page with your covering letter.  Remarks  should be TYPED/ hand written   on tender schedule  only.  Any deviations / deletions/ additions  etc.  may  be neatly typed  on your letter head and can be  enclosed  with  techno- commercial bid  document.

To be filled up by the Bidder

Name of the Contractor             :  

FULL POSTAL ADDRESS:
PNONE  &   FAX

Email id: 

Name of work   :  MAINTENANCE OF FACTORY LIGHTING, SECURITY GATES WATCH  & HIGH  TOWERS. 
Tender Notice no &              :  
M&S/P&C/2008/42
To be filled up by the Bidder

Description




          Acceptance/ Remarks by the  Contractor .

	1.
	Experience  ::

similar works  or  street light  maintenance works
Values should be obtained from pre- qualifications

furnish details where the works carried out 

nature of work:

Period of contract:

Value of contract:

Work executed in which year:

WORKS executed  as per prequalification

write down the works in opposite box

copies are to be enclosed with your offer

1 

 2

 3


	Fill up the data, should not be blank

	2.
	PF CODE NO ( if available):
	

	3
	ESI CODE NO:
	

	4
	LABOUR LICENCE NO & 

Validity: ( either valid or under renewal)- if applicable 
	

	5
	Electrical Licence  No 

Wiremen   Grade:
& validity upto
	

	6
	 Completion Time  - in  12  months
	

	7
	Validity- minimum 90 days from technical bid opening date.
	

	8
	EMD  Rs10,000/-    Cash receipt/ cheque  Details
CLAUSE 21
	

	9
	Tender cost  Rs 250/-    Cash receipt/ cheque/ DD  Details

	

	10
	Security Deposit Clause:     acceptance 

( Details see under terms and conditions clause: 22 )
	

	11
	PAN No:
	

	  12

	Service Tax Regn  No:  ( if applicable) : 
	

	  13
	Price : 

Confirm  whether quoted rate is inclusive of taxes and duties or not.
The tenderer should indicate clearly nature of tax and rate of tax quoted in the price bid, 
 to avail credits by BHEL

Unit rate and amount  is  to be filled for all  items  in the price schedule. 
 
	    Offer your comments
--

….  

	  14
	PAYMENT TERMS:

Progressive payment on prorate basis for the   work completed in all respects and on submission of bill.  Bill should be recorded in measurement book with details of work carried out. Release of payment may take place about 30 days
	

	  15
	 No Advance payment :
	

	  16.
	Work   Guarantee for 0  months:
	

	  17.
	PENALTY:  0.5% of the contract value per week or part thereof upto a maximum of 10% of the contract value shall be levied beyond the scheduled completion time. Or not attending in between contract period  also will attract penalty.
	

	18
	TERMS and  Conditions shall be acceptable.
	

	19
	Acceptance to pay minimum wages as per minimum wages act applicable from time to time, PF, ESI contributions, bonus etc 
	

	20
	Decision of BHEL Representative shall be final in the matter of inspection at any stage
	

	21
	All items will be carried out as per Annexure-II details of work as enclosed in part - B
	

	
	VAT/ TIN NO:  for Job No purpose
	

	22
	TURNOVER:   30% average of estimation in last 3 years ( Rs65,000 approx)
07-08 or 
06-07

05-06

04-05 

Saral-IT & Balance Sheets certified by Chartered Accountant  copies are to be enclosed
	              AMOUNT

Rs

Rs

Rs




 Signature of Contractor(s).

TERMS AND CONDITIONS:      Should  read with Annexure-I  ( work schedule)
1) Sufficient skilled/ unskilled persons having work experience in the similar field   should be engaged.

2) Contractor should arrange all materials for the work concerned.
3) Security deposit: 10% shall be adjusted towards S.D;   balance SD  will be recovered from the running bill.   Security Deposit will be released  on request  after  final bill payment.

4) Guarantee period- Nil, since the work is repair  of  existing lighting on structures  only.

5) Contractor should obtain HR clearance ( by showing attendance , wages paid to labour, PF & ESI Contributions etc during bill period) for getting the bill payment.  
6) Contractor shall ensure payment of statutory prescribed minimum wages as applicable from time to time in the presence of authorized representative of BHEL and maintain proper records of their timely disbursement.  Any future wage raise on account of DA Increase/ Wage revision by AP Government may be met by the contractor himself. BHEL will not reimburse the differential in rate of DA or Wages, bonus is also applicable for long bound contracts.
7)   Payment will be arranged on prorate basis for  completed quantities as per work schedule and on submission of bill to P.D maintenance section. 

8) Contractor should commence the work immediately once obtained labour permission from HR.  Delays  in  execution will attract penalty  @ ½% per week on the balance contract value or   work but  to a maximum extent  of 10%

9)   SAFETY:  Contractor shall provide personnel protective equipment to the labour engaged and should see that they wear while attending  work. 

10) The contractor is wholly responsible for any loss of life or partial disability of any of their labour  while on duty

11) In case of occurrence of any accident/ injury of contractor’s staff, BHEL will not pay any compensation while they are on duty and contractor has to take care of health of workers under statutory obligation.

12) Upon awardal of the work, the contractor has to execute an agreement with BHEL on a non- judicial stamp paper  worth of Rs 100/- purchased by the contractor.

Instructions to Contractors 




1
All spares & materials will be supplied by BHEL, Except sand, bricks, snowcem paint,PCC poles, MS Clamps, VIM Powder and cora cloth etc are in the scope of supply of contractor.



2
Contractor shall provide manpower regularly  One skilled Electricians and one unskilled 

during first  shift and extra man power has to be provided depending upon the nature of complaints and urgency..




3
Contractor should employee qualified  Electrical supervisor.




4
Contractor should have valid electrical licence from the competent authority 


5     Contractor should provide personnel safety equipment to workers  like uniform, safety shoes, Gloves and Helmets

6
The scope of work includes dismantling of old equipment, reconnecting the new wires 


including all connecting wires and joints etc., where ever required it includes all consumable materials and labour.

7
All dismantled materials shall be returned  to BHEL stores..




8
The contractor should obtain acknowledgement from  the user after completing the work.

9
The quantity shown above are approximate and liable for variations.



10      Contractor shall  have required testing, measuring instruments , tools and tackles to attend the work. He contractor shall provide minimum 2 Nos of multimeters, 2 nos of line testes, 1 no of LT Meggar and other elated tools 
DETAILS OF ELECTRICAL  WORKS TO BE CARRIED OUT BY THE CONTRACTOR for “   MAINTENANCE OF FACTORY LIGHTING, SECURITY  GATES WATCH  & HIGH TOWERS”
The details of electrical  work  enclosed at annexure-I schedule of work to be carried out by the Contractor during a year as and when repairs required.

ANNEXURE-B

MEASUREMENT OF WORK AND PAYMENT THEREOF

1. A Measurement Book will be maintained in the BHEL  by Power Distribution Maintenance section( Admn Bldg or at 15/83 bldg or 52 bldg ).  The Contractor wherein he or his authorized representative will submit bill, based on quantities completed by the contractor   entries will be entered  in  the measurement book 

2. The designated employee of the Unit will inspect the work executed by the contractor and authenticate the entries made in the measurement book.

3. Short comings, if any, in the work executed will be pointed out by the designated employee to the Contractor or his authorized representative and the same will be rectified by him   within three days to the satisfaction of the designated employee.


4. Payment towards work satisfactorily executed will be made to the Contractor at the following rates :-  Annexure-I ( schedule of work) 
       Measurement of work will be as per Annexure-I  ( work schedule/ price schedule)

i) Payments will be made to the contractor on Pro rata basis during  contract period on the basis of work carried out by him.

ii) All payments will be subject to deduction of income tax at source as per Income Tax Rules.

ANNEXURE-C

CONTRACTOR’S OBLIGATIONS

A) CONTRACTUAL

1. The Contractor will ensure that the employees deployed by him in the premises of BHEL are physically and mentally fit and do not have any criminal record. 

2) The Contractor will maintain records of his employees deployed to carry out the job.

3) The Contractor will provide employment card/Identity card with photograph duly attested by him to his employees.

4) The Contractor will provide uniforms / safety appliances to his employees.

5) In the event of termination of contract for any reason whatsoever, the contractor shall withdraw all his employees from the establishment of BHEL.

6) The Contractor will obtain insurance cover for his employees and take third party risk insurance coverage at his own cost.

7)
The Contractor will decide the number of employees to be deployed for execution of the work awarded to him and will be solely entitled to dictate such workers about the manner of carrying out the work. 

8)
The Contractor or his authorized representative will supervise the work allotted to him and being carried out by his employees or will post a Supervisor for this purpose.

 9)
The Contractor will be responsible for the good conduct of his employees.  In case of any misconduct / misbehaviour by any employee, contractor will replace such employee immediately.

10)
The contractor will ensure that the job is executed through the employees on his rolls and under no circumstances he will deploy any casual employee to carry out the job nor shall he sub-contract the job awarded to him.

11)
The Contractor will keep watch on his employees and he will be liable for any pilferage / loss to BHEL due to acts of omission and commission by his employees.  Similarly, liability for any compensation to outsiders on account of any act of omission and commission by the employees deployed by the contractor shall lie exclusively with him.

12)
The Contractor will ensure that all precautions are taken for the safety of his employees.

13)
The Contractor will provide to his employees all tools, tackles and equipments required to carry out the job under the contract at his own cost.

14)
The Contractor will provide safety appliances at his own cost which may be required under the statute or otherwise.

15)
The Contractor will provide all material at his own cost as mentioned in the contract to his employees for carrying out the job.

16.
spares  will be supplied by BHEL free of cost.  

B.
STATUTORY 
17)
All statutory requirements under Minimum Wages Act, 1948, Payment of Wages Act, 1936, Workmen Compensation Act. 1923, EPF & MP Act, 1952, Payment of Gratuity Act, 1972, ESI Act, 1948, The Contract Labour (R&A) Act, 1970, Payment of Bonus Act, 1965, Income Tax Act etc. shall be complied with by the contractor.

18)
The Contractor shall comply with all statutory requirements, rules, regulations, notifications in relation to employment of his employees issued from time to time by the concerned authorities.  

19)
The Contractor shall ensure payment of statutory prescribed minimum wages as applicable from time to time in the presence of authorized representative of BHEL and maintain proper records of their timely disbursement.  These records need to be preserved for a period of at least 3 years and made available even after the contract is over for any verification by  the statutory authorities.  

20)
The Contractor should have independent code numbers under EPF & MP Act, 1952 and ESI Act, 1948 and he shall cover his employees under the said codes.

21)
The Contractor shall provide PF pass book to his employees and ensure payment of PF, EDLI, pension dues under EPF & MP Act, 1952 to the RPFC.  

22)
The Contractor shall ensure payment of ESI contribution under ESI Act, 1948.  

23)
The Contractor shall produce proof of deductions as well as remittances of PF, EDLI, Pension, ESI contribution, administrative charges etc. wherever applicable and shall maintain proper records.

24)
The Contractor shall furnish proper returns to the concerned statutory authorities.  

25)
The Contractor shall be solely responsible for non payment/  delayed payment of wages, contributions under EPF & MP Act, ESI Act etc.  

26)
In case the contractor fails to make payment of wages to his employees or remittance of contribution to the concerned authorities, the security deposit/other dues under the contract can be utilized by BHEL to discharge the liability of the contractor.    

27)
The Contractor shall indemnify BHEL against all claims and losses under various statutes or any civil or criminal law in connection with employees deployed by him.

28)
The liability for any compensation on account of injury sustained by an employee of the contractor will be exclusively that of the contractor.  

29)
The Contractor shall obtain licence under CL(R&A) Act, 1970. 

ANNEXURE-D

GENERAL TERMS & CONDITIONS

1. BHEL shall have the privity of the contract with the contractor only and will give instructions to the contractor or his authorized representative. BHEL will have nothing to do or be concerned with the employment of employees working for the contractor.  The relationship between BHEL and the Contractor will be that of independent entities and nothing herein contained will amount to joint venture, partnership or an employer-employee relationship.  

2. The contractor shall maintain regular contact with the designated employee(s) of BHEL and will interact on matters relating to the  work awarded under this contract.

3. In case the Contractor does not carry out the Contractual/Statutory obligations or the services rendered by him are found to be unsatisfactory, BHEL shall bring the same to his notice and he will be obliged to discharge the obligations and rectify the deficiency/anomaly within three days time failing which, BHEL reserves the right to terminate the contract without assigning any reason whatsoever.  In such an event, no damages will be payable for short closure of the contract.

4. The contractor shall deposit an amount of Rs.__________      ( 10% of contract value)  as security with BHEL in the form of pay order /bank guarantee / FDI in the name of contractor A/c – BHEL duly discharged on the back.  Alternatively, the amount of security deposit can be adjusted partly from EMD and balance amount from subsequent bills.  This security deposit shall be liable to be returned to the contractor after termination of the contract or at the end of it, subject to deduction on account of company dues, non-deposit of statutory dues etc.  No interest shall be payable on the  security deposit.

5. The decision of BHEL regarding interpretation of any of terms and conditions set forth in this agreement shall be final and binding on the Contractor.

6. Any matter arising out of or in connection with the agreement shall be under jurisdiction of SANGAREDDY/ HYDERABAD Court.

7. Notwithstanding anything contained in this Agreement, the contract may be terminated by BHEL without assigning any reason thereof by giving a notice of 30 days to the contractor. 

8. The contract will commence on ____________ date and will remain valid for a period of One year till __________ date.  The parties reserve the right to extend the contract on mutually agreed terms and conditions.

9.
All disputes between the parties to the contract arising out of or relating to the contract either concerning the terms and conditions of the contract or its implementation will be settled by the parties amicably.  In case the dispute is not resolved, the same shall be referred for conciliation by an officer of BHEL.  In case it still remains unresolved, the dispute will be referred for arbitration by an officer of BHEL.  (In case arbitration by an officer of BHEL is not acceptable, the same could be entrusted to any mutually agreeable Government functionary or an independent person). The venue of arbitration shall be office of General Manager/ M&S (indicate place).  The arbitrator will give his award within a period of four months or within such extended time as may be agreed by the parties. The award of the arbitrator shall be final, conclusive and binding on both the parties.

I. OBLIGATIONS OF THE CONTRACTORS   
1. If the tender is made by an individual, it shall be signed with his full name and his address shall be furnished.  If it is made by firm, it shall be signed with the co-partnership name by a member of the firm, who shall also sign his own name, also furnish the name and address of each member of the firm.  If the tender is made by a corporation, it shall be signed by a duly authorized Officer who shall produce with the tender, satisfactory evidence of his authorization.  Such tendering corporation/firm is required to furnish evidence of its existence along with bid.

2. The EMD will be refunded to the unsuccessful Tenderers on application after rejection of the tender is intimated.  The earnest money will be retained in the case of the successful tenderers and either of the cases will not carry any interest.  It will be dealt with as provided in the conditions attached to the tender.

3. Whenever a tender is to be accepted, the tenderer, whose tender is under consideration, shall attend the Office of " Officer Inviting the Tender " on the date fixed by written intimation to him.  He shall forthwith, upon intimation being given to him by the " Officer Inviting the Tender” for acceptance of his tender, complete the execution of the agreement by signing all documents connected therewith.  Failure to do so and not to commence the work within one month from the date of intimation shall entail forfeiture of the earnest money.

4. Tenderers shall persue carefully the instructions and directions to the parties given in the tender document and the conditions there of and all other relevant documents before quoting the rates for the work.  The approximate quantity of work to be executed under each class is given in the schedule.  The quantities are given with a view to enable tenderer to quote his overall rate for each class of work in the tender form and for a uniform comparison of tenders.  It shall be definitely understood that the schedule is liable to alterations at the discretion of accepting authority.

5. Tenderers shall keep the offer valid for a period of 90 days from the date of opening of tender.  After submitting the tender, he will not recall his offer or modify the terms and conditions thereof.  Should the tenderer fail to observe or comply with the foregoing stipulations, the EMD shall be forfeited.

6. Tenderers have to quote their rates in the tender schedule legibly written in figures and those not submitted in proper form, offer  is  liable for rejection.

7. The submission of tender shall be strictly in accordance with the terms and conditions stipulated in this tender notice.  No counter conditions will be acceptable or valid.

8. Contractor shall be deemed to have included in his tender price of all the plant, machinery and appliances required for the purpose of all operations connected with the work embraced under the contract to secure a satisfactory quality of work and rate of progress which in the opinion of the " Contract Signing Officer" will ensure the completion of the work within the time specified.

9. BHEL is having every right to split the schedule and to award the work to single or more  parties on the lowest offered rates basis.

10. BHEL is having right to call the lowest bidder for price negotiations, if the rate or amount quoted by contractor is felt on higher side. In such cases contractor should attend negotiations with full details.  

11.  BHEL may request the contractor for extending the contract  for  likely  works with same terms and conditions.

12. The rates quoted by the contractor should be firm for the contract period.  There shall be no revision in contract rates during the period of the contract.  

13. The contractor must have phone facility at his office/ residence or cellular phone for proper communication.

14. Withdrawal from contract during contract period in BHEL will entail forfeiture of EMD & Security Deposit. 

15. In case the contractor does not execute the work awarded to him as per the terms and conditions of the agreement, the same shall be got executed by some other contractor and the excess cost incurred shall be recovered from the contractor’s security deposit/pending bills. 

16. The contract agreement shall be entered with BHEL, Ramachandrapuram,  Hyderabad on valid non judicial stamp paper of the value of Rs100/- to be purchased by the contractor at his own cost.

17. Labour engaged by the contractor should be disciplined & exhibit good behaviour in dealing with employees of BHEL. Any misbehavior or conduct of any Peron engaged by the contractor is not good, contractor shall change that person immediately or else it may even lead to termination of the contract & security deposit will be forfeited as penalty.

18. The Executing Officer shall ensure the execution of work on quantifiable basis taking into account equipment and machinery deployed rather than availability of technicians.

19. Disputes, grievances between the contractor and his labour, will have to be settled by the contractor only.

20. The labour employed by the contractor, if found in abetting any of fellow labour or contractors or any BHEL employee, the same shall be considered as an act of indiscipline.  Such laborers shall be removed from the services of the contractor, on the advice of BHEL.  Further the contractor shall initiate every necessary action in accordance with the relevant Laws, Rules & Regulations and enactments of state and Central Governments.

21. Earnest Money Deposit:  

Earnest Money is to be paid by each tenderer to ensure that the tenderer does not refuse to execute the work after it is awarded to him.  The rate of earnest money deposit shall be as per tender schedule. 

          EMD by the Tenderer will be forfeited as per Tender Documents if

         i)    After opening the tender, the tenderer revokes his tender within the validity period or increases his earlier quoted rates.

         ii)     The tenderer does not commence the work within the period as per LOI / Contract. In case the LOI / contract is silent in this regard then within 15 days after award of contract.

             EMD shall not carry any interest

22.    Security deposit:   

      Security Deposit should be collected from the successful tenderer.  The rate of Security Deposit will be as below:

                         Upto Rs. 10 lakhs



10%

The security Deposit should be collected before start of the work by the contractor.

Security Deposit may be furnished in any one of the following forms 

  i)       Cash (as permissible under the Income Tax Act)

 ii)        Pay Order, Demand Draft in favour of BHEL.

iii)
       Local cheques of scheduled banks, subject to realization.

i) Securities available from Post Offices such as National Savings Certificates, Kisan Vikas     Patras etc.        (Certificates should be held in the name of Contractor furnishing the security and duly pledged in favour of BHEL and discharged on the back).

ii) Bank Guarantee from Scheduled Banks / Public Financial Institutions as defined in the Companies Act subject to a maximum of 50% of the total security deposit value.  The balance 50% has to be remitted either by cash or in the other form of security. The Bank Guarantee format should have the approval of BHEL. 

iii) Fixed Deposit Receipt issued by Scheduled Banks / Public Financial Institutions as defined in the Companies Act. The FDR should be in the name of the contractor,  A/C BHEL, duly discharged on the back. 

iv) Security deposit can also be recovered at the rate of 10% from the running bills. However in such cases at least 50% of the Security Deposit should be collected before start of the work and the balance 50% may be recovered from the running bills.                                                                                                                                                                         

v) EMD of the successful tendered  shall be converted and adjusted against the security deposit.

             The security deposit shall not carry any interest

23. WAGE SLIP, employment card    etc to the technicians/  supervisors/ engineers  have to be arranged by the contractor.

24.      Contractor should have independent code numbers / exemptions under EPF & MP Act, 1952 and ESI Act, 1948 and shall cover his employees under the said codes.

  25.
Payment of bonus under the payment of Bonus Act, Payment of gratuity under the    Gratuity Act, and retrenchment compensation under Act will be the sole responsibility of the contractor.

   26     PF Remittances should be made before 7th of succeeding month for workmen   engaged,  copy must be produced in HR (Personnel)  for obtaining HR Clearance  and also to the site   incharge  ( as per EPF clause).

   27. Contractor shall provide to his employees all tools, tackles and equipments to carry out
         the job under the contract at his own cost.

28. Contractor shall provide safety appliances at his own cost which may be required under  the statute or otherwise.

29. Contractor shall provide all material at his cost as mentioned in the contract to his 

         employees for carrying out the job

30.   Payments will be made to the contractor on the basis  WORK   carried out

         by him and on   submission of prorate  bill.    

31.    Any future wage raise on account of DA Increase/ Wage revision by AP Government

          may be met by the contractor himself. BHEL will not reimburse the differential 

          rate of DA  or Wages. 

32. All payments will be subject to deduction of income tax at source as per 

       Income Tax rules   ( present rate of TDS  is 2.266%).

33.   The issue of materials is governed by the conditions specified in the schedule-II (If        any).  All other materials shall be supplied by the contractor himself and the rates for the relevant items are inclusive of all such supplies.

34.  BHEL  reserve the right to deviate either by addition or by deletion from the schedule of items of work given in the tender document after awarding the work.

THIS IS AN INDIVISIBLE WORKS CONTRACT AND THE CONTRACTOR SHALL QUOTE FOR ALL ITEMS 
ANNEXURE-I
PART-B                      Should be submitted in a sealed cover 
PRICE BID
SUB: Maintenance of  Factory Road Lighting, security gates
	S.NO
	DESCRIPTION OF ITEM
	QTY
	UNIT
	RATE
	AMOUNT

	 
	 
	 
	 
	Rs.   
	Rs.   

	
	Periodical  maintenance of the Road/Yard lighting. This includes:
	 
	 
	 
	 

	1 (a)

	Cleaning of all items of fittings like fitting body, reflector, glass dome free of dust and insects, refixing of glass dome/covers, wherever required.
	300
	Nos.
	
	

	 
	 
	
	 
	
	

	1 (b)

	Checking and rectifying of connections to starters, choke fuse units, capacitors, any loose   contacts to lines, jumpers etc.,  tightening of binding wire wherever required  and refixing of the above accessories if required.
	300
	Nos.
	
	

	2

	Replacement of blown off  fuses on individual fittings of the types referred in item(1).
	150
	Nos.
	
	

	 
	 
	
	 
	
	

	3

	Replacement of  burnt out/ worn-out standard accessories of the following types:
	
	 
	
	

	(a) 
	Lamp holders
	220
	Nos.
	
	

	(b) 
	Chokes/Ballasts
	100
	Nos.
	
	

	(c)
	Condensers
	120
	Nos.
	
	

	(d)
	Ignitors
	90
	Nos.
	
	

	(e)
	MCBs of various capacities
	90
	Nos.
	
	

	(f)
	Bulbs of all types used in the fittings
	400
	Nos.
	
	

	(g)

	Replacement of 2.5 sq mm PVC  Al/Cu cable of  9 Meters each including connections at both sides. 
(items for  "a to g "  are BHEL's free issue)
	75

	Mtrs

	
	

	4

	Dismantling, Transporting of old fittings including brackets and clamps to the maintenance workshop of 15/83 bldg for rectification/reconditioning.
	125

	Nos.

	
	

	5 a

	Fixing of new/reconditioned street/yard  light fittings with brackets and clamps on any type of the poles in factory   as directed by site incharge.
	120

	Sets

	
	

	5b
 
	 Fixing of new / reconditioned car/scooter shed  light fittings of any type with  brackets and clamps 
	25
	Sets 
	
	

	6

	Excavation of cable trenches of size  0.5 M width and 0.5 M depth
	
	 
	
	

	a)
	in all soils except hard soil/road cutting
	700
	Meters.
	
	

	b)
	Hard soil/cutting of roads/flooring.
	100
	Meters.
	
	

	c)

	Pits of  0.5 M radius and 0.5 M depth for cable loop at each pole.
	40
	Nos.
	
	

	7 (a)

	Laying  of  16/25/35/50 Sq.mm 3/4 core PVC insulated sheathed steel armored Aluminum/Copper  conductor cable and fixing  of  cable markers on the cable route (Cable &Cable markers will be on BHEL's free issue).

	800

	Meters.

	
	

	(b)
	Execution of  end joints for  item 7(a)
	40
	sets
	
	

	(c)
	Execution of  straight through joints for  item 7(a)
	15
	sets
	
	

	
	
	::2::
	
	
	

	S.NO
	DESCRIPTION OF ITEM
	QTY
	UNIT
	RATE
	AMOUNT

	 
	 
	 
	 
	Rs.   
	Rupees   

	8(a)

	Supply and spreading of sand  50mm thick all round the cable and laying of bricks around the cables ie., two sides and laying of 1ft X 1ft shabad stones on top over the cable  for item No. 6(a).
	700

	Meters.

	
	

	8 (b)
	Supply and Laying of  6" dia RCC pipes including coller pipes in Road/Floor cutting for item 6(b).
	100
	Meters
	
	

	9 (a)

	Refilling of excavated trench  with excavated soil ramming wit  and leveling etc., complete for item 6(a).
	700
	Meters.
	
	

	 
	
	
	 
	
	

	9(b)
	Refilling of  cut road/floor with excavated materials and wait for settling of the soil for one week. The same area shall be covered with suitable metal of size 50/25/10mm and cement/bituminous compound for free movement of vehicles for item 6(b).
	100
	Meters.
	
	

	9 (c)
	Refilling of Cable loop pits for item 6(c)
	40
	Nos.
	
	

	10

	Earth excavation (for poles/stays/struts) for pits of size 0.6x0.9x1.5 meters in all soils.
	10
	sets
	
	

	11
	Supply and erection of  8 Meters  length Pre-stressed  Cement  Concrete  Poles  as per IS:1343 and  IS:1678-1978. The poles shall withstand the working load of 200 Kgs acting  at  0.6 Mtr  from top of the poles. The poles shall have good finishing  and strength.) 
Poles with hairline cracks will be rejected.
	10
	sets
	
	

	12

	Bending and fixing of GI pipe brackets for extending  the length of existing street light brackets/New fittings (GI pipe is  BHEL's free issue)
	10

	Nos.

	
	

	13

	Fabricating and fixing of MS clamps of  20x3mm, 25x6mm  sizes as per requirement. Clamps shall be painted with 1 coat of  Red Oxide and two coats of aluminum paint. (Including necessary bolts, nuts and washers etc.,)
	20

	Sets

	
	

	 
	 
	
	 
	
	

	14
	Fixing of new  PD box  with  Clamps, nuts, bolts and necessary accessories. (PD box will be BHEL's free issue)
	40
	sets
	
	

	15
	Cleaning of  existing PD boxes with wire brush and supply & painting of one coat of  Red Oxide and two coats of  SE paint for complete PD box including clamps.
	80
	sets
	
	

	16

	Replacement of accessories in PD box, such as fuse unit,connector  strip (fuse unit and connector strip , and crimping lugs  are in the contractor scope )
	380

	Nos.

	
	

	17

	Poles colouring  with snowcem paint  (Snowcem paint supply  is in the scope of contractor)
	80
	Nos.
	
	

	18


	Painting of serial number  on RCC poles with black background and littering with white enamel paint


	80


	Nos.


	
	

	19
	Repair/Replacement of  lighting sensors.
	12
	sets
	
	

	20
	Repair/Replacement of main contactors like ML2 to ML8 of L&T  make.
	12
	sets
	
	

	21


	Repair & Replacement of  15/30/60/100 Amps. ICTP switches.
	20
	Nos.
	
	

	
	
	::3::
	
	
	

	S.NO
	DESCRIPTION OF ITEM
	QTY
	UNIT
	RATE
	AMOUNT

	 
	 
	 
	 
	Rs.   
	Rupees   

	 
	
	
	 
	
	

	22
	Periodical checking and repair of the internal wiring of Security Watch towers.
	10
	sets
	
	

	 
	 
	
	 
	
	

	23
	Periodical checking and repair of the internal wiring of  High Security towers.
	4
	sets
	
	

	 
	 
	
	 
	
	

	24
	Periodical checking and repair of the internal wiring, ropes, Winch & Motor operation, contactors, timers, MCBs of  High  Mast towers once in two months.
	2
	sets
	
	

	 25
	 Supply &  fabrication including painting with SE paint and installation of control gear box (  rain proof MS Box )  for sensors, contactor, fuses for auto/ manual provision including wiring and connections.( sensors, contactor, and fuse units will be  BHEL free issue) 
	6
	Sets 
	
	

	26
	Checking, maintenance and cleaning of solar street lighting system including PV Modules, luminaries, battries, battery box and replacement of spares. The solar street lights are to be cleaned once in a month ( spares are  BHEL 's free issue)
	40
	Sets
	
	

	27
	Arrangement of temporary flood lighting for emergencies / VVIP 's visit/ special requirement. This includes shifting of material, laying of cables, fixing of flood lights and switches. After completin of work these are to be dismantled and shifting to stores. 
	10
	Sets


	
	

	
	
	
	
	
	

	 
	 
	SUB-TOTAL
	 
	
	

	 
	Taxes  (Service tax / VAT / other applicable taxes)     
	 In %
	 
	
	

	 
	 
	TOTAL AMOUNT with Taxes Rs.
	 
	
	

	 
	 Rupees in words 
	 
	 
	
	

	
	
	
	
	
	


Taxes if any please indicate in the above  table 

Rate of tax & amount should be mentioned if applicable- write clearly. 

Tender will be decided on lowest offer.
Taxes  if any will be  loaded  for  deciding  factor   to arrive  lowest offer .
Contractor signature

With stamp

PAGE  
16

