26

All corrigenda, addenda, amendments, time extensions clarifications and etc., to the tender will be hosted on BHEL website (www.bhel.com) only. Bidders should regularly visit BHEL website to keep themselves updated

[image: image1.png]



BHARAT HEAVY ELECTRICALS LIMITED

RAMACHANDRAPURAM:: HYDERABAD-502032

M&S-10 REPAIRSHOP
  TELEPHONE NO. 23183290&2769
NOTICE INVITING TENDER

Tender Notice No: HY/M&S/10-RS/16-17/AMC/0109/1,                                       Dt: 09.01.2016
1. Bharat Heavy Electricals Limited, a Government of India Public Sector undertaking having its Registered Office at Siri Fort, New Delhi. BHEL Ramachandrapuram, one of its manufacturing Units, invites sealed tenders in two part bid from eligible /Contractors, who fulfill qualification criteria as stipulated in NIT, for the work, “Outsourcing of Annual Maintenance Contract for machine tools / Equipment / Lighting (except shop floor roof lighting) in 207-Tool Room & 210-Spares Manufacturing Centre and electrical maintenance of 07-Annexe and Central Guaging Centre buildings for one year”.
2. Sealed quotations in single cover consisting of two inner sealed covers (containing Technical bid as Part A and Price bid as Part B) super scribing the Name of work, and Tender reference will be received at this office Up to 11:00 AM on or before 22.01.2016 at vendor complex, besides administrative building, BHEL Ramachandrapuram. Technical bid will be opened at 13.30 Hrs. on 22.01.2016 and further information if any, may be obtained from the office.
3. The tender documents are also available in the Web Site of BHEL www.bhel.com. Corrigendum if any will be published in BHEL web site only. The brief scope of the work and information is provided below: 

4. The salient features of the tender documents are as follows: 

i)   Notice inviting Tender

ii)   Instruction to Tenderer

iii)   General terms and conditions

iv)   Duties and Responsibilities of Contractor

v) Manpower

vi) Contract Work description

vii) Pro-forma for offering technical bid

viii) Special terms and 

ix) conditions of Contract

x) Price Bid Format

xi) Declaration by Contractor 

xii) Period of contract 

xiii) Failure to comply with contract

xiv) Payment to Contractor 

xv) Sub-contract 

xvi) Statutory requirement 

Signature of Tenderer                                                     


                        Issuing Officer
(Signature & Designation of Official) 

CONTENTS

	SL. No.
	Description

	1.0
	Notice Inviting Tender 

	2.0
	Prequalification requirements

	2.1
	Instructions to Tenderer

	3.0
	General terms and conditions

	3.1
	Eligibility Criteria

	3.2
	Earnest Money Deposit

	3.3
	Security Deposit

	3.4
	Statutory Requirement

	3.5
	Manpower

	3.5.A
	Safety

	3.6
	Period of Contract

	3.7
	Failure to comply with Contract

	3.8
	Payment to the Contractor

	3.9
	Sub-contract

	3.10
	Laws governing the Contract

	3.11
	Legal Jurisdiction

	4.0
	Duties & Responsibilities of Contractor

	5.0
	Contract Work Description – Schedule “A”

	6-A
	Pro-forma for offering Technical bid

	6-B
	Special Terms & Conditions of Contract

	6-C
	Pro-forma for Price Bid

	7.0
	Declaration by Contractor


1.0 NOTICE INVITING TENDER
i. Tender Number & date


: HY/M&S/10-RS/16-17/AMC/0109/1, Dt: 09.01.2016
       Name of the Work
: Annual Maintenance Contract for machine tools /     Equipment /   Lighting (except shop floor roof lighting) in 207-Tool Room & 210-Spares Manufacturing Centre and electrical maintenance   of 07-Annexe and Central Guaging Centre buildings  for one year.
ii. EMD




: Rs.0.60 Lakhs

iii. Approximate estimated value of work 
: Rs.20.24 lakhs
iv. Cost of tender documents 


: NIL
v. Last date for sale of tender documents 
: NIL
vi. Last date for receipt of tender 

: 23.01.2016, 11:00 Hrs
vii. Date, time and place of tender opening
: 23.01.2016, 13:30 Hrs, Vendor complex, BHEL
        





  R.C.Puram, Hyderabad.

viii. Period of contract  
 


: One year(From the date of awardal of work order)
ix. Maintenance period 


: Nil
2.0 PREQUALIFICATION REQUIREMENTS: 

1. The party must have experience in executing Annual Maintenance Contracts of machine tools of light and medium category (Copies of work orders and work completion certificates / PO copies/Agreement copies should be submitted as proof for verification). List of the customers along with respective contracting officer’s addresses (including phone no. and e-mail Id) for whom AMC was executed shall be enclosed to the offer for verification.

OR

The party must be a reputed Machine tool Builder / Reconditioner of light and medium machines (Copies of work orders and work completion certificates / PO copies/Agreement copies should be submitted as proof for verification). List of the customers along with respective contracting officer’s addresses (including phone no. and e-mail Id) for whom machines were built / reconditioned shall be enclosed to the offer for verification.

2. Experience of having successfully completed above similar works during last 7 years ending last Day of month previous to the one in which applications are invited should be either of the        Following:

a)   Three Similar completed Works costing not less than the amount equal to 40% of the   

      Estimated cost. 

Or

b)   Two Similar completed Works costing not less than the amount equal to 50% of the   

      Estimated cost. 

      

Or

c)   One Similar completed Works costing not less than the amount equal to 80% of the   

      Estimated cost. 

3. Similar works definition :

The above experience of Rebuilding / Reconditioning / AMC should be on light and / or medium category machines of type mentioned below (minimum requirement).

a) Centre lathes of swing over bed 410 mm and between centers of 1000 mm, like LB-20 of HMT make and milling machines of table size 1350 x 350 mm, like M2V of HMT make or equivalent.

b) Machines with hydraulics like SFW surface grinder of HMT make (table size 1000 x 250 mm) or equivalent.

c) Special Purpose Machines like (ZSTZ) Gear grinding m/c (Max. work dia. 500 mm) of WMW make or equivalent.

d) Medium machines like SK-12 vertical lathe of table dia.1200 mm, Radial drills like VR-6 of drilling capacity 60 mm (in steel), HJ8A Single column planer (table size 700 x 2500 mm) or equivalent.

4. Average Annual financial turnover during the last 3 years ending 31st March 2015 should Be at least 30% of the estimated cost (Balance sheet & P&L statements to be enclosed duly Certified by chartered account).

i. “The offers of the bidders who are on the banned list as also the offer of the bidders, who engage the services of the banned firm shall be rejected. The list of banned firms is available on BHEL website www.bhel.com”. 

ii. Valid ESI Code Number and P.F. Code Number 

iii. It is required to furnish Service Tax registration certificate issued by Commissioner, Commercial Taxes, AP Govt., and Service Tax registration certificate in respect of all works. The nature of contract is Manpower supply and vendor will raise invoice under this category with due registration under service tax by which BHEL can avail CENVAT credit
iv. PAN No. (In case not available, proof of having applied with acknowledgement from concerned authority). 

v. Labour license (Central/State Government): (proof of having Code No: to be Enclosed, In case      not available, bidder shall submit the License before commencement of the work). 
vi. Agencies who are presently working with BHEL are also required to submit proof of satisfactory performance and completion of contract otherwise the bid will not be considered.
Signature of Tenderer                                                                               

           Issuing Officer
2.1. INSTRUCTIONS TO TENDERER 
2.1.1
 Tender is a two part bid system. The tender documents consist of Part – A and Part - B as detailed below: 

Part ‘A’: Techno-commercial Bid (To be submitted in sealed cover enabling us to open on ……………..) 

Part ‘B’: Price Bid to be submitted in sealed cover as per Tender conditions. 

2.1.2 
Part ‘A’ must be duly completed and super-scribed “Tender Enquiry No. BHEL: RCPURAM: HY/M&S/10-RS/16-17/AMC/0109/1, Dt: 09.01.2016 Part ‘A’ Techno-commercial Bid, name of work, Contractor name & address”. The tenderer shall not indicate the price or rate in the PART-A: Techno-commercial bid. The tenderer shall expressly accept all the terms and conditions of the Tender. The tender which does not comply with the BHEL’s Terms & Conditions may be rejected as Non-responsive/non-conforming and non-acceptable. 

2.1.3 
Part ‘B’ must be duly completed with reference to the tender conditions and put in a separate sealed envelope super-scribed “Tender Enquiry No. BHEL: RCPURAM: HY/M&S/10-RS/16-17/AMC/0109/1, Dt: 09.01.2016 Part 'B' - Price Bid, Item No., name of work, Contractor name & address ". 

2.1.4 
The Techno commercial Bid (Part - A) and general terms and conditions shall be attached to Techno-commercial offer with each page duly signed by the tenderer (at the bottom of each page) as a token of acceptance. 

2.1.5 
Part ‘B’ – the price Bid should not carry any conditions. Price / rate should be quoted in clear terms in the format given by BHEL. 


2.1.6 
Part 'B' Price bid will be opened only in respect of those tenderers who are qualified in Techno- Commercial Bid. 

2.1.7 
The tender forms both Part ‘A’ & ‘B’ duly filled in all respects shall be signed on each page by the tenderer. Any alteration, erasure or over-writing will render the tender invalid. Alteration neatly carried out and duly attested over with the full signature of the tenderer however is permitted. 

2.1.8 
The tenderer should submit the tender documents intact without detaching any page or pages. 

2.1.9 
The Name of the tenderer should be written or the contractor’s seal to be put on the sealed envelope. 

2.1.10 
Before making the offer, the tenderers are advised to carefully go through the terms and conditions, which form part of the Agreement. 

2.1.11
 All entries in the tender document should be in one Ink. Corrections, over writing, cuttings etc. are not permitted. All the columns in the tender form should be filled without leaving any column blank in any page of the tender. In case any of the columns is left blank, the tender would be rejected.
2.1.12 
The price/rate should be quoted in figures as well as in words. 

2.1.13 
Each and every page of tender documents should be stamped & signed by the tenderer. 
2.1.14 
Tender documents consisting of Part 'A' & 'B' duly sealed in separate envelopes should be sealed in another envelope and should be deposited in the Vendor Complex, BHEL-RC Puram, Hyd-32 addressed to Sr.Engineer /(M&S) 10-RS, BHEL, RC Puram, Hyderabad-32 so as to reach on or before 11.00 hrs. on 22.01.2016. The tender documents may also be sent either by registered post / Speed Post / Courier so as to reach on or before the said date and time. Part 'A' of tender form i.e. Techno-commercial Bid will be opened on 22.01.2016 at 13:30 hrs. The same day in the presence of tenderers or their representatives who are present for the tender opening. Tenderers who qualify in the Techno-commercial Bid will be intimated to attend the tender opening of part 'B' - price bid at a date to be notified separately. Part 'B' i.e. price Bid will be opened at the specified date in the presence of the tenderers or their representative who are notified to attend the tender opening. If any Contractor submits combined bid i.e., Tech. Bid and Price Bid in one cover, such offer shall be summarily rejected.

Signature of Tenderer                                                                         


                 Issuing Officer
2.1.15 
For any further details required, Sr.Engineer/ (M&S) 10-RS BHEL, RC Puram, Hyderabad-32 may be contacted in person or through Telephone Nos. 040-23182769 &  23183290
2.1.16 
BHEL reserves the right to assess the capacity and capability of the parties for pre-qualification. The company also reserves the right to accept or reject any or all the tenders or any part thereof at any stage of process without assigning any reason whatsoever. The company has no obligation to accept the lowest tender. Offer of the Tenderer if prima-facie found not comparable with the quantum of work envisaged and the bid is a desperate effort to be L1, then the offer is liable to be rejected. BHEL's decision in this regard shall be final and binding. 

BHEL reserves the right to reject the tender of bidder, who committed default and having bad track record in execution of previous contracts in BHEL. For the purpose of this clause default and bad track record means violation of labour laws (such as non-payment of wages within time, non-payment of ESI, PF contribution, payment of bonus) and backing out from contract after reverse auction or after receipt of LOI / entering of agreement etc., Agencies who are presently working with BHEL are also required to submit proof of satisfactory performance and completion of contract otherwise the bid will not be considered further evaluation.
2.1.17 
PRICE BID - The tenderers are required to submit their quotation for all the items listed in the Price Bid format given along with the tender documents. The price should be quoted for each activity after careful study of the actual job requirement so that, in case the contract is awarded, contractor should not express any difficulty in execution of the contract. 

2.1.18 
The Minimum Wages as per statute or BHEL FAIR WAGES revised (whichever is higher) from time to time are payable. The tenderer would be required to pay allowances/incentives as decided and communicated by BHEL. 

2.1.19 
VALIDITY OF RATES: The rates quoted should be valid for 120 days initially from the date of opening of the Techno-Commercial bid. 

2.1.20 
The tenderer will be required to quote the rates against each item of work under each group (both in figures and words). 

2.1.22 DISCREPANCY IN WORDS & FIGURE QUOTED IN PRICE BIDS: 

i) 
If, in the price structure quoted for the required goods / services / works, there is discrepancy between the unit price and the total price (which is obtained by multiplying the unit price by the quantity), the unit price shall prevail and the total price corrected accordingly, unless in the opinion of the purchaser there is an obvious misplacement of the decimal point in the unit price, in which case the total price as quoted shall govern and the unit price corrected accordingly. 

ii)
If there is an error in a total corresponding to the addition or subtraction of subtotals, the subtotals shall prevail and the total shall be corrected; and 

iii) 
If there is a discrepancy between words and figures, the amount in words shall prevail, unless the amount expressed in words is related to an arithmetic error, in which case the amount in figures shall prevail subject of (i) and (ii) above. 

If there is such discrepancy in an offer, the same shall be conveyed to the bidder with target date up to which the bidder has to send his acceptance on the above lines and if the bidder does not agree to the decision of the purchaser, the bid is liable to be ignored 

2.1.23 
wherever it is quantity based work, including main work and sub-work, the tenderer should quote his rates against each item /work (main as well as sub-work/item). 

2.1.24 
In case of quantity based work contracts, the tenderer should quote the rates against each item keeping in view the prevailing applicable Minimum wages / BHEL Fair Wages whichever is higher, statutory payments and other payments if any and other obligations as per the statutory provisions and amendments thereto and also as directed by BHEL from time to time. 

2.1.25 
BHEL reserves the right to award the contract to one or more contractors simultaneously as deemed fit at the initial stage or during the contract period. 
Signature of Tenderer                                                                             

             Issuing Officer
2.1.26
 BHEL reserves the right to reject any bid, which is technically unacceptable and unworkable. Further, BHEL also reserves the right to reject any or all tenders without assigning any reasons thereof. 

2.1.27 
BHEL reserves the right to cancel the contract at the initial stage or during the contract period without assigning any reason to the tenderer. 

2.1.28 
Wherever prescribed formats are specified for the tenderers use, he shall use the same for making his Claims.

2.1.29 
Tender document should be complete in all respects. 

2.1.30 
Successful tenderers shall enter into an Agreement on stamp paper of 100/- for having accepted the rates, terms and conditions of the contract as per the pro-forma given by BHEL. 

2.1.31 
The Offers should be in full conformity with the terms and conditions of this tender. No contra conditions are acceptable. Incorrect and incomplete tenders are liable to be rejected. Tenders not submitted in the prescribed forms will be rejected. 

2.1.32 
BHEL reserves the right to accept or reject any tender in part or full at their discretion without assigning any reason. 

2.1.33
 If a tenderer deliberately gives wrong information in his tender or creates conditions favorable for the acceptance of his tender, then BHEL reserves the right to reject such tender at any stage. 

2.1.34 
If the tenderer indulges in any unethical practice for securing the contract, the offer of such tenderer shall be rejected. 

2.1.35 Any written communication required to be sent to the contractor in writing shall be sent at the address mentioned on the tender form or to any other address subsequently intimated by Contractor in writing to BHEL HPEP for the contract purposes or to his e-mail address. 

2.1.36 
SITE VISIT: 

a. 
Before quoting, the tenderers are advised to inspect the site of work and its environments and be well acquainted with the actual working and other prevailing conditions, position of materials and labour related procedures & practices. They should be well versed with BHEL General Conditions of Contract, Instructions to tenderers, drawings wherever applicable and specifications and all other documents which form part of the agreement to be entered into subsequent to award of work. The tenderers shall specially note that it is the tenderer’s responsibility to provide any item which is not specially mentioned in the specification or drawing, but which is necessary to complete the work 

b.
 The tenderer/Bidder and any of his authorized personnel or agents will be granted permission by the BHEL to enter upon its premises and lands for the purpose of site visit. However the bidder shall express condition that he, his personnel, and agents will be responsible against all liability in respect thereof, including death or personal injury, loss of or damage to property, and any other loss, damage, costs, and expenses incurred as a result of the inspection. 

c. 
The Bidder should inform the BHEL at least 2 days (time may be fixed in consultation with tender issuing authority) in advance about the proposed site visit. The Bidder, at his own responsibility and risk is encouraged to visit, inspect and survey the Site and its surroundings and satisfy himself before submitting his bid as to the form and nature of the Site, the means of access to the Site, the accommodation he may require, etc. 

d. In general, Bidders shall themselves obtain all necessary information. A Bidder shall be deemed to have full knowledge of the Site, whether he inspects it or not and no extra claims due to any misunderstanding or otherwise shall be allowed. The cost of visiting the Site shall be at the Bidders’ own expense. Any deviations of information in the report and the actual site will not be the responsibility of the BHEL 

Signature of Tenderer                                                                               

   Issuing Officer

3.0 GENERAL TERMS AND CONDITIONS 
i). Contractor shall obtain Labour License (Central / State Government) before commencement of work as applicable. 
ii). In case Contractor engages labour from outside A.P. State to execute the said work, he is required to obtain license under Inter State Migrant Workmen (RE&CS) Act 1979.
iii). BHEL reserves the right to split up the work into convenient portions and award them to different contractors. 
iv). The tenderer shall keep the contents of his tender and rates quoted by him to be kept confidential.
v). The rate for each item shall be reasonable and not unbalanced / impracticable. In case BHEL come across any unbalanced / impracticable rates i.e. 10% or less than 10% estimated value, Tenderer / Bidder may require to furnish detailed analysis to justify the same. If after its examination, BHEL still feels the rates are unbalanced / impracticable, BHEL may asks the tenderer for additional Performance Security or other safeguards to protect BHEL / Employer’s interest against financial loss which may occur to BHEL on account of such unbalanced / impracticable rates, failing which the tender submitted by the tenderer, shall be liable to be rejected by the BHEL, who may award the Contract to any other tenderer.
vi).  All expenses in preparation and submission of bids and visits to the office or any place in connection with the preparation of Bid shall be borne by Bidder. BHEL in no case shall be responsible or liable for these costs regardless of the outcome of the Bidding process.
vii). The bid prepared by the Bidder including all correspondence etc. relating to his offer/ bid shall be in ENGLISH language only. 

3.1 ELIGIBILITY CRITERIA 

3.1.1
 In case the contractor is a Partnership Firm or a Company, the same should be a registered under the relevant Indian Partnership Act 1932 or Companies Act, 1956 and well established organization having at least three years existence in business consecutively for the past three years. 

3.1.2 
The Successful tenderer has to get the license from Labour Dept., under Contract Labour (Regulation & Abolition) Act 1970 for the areas and nature of work, which they will be performing as part of the contract. 

3.1.3 
Tenderer should have independent ESI Employer code under ESI Act 1948. 

3.1.4 
Tenderer should have independent PF code under Employee Provident Fund and Miscellaneous Provisions Act 1952.

3.1.5
 Photocopy of letter from ESI Corp. and PF Commissioner’s Office to establish that tenderer is independently registered as an employer under ESI and PF to be produced. 

3.1.7 
The tenderer shall also mention the PAN Number issued by Income Tax Department, copy of the PAN card or PAN number allotment letter shall be submitted along with the tender documents. 
3.1.8 
There should be no litigation or charge under investigation / enquiry / trial against the Tenderer, or conviction in a court of law or suspension or blacklisting by any organization on any ground. Tenderer shall confirm this in the Declaration. During the course of work, if any such information comes to light, the contract may be terminated. 

3.1.9 
The opinion / decision of BHEL regarding the bid shall be final and conclusive. BHEL reserves the right to reject any or all the bids at any time without assigning any reason. 

3.1.10
 In case the tenderer has a relative employed in BHEL, the authority inviting tender shall be informed of this fact in writing at the time of submission of tender, failing which the tender may be disqualified, or if such fact comes to light subsequently, the contract may be terminated. 

3.1.11 
For the works which are continuous in nature, and which require regular interaction and monitoring, the contractor shall have an Office/Establishment in Hyderabad. Absence of such an arrangement may lead to disqualification of the Tenderer. 
Signature of Tenderer                        

                   
           
         Issuing Officer
3.2 EARNEST MONEY DEPOSIT: 

3.2.1 
An amount of Rs.0.60 lakhs towards EMD shall be paid in cash at BHEL cash office or by Demand Draft/Banker's cheque drawn on any nationalized bank / scheduled bank in the name of "Bharat Heavy Electricals Limited" payable at Hyderabad and shall be enclosed to the tender bid. No other means of payment shall be accepted. EMD / any money due to the tender by BHEL shall not carry any interest. 

3.2.2 
Tenders received without EMD as specified above shall be rejected. If EMD accompanies price bid, such bids shall not be considered and will be rejected. If EMD is not in line with amount called for, the EMD as well as the quotations will be returned and unopened to the tenderers.

3.2.3 
EMD of unsuccessful bidders shall be returned promptly upon award of Contract and EMD of successful bidder will be returned upon the bidder’s accepting the contract and furnishing the requisite security deposit. 

3.2.4 
EMD may be forfeited if after opening of tenders, a tenderer revokes his tender or increases his earlier quoted rates or after acceptance of his tender does not commence the work in accordance with the instructions of BHEL. 

3.2.5 
The EMD will be forfeited if the accepted tender is withdrawn. If only a part of the work included in the tender had been awarded to the tenderer, proportionate amount of EMD will be retained. 

3.2.6
 The Contractors who are having one time EMD certificate shall submit copy of the certificate towards exemption for payment of EMD for the work. 

3.3 SECURITY DEPOSIT 
3.3.1 
Upon acceptance of his tender bid, the successful tenderer must deposit Security Deposit within the time specified in the letter of intent. Security Deposit should be collected from the successful tenderer. The rate of Security Deposit will be as below: 

Upto 10 lakhs 

: 10% 

Above 10 lakhs 

: 1 lakh + 7.5% of the amount exceeding 10 lakhs 

Above 50 lakhs 

: 4 lakhs + 5% of the amount exceeding 50 lakhs 

3.3.2 
The successful tenderer on receipt of letter of intent can convey his acceptance in writing for conversion of EMD into security deposit. 

3.3.3 
If the work is awarded, the agency has to pay 50% of SD in advance on contract value before commencement of work after adjusting of EMD amount. 

3.3.4 
Security Deposit may be furnished in any one of the following forms. 

i. Cash (as permissible under the Income Tax Act)

ii. Pay Order, Demand Draft in favour of BHEL 

iii. Local cheques of scheduled banks, subject to realization.
iv. Securities available from India Post such as National savings Certificates,Kisan Vikas Patras etc. 
v. Bank Guarantee from scheduled Banks / Public Financial Institutions as defined in the Companies Act subject to a maximum of 50% of the total security deposit value. The balance 50% has to be remitted either by cash or in the other form of security. The Bank Guarantee format should have the approval of BHEL.
vi. Fixed Deposit Receipt issued by scheduled Banks / Public Financial Institutions as defined in the companies Act. The FDR should be in the name of the contractor, A/C BHEL, duly discharged on the back. 
vii. Security Deposit can also be recovered at the rate 10% from the running bills. However in such cases at least 50% of the Security Deposit should be deposited before start of the work and the balance 50% will be recovered from the running bills. 
viii. EMD of the successful tenderer shall be converted and adjusted against the security deposit.
Signature of Tenderer                                                                              

Issuing Officer

Note: Acceptance of Security Deposit against Sl. No. (iv) and (vi) above will be adjusted to hypothecation or endorsement on the documents in favour of BHEL. However, BHEL will not be liable or responsible in any manner for the collection of interest or renewal of the documents or in any other matter connected therewith. 
3.3.5 
Failure by the successful tenderer/bidder to deposit the security deposit amount as mentioned above within the stipulated time, which will include any extension that may be granted by the authorities, will render his earnest money deposit liable to forfeiture and his tender shall be consider as withdrawn. Security Deposit shall not be refundable to the contractor except in accordance with the terms of the contract. 

3.3.6 
The Security Deposit will be released along with the final bill or after completion of maintenance period for the work, whichever will be later, subject to the condition that nothing is outstanding against the Contractor. 

3.4 STATUTORY REQUIREMENTS: 
3.4.1
 While quoting the rate, the tenderers are advised to take note of minimum wages / BHEL Fair Wages / Central Govt., / State Govt., (whichever is higher) payable to workmen. 

3.4.2 
The tenderer will be required to comply with all the statutory provisions such as Bonus (% as prevailing in BHEL RC Puram), PF (12%), EDLI (0.5%), ESI, Gratuity, Service Tax and other applicable taxes, BHEL Fair Wages prevailing at the time of payment or arrears thereof, declared Holidays, leave, AP Labour Welfare Fund etc. The contractor shall submit the documentary evidence of payment on account of submission of statutory payments made to the concerned agencies every month and same may be submitted for clearance of bill. 

3.4.3 
The tenderer shall comply with the provisions of the Factories Act 1948, Contract Labour (Regulation and Abolition) Act 1970, ESI Act 1948, Employees Provident Fund and Miscellaneous Provisions Act 1952, Minimum Wages Act 1948, Payment of Gratuity Act 1972, Industrial Disputes Act, 1947, Payment of Bonus Act 1965, Employers Liability Act 1938, Inter State Migrants Workmen (Regulation of employment and conditions of Service) Act 1979 AP Labour Welfare Fund Act, and or any other Laws and Rules that may be applicable from time to time to the workers engaged by him. The tenderer, when required by the Company shall produce the registers and records for verification and comply with other directions issued by the company for compliance of the statutory provisions. 

3.4.4 
The tenderer shall fully indemnify the loss if any caused to BHEL due to any default or non-observance of any of the laws, or any omission or commission or inability on the part of the Tenderer or his representative. 

3.4.5 
The tenderer shall, keep and produce for inspection at all times, forms, registers and other records required to be maintained under various statutes in order to enable scrutiny by the Company whenever required. 
3.4.6 
The tenderer shall produce to the Company, the documentary proof of payment of the said statutory dues. Non-observance of the provisions will be construed as default by the Tenderer in making such payment, and payment of his bill will be deferred despite other legal action. 

3.4.7 
The Income tax as applicable will be deducted from the bill of the contractor. 
3.4.8
 Each tenderer will be required to maintain the daily attendance of his labors in the prescribed Pro-forma for accounting payment of wages, deduction towards ESI & PF Contributions, payment of Bonus, leave etc. 

3.4.9 
The tenderer will have to follow the provisions of Payment of Bonus Act 1965 and Rules 1975, and is liable to pay Bonus to his workers if applicable. 

3.4.10 
The tenderer will have to extend paid National Holidays and Festival Holidays to their workmen as per BHEL RC Puram direction or as per the provisions of the relevant Act and the Rules thereof. However, if due to exigencies of work the contractor engages his workmen on National Holidays or Festival Holidays contractor shall pay additional wages as prescribed under the provisions of the Act. 

Signature of Tenderer                                                                

                  Issuing Officer
3.5 MANPOWER: 

3.5.1 
The Contractor shall provide the required manpower for executing the contracted work. The contractor shall not engage a person who is less than 18 years of age. 

3.5.2 
The contractor shall be responsible for safety of his workers while they are engaged for work connected with the contract. The Contractor shall be responsible for the appropriate usage of the Uniform and PPE’s by their workmen. 

3.5.3 
The contractor, as the employer of his workmen, shall manage them. In the event of any dispute arising between the Tenderer and his employees, the Tenderer alone is solely responsible for resolving the dispute between them and BHEL will in no way be responsible for settling the dispute either statutory or otherwise. 

3.5.4 
The contractor will be solely responsible for executing the agreed work and the employees of BHEL will only oversee the proper execution of work. The contractor or his representatives shall be available in the factory to control and supervise his workers and take down instructions from the designated officials of BHEL. The cost of deployment of Supervisor has to be borne by the Contractor. 

3.5.5 
The contractor shall have full control over his workmen w.r.t determining service conditions, discharge, dismiss, or otherwise terminate their services at any time. The contractor shall be solely responsible for any claim arising out of employment or termination of employment of his employees and for statutory payments. 

3.5.6 
The contractor shall employ only such personnel who are medically fit. The company has right to direct the contractor to remove from the premises such of his personnel who may be physically, hygienically, clinically or medically unfit. 
3.5.7 
The contractor shall employ only such personnel who have not been found unfit for employment in Organizations such as Central/State/Public Undertakings by the Police authorities. Persons against whom criminal cases are pending or under investigation and persons found guilty of offences involving moral turpitude shall not be engaged for executing work. 
3.5.8 
The Contractor shall comply with all the operational rules and regulations, including safety and security rules framed by the company from time to time wherein the Contractor or his workmen happen to be operating / working. In the event of any of the workmen of the contractor violating any of the said rules and regulations, the Contractor would be required to remove forthwith such workmen from the company’s premises. 

3.5.9 
Out of total manpower to be deployed the Contractor shall to the extent possible to deploy 15% scheduled castes and 7.5% of scheduled tribe community. 

3.5. A. SAFETY: 

(i) The contractor should follow all the safety precautions while executing the work.

(ii) All safety equipment such as safety belts, helmets & other equipment (as required for this work) are to be positioned by the contractor & used as per requirement. 
(iii) Any casualty or damage caused to the property or person by any untoward incidents while executing this contract will be at the contractors risk & cost.
(iv) Violation of applicable safety, health & environment related norms, a penalty of 5,000.00 (Rupees Five thousand) per occasion shall be imposed. 
(v) Violation as above resulting in any physical injury a penalty of 0.5% of the contract value shall be imposed (maximum of 20,000.00) per injury in addition to 5,000.00 as mentioned above.
(vi) In case of fatal accidents, a penalty of 1% of the contract value (maximum of 10,00,000.00 (Rupees Ten lakhs) per fatality in addition to 5,000.00 as mentioned above. 
Signature of Tenderer                                                                                  Issuing Officer
(vii) e contractor shall not use any hand-lamp energized by electric power with supply voltage of  more than 24 volts (DC).All portable electric tools used by the contractor shall have safe plugging system to sources of power and be appropriately earthed.

All tools, tackles, lifting appliances, scaffolds, cradles, safety nets, ladders, equipments etc.  used by the contractor shall be safe design and construction.  The authorized BHEL officials shall have the right to ban the use of any item, if such use is considered to be dangerous by the concerned BHEL officials.

If the contractor fails to take appropriate safety precautions or to provide necessary safety devices and equipment or to carry out instructions issued by the authorized BHEL officials, BHEL shall have the right to take corrective steps at the risk and cost of the contractor.

The contractor shall take necessary fire safety precautions as per directions of the authorized BHEL officials
3.6 
PERIOD OF CONTRACT 
i). The contract shall be for a period of 1 year from the date of issue of work order.
ii). The parties, if mutually agreed upon, may extend the period of contract for a further period of one more year on the same terms and conditions with a price variation clause providing for any increase in wages of the workmen and consequential increase in PF, ESI etc., by appropriate Government or by BHEL from time to time. 

If the rate quoted/contract is valid for two years, Company may issue LOI initially for a period of one year. The company reserves its right to issues LOI /contract for the second year to the contractor on successful and satisfactory completion of first year contract. The contractor is bound to execute the contract for second year without any demur. If the contractor fails to execute the contract, BHEL reserves the right to execute the contract through any other contractors at the risk and cost of the contractor and the company reserve the right to take appropriate action against the defaulted contractor. 
iii). BHEL is at liberty to terminate the Agreement by giving 30 days’ notice in writing
3.7 
FAILURE TO COMPLY WITH CONTRACT 
i). Notwithstanding anything contained in any other clause, BHEL reserves the right to terminate the contract due to any failure on the part of the Tenderer in discharging his obligations under the contract or in the event of his becoming insolvent or going into liquidation. The decision of the BHEL about the failure on the part of the Tenderer shall be final and binding on the tenderer. 
ii). In case of any damage to the existing building, structures, materials, tools, furniture and fixtures, machines etc., caused from contractor’s end directly or indirectly, the cost of its repairs or replacement will be recovered from the contractor. If there is any work stoppage in any area of the Plant due to the fault of the contractor, the contractor is liable to compensate the same. 

iii). In the event of any failure on the part of the tenderer, BHEL shall have the right without prejudice to any other right or remedies, to get the work done through any other agency and the Tenderer shall be liable to compensate BHEL for any losses on this account. The additional cost, loss, if any incurred by BHEL will be recovered from the bills, security deposits, other dues, directly from the Tenderer or by initiating appropriate legal action. 

3.8 PAYMENT TO THE CONTRACTOR 
i. Normally, the periodicity of payment to the contractor shall be on a calendar month basis. The Contractor shall raise the bill for payment as per the contractual terms & conditions mentioned in the contract, which should be duly certified by the BHEL official in charge of the contracted work.
In certain cases due to direct association of work with customer project, payment is made after Rcompletion of work. In such cases same will be specified in the NIT/enquiry and the agreement entered into post award of job. 

Signature of Tenderer                                                                                  Issuing Officer
       
The Contractor shall raise the bill for payment as per the contractual terms and conditions mentioned in the contract, duly supported by attendance sheet for all the contract labors capturing therein for each of the Contract labour total time engaged during each day on the job and the same to be duly certified by the BHEL official in charge of the contracted work. 

       
Contract is to be expressed both in terms of required categories of labour and number of labors against each category to ensure that the contractor discharges all the contractual and statutory obligations in respect of labors engaged on the job. At the same time required output in terms of units, tonnage etc. is also to be stated to correlate achieved output vis-à-vis desired output. 

Following conditions shall be adhered strict during the contract period: 

a. 
In case there is fall in the achieved output vis-à-vis desired output, contractor is to be warned in two spells. 

b. 
If the unsatisfactory performance repeats, contract is liable to be short closed. 

ii. The Contractor shall initially pay the wages, and other statutory payments etc., with in the specified time, related to his workmen and then claim bills from BHEL. The contractors would be required to submit their Claims along with the proof of payment of wages, PF, ESI etc., to the respective Departments. The claims will be scrutinized and certified for payment by the respective department and forwarded to Accounts Department along with HR/IR clearance certificate for effecting payment. 

iii. 
The Contractor shall provide two pairs of Uniform to each of his workmen along with stitching charges and catering cap as specified by BHEL. The Contractor is required to submit their claims along with proof of expenditure incurred and acknowledgement from his workmen for providing uniform, subject, however, the maximum reimbursement of claim amount will not exceed a total amount of 1000/- (including all) for two pairs of Uniform to each workmen. BHEL will not entertain any additional / excess claims than the ceiling limit provided herein and contractor agrees to accept the same. 

iv. 
The contractor shall pay bonus to all his workmen as per the applicable provisions of the payment of Bonus Act 1965 and its rules for contract period if applicable. 

v. 
The contractor shall provide Personal Protective Equipment including one helmet, one pair per year safety shoe of standard specified by BHEL safety department and two pairs of socks to all his workmen during the contract period. The contractor is required to submit their claims with proof of 

expenditure incurred in providing Personal Protective Equipment to his workmen, subject, however, the maximum reimbursement of claim amount will not exceed a total amount of 800/- for Personal Protective Equipment to each workmen for the whole contract period. BHEL will not entertain any additional / excess claims than the ceiling limit provided herein unless the contractor offers such additional / excess claims in the Price Bid and BHEL accepts to the same. 

vi. IMPLEMENTATION OF PRICE VARIATION CLAUSE: Any increase in consolidated wages of BHEL RC Puram or increase in Variable Dearness Allowance by appropriate government to the eligible workmen of contractors, will be reimbursed by BHEL RC Puram to the contractor to that extent of increase on production of proof of payment to the workmen by the Contractor duly verified by the Contract Executing Officer, HR/IR. In case of decrease in the Variable Dearness Allowance by the Appropriate Government, the same will be deducted from the running bills of the Contractor to that extent. (Note: Increase is admissible on the variable components such as wages, Dearness Allowance, PF, ESI, and leave wage etc., which will be notified by the HR/IR from time to time). 
3.9 SUB-CONTRACTING 
The contractor shall not sub-contract or transfer or assign the contract in full or any part thereof to any other person or firm or company without the previous express written approval of BHEL. 
Signature of Tenderer                           
                          
  
                           Issuing Officer 3.10 
LAWS GOVERNING THE CONTRACT 
i) The contract will be governed by the Laws of India for the time being in force and as amended or made from time to time. 
ii) All disputes shall be settled in accordance with the Laws of India for the time being in force and as amended from time to time. 
iii) All disputes arising out of or in relation to this contract or Agreement shall be settled by mutual discussions through Conciliation and in the event of failure of conciliation, such disputes shall be referred to Arbitration in accordance with the provisions of Arbitration and Conciliation Act, 1996. 
3.10 EGAL JURISDICTION: 
i. In respect of all matters arising out of or pertaining to the contract, the cause of action thereof shall be deemed to have arisen only at RC Puram, Hyderabad, where BHEL - HPEP / BHEL PE&SD is situated. All legal proceedings pertaining to the above matters or dispute shall be instituted only in courts having territorial jurisdiction over the place where BHEL-HPEP / BHEL PE&SD is situated and no other court shall have the jurisdiction. 
4.0 DUTIES AND RESPONSIBILITIES OF THE CONTRACTOR: 
4.1 
The duties, responsibilities and obligations of the contractor including statutory responsibilities mentioned in this document are indicative and not exhaustive. Contractors are required to confirm with the concerned authorities for proper and complete compliance. 

4.2 
The contractor will abide by the provisions of Child Labour (Prohibition & Regulation) Rules 1988. He should issue appropriate Appointment Letter to his Workmen. 

4.3 
The following documents / forms under Contract Labour (Regulation & Abolition) Act 1970 and relevant rules therein shall be maintained by the contractor: 

(i) 
A notice showing the wage period and date of disbursement of wages to be displayed at the place of work and a copy sent by the contractor to the HR Department (Rule 75). 

(ii) 
A register of workmen Form XIII (Rule 75) 

(iii) 
Employment card Form XIV (Rule 76) 

(iv) 
Service Certificate Form XV (Rule 77) 

(v) 
Muster Roll, Wage Register, Deductions Register, overtime Register Etc. 

(vi) 
Half yearly return to be sent (In duplicate) by the contractor to the licensing officer. Form – XXIV (Rule 82 (I)) with a copy to HRM Department regularly. 

(vii) 
All statutory registers and records shall be preserved in original for a period of Ten years and should be made available even after the contract is over for verification. 
4.4 
The contractor shall comply with the provisions of Contract Labour (R & A) Act 1970 including provisions relating to welfare and Health facilities as provided under the Contract Labour (R& A) Act 1970 and relevant rules. 
4.5 
All the Contractors shall submit the half yearly / yearly returns to Regional Labour Commissioner (Central), Hyderabad or appropriate authority as required under contract Labour (Regulation & Abolition) Act 1970 and forward a copy to HR Department.
4.6 
BHEL, HPEP, RC PURAM – Hyderabad is a Notified Area under the provisions for ESI Act 1948. The contractor shall comply with the provisions of ESI Act, and will be responsible for any liability arising during the tenure of the work contract under the Act. The contractor should ensure ESI coverage and facilities to his workers (i.e. ESI code no. and ESI card etc.) as per ESI Scheme from ESI authorities including Medical Benefit etc. The contractor shall arrange for filing of family declaration forms in respect of their contract labors and deposit the same in ESI office for issue of Identity card by ESI authorities. The contractor may deduct required ESI contribution from the wages of their employees as per law and deposit the same (Employees share) along with his contribution to the ESI authorities. 
4.7 
Workmen insured under ESI Act only shall be deployed in contract work. For the Persons not covered under the provisions of ESI Act, the contractor shall take required insurance under Employees Compensation Act 1923 with medical benefit. 

4.8 
The tenderer shall submit bi-annual return in Form 6 along with monthly Challans to the appropriate authority under the provisions of Employee's State Insurance Act 1948, under intimation to HR Dept. 
Signature of Tenderer                                                    
        
                      Issuing Officer
4.9 
Notwithstanding anything contrary to this, in the event of accident, the contractor shall be required to submit accident / injury report to the concerned authorities with a copy of the same to the designated BHEL Executive immediately and ensure the compliance of the ESI Act and rules made therein. 

4.10 
The tenderer shall submit the following returns to the appropriate authority under the provisions of Employee's Provident Fund and Misc. Provisions Act 1952, Employees’ Pension Scheme 1995 under intimation to HR Dept. 

(i) 
Monthly return in Form 12 A along with form 5 & 10 (addition and deletion) and monthly Challan or any other form as modified by PF authorities 

(ii) 
Annual Return in Form 6A along with Form 3A. 

   
(till this procedure is discontinued by the PF authorities) 
4.11
The Contractor shall maintain the following records as required under the Employees Provident Fund and Miscellaneous Provisions Act 1952, Employee's Pension Scheme 1995. 

· Declaration of Nomination, Form No.2 Para 33 and 61 (1). 

· Attendance. 

· Wage Register. 

· Any other documents / registers as required 

4.12 The contractor shall regularly on or before prescribed date of every month pay the amount of contribution (employer's contribution as well as the employee's contribution) as per the Employee's Provident Fund and Miscellaneous Provisions Act 1952, Employees’ Pension Scheme 1995 and Employee's State Insurance Act 1948. 
i). The contractor may recover from his workmen, the employee's contribution in accordance with the provisions of the said act and the Scheme but shall not recover the employer's contribution or the other charges from his employees in any manner.
ii). The contractor shall submit along with monthly bills to BHEL, statement showing the recoveries of contributions in respect of employees employed by or through him along with the proof of Deposit of such contribution with the Concerned Authority and shall also furnish to BHEL such information, in the capacity of principal Employer, as required to be furnished under the provisions of the schemes under the Employees P.F. and Misc. Provisions Act 1952 and ESI Act, 1948 to the authorities under the said Acts. 
iii). The Contractor shall arrange for his own P.F. and ESI Code Number from the PF and ESI authorities respectively. The expenditure incurred by the contractor towards payment of the Employers Contribution and PF Administrative charges is already included in the estimated price of BHEL. 
4.13 
In case of revision of Wage/DA by appropriate Government or by BHEL after the award of work, BHEL will bear the difference of increase during the currency of the Contract. Any failure to comply with the statutory requirements on the part of contractor shall disqualify such contractor from all contracts awarded to him and his name shall be black-listed for further tenders / contracts. In addition, the Contractor’s security deposit shall be forfeited apart from consequential legal action against him. 

4.14 
The contractor shall maintain Form D as per Rule 5 of the Payment of Bonus Act, 1965. The contractor is further liable to pay bonus to his employees in accordance with the payment of Bonus Act 1965 on completion of contract if applicable and to keep all the records in Form C as per the said Act.

4.15 
The contractor will be required to contribute towards gratuity payment of his employees (contract workers) required as per Payment of Gratuity Act. He will also be responsible to pay retrenchment compensation under the Act. In case of short closing of contract by either side, the Contractor shall settle all dues payable to workmen including Bonus on last working day. 

4.16
 In case the contractor employs women, he will discharge his obligation under law in respect of such women workers such as prohibition of engaging them during night hours, prohibition of employing them more than 9 hours per day, provision of crèche facility, grant of maternity leave as per rules etc. 
Signature of Tenderer                                                      
          

                  Issuing Officer

4.17 
The Wage period for the Workmen of Contractors engaged on long contracts shall be Calendar Month and the contractor shall be responsible for making payment of wages within 7 days of the closure of the wage month (on 07th day of the calendar month following the wage month) The disbursement shall be proponed to the 6th day, if the 7th day happens to be a holiday. The Contractor would be required to open an Account for Electronic Fund Transfer (EFT) of his Bills/Claims from BHEL as well as EFT of wages/OT/other payments of his workmen from his Bank Account to the Bank Accounts of his workmen so that risks associated with cash transactions can be avoided.
4.18 
The Contractor shall be required to issue monthly Wage slips /OT Slips to their workmen. Further, the Contractors claims are to be accompanied by a Certificate from BHEL Official certifying that “the Wage /OT Slips for the previous month/current month have been issued by the contractor to all their workmen”. Further, the contractor would be required to issue Annual PF Statement from the PF Authorities for all his workmen engaged in BHEL HPEP, RC PURAM, HYD-32 before submitting Claim for refund of Security Deposit for the respective years. 
4.19
 In case contractor fails to make payment of wages to his employees or remittance of contribution to the concerned authorities, the Security deposit / other dues payable under the contract can be utilized by BHEL to discharge the liability of the contractor. 

4.20 
The workmen of the contractors shall wear uniform while attending duty in BHEL campus. The uniform shall be provided by Contractor to his workmen. The Contractor/his authorized representative shall ensure wearing of the Uniform by his workmen in the BHEL premises. 

4.21 
The liability for compensation on account of injury sustained by an employee of the contractor will be exclusively that of the contractor. 
4.22
 NATIONAL & FESTIVAL HOLIDAYS (as declared by BHEL): The contractor will give paid National Holidays and Festival Holidays to the workers as per Section 5 of National and Festival Holidays Act. However, if due to the exigency of work if any of his workmen is required to work on National Holiday or Festival Holiday, the contractor has to pay wages as per Section 5, sub section 2 and 3 of the said Act. 

4.23 
Besides the four national holidays i.e. 15th August, 26th January, 2nd October and 1st May (May day) if Govt. declares any other day as a national holiday same will be treated as paid holiday for the purpose of this contract. Accordingly the contractor shall be required to provide paid holiday to its workers for the same. If any of the contract worker works on such additional declared national holiday, he will be entitled to additional wage for the said day. 

4.24 
In addition to the above holidays mentioned at Clause 39, in the event the Central / State Government declares any other holiday/s and if such Holiday/s is/are applicable to BHEL, RC Puram, Hyderabad also, then the tenderer/contractor shall extend paid Holiday/s to his workmen. The tenderer shall take into account all such occasions while quoting in the tender. 

4.25 
GENERAL ELECTIONS: If the general elections are held for State Assembly / Parliament and Government declares a public holiday for exercising the franchise, the contractor shall give their workmen half day leave in "First" shift only. The contractor's workmen working in “Second” and “Night” shifts will be required to exercise their franchise during their own time. 

Signature of Tenderer                             
                                                     Issuing Officer
4.26 
The Contractor shall maintain the following Documents, Registers, Forms as required under the FACTORIES Act 1948 and Rules 1950 thereof. 

(I) 
Leave Register Form No. 15 

(II) 
Nomination Form No. 25 

4.27 
The contractor will extend leave with wage to his workers @ of one day for every 20 days work. To facilitate the proper execution of the Factories Act, these leaves shall be allowed during the same calendar year. The contractor will pay the un-availed portion of leave in cash along with monthly wages / at the end of Contract period. 

4.28
 Contractor has to ensure that all his workmen are granted one day weekly off after every 48 hrs. of working. The workmen working for more than 48 hours in any week shall be paid wages twice the ordinary rate of wage in accordance with the provisions of Section 59 of the Factories Act, 1948 read with the A.P Factories Rules 1950. 

4.29 
The contractor shall follow safety rules and regulations as per provisions of Factories Act 1948, and Rules at his own expense and arrange for the safety provisions as appended to these conditions or rules framed by the government from time to time. 
Signature of Tenderer                                                                                  Issuing Officer
4.29 A. Refund of Security Deposit: Security Deposit of contractor will be refunded only after the expiry of the contract period and based on the certification of successful completion of the contract and payment of PF, ESI and applicable statutory dues by the concerned Officials / department and submission of an Undertaking from the contractor, that in case of Claims from any of the statutory authorities, the same would be indemnified by the Contractor.
4.30 
The Contractor shall be required to deposit Service Tax as applicable as assessed by Central Excise Authority (Service tax cell) Hyderabad before 15th of the following month, if same is applicable as per rules in force from time to time. The amount so spent can be claimed from BHEL after submitting the proof of the same. 
4.31 
Contractor shall inform his PAN to BHEL. Income tax as applicable will be deducted at source by BHEL from the bills of contractor.

4.32 
All the Registers and Records, forms, Notices maintained under the relevant Acts and Rules should be produced on demand before the Inspector or any other authority under the Act, failing which the contract may be terminated without any notice. 

4.33 
Contractor shall be required to submit a list of his workers to be deployed for the works contract giving details regarding Name of contract worker, Fathers Name, permanent and Present Address, Date of Birth, Qualification, Caste-SC/ST/OBC, ESI No, PF No. and the family details. 

4.34 
The contractor shall abide by all the labour legislations and other laws including the provisions of Contract Labour (Regulation & Abolition) Act, 1970, the Factories Act, 1948, the Payment of Wages Act, 1936, the Minimum Wages Act, 1948, ESI Act, 1948, Employee Provident Fund Act, 1952, AP Labour Welfare Fund Act, Payment of Bonus Act 1965, Payment of Gratuity Act 1972, and other relevant Acts applicable to his workmen under this Contract. 

4.35
 BHEL shall be indemnified against all losses, Claims, prosecutions etc. under any law. 

4.36
 The contractor shall promptly furnish all information and document required by BHEL authorities for the purpose of complying with the responsibilities of Occupier of the factory and shall render all the necessary assistance for the same. 

4.37 
The contractor will maintain proper discipline of his workmen and will ensure that his workers do not cause any loss or theft or damage to any company's property. The contractor will also be responsible for the good conduct of his workmen. 

4.38 
The contractor shall ensure and maintain uninterrupted progress of the work in accordance with instructions given to him on behalf of BHEL from time to time. 

4.39
 In case the contractor makes default in commencing the work within the time specified by BHEL without any reasonable cause, disputes any of the terms and conditions of the contract or refuses to execute the contract or any part thereof at any stage, the contract shall, without prejudice to any other right or remedies available to BHEL, be liable to be cancelled / terminated in part or in whole.
In the event of such cancellation / termination of contract, the contractor shall be liable; to compensate BHEL for all losses incurred by BHEL including the loss suffered on account of having the work executed through any other contractor or department as may be convenient to BHEL, in accordance with the exigencies of the work. In case only a part of the contract is cancelled, the remaining portion of contract may be allowed be executed by the contractor. 

40 
The Contractor shall without fail give up-to-date information in writing of the attendance of the workers engaged by him. The Contractor will also submit the required documents and certificates as prescribed from time to time for the clearance and the payment of the Bill. 

4.41
 Whenever any sum of money is found to be recoverable from or payable by the contractor, the same will be deducted from any sum that may due or which at any time there after becomes due to the contractor under this contract or under any other contract or from his security deposit. In case the recoveries are not complete even after such deduction, the contractor shall pay the same or the balance thereof from the security deposit. The contractor shall immediately thereafter pay such further sums as may be required to replenish the shortage caused by such recoveries in the amount of security deposit. 

4.42 
During the currency of contract, if the contractor is awarded any other job work contract in BHEL, the contractor will have to inform the designated BHEL official before accepting the other work.
4.43 
In case of failure on the part of the contractor to execute the work awarded to him within the stipulated time, the sum equivalent to the EMD as per BHEL Works Policy shall be forfeited as per the Undertaking provided by tenderers, after a week’s notice issued by the awarding officer and BHEL may in its discretion award the contract to any other party. 

Signature of Tenderer                                                         
                         Issuing Officer
4.44
 In case of any extra work executed by the contractor, the contractor will be paid on pro-rata basis. 
4.45 
All the Terms and Conditions as mentioned in Work Order will also form a part of the Agreement. 

4.46 
BHEL shall have the right to deduct any sum from the bill of the contractor for making good the loss suffered by a worker or workers by reason of non-fulfillment of the conditions of the contract, Non- payment of wages or of deduction made from his or their wages which are not justified by the terms of the contract or non-observance of the said contract Labour regulations. 

4.47 
The contractor shall be responsible for observance of local laws, employment of personnel, payment of taxes etc. As far as possible, workers shall be engaged from the local areas in which the work is being executed. 

4.48 
The contractor shall be wholly responsible for the behavior of the workmen at the work place and outside, in the BHEL premises. 

4.49
 The contractor shall be responsible for safe custody of BHEL's property like materials, tools etc., entrusted to him and if necessary arrange insurance at his own expense. 

4.50 
The contractor shall be responsible to make good and rectify at his own expense any defect, which may develop or may be noticed within the period of the contract. 

4.51 
BHEL shall be entitled to recover any payment made on behalf of the contractor under any law or otherwise. 
4.52 
BHEL Officer In-charge shall have the right to stop the work at any stage or at any time by giving the contractor seven days’ notice in writing.
4.53 
ARBITRATION: All disputes arising in connection with the contract shall be settled by mutual consultation. If no agreement is reached the dispute shall be settled in accordance with the provisions of the Arbitration and Conciliation Act, 1996 and the rules made there under. The dispute shall be referred for arbitration to any arbitrator to be appointed by the Head of the Unit/his nominee as per the extant rules of the Company read with the provisions of The Arbitration and Conciliation Act, 1996 and amendments thereto. The award of the arbitrator shall be final and binding on both the Parties. The venue of the Arbitration shall be Hyderabad in India. The Award to be given by the Arbitrator/Arbitral Tribunal shall be a speaking award. All questions, disputes, differences arising under, out of or in connection with this contract shall be to the exclusive jurisdiction of Sangareddy Courts. 
Signature of Tenderer                                                                                  Issuing Officer
General Terms and Conditions
1. Refund of Security Deposit: Security Deposit of contractor will be refunded only after the expiry of the contract period and based on the certification of successful completion of the contract and payment of PF, ESI and applicable statutory dues by the concerned Officials / department and submission of an Undertaking from the contractor, that in case of Claims from any of the statutory authorities, the same would be indemnified by the Contractor. 
2. The Contractor shall initially pay the wages, and other statutory payments etc., with in the specified time, related to his workmen and then claim bills from BHEL. The contractors would be required to submit their Claims along with the proof of payment of wages, PF, ESI etc., to the respective Departments. The claims will be scrutinized and certified for payment by the respective department and forwarded to Accounts Department along with HR/IR clearance certificate for effecting payment. 
3. The Contractor shall provide two pairs of Uniform to each of his workmen along with stitching charges and catering cap as specified by BHEL. The Contractor is required to submit their claims along with proof of expenditure incurred and acknowledgement from his workmen for providing uniform, subject, however, the maximum reimbursement of claim amount will not exceed a total amount of 1000/- (including all) for two pairs of Uniform to each workmen. BHEL will not entertain any additional / excess claims than the ceiling limit provided herein and contractor agrees to accept the same. 
4. The contractor shall pay bonus to all his workmen as per the applicable provisions of the payment of Bonus Act 1965 and its rules for contract period if applicable. 
5. The contractor shall provide Personal Protective Equipment including one pair per year safety shoe contract period. The contractor is required to submit their claims with proof of expenditure incurred in providing Personal Protective Equipment to his workmen, subject, however, the maximum reimbursement of claim amount will not exceed a total amount of 800/- for Personal Protective Equipment to each workmen for the whole contract period. BHEL will not entertain any additional / excess claims than the ceiling limit provided herein unless the contractor offers such additional / excess claims in the Price Bid and BHEL accepts to the same. 
6. The contractor shall fully comply with the following enactments / guidelines: 
(a). Contract Labour (R & A) Act, 1970 & applicable Rules thereof.

(b). Minimum Wages Act 1948 (Wage Rates not less than that notified by State Labour Department / Central Labour Department / notified by BHEL, RC Puram (whichever is higher) from time to time)
(c). Payment of Wages Act, 1936 
(d). ESI Act, 1948 
(e). EPF & Misc. Prov. Act, 1952 
(f). Employees Compensation Act, 1923. 
(g). A.P Labour Welfare Fund Act, 1987 
(h). Inter State Migrant Workmen (RE & CS) Act, 197Payment of Bonus Act, 1965 

(i). Payment of Gratuity Act, 1972 
(j). Equal Remuneration Act, 1976 
(k). The Company’s instructions as issued from time to time in regard to working hours, wages, leave, holidays etc. 

7. a. The contractor shall obtain License from the Competent Authority if he engages 20 (twenty) or more workmen in BHEL RC Puram under Contract Labour (Regulation and Abolition) Act, 1970. The Contractor shall submit a valid Contract Labour License to BHEL, RC Puram, on or before the date of commencement of contract.
b. The contractor shall obtain License from the Competent Authority if he engages 5 (five) or moreworkmen under Inter State Migrant Workmen (RE & CS) Act, 1979 in case the contractor engages workmen recruited from outside State of Telangana in which BHEL RC Puram located. The Contractor shall submit a valid Contract Labour License to BHEL, RC Puram, on or before the date of commencement of contract. 

Signature of Tenderer                                                                            

      Issuing Officer

8. The Contractor shall produce the following Registers and forms (as applicable) before commencement of work, for verification by the Contract Executing Officer / Contract Labour Cell of the company, without which labour entry permission will not be granted. 
(a). Form XIII - Register of workmen employed by contractor (Rule 75).

(b). Form XIV - Employment card issued by contractor (Rule 76).

(c). Form XVI - Muster Roll (Rule 78(1)(a)(i)).

(d). Form XVII - Register of wages (Rule 78(1)(a)(i)).

(e). Form XVIII - Register of wages-cum Muster Roll (in case of weekly payment).

(f). Form XIX - Wage Slip (Rule 78)(b).

(g). Form XX - Register of deduction for damages or loss (Rule 78)(1)(a)(ii).

(h). Form XXI - Register of files (Rule 78)(1)(a)(ii).

(i). Form XXII - Register of advances (Rule 78)(1)(a)(ii).

(j). Form XXIII - Register of overtime (Rule 78)(1)(a)(iii).

(k). Form XXIV - Return to be sent by the contractor to licencing Officer (Rule 82)(1).
9. The contractor shall maintain the above and any other registers and forms applicable under various Acts/Rules neatly, completely and legibly for inspection by various statutory authorities and by the company officials even at short notice. All above registers shall be maintained at the place of work.
In addition to the above the following are required to be taken care by the contractor under Contract Labour (R&A) Act 1970 

a. Copy of licence to be displayed at the workspot as required under Rule 25 (2) 9 (ix).

b. Rates of wages, hours of work, wage period, date of payment, name and address of inspector, date of payment of unpaid wage in English, Hindi and Telugu are to be displayed as per rule 81 (1) (i) 

c. Notice showing wage period, place and date of disbursement of wages has to be displayed and a copy of the same is required to be sent to Principal Employer under acknowledgement as per rule 71 

d. An abstract of the Act and Rules in the form approved by the Chief Labour Commissioner (Central), New Delhi to be displayed in English and Hindi and Telugu as per rule 79. 

e. Copies of Notices required to be displayed as per Rule 81(1) (i) and any change occur the same shall be submitted as per Rule 81 (2). 

f. Notice of commencement of work has to be given as required under Rule 25 (2) (viii) in form VIA 

g. Register of person employed to be maintained as required under Rule 75 

h. Employment cards were to be issued as per rule 76 (i) 

i. Register of wages and muster roll to be maintained as per Rule 78(1)(a)(i) 

j. Register of fines, deductions and advances to be maintained as per Rule 78(1)(a)(ii) 

k. Register of overtime to be maintained as per rule 78(1)(a)(iii) 

l. Wage slips have to be issued as per rule 78(1)(b) 

m. Half Yearly return for the half year ending _________ to be submitted as per Rule 82(1) to the Licensing Officer 

n. Latrines and Urinals to be provided for the use of the workers as per rule 51 to 56 read with section 18 

o. First aid facilities to be provided for the use of the workers as per rule 58 read with

p.  section 19 

q. Creche facilities to be provided for the use of children of women as per Rule 25(2)(vi) 

10. The contractor shall observe
(a). Weekly rest day

(b). The Company List of Holidays. 
11. Contractor shall obtain complete bio-data of the labour, employment certificate and Antecedent verification (issued by Local Police Dept.,) in the prescribed form for each labour and supervisor engaged by him, and shall submit the same to the Human Resource Department/IR section through the contract executing officers before commencement of the work. 
Signature of Tenderer                                                                             

     Issuing Officer
12. The entry permits are to be issued to the Contract Labour by Assistant Commandant / Plant (CISF), based on the requisition submitted by Contract Executing Officer and forwarded by Executive in charge of Contract Labour Cell of HR IR section 
13. Every contractor shall submit a notice regarding commencement and completion of work in Form-VI A&B [Rule 25(viii) & 81(3)] to Contract Labour Cell of HR IR section through his contract executing officer, for forwarding the same to State / Central Labour Department as applicable.
14. The contractor shall make himself or his representative available at the work spot every day during execution of work, for effective supervision. The Contractor or his supervisor shall submit list of shift wise contract labour engaged by him in duplicate to CISF Personnel at J Gate on daily basis. 
15. The Contractors shall pay to their workmen applicable minimum wages / BHEL Fair Wages whichever is higher. 
16. The Contractor shall comply with all the statutory provisions such as Bonus (if applicable), PF (12%), EDLI (0.5%), ESI, Gratuity, Service Tax and other applicable taxes, BHEL Fair Wages prevailing at the time of payment or arrears thereof, declared Holidays, leave, AP Labour Welfare Fund etc. The contractor shall submit the documentary evidence of payment on account of submission of statutory payments made to the concerned agencies every month and same may be submitted for clearance of bill. 
17. The contractor shall attend to all inspections notified/conducted by the personnel department, Labour department, P.F. authorities, Factory Inspectors, ESI inspectors or any other such authorities under the Act, failing which appropriate action shall be initiated. 
18. Non-compliance of provisions under any Acts/Rule/instructions/guidelines shall make the contractor liable for penal action including termination of contract. 
19. Contractor shall furnish in a separate letter, his place of residence and postal address. The delivery at the above named place or posting in a Post Box regularly maintained by the Postal Department or sending letters registered for acknowledgement of any notice, letter or other communication to the contractor shall be deemed sufficient service thereof upon the contractor. Change in address shall come into force at any time by an instrument executed by the contractor and delivered to the Company official who has signed the contract. 
20. The contractor must satisfy himself by personal study and examination of the specifications furnished and understand thoroughly the scope of proposed work in detail and all conditions affecting the work before entering into the contract. There shall not be at any time, dispute/complaint of any nature regarding scope of work and interpretation of specifications or any misunderstanding with regard to nature or omission of the work to be done nor shall any application for compensation in terms of time and money shall be accepted by Company regarding the above. 

21. Contractor shall in his absence keep competent agent constantly on the works and any directions or explanations given by the "Contract Signing Officer” or his representative to such agent shall be held to have been given to the contractor himself. 

22. Contractor on the advice of the Company official shall immediately remove any person/s employed by him, who may in the opinion of the Company official is incompetent or misconducts himself and such persons shall not be again employed on the works without written permission of the Company official. 

23. Wherever required, the contractor shall erect and maintain at his own cost temporary weather proof sheds at such places approved by the Company for keeping materials under cover. 
24. The contractor shall give all notices required by the Acts, Regulation, Bye-laws, and pay all fees in connection therewith unless and otherwise arranged and decided in writing with the Company. He shall also ensure that no attachments are made against materials or work forming part of or for the use of the contractor. In all such cases, contractor shall protect and indemnify the Company against any claim or liability arising from or based on the violation of any such laws, ordinances, regulations, orders, decrees or attachment either by himself or by his employees. 
Signature of Tenderer                                                 
                               
 Issuing Officer
25. It shall be contractor’s sole responsibility to protect the public and his employees against accident from any cause and provide required safety equipment’s and shall indemnify the Company against any claims for damages for injury to the person or property resulting from any such accidents and shall, where the provisions of the Employees compensation Act does not apply, take steps to properly insure against any claims thereunder. 
26. In the event of any accident in respect of which compensation may become payable under the Employees Compensation Act. VIII of 1923 whether by the contractor or by the Company as principal, it shall be lawful for the Company to retain out of monies due and payable to the contractor such sum or sums of money as may, in the opinion of the Company shall be final in regard to all matter arising in this clause. 

27. No work shall be done on Sundays or on other declared Holidays of the Company without the written permission of the Company officer in charge of the work and HR/IR section of Contract Labour Cell. The contractor shall comply with the provisions of the Factories Act 1948 if the same are applicable. 

28. The contractor shall keep his work place clean and safe to avoid injuries to men and damage to finished products / equipment. 

29. On the occurrence of an accident, which results in the death of any of the workmen employed by the contractor or which is so serious as to be likely to result in the death of any such workmen, the contractor shall within 24 hours of the happening of such an accident intimate in writing to the Company official in charge of the work. The Contractor will also pay compensation as determined by the Authorities. 

30. The contractor shall indemnify the Company against all losses or damages sustained by the Company resulting directly or indirectly from his failure to give intimation in the manner aforesaid including the penalties or dues if any and become payable by the Company, as a consequence of failure, the Company to give notice under the Employees Compensation Act 1923 or otherwise confirm to the provisions of the said Act in regard to such accident. 

31. The contractor shall ensure adherence to all statutory requirements applicable to BHEL. 

32. The contractor shall ensure abidance by all the labour laws especially including Contract Labour (R&A) Act 1970, Payment of wages Act 1936, Employees Compensation Act 1923, Factories Act, 1948, Minimum Wages Act 1948, Payment of Bonus Act 1965, Payment of Gratuity Act 1972, ESI Act 1948 and Provident Fund Misc. Prov. Act 1952 etc., as amended from time to time. 

33. The contractor shall fully indemnify the loss if any caused to BHEL due to any default or non-observance of any of the laws, or any omission or commission or inability on the part of the contractor or his representative. 

34. The contractor shall, keep and produce for inspection at all times, forms, registers and other records required to be maintained under various statutes in order to enable scrutiny by the Company whenever required. 

35. The contractor shall produce to the Company, the documentary proof of payment of the said statutory dues. Non-observance of the provisions will be construed as default by the contractor in making such payment, and payment of his bill will be deferred despite other legal action. 

36. The Income tax as applicable will be deducted from the bill of the contractor. 

37. Each Contractor shall maintain the daily attendance of his labours in the prescribed Pro-forma for accounting payment of wages, deduction towards ESI & PF Contributions, payment of Bonus, leave etc. 

38. The contractor will have to extend paid National Holidays and Festival Holidays to their workmen as per BHEL RC Puram direction or as per the provisions of the relevant Act and the Rules thereof. However, if due to exigencies of work the contractor engages his workmen on National Holidays or Festival Holidays contractor shall pay additional wages as prescribed under the provisions of the Act. 

Signature of Tenderer                                                                       

       Issuing Officer
39. In addition to the above holidays mentioned at Clause 39, in the event the Central / State Government declares any other holiday/s and if such Holiday/s is/are applicable to BHEL, RC Puram, Hyderabad also, then the Contractor shall extend paid Holiday/s to his workmen. 

40. The contractor shall obtain a separate Provident Fund Code for his establishment and ensure implementation of Provident Fund & Misc. Prov. Act 1952 in the case of all eligible Labours engaged by him in the BHEL RC Puram (employees) and in the process shall conform to all stipulated conditions under the Provident Fund & Misc. Provisions Act 1952 and rules framed thereunder. The PF contribution i.e. 12% shall be paid on total wages paid to the contract labour. 

41. Notwithstanding the above clause, in case of any financial loss incurred by company on account of contravention of the Provident Fund regulations or any regulations of rule by the contractor, the contractor shall submit an undertaking to indemnify the company to the extent of the loss incurred by the company. 

42. The contractor should engage only those labours who shall be more than 18 (eighteen) years of age. 

43. The contractor shall not resort to subcontracting under any circumstances without written consent from BHEL.
44. The contractor shall provide the required safety equipment to the labours engaged by him. 

45. Contractor shall issue "Employment Card" to all labour and supervisors covered under the labour / works / job work contract as prescribed under the Contract Labour (R&A) Acts/Rules. 

46. A copy of the agreement between contractor and his labour shall be submitted to the Contract Labour Cell of HR-IR section 

47. Whenever the term "CONTRACTOR" is used, it shall be understood to refer to the particular person, firm or corporation with whom an agreement has been made by the concerned Company official for executing the work defined in the concerned agreement and for the purpose of instructions regarding compliance with contract conditions, it shall include the contractor’s authorised agents, who are entrusted with the work by contractor. 

48. The quantities mentioned in the agreement schedule are worked out from the relevant drawings in the Company and may or may not be the actuals required for execution. 

49. The Company does not expressly or by implication agree that the actual amount of the work to be done at BHEL shall correspond there with, but reserves the right to increase or decrease the quantity of operations / unit / number of persons deployed etc., or portion of the work as he deems necessary. 

50. All the works shall be carried out in accordance with the directions and to the satisfaction of the Company official in accordance with the drawings, specifications and instructions. Supplementing or explaining the same as may be from time to time shall be done by the Company official. 

51. For all modifications, omissions or additions to the specifications, the Company shall issue revised written instructions and no modifications, omission or addition shall be made unless so authorized and directed by the Company in writing. 

52. The Company shall have the privilege of ordering modifications, omissions, or additions at any time before completion of the work. 
53. All materials, articles and workmanship shall be the best of their respective kinds for the class of work described in the contract specifications and schedule and materials to be obtained by the contractor shall be from sources approved by the Company. 
54. Sample of materials shall be furnished by the contractor at his expense to the Company when called for before executions of any work. On approval of the sample of materials by authorized Official of the Company, the Contractor shall take up the work.

Signature of Tenderer                                                                                  Issuing Officer

55. The contractor shall be solely responsible for executing the agreed work and the employees of BHEL will only oversee the proper execution of work. The contractor or his representatives shall be available in the factory to control and supervise his workers and take down instructions from the designated officials of BHEL. The cost of deployment of Supervisor has to be borne by the Contractor. 
56. The contractor shall have full control over his workmen w.r.t determining service conditions, discharge, dismissal, or otherwise terminate their services at any time. The contractor shall be solely responsible for any claim arising out of employment or termination of employment of his employees and for statutory payments. 
57. The contractor shall employ only such personnel who are medically fit. The company has right to direct the contractor to remove from the premises such of his personnel who may be physically, hygienically, clinically or medically unfit. 
Special Instructions: 

1. If the tender is made by an individual, it shall be signed with his full name and his address shall be furnished. If it is made by firm, it shall be signed with the co-partnership name by a member of the firm, who shall also sign his own name, also furnish the name and address of each member of the firm. If the tender is made by a corporation, it shall be signed by a duly authorised Officer who shall produce with the tender, satisfactory evidence of his authorisation. Such tendering corporation/firm is required to furnish evidence of its existence along with bid. 

2. The EMD will be refunded to the unsuccessful Tenderers on application after rejection of the tender is intimated. The earnest money will be retained in the case of the successful tenderers and either of the cases will not carry any interest. It will be dealt with as provided in the conditions attached to the tender. 

3. Whenever a tender is to be accepted, the tenderer, whose tender is under consideration, shall attend the Office of " Officer Inviting the Tender " on the date fixed by written intimation to him. He shall forthwith, upon intimation being given to him by the “Officer Inviting the Tender” (Ex. DGM (CDC)) for acceptance of his tender, complete the execution of the agreement by signing all documents connected therewith. Failure to do so and not to commence the work within one month from the date of intimation, shall entail forfeiture of the earnest money. 

4. Tenderers shall peruse carefully the instructions and directions to the parties given in the tender document and the conditions there of and all other relevant documents before quoting the rates for the work. The approximate quantity of work to be executed under each class is given in the schedule. The quantities are given with a view to enable tenderer to quote his overall rate for each class of work in the tender form and for a uniform comparison of tenders. It shall be definitely understood that the schedule is liable to alterations at the discretion of accepting authority. 

5. Tenderers shall keep the offer valid for a period of 120 days from the date of opening of tender. After submitting the tender, he will not recall his offer or modify the terms and conditions thereof. Should the tenderer fail to observe or comply with the foregoing stipulations, the EMD shall be forfeited. 

6. Tenderers have to quote their rates in the tender schedule legibly written in figures and words and those not submitted in proper form are liable for rejection. 

7. The submission of tender shall be strictly in accordance with the terms and conditions stipulated in this tender notice. No counter conditions will be acceptable or valid. 

8. The tenderers must satisfy themselves by personal study and examination of the drawings/specifications furnished and understand thoroughly the scope of proposed work in detail and all conditions affecting the work before quoting. There shall not be at any time after submission of the tender, dispute/complaint of any nature regarding the scope of work and interpretation of specifications or any misunderstanding with regard to nature or omission of the work to be done nor shall any application for compensation in terms of time and money shall be accepted by BHEL in regard to the above. 

Signature of Tenderer                                                                                  Issuing Officer

9. Contractor shall be deemed to have included in his tender price of all the plant, machinery and appliances required for the purpose of all operations connected with the work embraced under the contract to secure a satisfactory quality of work and rate of progress which in the opinion of the " Contract Signing Officer" will ensure the completion of the work within the time specified. 

10. The contractor has to produce the bank guarantee, in the prescribed proforma valid for the contract period for a value calculated at the rates mentioned, towards security deposit. The claim period under the guarantee shall be valid for six months after expiry of the contract. 

11. This is a time bound contract for period mentioned, and does not envisage any extension of time / period unless otherwise it is given in writing. 

12. The rates quoted by the contractor should be firm for the contract period. There shall be no revision in contract rates during the period of the contract. Any increase of statutory levies during the period of the contract will be reimbursed on production of relevant proof of incurring expenditure for the same. 

Signature of Tenderer                                                                                  Issuing Officer
Specific information communicated to vendors

Apart from the fulfilment of general conditions, the vendors who wish to submit the bids for the above category have to know the following specific information

1. Payment will be disbursed on the basis of actual attendance and performance of work executed duly  

    Certified by executing agency of M&S/10-RS shop in measurement book.
2. This work involves deployment of, 1 no. Skilled worker (Electrician), 6 nos. Semiskilled workers (4 nos. Fitters and 2 nos. Electricians) &. 3 nos. unskilled workers
Scope of work:

Annual Maintenance Contract for machine tools / Equipment /   Lighting (except shop floor roof lighting) in 207-Tool Room &   210-Spares Manufacturing Centre and electrical maintenance   of 07-Annexe and Central Gauging Centre buildings for one year   Period as per scope of work, terms & conditions mentioned below:

	Sn.
	Scope of work / Activity
	Contractor’s remarks as Agreed / Not agreed

	 A.
	FOR PREVENTIVE MAINTENANCE :
	

	A.1
	METAL CUTTING MACHINES :
	

	A.1.1
	A.Schedule :
	

	1
	To externally inspect (without dis-assembly) the whole machine and each of its units, for making the defect list about the condition and the operation of the machine. To regulate, check durability and tightness of fixed / rigid joints i.e. bed foundation, bed sections between themselves, pulleys, flywheels, sprockets, gears, friction discs etc.
	

	2
	To open out the covers of the units for inspection and check the condition of mechanisms.
	

	3
	To regulate clearances between lead screws and their mating units of the slides, saddles, traverses, carriages etc.
	

	4
	To regulate spindle bearings
	

	5
	To check proper engagement of speed and feed gears and the level/handle position.
	

	6
	To regulate friction and the brake tension
	

	7
	To regulate smooth sliding of tables, slides, saddles, traverses, carriages, slide blocks, slotter ram. 
	

	8
	To tighten wedges and clamping plates.
	

	9
	To check the condition of the guides of the bed, carriages traverses and other friction surfaces. To clean scratches and any other damages.
	

	10
	To check and regulate springs tension.
	

	11
	To tighten / replace loose or worn out fasteners (i.e pins, nuts, screws, bolts etc.)
	

	12
	To check proper functioning of limits, reverses, stoppers.
	

	13
	To clean, tighten, repair/replace chains, belts, linings (brake).
	

	14
	To check the condition of coolant system, and carry out necessary minor repairs.
	

	15
	To check the condition of guards, fencings etc. and carry out necessary repairs.
	

	16
	To check the condition of lubricating and hydraulic system and carry out necessary minor repairs. 
	

	17
	To replace lubricating oil in all the reservoirs.
	

	18
	To regulate machine and hand over to the maintenance in-charge.
	

	19
	To make out the list of parts which need replacement during the next planned repair.
	

	A.1.2
	B.Schedule :
	

	1
	To disassemble part wise few units (2 to 3) of the machine which are excessively worn out (or dirty). For the remaining units, open out covers for internal inspection and wash.
	

	2
	To wipe out the complete machine and wash the parts of the disassembled units.
	

	3
	To disassemble spindle and clean roughness from the spindle shanks, the surfaces for fixing instruments / devices. To clean / scrape bush bearings. To assemble spindle and regulate bearings. 
	

	4
	To check clearances between bush and shaft shank. To replace worn out bushes. 
	

	5
	To regulate ball/roller bearings. To replace worn out bearings.
	

	6
	To add friction discs, scrape conical friction surfaces. To regulate friction couplings and brakes.
	

	7
	To clean burs on gears. To replace gears with torn out metal and tooth surfaces.
	

	8
	To replace worn out / broken external fasteners of tool holder, wedge, clamping plate etc.. To clean remaining fasteners.
	

	9
	To scrape / clean regulating wedges and clamping plates.
	

	10
	To clean lead screws of slides, carriages, traverses etc.. To replace worn out mating nuts.
	

	11
	To check for proper working and regulate the levers / handles for reversing motion, blocking device for speed / feed engagement, fixators, safety mechanism and limits etc.
	

	12
	To replace worn out parts that will not last till the next planned repair.
	

	13
	To clean scratches and damages on friction surfaces of the bed guides, carriages, slides, traverses, columns etc.. To restore oil pockets, if necessary.
	

	14
	To repair fencing and guards, covers on belt drives, casing, shields, screen and also arrangements for protecting the machine parts from chips and abrasive dust.
	

	15
	To carry out the repair of lubricating and hydraulic systems. 
	

	16
	To replace oil in all the reservoirs.
	

	17
	To regulate smooth sliding of tables, slides, carriages, slide blocks. To tighten wedges and clamping plates.
	

	18
	To regulate springs tension of worm disengagement and other similar mechanisms.
	

	19
	To check for proper functioning of limits, reverse, stoppers.
	

	20
	To check and repair the cooling system. To eliminate leakages through pipe joints and cocks. To carry out minor repairs of pumps and fittings.
	

	21
	To make out the list of worn out parts that need replacement during the necessary planned repair.
	

	22
	To clean working surfaces of the table.
	

	23
	To check machine accuracy as per accuracy test chart.
	

	24
	To run the machine on no-load and on-load at all speeds and feeds and check accuracy and surface finish on the sample (machined).
	

	A.2
	HYDRAULIC UNIT AND EQUIPMENT (A- & B-schedules) :
	

	1
	The hydraulic units (pumps, apparatus, and pipe lines) of the machines are repaired along with the mechanical part of the machine.
	

	2
	To regulate hydraulic aggregate as per hydraulic scheme given in the machine manual. Pressures are regulated as per pressure guages installed on the machine. To replace oil after washing and cleaning.
	

	3
	To tighten the bolts at the pipe joints so as to prevent leakages.
	

	4
	To check and tighten (if necessary) the gland packings.
	

	5
	To make out the defect list that needs to be attended during the forthcoming planned repair.
	

	6
	Complete servicing of hydraulic units under B-Schedule.
	

	A.3
	ELECTRICAL EQUIPMENT OF THE MACHINES (A- & B-schedules) :
	

	
	During preventive maintenance the mechanical and electrical work should simultaneously be carried out.
	

	A.3.1
	AC & DC ELECTRICAL MOTORS AND WELDING GENERATORS :
	

	1
	To check for the fastenings of the motor, proper earthing, degree of heating of the body and the bearings, uniform air gap between the stator and rotor, proper installation, normal sound in running of the motor, correct working of the ventilation and cooling arrangement.
	

	2
	To clean and blow out (with compressed air) the electric motor, without disassembling it.
	

	3
	To tighten the electric connection to the motor.
	

	4
	To clean the slip rings and current collectors.
	

	5
	To regulate and properly fasten the brush holders.
	

	6
	To restore the insulation on the winding overhang.
	

	7
	To replace the current collecting brushes.
	

	8
	To replace or add the grease lubrication.
	

	9
	To service / overhaul completely all motors under B-Schedule.
	

	A.3.2
	ELECTRO-MAGNETIC FRICTION COUPLINGS :
	

	1
	To check the coupling body and the discs for heating.
	

	2
	To check the fastening of the body in relation to the axial shift.
	

	3
	To check the fastening of the slip rings.
	

	4
	To check for easy movement of the armature and proper engaging and disengaging of the coupling.
	

	5
	To check for proper feeding of the lubrication.
	

	6
	To change the worn out brushes and to adjust the brush holders.
	

	7
	To clean the slip rings and to wipe out the friction surfaces (without disassembly).
	

	8
	To measure the resistance of the winding.
	

	9
	To complete overhauling under B-schedule.
	

	A.3.3
	ELECTRO MAGENTS :
	

	1
	To check for the fastening of the electro magnet and its body
	

	2
	To tighten the connections.
	

	3
	To check for heating of the no-volt coil, to rectify minor defects, and replace, if necessary.
	

	4
	To check the various parts and change, if necessary.
	

	5
	To coat the coils with varnish
	

	6
	To check the insulation and the proper movement of the core.
	

	7
	Complete servicing under B-Schedule.
	

	A.3.4
	MAGNETIC STARTERS AND CONTACTORS :
	

	1
	To check and rectify the visible damages.
	

	2
	To check for the complete in and out movement of the armature of the magnetic device.
	

	3
	To check the heating of the lugs and the melting of solder from them.
	

	4
	To check for the provision of spark extinguishing grids and proper earthing.
	

	5
	To check for the heating elements of the thermal over load relay, its proper setting and normal functioning.
	

	6
	To check for the good condition of the push buttons, fastening of the apparatus and tightness of the connections.
	

	7
	To clean or change the contacts.
	

	8
	To check and adjust the motion of the moving contacts.
	

	9
	To adjust the simultaneous switching off of the 3 phases.
	

	10
	To check the action and adjustment of the thermal overload relay.
	

	11
	To measure insulation resistance of all the current carrying parts.
	

	12
	Complete servicing under B-Schedule.
	

	A.3.5
	END LIMIT SWITCHES :
	

	1
	To check for proper fastening of the end switch to the machine, tightness of the cover and the sealing, marking, fastening of the fixator (operating arrangement) to the machine, cleaning of the body and the lever of the switch, cleaning of the contacts.
	

	2
	To carry out minor repairs of the various parts.
	

	3
	Complete servicing under B-Schedule.
	

	A.3.6
	KNIFE SWITCHES OF ALL TYPES :
	

	1
	To check for proper earthing and condition of cover.
	

	2
	To check and replace overheated contacts.
	

	3
	To check for proper positioning of the handle of the knife switch.
	

	4
	To check for reliable fastening of the knife switch and clean dust and scales.
	

	5
	To adjust the simultaneous switching in and switching out of the knives of three phases.
	

	6
	To tighten the contact connections.
	

	7
	To rectify the distortion of the knives and the pincers of the switch.
	

	8
	To file and clean the contact surfaces of the knives and the pincers.
	

	9
	To change the defective parts.
	

	10
	To paint the cover and the panel.
	

	11
	Complete servicing under B-Schedule.
	

	A.3.7
	ELECTRIC PANEL BOXES :
	

	1
	To check the condition of the panel box and repair the locking and blocking devices of the door.
	

	2
	To tighten the fastenings of the apparatus.
	

	3
	To examine the complete scheme and the apparatus.
	

	4
	To clean and wipe out the apparatus and the panel box.
	

	5
	To check for good condition of earthing.
	

	6
	To repair the visible damages to the electrical apparatus and electric cables (wiring).
	

	7
	To clean the workings contacts and if necessary, replace them.
	

	8
	To replace the distorted working contacts.
	

	9
	To remove any obstruction to the complete drawing in and falling out of the magnetic core (armature).
	

	10
	To check for over heating of the lugs and melting of solder from them.
	

	11
	To check the condition of the spark extinguishing chamber and the condition of the signaling apparatus.
	

	12
	Complete servicing under B-Schedule.
	

	A.3.8
	ELECTRICAL APPARATUS & ELECTRIC WIRING ON THE MACHINES :
	

	1
	To check and repair the overheating, carbonizing and mechanical damages to the insulation of the conductors.
	

	2
	To check for good condition of earthing, fastening of electric wires and apparatus, tightening of connections.
	

	3
	To wipe, blow and clean all the apparatus installed on the machine.
	

	4
	To clean the working contacts.
	

	5
	To carry out necessary repairs to the electrical apparatus and replace the defective parts.
	

	6
	To repair the damaged insulation of the conductors (cables).
	

	7
	To rectify or to replace the damaged pipe fitting, metallic and rubber handles.
	

	8
	To change the fused bulbs (replace holders, switch etc, if necessary).
	

	9
	Complete servicing under B-Schedule.
	

	A.3.9
	ELECTRICAL FURNACES :
	

	1
	To check resistance elements and change if necessary
	

	2
	To tighten fasteners.
	

	3
	To check refractory brick lining and change if necessary
	

	4
	To change refractory bricks if necessary
	

	5
	To tighten all electrical terminals, change if necessary.
	

	6
	To check for proper earthing
	

	7
	To change cabling and lugs, if necessary.
	

	8
	To check for proper functioning of instruments and change, if necessary.
	

	9
	To check temperature controls and change, if necessary.
	

	10
	Complete servicing under B-Schedule.
	

	A.3.10
	LIGHTING LOAD AND ELECTRICAL APPLIANCES :
	

	1
	To clean dust.
	

	2
	To check fuses and replace with correct capacity fuses, if necessary.
	

	3
	To tighten all terminals including those in ML & RM boards.
	

	4
	To change blown out bulbs.
	

	5
	To check and change control gear, if necessary (like starters, fuses, chokes, holders, spares for electrical appliances, etc.)
	

	6
	To check for proper earthing and rectify the same, if necessary.
	

	7
	To maintain voltage between neutral and earth at max. 4 Volts.
	

	8
	To change switches, sockets etc. if necessary, for electrical appliances.
	

	9
	Complete servicing under B-Schedule.
	

	B.
	SCOPE OF WORK FOR BREAK-DOWN MAINTENANCE
	

	
	The following activities shall be performed during break-down maintenance based on the nature of break-down.
	

	B.1
	MECHANICAL :
	

	1
	To check for accuracy before disassembly.
	

	2
	To measure the wear and friction surfaces before repairing the base parts (beds etc.)
	

	3
	To disassemble the machine partly
	

	4
	To wash and wipe out parts of the disassembled units. To wash and clean of the dirt from the remaining units.
	

	5
	To inspect parts of the disassembled units.
	

	6
	To make out the defect list.
	

	7
	To grind spindle shanks and replace / scrape bushes.
	

	8
	To replace / restore shafts
	

	9
	To replace all worn out bushes and damaged bearings.
	

	10
	To replace / add friction discs, machine conical friction couplings, re-rivet ferodo lining on friction discs and brakes.
	

	11
	To replace worn out gears and worm / worm wheels.
	

	12
	To restore / replace worn out lead screws and nuts of longitudinal and transverse feeds.
	

	13
	To replace worn out fasteners and clean the remaining ones.
	

	14
	To replace / restore and scrape regulating wedges and clamping plates.
	

	15
	To restore accuracy of lead screws by machining threads (machining by BHEL).
	

	16
	To check and clean unworn-out parts left out in the mechanism of the machine.
	

	17
	To repair coolant pumps and pipe fittings
	

	18
	To repair oil pumps and lubricating / hydraulic systems. To replace oil.
	

	19
	To check and replace piston rings and piston. To replace the oil seals / packings etc. partly or completely.
	

	20
	To dismantle and wash out the slide valves (solenoid valves etc.), pressure control valves and other hydraulic apparatus. If necessary, pressure valves are lapped.
	

	21
	To replace damaged pipes and fittings.
	

	22
	To scrape / grind guide surfaces of slides, carriages, traverses, slide blocks etc. (if the wear exceeds the permissible limits).
	

	23
	To repair / replace guards and fencing (provided for proper safety) and also the arrangements for protecting the machine parts from metal chips and abrasive dust (covers on belt drive, casings, shields, screens).
	

	24
	To assemble the repaired units, check proper inter-operation of the units and all the mechanisms of the machine.
	

	25
	To run the machine on no-load at all speeds and feeds. To check for noise and heating.
	

	26
	To check for accuracy of repaired unit as per test chart.
	

	B.2
	ELECTRICAL :
	

	B.2.1
	A.C. & D.C. ELECTRIC MOTORS :
	

	1
	To disassemble the motor completely and to rectify the winding damages without changing it.
	

	2
	To clean units and parts of the electric motor and to change the defective insulating bushes.
	

	3
	To wash, impregnate and dry out the winding of the electric motor.
	

	4
	To coat the winding with the varnish.
	

	5
	To check fastening of the ventilator and to carry out necessary repairs.
	

	6
	To wash and grease the ball / roller bearings and change the damaged ones.
	

	7
	To wash the bush bearings and if necessary, metalise the same.
	

	8
	To weld and machine the end covers, if necessary.
	

	9
	To change the ventilation fan and the flanges.
	

	10
	To partially solder the risers.
	

	11
	To turn and grind the slip rings.
	

	12
	To repair brush mechanisms and commutator. To machine the commutator and under cut the mica in the slots.
	

	13
	To assemble and check the motor on no-load and also on load after repair.
	

	B.2.2
	ELECTRO MAGNETIC FRICTION COUPLINGS :
	

	1
	To disassemble the coupling, to clean and wipe out the parts, to change the ferodo lining, to check for the discs wear and if necessary, replace the same.
	

	2
	To check the gap between the guiding bush of the armature and the shaft and, if necessary, change the bushes.
	

	3
	To grind the slip rings.
	

	4
	To change the seals.
	

	5
	To check for normal functioning of the coupling
	

	B.2.3
	ELECTRO MAGNETS :
	

	1
	To completely disassemble the electro magnet.
	

	2
	To check the various parts and change, if necessary.
	

	3
	To coat the coils with varnish.
	

	4
	To check the insulation and the proper movement of the core.
	

	B.2.4
	MAGNETIC STARTER AND CONTACTORS:
	

	1
	To check and adjust the motion of the moving contacts.
	

	2
	To adjust the simultaneous switching off of the 3-phases.
	

	3
	To check the action and adjustment of thermal overload relay.
	

	4
	To adjust the gap between fixed and the moving contacts and to check the withdrawal of the armature while switching off the magnetic coil
	

	5
	To change the defective parts.
	

	B.2.5
	END LIMIT SWITCHES :
	

	1
	To completely disassemble the switch.
	

	2
	To clean and check all the parts and to change the worn out ones.
	

	3
	To adjust the lever with respect to the fixator.
	

	B.2.6
	KNIFE SWITCHES OF ALL TYPES :
	

	1
	To rectify the distortion of the knives and the pincers of the switch.
	

	2
	To file and clean the contact surfaces of the knives and the pincers.
	

	3
	To change the defective parts.
	

	B.2.7
	ELECTRIC PANEL BOXES :
	

	1
	To check and adjust the movement and the pressure of the moving contacts.
	

	2
	To check the working of the thermal overload protection relay and test the same. 
	

	3
	To change the electrical conductors (cables) wherever necessary.
	

	4
	To replace the defective apparatus.
	

	B.2.8
	ELECTRICAL APPARATUS AND ELECTRIC WIRING ON THE MACHINES :
	

	1
	To replace the defective section of the wiring.
	

	2
	To rectify or to replace the damaged pipe fitting, metallic and rubber handles.
	

	3
	To replace the defective apparatus.
	

	B.2.9
	ELECTRICAL FURNACES :
	

	1
	To replace damaged resistance elements.
	

	2
	To replace refractory brick lining.
	

	3
	To tighten all electrical terminals.
	

	4
	To replace cabling and lugs.
	

	5
	To replace instruments and temperature controls.
	

	B.3
	LIGHTING LOAD AND ELECTRICAL APPLIANCES (other than roof lighting in shop floor) :
	

	1
	To replace fuses with correct capacity fuses.
	

	2
	To change fused out bulbs.
	

	3
	To change control gear (like starters, fuses, chokes, holders, spares for electrical appliances, fans, exhaust fans / man-coolers, etc.)
	

	4
	To rectify earthing.
	

	5
	To maintain voltage between neutral and earth at max. 4 Volts for Personal Computers load.
	

	6
	To change switches, sockets etc. for electrical appliances and lighting load.
	

	7
	To change / provide tube light fittings, switch boards wherever necessary.
	

	8
	To dismount and bring-down man-coolers/blowers located on girders in shop floor for repair and mounting the repaired ones on the girders in the original location.
	

	C.
	SPECIAL CONDITIONS :
	

	1
	132 nos. of machine tools / equipment of various categories, lighting load and electrical appliances are to be maintained. This number may vary during execution of the contract.
	

	2
	Break-down of critical machines (identified by BHEL) shall be given priority to bring back the same into operation.
	

	3
	MAN POWER REQUIREMENT :

One electrical qualified (minimum diploma) Supervisor   OR ITI with 20 years’ experience should be posted in First shift at BHEL works.

Four mechanical Fitters /mill right mechanics and Two electrical technicians should be posted at BHEL works. All technicians should have minimum ITI qualification. 

Three unskilled workers must be posted at BHEL works. 

Required personnel should be posted on Sundays and Holidays for performing Preventive maintenance schedules. 

Man power should be deployed throughout the year (302 days) in first shift for performing break-down maintenance. 

One mech. Techn. & one elect. Techn. Shall be deployed in 2nd shift (except Sundays and Holidays) out of the above said man power, whenever required. 
	

	4
	Only labour is proposed for outsourcing.
	

	5
	Spares and consumables, material handling facilities and utilities will be supplied by BHEL.
	

	6
	Drawings / sketches for manufacturing parts to be given by contractor.
	

	7
	A-schedule shall be conducted every year and when listed machines under break down for more than a week  B-Schedule shall be conducted .
	

	8


	GEOMETRICAL ACCURACIES OF CRITICAL MACHINES :

Geometrical accuracies of critical machines (identified by BHEL during the contract period) shall be recorded in the test charts concerned. Minor deviations are to be rectified to bring the same to permissible limits. Necessary special tools & gauges for measurement will be provided by BHEL.
	

	9
	AVAILABILITY OF MACHINE TOOLS / EQUIPMENT :

Machine tools / equipment stoppage can be tolerated upto 2.87% 

[(Total repair complexity/total no.of machines)X(100/400)=(1517/132)X0.25= 2.87% approx.]
	

	10
	Daily maintenance activities carried out should be reported to maintenance in-charge at the end of the shift.
	

	11
	Records of monthly, quarterly and yearly maintenance reports to be submitted to the maintenance in-charge.
	

	12
	Record of replacement of spares & consumables machine-wise to be maintained and reported to the maintenance in-charge monthly.
	

	13
	Breakdown history of each machine tool / equipment shall be maintained by filling individual history card.
	

	14
	Break-down analysis should be performed quarterly.
	

	15
	Satisfactory working of each repaired machine / equipment shall be certified by the user and to be checked by maintenance in-charge in the break-down report.
	

	16
	In case of critical machine tools, satisfactory working of each repaired unit shall be inspected and approved by maintenance in-charge in the break-down report.
	

	17
	Break-down calls directly received from users/ in-charge or his representatives during 2nd shift on emergencies shall be attended.
	

	18
	The contractor shall hand over all the machine tools / equipments in working condition to the satisfaction of the in-charge at the end of the contract period. Otherwise, maintenance charges for the total idle period or repair cost of the machine tool(s) / equipment (s) whichever is greater shall be recovered from the contractor.
	

	19
	Necessary tools and measuring instruments to upkeep all the machine tools / equipment is under the contractor’s scope.
	

	20
	ISO 14001 & OHSAS 18001 shall be complied with as BHEL is certified for these.
	

	21
	All breakdowns shall be attended at BHEL works only.
	

	22
	Random workshop inspection will be done by BHEL representatives. 
	

	23
	All scrap material like electrical & mechanical consumables & spares, waste lub. Oil, waste coolant, fused bulbs & tubes etc. should be separately stored and handed over to scrap yard after inspection by maintenance in-charge.
	

	24
	Lub. Oils consumption records shall be maintained. % Wastage should be decreased year by year as per BHEL prescribed norms. Lub. Oil will be issued after return of waste oil as per norms prescribed by BHEL (Presently, one barrel fresh oil will be issued on return of half barrel waste oil).
	

	25
	Oiling / greasing points markings to be renewed / maintained on machines with colour codes.
	

	26
	All machines / equipments and their surroundings should be maintained neat and clean. General house-keeping and chips removal is under BHEL scope.
	

	27
	Oils / coolants should be properly stored and its surroundings should be maintained clean.
	

	28
	The general conditions of contract of BHEL (enclosed) shall also apply to this tender to the extent they are not inconsistent with any of the conditions stipulated herein.
	

	29
	Any point not covered in the agreement, if comes up, will be mutually, solved in the best interest of the work.
	

	30
	The contractor may visit BHEL works to see the machines / equipment proposed for AMC.
	

	31
	Lodging & Boarding facilities for the contractor personnel are at Contractor’s scope. BHEL is not responsible for this.
	

	32
	Material handling facilities such as crane, battery truck, slings, lifting tackles etc. along with operator, consumables like cleaning solvents, cotton waste etc. and utilities like electric power, compressed air etc. shall be provided by BHEL for the works performed at BHEL works
	

	33
	Overall lowest offer will be considered and not item-wise lowest offer.
	

	34
	EARNEST MONEY DEPOSIT (EMD) :

Earnest Money Deposit (EMD) of Rs.0.60 Lakhs shall be deposited to BHEL account by the bidder along with the offer. Offers without EMD will be rejected and will not be considered for evaluation.
	

	35
	SECURITY DEPOSIT (SD):

Successful bidder has to deposit Security Deposit before commencement of the work as per clause 8.2 of BHEL Works policy.
	

	36
	PAYMENT TERMS :

Payment will be made after each successful month against bill endorsed by contract executing officer. Payment will be made within 90 days of submission of the bills. In case of SSI Units (valid proof to be submitted), payment will be made within 45 days as per Government guidelines.
	

	37
	PENALTY :

a) If, for example, 2 machines availability is less than 97.13% in a particular month, penalty shall be levied at 2/132 of the total contract value per month (Total no. of machine tools : 132). Penalty shall be computed only in cases of deficiency of service or where the down time is attributed to failure of the contractor. The maximum cumulative penalty shall be limited to 10% of the total contract value for that month.

b) Contractor should deploy the prescribed man power within 21 days on receipt of work order otherwise EMD will be forfeited.

c) Any short supply of man power will attract penalty @ 1/2% per week per person on the contract value to a maximum extent of 10%.
	

	38
	FORCE MAJEURE CLAUSE:

 The contractor shall not be liable for any breach  or non performance or delay in carrying  out any of the obligation contained in this contract including the servicing/repairing of machine tools / equipments as a result of strike/s, lockout/s  industrial labour disturbance/s, fire/accidental damage/s, restriction imposed by the Government, riot, war or any condition arising from similar cause/s.
	

	39
	The enclosed Electronic Funds Transfer Format shall be submitted along with offer. All payments, even return of EMD (for unsuccessful bidder) will be made by EFT only as per CVC guidelines.
	


Signature of Tenderer                                                                                
  Issuing Officer

AMC LIST OF MACHINE TOOLS / EQUIPMENT IN 207 TOOL ROOM                   (Annexure –I)
	S No
	WC
	WP
	Asset No
	Machine Description
	Model No.
	Repair
	Major specs.(mm)
	permissible no. of days for
	AMC Cost per year, Rs.

	
	
	
	
	
	
	Complexity
	
	 prev.maint (0.25X rep.complex
	

	
	
	
	
	
	
	No.
	
	 .no. for B-Schedules)
	

	1
	2752
	4127
	07- 1003
	CENTRE LATHE 
	H-22
	12
	S=460,  BC=2000
	1
	3
	 

	2
	2752
	4125
	07-1005
	CENTRE LATHE 
	SV18R
	8
	S=180, BC=1000
	1
	2
	 

	3
	2752
	4129
	07-1007
	CENTRE LATHE 
	LB-25
	13
	S=500, BC=2500
	1
	3.25
	 

	4
	2752
	4133
	07-1008
	CENTRE LATHE 
	SU-63
	16
	S=630, BC=3250
	1.5
	4
	 

	5
	2752
	4341
	07-1009
	RELIEVING LATHE 
	DH-250
	7
	S=180, BC=600
	1
	1.75
	 

	6
	2752
	4343
	07-1010
	RELIEVING LATHE 
	UHD2
	7
	S=200, BC=600
	1
	1.75
	 

	7
	2752
	4931
	07-1011
	SLOTING MACHINE
	CH-25
	7.5
	Ram stroke=250
	1
	1.875
	 

	8
	2752
	5164
	07-1012
	MILLING MACHINE
	M2U
	11.5
	Table size=1300x300
	1
	2.875
	 

	9
	2752
	5227
	07-1016
	MILLING MACHINE
	M3V
	14
	Table size=1600x400
	1.5
	3.5
	 

	10
	2753
	5227
	07-1017
	MILLING MACHINE
	FB40U
	14
	Table size=1600x350
	1
	3.5
	 

	11
	2752
	5163
	07-1018
	MILLING MACHINE
	FN22A
	9
	Max. slot width=22
	1
	2.25
	 

	12
	2752
	4645
	07-1020
	RADIAL DRILLING MACHINE
	RM51
	10
	Drill cap. in steel = 50
	1
	2.5
	 

	13
	2752
	5526
	07-1021
	CYCLINDRICAL GRINDER
	G13U
	13
	Max. dia. of work=250
	1.5
	3.25
	 

	14
	2752
	1711
	07-1033
	HF BRAZING EQUIPMENT
	BRAZING
	7
	Low Voltage Apparatus
	0.5
	1.75
	 

	15
	2752
	1711
	07-1036
	ELECTRICAL FURNACE C 12
	Elec. Furnace
	7
	Low Voltage Apparatus
	0.5
	1.75
	 

	16
	2756
	1711
	07-1039
	WELDING GENERATOR
	Weld Gen
	7
	Low Voltage Apparatus
	0.5
	1.75
	 

	17
	2752
	5721
	07-1042
	U-TOOL & CUTTER GRINDER 
	BN102
	6
	Max. dia. of tool=250
	1
	1.5
	 

	18
	2752
	5721
	07-1043
	U-TOOL & CUTTER GRINDER 
	BN102
	6
	Max. dia. of tool=250
	1
	1.5
	 

	19
	2752
	5721
	07-1044
	U-TOOL & CUTTER GRINDER 
	BN102
	6
	Max. dia. of tool=250
	1
	1.5
	 

	20
	2752
	331
	07-1044/A
	TOOL & CUTTER GRINDER
	GTC 28
	6
	Max. dia. of tool=250
	1
	1.5
	 

	21
	2752
	5711
	07-1048
	TWO WHEEL PEDASTEL GRINDER
	BNT50
	3
	Max. dia. of grinding wheel = 600
	0.5
	0.75
	 

	22
	2752
	5721
	07-1051
	TWO WHEEL PEDASTEL GRINDER
	NEI 14
	3
	Max. dia. of grinding wheel=600
	0.5
	0.75
	 

	23
	2752
	 
	07-1055
	TWO WHEEL PEDASTEL GRINDER
	NEI 14
	3
	Max. dia. of grinding wheel=600
	0.5
	0.75
	 

	24
	2753
	4127
	07-1061
	CENTRE LATHE 
	H-22
	12
	S=460, BC=2000
	1
	3
	 

	25
	2753
	4129
	07-1064
	RELIEVING LATHE 
	SV18R
	8
	S=180, BC= 1000
	1
	2
	 

	26
	2753
	4129
	07-1065
	CENTRE LATHE 
	LB-25
	13
	S=500, BC=2500
	1
	3.25
	 

	27
	2753
	4223
	07-1067
	VERTICAL BORER
	SK-12
	21
	Work table dia.=1200
	2
	5.25
	 

	28
	2753
	4954
	07-1068
	SINGLE COLUMN PLANING MACHINE
	HJ8A
	15
	Table size=700x2500
	2
	3.75
	 

	29
	2753
	5227
	07-1072
	VERTICAL MILLING MACHINE
	FB40V
	14
	Table size=1600x400
	1.5
	3.5
	 

	30
	2753
	5227
	07-1073
	VERTICAL MILLING MACHINE
	FB40V
	14
	Table size=1600x400
	1.5
	3.5
	 

	31
	2753
	4652
	07-1075
	RADIAL DRILLING MACHINE
	VR6A
	11.5
	Drill cap. in Steel=63
	2
	2.875
	 

	32
	2753
	4717
	07-1078
	JIG BORING MACHINE
	WKV-100
	65
	Table size=1000x1600
	3
	16.25
	 

	33
	2753
	5532
	07-1079
	CYCLINDRICAL GRINDER
	G-17U
	20
	Max. dia. of work=350
	2
	5
	 

	34
	2752
	5762
	07-1100
	OPTICAL PROFILE GRINDER
	K0160-43400001
	14
	Max. dia. of grinding wheel=175
	1
	3.5
	 

	35
	2753
	5165
	07-1102
	MILLING MACHINE
	M2V
	12.5
	Table size=1350x350
	1
	3.125
	 

	36
	2754
	5163
	07-1103
	MILLING MACHINE
	FN22A
	9
	Max. slot width=22
	1
	2.25
	 

	37
	2754
	5733
	07-1108
	UNIVERSAL GRINDING MACHINE
	US110
	15
	Max. dia. of work=175
	2
	3.75
	 

	38
	2754
	5357
	07-1110
	ENGRAVING MACHINE
	JH-ENG
	5.5
	Table size=400x150
	0.5
	1.375
	 

	39
	2755
	5612
	07-1120
	SURFACE GRINDER
	451 AP
	10
	Table size=455x150
	1
	2.5
	 

	40
	2752
	5613
	07-1122
	PRAGA SURFACE GRINDER
	452 P
	10
	Table size=455x150
	1
	2.5
	 

	41
	2753
	5615
	07-1124
	PRAGA SURFACE GRINDER
	P-452P
	10
	Table size=455x150
	1
	2.5
	 

	42
	2754
	5948
	07-1125
	EDM WIRECUT
	EDM
	8.5
	Heavy elect. m/c
	1
	2.125
	 

	43
	2753
	4727
	07-1127
	CENTRE LATHE 
	NH-22
	14
	S=460, BC=1500
	1.5
	3.5
	 

	44
	2753
	4717
	07-1129
	JIG BORING MACHINE
	WKV-100
	65
	Table size=1000x1600
	3
	16.25
	 

	45
	2752
	5532
	07-1130
	CYCLINDRICAL GRINDER
	G-17U
	20
	Max. dia. of work=350
	2
	5
	 

	46
	2765
	 
	07-1131
	HACK SAW MACHINE
	COBRA-12
	5
	Work (throat cap)=300
	0.5
	1.25
	 

	47
	2753
	5615
	07-1301
	SURFACE GRINDER
	SFW-2
	20
	Table size=1500x250
	2
	5
	 

	48
	2754
	 
	07-1304
	SURFACE GRINDER
	ELB-502
	29
	Table size=2100x450
	2
	7.25
	 

	49
	2755
	4977
	07-1523
	SINGLE COLUMN PLANING MACHINE
	HJ8A
	15
	Table size=700x2500
	2
	3.75
	 

	50
	2756
	 
	07-1302
	HACK SAW MACHINE
	COBRA-12
	5
	Work (throat cap)=300
	0.5
	1.25
	 

	51
	2752
	5722
	7-8068
	HOB SHARPENING MACHINE
	KAPP
	15
	Max. dia. of work=300
	1.5
	3.75
	 

	52
	2752
	1711
	07-1060
	SAND Blasting
	 
	7
	Low Voltage Apparatus
	0.5
	1.75
	 

	53
	2752
	8421
	07-1032
	HAND PRESS
	 
	7
	Max. dia = 100
	0.5
	1.75
	 

	54
	2752
	1711
	07-1031
	ROTARY GRINDER
	 
	3
	Max. dia. of grinding wheel=600
	0.5
	0.75
	 

	55
	2752
	1711
	 
	HYDRAULIC PRESS 
	 
	15
	Max. dia.=100
	1.5
	3.75
	 

	56
	2752
	4645
	07-1030
	TWO WHEEL PEDASTEL GRINDER
	NEI-12
	3
	Max. dia. of grinding wheel=600
	0.5
	0.75
	 

	57
	2752
	 
	07-1027
	PRAGA DRILLING MACHINE
	Praga
	5
	Drill cap.12
	0.5
	1.25
	 

	58
	2752
	 
	07-1001
	CENTRE LATHE 
	LB-17
	10
	S=410, BC=1500
	1
	2.5
	 

	59
	2753
	 
	07-1012
	MILLING MACHINE
	M2U
	11.5
	Table size=1300x300
	1
	2.875
	 

	60
	2753
	4129
	07-1066
	CENTRE LATHE 
	LB 25 SG
	13
	S=500, BC=2500
	1
	3.25
	 

	61
	2755
	4614
	07-1050
	PRAGA DRILLING MACHINE
	Praga
	5
	Drill cap.12
	0.5
	1.25
	 

	62
	2755
	8421
	07-1087
	HAND PRESS
	 
	7
	Max. dia = 100
	0.5
	1.75
	 

	63
	2753
	5726
	07-1046
	POLISHING MACHINE
	 
	3
	Max. 1.5 (Aprox)
	0.5
	0.75
	 

	64
	2754
	5967
	07-1190
	ALL CUT MACHINE
	LHS-16
	11.5
	Max Cut Cap=6
	1.5
	2.875
	 

	65
	2753
	5682
	07-1208
	TWO WHEEL PEDASTEL GRINDER
	NEI-14
	3
	Max. dia. of grinding wheel=600
	0.5
	0.75
	 

	66
	2753
	8412
	07-1601
	SHARING MACHINE
	 
	29
	Max. 5 (Aprox)
	1
	7.25
	 

	67
	2754
	5163
	07-1111
	PRAGA DRILLING MACHINE
	Praga
	5
	Drill cap.12
	0.5
	1.25
	 

	68
	2754
	5163
	07-1102
	MILLING MACHINE
	M2V
	14
	Table size=1600x400
	1.5
	3.5
	 

	69
	2755
	5612
	07-1550
	HAND PRESS
	LRH3
	7
	Max. dia = 100
	0.5
	1.75
	 

	70
	2755
	5612
	07-1083
	PRAGA DRILLING MACHINE
	Praga
	5
	Drill cap.12
	0.5
	1.25
	 

	71
	2755
	5612
	 
	RADIAL DRILLING MACHINE
	RM52
	10
	Drill cap. in steel = 50
	1
	2.5
	 

	72
	2755
	5612
	07-1085
	TWO WHEEL PEDASTEL GRINDER
	NEI-14
	3
	Max. dia. of grinding wheel=600
	0.5
	0.75
	 

	73
	2755
	5612
	 
	DRILLING SHAPENER (1.5 TO 26MM)
	Praga
	5
	Drill cap.12
	0.5
	1.25
	 

	 
	 
	 
	 
	TOTAL COMPLEXITY NO:
	854
	 
	 
	 
	 


Signature of Tenderer                                                                                  
Issuing Officer

AMC LIST OF MACHINE TOOLS / EQUIPMENT IN 210-SMC                           (Annexure –II)
	S No
	WC
	WP
	Asset No
	Machine Description
	Model No.
	Repair 

Comp
lexity

 No.
	Major specs.(mm)
	permissible no. of days for
	AMC Cost per year, Rs.

	
	
	
	
	
	
	
	
	 prev.maint (0.25X rep.complex
	

	
	
	
	
	
	
	
	
	 .no. for B-Schedules)
	

	1
	2711
	4127
	10-1556
	POWERSAW CUTTING MACHINE
	COBRA-12
	5
	Work (throat cap)=300
	0.5
	1.25
	 

	2
	2711
	4127
	10-1045
	TWO WHEEL PEDESTAL PEDDASTEL GRINDER
	BBT-350
	3
	Max. dia. of grinding wheel = 600
	0.5
	0.75
	 

	3
	2711
	4928
	10-1361
	SLOTING MACHINE 
	CH-25
	7.5
	Ram stroke=250
	1
	1.875
	 

	4
	2711
	4126
	10-1501
	CENTRE LATHE
	LB-20
	10
	S=410, BC=1500
	1
	2.5
	 

	5
	2711
	4126
	10-1504
	CENTRE LATHE
	LB-20
	10
	S=410, BC=1500
	1
	2.5
	 

	6
	2711
	4127
	10-1505
	CENTRE LATHE
	H-22
	12
	S=460, BC=2000
	1
	3
	 

	7
	2711
	4126
	10-1509
	CENTRE LATHE
	LB-20
	10
	S=410, BC=1500
	1
	2.5
	 

	8
	2711
	4126
	10-1510
	CENTRE LATHE
	LB-20
	10
	S=410, BC=1500
	1
	2.5
	 

	9
	2711
	4126
	10-1511
	CENTRE LATHE
	LB-20
	10
	S=410, BC=1500
	1
	2.5
	 

	10
	2711
	4126
	10-1512
	CENTRE LATHE
	LB-20
	10
	S=410, BC=1500
	1
	2.5
	 

	11
	2711
	4126
	10-1513
	CENTRE LATHE
	LB-20
	10
	S=410, BC=1500
	1
	2.5
	 

	12
	2711
	4127
	10-1514
	CENTRE LATHE
	NH22
	14
	S=460, BC=1500
	1.5
	3.5
	 

	13
	2711
	4127
	10-1515
	CENTRE LATHE
	H-26
	13
	S=530, BC=3000
	1
	3.25
	 

	14
	2711
	4127
	10-1516
	CENTRE LATHE
	H-26
	13
	S=530, BC=3000
	1
	3.25
	 

	15
	2711
	4133
	10-1517
	CENTRE LATHE
	SU63A
	16
	S=630, BC=3250
	1.5
	4
	 

	16
	2711
	4223
	10-1519
	VERTICAL LATHE
	SK-12
	21
	Work table dia=1200
	2
	5.25
	 

	17
	2711
	4821
	10-1522
	HORIZONTAL BORING MACHINE
	H100A
	20
	Spindle dia=100
	2
	5
	 

	18
	2711
	5165
	10-1527
	MILLING MACHINE
	M3U
	12.5
	Table size=1400x350
	1
	3.125
	 

	19
	2711
	5165
	10-1528
	MILLING MACHINE
	M3U
	12.5
	Table size=1400x350
	1
	3.125
	 

	20
	2711
	5165
	10-1530
	MILLING MACHINE
	M3H
	20
	Table size=2000x350
	1
	5
	 

	21
	2711
	5227
	10-1531
	MILLING MACHINE
	M3V
	14
	Table size=1600x350
	1
	3.5
	 

	22
	2711
	5227
	10-1532
	MILLING MACHINE
	M3V
	14
	Table size=2000x350
	1
	3.5
	 

	23
	2712
	5682
	10-1544
	DRILLING M/c (1/2") PRAGA PILLER TYPE
	Praga 
	5
	Drill cap.12
	0.5
	1.25
	 

	24
	2712
	5682
	10-1545
	DRILLING M/c (1/2") PRAGA PILLER TYPE
	Praga 
	5
	Drill cap.12
	0.5
	1.25
	 

	25
	2711
	4652
	10-1536
	RADIAL DRILLING MACHINE
	VR6A
	11.5
	Drill cap.in Steel=63
	2
	2.875
	 

	26
	2711
	5517
	10-1537
	CYLINDRICAL GRINDER
	G17U
	20
	Max. dia. Of work=350
	2
	5
	 

	27
	2711
	5532
	10-1538
	CYLINDRICAL GRINDER
	G17U
	20
	Max. dia. Of work=350
	2
	5
	 

	28
	2711
	5616
	10-1540
	SURFACE GRINDER (TOS)
	BPH-300
	15
	Table size=1000x300
	2
	3.75
	 

	29
	2711
	5682
	10-1541
	TWO WHEEL PEDESTAL PEDDASTEL GRINDER
	NEI
	3
	Max. dia. of grinding wheel = 600
	0.5
	0.75
	 

	30
	2712
	5682
	10-1543
	TWO WHEEL PEDESTAL PEDDASTEL GRINDER
	NEI
	3
	Max. dia. of grinding wheel = 600
	0.5
	0.75
	 

	31
	2711
	4311
	10-1593
	CENTRE LATHE
	NHCNC-1350
	11
	S=350, BC=1350
	1.5
	2.75
	 

	32
	2711
	4133
	10-1626
	CENTRE LATHE
	BOMBAY-63
	9
	Work table dia=630
	1
	2.25
	 

	33
	2712
	5165
	10-1629
	MILLING MACHINE
	EM4H
	22
	Table size=2300x420
	1
	5.5
	 

	34
	2711
	5165
	10-1630
	MILLING MACHINE
	EM4H
	22
	Table size=2300x420
	1
	5.5
	 

	35
	2711
	8412
	10-1634
	PEDESTAL GRINDER
	NEI
	3
	Max. dia. of grinding wheel = 600
	0.5
	0.75
	 

	36
	2711
	5165
	10-1641
	MILLING MACHINE
	EM3V
	21
	Table size=2050x350
	1
	5.25
	 

	37
	2711
	4142
	10-1701
	CENTRE LATHE
	L-50
	28
	S=1000, BC=4000
	1.5
	7
	 

	38
	2121
	5616
	10-1706
	SURFACE GRINDER (TOS)
	SFW-1
	15
	Table size=1000x250
	2
	3.75
	 

	39
	2711
	5532
	10-1707
	CYLINDRICAL GRINDER
	G17U
	20
	Max. dia. of work=350
	2
	5
	 

	40
	2711
	5682
	10-
	TOOL & CUTTER 
	PRAGA-412
	5.5
	Max. dia. of tool=200
	1
	1.375
	 

	41
	2711
	5682
	10-
	TOOL & CUTTER 
	PRAGA-310GTC
	5.5
	Max. dia. of tool=200
	1
	1.375
	 

	42
	2712
	1716
	10-1677
	FURNACE
	24KW
	7
	Low Voltage apparatus
	0.5
	1.75
	 

	43
	2712
	4622
	10-1546
	DRILLING M/c  PRAGA PILLER TYPE BALANCING COBIN
	Praga
	5
	Drill cap.12
	0.5
	1.25
	 

	44
	2711
	5854
	10-1702
	TOOL & CUTTER & GRINDER (HMT)
	GTC-28
	5.5
	Max. dia. of tool=200
	1
	1.375
	 

	45
	2714
	5884
	10-2009
	GEAR GRINDING 
	WMW
	16
	Max. dia. of work=500
	1.5
	4
	 

	46
	2714
	5854
	10-2005
	GEAR HOBBING
	FO6
	12
	Max. dia. of work=500
	1
	3
	 

	47
	2714
	5884
	10-2006
	GEAR HOBBING
	FO16
	16
	Max. dia. of work=900
	2
	4
	 

	48
	2714
	5852
	10-2007
	GEAR HOBBING
	ZFWZ
	6
	Max. dia. of cutter=100
	1
	1.5
	 

	49
	2711
	5228
	10-2004
	VERTICAL MILLING MACHINE
	FA5V
	21
	Table size=2000x430
	1
	5.25
	 

	50
	2712
	9525
	10-1621
	WELDING GENERATOR
	KE600
	7
	Low Voltage apparatus
	0.5
	1.75
	 

	51
	2712
	9421
	10-1611
	ROLLER BENDING M/c
	PERFECT
	7
	Max. dia = 800
	1
	1.75
	 

	52
	2712
	9421
	10-1710
	RADIUS BENDING M/c
	PERFECT
	7
	Max. dia = 800
	1
	1.75
	 

	53
	2712
	9421
	10-1711
	RADIUS BENDING M/c
	PERFECT
	7
	Max. dia = 800
	1
	1.75
	 

	54
	2712
	9421
	10-1712
	RADIUS BENDING M/c
	PERFECT
	7
	Max. dia = 800
	1
	1.75
	 

	55
	2121
	 
	10-1631
	COIL WINDING M/c
	Maxie 
	7
	Low Voltage apparatus
	0.5
	1.75
	 

	56
	2121
	 
	10-1632
	COIL WINDING M/c
	NU 100
	7
	Low Voltage apparatus
	0.5
	1.75
	 

	57
	2121
	 
	10-1636
	Hand Sharing M/c
	NTP
	5
	Max. Cut Cap=10
	0.5
	1.25
	 

	58
	2711
	5228
	10-1542
	TWO WHEEL PEDESTAL PEDDASTEL GRINDER
	NEI
	3
	Max. dia. of grinding wheel = 600
	0.5
	0.75
	 

	59
	2711
	5228
	10-1547
	DRILLING MACHINE
	PRAGA
	5
	Drill cap.12
	0.5
	1.25
	 

	 
	 
	 
	 
	TOTAL COMPLEXITY NO:
	662.5
	 
	 
	 
	 

	S: Swing over bed
	
	BC: Distance between centres

	
	
	
	
	
	
	
	
	
	
	

	GRAND TOTAL COMPLEXITY NO: = 854 + 662.5 = 1516.5
	
	
	
	


Signature of Tenderer                               
                                                   Issuing Officer

AMC FOR LIGHTING 07-ANNEXE AND CENTRAL GAUGING CENTRE BUILDINGS 
& ELECTRICAL APPLIANCES:

 



                                                         Annexure-III
	Sn.
	Category
	Quantity (nos.)

	1
	Fluorescent fittings, 4’
	110

	2
	Fluorescent fittings, 5’
	380

	3
	Ceiling fans
	150

	4
	Bracket fans & exhaust fans
	75

	5
	Man-coolers & pedestal fans
	95


Contractor Scope: 

To arrange required labour and Personal protection equipment as shown in the general conditions, labour etc.

NOTES:

1. Penalty Clause:  As referred in page no 34 and Sl.no.37  under special conditions C 

2. Service tax as applicable will be paid by BHEL.  

3. All BHEL General Conditions of the Contract shall be applicable.

4. The agency should affix his signature at the end of each page of the document and enclosed supporting documents (by bidder) also with Rubber Seal.

5. The contractor or his authorized representative shall be always present at the work site.

6. The contractor shall submit the daily progress report of the works carried to the Engineer-in-charge.

5.0 CONTRACT WORK DESCRIPTION: 

SCHEDULE ‘A’
Contract period is from One year (From the date of awardal of work order)
CONTRACT WORK DESCRIPTION: Outsourcing of Annual Maintenance Contract for machine tools / Equipment / Lighting (except shop floor roof lighting) in 207-Tool Room &   210-Spares Manufacturing Centre and electrical maintenance of 07-Annexe and Central Gauging Centre buildings for one year.
BHEL-HPEP (Place of work: M&S, 10 Repair Shop)
1. No. of persons required to be deployed on daily basis: 
a. 1 no. Skilled worker (Electrician), 6 nos. Semiskilled workers (4 nos. Fitters and 2 nos. Electricians)   

   &. 3 nos. unskilled workers. 
(Shift wise deployment will be decided on day-to-day basis in consultation with the contract executing officers with in the above mentioned daily limit) 

	SL. 

No.
	Activities



	1
	Annual Maintenance Contract for machine tools / Equipment /   Lighting (except shop floor roof lighting) in 207-Tool Room & 210-Spares Manufacturing Centre and electrical maintenance   of 07-Annexe and Central Gauging Centre buildings.
List of machines for AMC and equipment as per Annexure I, II & III. 


Signature of Tenderer                               
                                                   Issuing Officer

6-A TECHNO-COMMERCIAL BID APPLICATION
To, 

Bharat Heavy Electricals Limited 

H.P.E.P., RC PURAM, 

HYDEDRABAD-32 

Dear Sir, 

I / We hereby offer to carry out the work '---------------------------' against Tender Enquiry No. ----------------------

-------------- 

I /We have carefully perused the following documents connected with the above mentioned work and agree to abide with the same.

1. Notice Inviting Tender

2. Bid Application

3. Bid Questionnaire – A

4. Bid Questionnaire – B                        

5. Declaration by Tenderer
                     
    (Part – A)            

6. Instructions to tenderer

7. General terms and conditions

8. Specific terms and conditions

9. Evaluation of price bid

10. Scope of Work & Schedule-A
11. Price Bid Format                             
       (Part – B)
I/ We further agree to execute all the works referred to in the said documents as per the General terms and conditions. 

I am / We are in possession of independent PF/ESI Code. 
I/We undertake to obtain applicable the PF/ESI coverage of all our workmen to be 
Deployed for the above work and also agree for recovery of appropriate PF/ESI 
Contribution from wages/bills 











Signature of Tenderer

PART - A
TECHNICAL BID – I

Tender Enquiry No. :








Date: 

Details of the Contractor: 

a) Name and address of the Firm: 

Contact person
Vendor code (if already allotted by BHEL)
Phone/Mobile No.

E-mail ID

b) Name and address of the proprietor/Director/partners: 
c) Is any contract being operated under the 

Yes / No 

control of the tenderer in BHEL . 

(If yes furnish the details): 

Location/ Address 

Value 


Date of Completion 

d) Is any relative of tenderer 


Yes / No 

employed in BHEL 

(If yes Furnish the detail)
	Name                                                          Staff no                                                 Location / Area 



	


Signature of the Tenderer 

Date:
TECHNICAL BID – II

	Sl.No.
	Details
	Remarks

	01


	ESI Code No. 

(enclose copy of ESI code allotment letter of ESI authority)
	

	02
	PAN No. 


	

	03
	PF Code No. 

(enclose copy of PF code allotment letter of EPF authority) 
	

	04
	Service Tax Registration No. 


	

	05
	Banker’s Name & Address 


	

	06
	Bank A/C No. & Branch 


	

	07
	Have you quoted rates for all the activities, as indicated in the price bid ( Part – B ) 


	YES / NO 



	08
	Financial Turnover for preceeding three years duly certified by qualified Chartered Accountant: ex., 2012-13 , 2013-14 & 2014-15

	Assessment  Years

2015-16  :

2014-15 :

2013-14  :

	09
	Details of  EMD

(DD or Cash receipt No.)

(If vendor have produced one time EMD that copy should be renewed or attested by issuing officer otherwise bid will be liable for rejection )
	Amount          : 

C.R/DD No    :  

C.R/DD  date :  

Bank    : 

Branch :

Valid up to date:

	10
	Details of tender document cost

(DD or Cash receipt No.)

(DD/Bankers Cheque/C.R has to be enclosed along with Technical bid).
	Amount          : `

C.R/DD No    :  

C.R/DD  date :  

Bank    :                   Branch :

	11
	Particulars of Experience/Credentials

As per pre-qualification requirements. (Work completion certificates to be enclosed)

(a) If vendor submits Pvt. Company experience, the following documents should be submitted along with technical bid:

1. Awardal  Copy

2. Agreement Copy

3. TDS

Otherwise bid will be liable for rejection.
	


Note: 

I. Photocopy in support of above wherever applicable should be attached. 

II. Please note that if answer of Sl. No.01, 03, 07 or 08 is not available or ‘No’ then the bid is liable to be rejected. 

Signature of the Tenderer 

Date: 
(In case the department concern requires specific information same may be sought by modifying the above proforma appropriately)

SPECIAL TERMS & CONDITIONS OF CONTRACT 

i. The quantity of raw materials drawn, if any from the Stores and balance unused should be accounted and returned to the Stores. 

ii. Ensure cleanliness of the preparation area/work spot before and after the work on daily basis. 

iii. The quantity will be counted, measured and weighed and certified by the authorized persons. 

iv. The quantity may vary depending on the requirement which will be informed in advance by BHEL. 

v. The payment will be as per actual quantity prepared, executed and accounted. 

vi. In case of delay of payment of wages to the contract labour by the contractor, for more than a week, the contract executing officer will initiate action for payment of wages directly from BHEL side and recover the same from the payments due to the contractor along with penalty as decided by the respective product head. In case, the contractor default/fail to pay wages to the contract labour repeatedly (more than once) the contract executing officer shall take action for payment of wages directly by BHEL and contract may be short closed despite blacklisting/banning the said contractor from participating in the future bidding/tendering in BHEL. 

vii. Experience Certificate: On completion of contract, the contractor will be issued an experience certificate on the total performance of the contractor such as technical competency, implementation of statutory provisions in time, such as payment of wages to the worker, payment of PF contribution, Payment of ESI contribution, Payment of bonus, issue of PPE, uniform cloth, safety shoe etc. based on which the contractors future bid if any in BHEL will be evaluated. 

EVALUATION OF PRICE BID: 
i. A single percentage (%) must be quoted for all categories mentioned in the price bid Proforma as the job would be awarded to one or more successful tenderer as per NIT criteria.

ii.  Evaluation of the L-1 offer shall be computed on overall lowest cost to BHEL basis. (Grand Total Price for all the items indicated above minus tax credit, if, any)

iii. In the event of two or more tenderers becoming L1, the selection of the tenderer for the purpose of awarding contract will be on the basis of LOTTERY to be held in presence of representatives of L1 tenderers.

iv. Contractor shall take total care to educate himself to know the prevailing wages payable to contract labour in BHEL RC puram and quote rates taking into account all aspects of contract

Signature of Tenderer                                                                                  Issuing Officer
PRICE BID

 Tender Notice No: HY/M&S/10-RS/16-17/AMC/0109/1, Dt: 09.01.2016
Name of the Work: Annual Maintenance Contract for machine tools / Equipment /   Lighting (except shop floor roof lighting) in 207-Tool Room & 210-Spares Manufacturing Centre and electrical maintenance   of 07-Annexe and Central Gauging Centre buildings. For one year.
Price Bid Format for Annual Maintenance Contract 10-RS Shop for the year 2016-17   (as per revised OMI 195)
	Part I: 
	
	
	
	

	Sl.
no
	Details
	USW
	SSW
	SW
	TOTAL

	1
	No. of persons to be deployed
	3
	6
	1
	 

	2
	No. of working days in contract period
	302
	302
	302
	 

	3
	Daily Wages payable for working day notified by BHEL RC Puram 
	479.80
	529.15
	578.96
	 

	4
	No. of leaves / paid holidays in contract period – 1 day leave  wage for every 20 days i.e. total leaves 18 days + 11 days holidays including DR. B R  Ambedkar Jayanthi
	29
	29
	29
	 

	5
	Wages payable per day for paid holiday / leave
	479.80
	529.15
	578.96
	 

	6
	PF Employer Contribution - 13.61% of (1x2x3)
	59162.51
	130495.37
	23796.53
	 

	7
	ESI Employer Contribution – 4.75% of (1x2x3)
	20648.19
	45543.94
	8305.18
	 

	8
	Total = (sl.no.1x2x3) +(1x4x5) + (6+7)
	556252
	1226931
	223737
	2006921

	Part II:  (Contractor should claim along with 1st bill the following expenditure after compliance of safety regulation as per NIT, duly certified by Executing department and HR-IR) 
	 
	 
	 
	 

	9 a.
	Cost of Safety shoe, socks, helmet, Uniform cloth & stitching charges i.e.  Rs.1800/- x sl.no. 1 of part I x sl.no. 2 /302 )
	5400
	10800
	1800
	18000

	9 b.
	Cost of Other PPEs (Pl specify)
	 
	 
	 
	 

	
	 
	 
	 
	 
	 

	
	 
	 
	 
	 
	 

	 
	cost of (a+b+c) x sl.no. 1 of part I x (sl 2/302) of part 1
	 
	 
	 
	 

	 
	** Total Part II = (sl.no. 9a+9b)
	5400
	10800
	1800
	18000

	 
	 
	 
	 
	 
	 

	Part III:  
	
	
	
	 

	Sl. No.
	% Service charge on Sl No 8 of Part I
	 
	 
	 

 

	10 a.
	In figure
	 

	10 b.
	In word
	

	Part IV:  (Grand total value of the Contract)
	 
	 
	 
	 

	11
	Expenditure Details
	 
	 
	 
	 

	BHEL will arrive at the total Value of the Contract (excluding service tax) by summing up part I+II+( 10a of Part III x sl.no.8 of Part I ) 

	Note: This estimate is excluding of Service tax, which will be paid extra with submission of documentary evidence.


NOTE:





1. Contractor has to quote only positive % upto two decimals (e.g. 10.12% etc., ) towards all related expenditure including materials, consumables, tools, other equipment required to perform assigned task, supervision, financial charges, margin etc. in Part III of Price Bid Format, in case of quoting –ve/at par of estimate , Vendor’s quote will be rejected. Request for any other payment will not be entertained by BHEL for whatsoever reason except as indicated in Sl. No. 2 below.  Changing any other value in Price Bid will lead to rejection of the Price Bid. Amounts mentioned in Part I & II are statutory in nature. Quoting less on these items tentamounts to statutory violation.




2. Any revision in Daily Wages Rate made by BHEL based on  GO Notification will be reimbursed/ adjusted  as per clause 4.13 of Notice Inviting Tender (NIT) based on actual payment made to contract labour and service charges as indicated in Part III 10a. will not be applicable on such additional amount.




3. The service charges in Part III above is to be quoted in both figures & words by contractor and in case of difference, lower value will prevail.




4. Contractor has to submit monthly bill based on actual payment made to contract labours. Original payment register to be vetted by HR-IR and a copy of the same is to be submitted along with claim bill. Payment for daily wage and leave/holiday payment with up-to-date cumulative figure should be recorded in payment register. Proof of payment of PF & ESI have to be enclosed along with monthly bill.




5. The contract labour may be allowed weekly off on any day other than Sunday also, depending upon exigencies of work / BHEL requirement.




6. Service Tax, wherever claimed, is to be supported by Service Tax Invoice along with proof of payment of service tax for preceding Service Tax invoice claimed from BHEL under this contract.




7. In case of tie in Price Bid and equal distribution of quantity is not feasible, contract can be awarded based on lottery.




8. No contract labour will be allowed to enter into BHEL premises without PPEs (i.e. Safety Shoes & helmet etc,).




9. Price bid evaluation will be made on the basis of service charge % quoted by bidder.




10. Applicable taxes and duties if any to be indicated separately with present applicable rate




11. The labour engaged under this contract / tender cannot be deployed in any other works. Violation of this rule will be viewed seriously.




12. Bidder firm / Company / Group / concerns or affiliates etc. should not be the banned firms / Companies by BHEL nor any of their Director / Partner / Proprietor of bidder / such Group concern or affiliate etc., are involved with such concern / Firm / Company.

13. The above mentioned working days are indicative only, vendor has to supply required labour at the same rate, terms & conditions as per BHEL requirement with in the contract period.



Signature of Tenderer                                                                                  Issuing Officer 
7.0 DECLARATION BY TENDERER 

I, --------------------------------, aged ------------ Yrs., S/o ----------------------------------------------------------, 
residing at -------------------------------------------------------------------------------------------------------------------------
-------------------- 

Hereby declare as follows: 

i. That my nationality is ________________. 

ii. That I am a major and eligible to enter into contract / my firm / my company is competent to enter into an agreement. 

iii. I shall employ only such personnel who have not been found unfit for employment in Organizations such as Central / state / Public undertaking by the Police Authorities. 

iv. I shall not employ persons against whom Criminal cases are pending or under investigation. 

v. I shall also not employ persons found guilty of offences involving moral turpitude for executing work in BHEL contracts. 

vi. That there are no Criminal cases pending or under investigation against me or my firm or company. 

vii. I have not been found guilty of offences involving moral turpitude nor any of the company directors / partners of my firm have been found guilty of offences involving moral turpitude. 

viii. Neither I nor my firm nor my company has been declared insolvent in the past. 

ix. I have taken due care and efforts to furnish only information which are true in the tender document. 

x. I shall employ labours who are more than 18 years of age and having sound physical and mental health. 

xi. I shall keep Photograph / identity proof / residential proof of the labourers to be employed against this tender and arrange for police verification. 

[Signature with Name & seal of the Tenderer] 

Date : 
Place :

Strike out which is not applicable








